1625-0049


Supporting Statement

for

Waterfront Facilities Handling Liquefied Natural Gas (LNG) 
and Liquefied Hazardous Gas (LHG)

(as modified by USCG-2007-27022; RIN 1625-AB13)

A.  Justification.

1.  Circumstances which make the collection of information necessary.

The Coast Guard has regulations that provides safety standards for the design and construction, equipment, operations, maintenance, personnel training, and fire protection at waterfront facilities handling liquefied natural gas (LNG) and liquefied hazardous gases (LHG) (33 CFR, Part 127, Subparts A and C).  These regulations implement the Ports and Waterways Safety Act of 1972 (PWSA), as amended by the Port and Tanker Safety Act of 1978 (33 U.S.C. 1225), and are necessary to prevent or mitigate the results of an accidental release of LNG or LHG at a waterfront facility.
  They would reduce the probability that an accident could occur, and would reduce the damage and injury to persons and property should an accident occur.  

In addition, this collection accounts for the cost and time that would be required for an LNG or LHG facility to conduct and perform a waterway suitability assessment (WSA).  On October 18, 2005, the Federal Energy Regulatory Commission (FERC) published a final rule in the Federal Register (70 FR 60426) implementing the Energy Policy Act of 2005 and requiring pre-filing procedures for reviewing LNG terminals and other natural gas facilities.  The FERC rulemaking amended the regulations in 18 CFR parts 153 and 157 by requiring LNG and other natural gas facility owners and operators (referred to collectively herein as “LNG owners and operators”) to submit a Waterway Suitability Assessment (WSA) to the U.S. Coast Guard pursuant to 33 CFR 127.007 and 18 CFR 157.21 (a) and (d).
The regulations contain information collection requirements in the following sections
:


A.
127.007


Letter of Intent.

B.
127.015


Appeals.

C.
127.017


Alternatives.

D.
127.019,
127.305,
127.1305
Operations Manual.

E.
127.019,
127.307,
127.1307
Emergency Manual.

F.
127.301,
127.1301

Certification of person in





charge.

G.
127.317,
127.1317

Declaration of inspection.

H.
127.409,
127.1409

Records of maintenance.


I.             127.007,       157.21                                 Waterway Suitability Assessment.
This information collection supports the following strategic goals:

Department of Homeland Security

· Prevention

· Protection

U.S. Coast Guard

· Safety

· Protection of the Natural Resources

Marine Safety, Security and Stewardship Directorate (CG-5)

· Reduce crewmember deaths and injuries on U.S. commercial vessels

· Reduce the amount of chemicals entering the environment

· Reduce the consequences of pollution incidents
2.  Purpose for the information collection and consequences to the Federal program if the information is not collected.

A.  The Letter of Intent is needed to alert the Coast Guard Captain of the Port (COTP) that a waterfront facility plans to conduct transfers of LNG or LHG, in bulk.  It also provides a point of contact at the facility.  Once a letter has been received, the COTP can direct the necessary enforcement activity to ensure that the operator complies with the other requirements in 33 CFR 127.  The Letter of Intent also provides the information used by the COTP to determine the suitability of the waterway, on which the waterfront facility is located, for LNG or LHG vessel traffic.  Changes to the information in the Letter of Intent are required to be submitted whenever they occur.  Without the Letter of Intent, COTPs would not learn of the opening or reopening of a waterfront facility handling LNG or LHG far enough in advance to allocate resources, to enforce construction and design standards, and to plan enforcement strategy.  Also, COTPs would not have the information necessary to properly evaluate the suitability of a waterway for vessels carrying LNG or LHG.

B.  Any person directly affected by an action taken under these regulations may appeal that action to the District Commander.  If still not satisfied with the Coast Guard's decision, that person may appeal the decision to the Assistant Commandant for Prevention, in Washington, DC.  If the appeal is not made in writing, the operator's request for an appeal cannot be properly evaluated.

C.  If it is impractical for the operator of a waterfront facility handling LNG or LHG to comply with the requirements in these regulations, and an alternative is available that provides at least the same degree of safety as the regulations, the operator may request permission to use an alternative procedure, method, or equipment standard.  The operator must submit the request for an alternative in writing to the COTP.  Without a written request the COTP cannot properly evaluate the proposed alternative.

D.  The owner or operator of a waterfront facility handling LNG or LHG must develop and submit to the COTP two copies of the facility’s Operations Manual.  If the manual is found not to be in compliance with section 127.305 or 127.1305 of the regulations, transfer operations cannot be conducted at the facility.  The Operations Manual is a critical part of the enforcement strategy. Without it, the COTP cannot determine if safe operating procedures and an effective training program are set up by the waterfront facility operator.

E.  The owner or operator of a waterfront facility handling LNG or LHG must develop and submit to the COTP two copies of the facility's Emergency Manual.  If the manual is found not to be in compliance with section 127.307 or 127.1307 of the regulations, transfer operations cannot be conducted at the facility.  The Emergency Manual is a critical part of the enforcement strategy. Without it, the COTP cannot determine if effective procedures have been set up by the waterfront facility operator to respond to emergencies (such as fires and releases of LNG or LHG) on the facility.

F.  The operator of an LNG or LHG waterfront facility must certify in writing that each person in charge of shoreside transfer operations meets the qualifications set forth in the regulations.  A copy of each certification must be made available for inspection at the facility.  During routine inspections of the facility, the COTP examines these certifications to ensure that the persons in charge of shoreside transfer operations are qualified.  Without these certifications, the COTP would have to develop and administer tests or would have to observe qualification training in order to verify that the person in charge is properly qualified.  Both of these means would create a greater burden than operator certification.

G.  Before LNG or LHG transfer operations begin, the person in charge of shoreside transfer operations must complete, with the person in charge of vessel transfer operations, a Declaration of Inspection.  The Declaration of Inspection is a check-off list of transfer requirements which helps to reduce human error and equipment failure, thereby preventing accidental releases of LNG and LHG.  It identifies each person in charge, who must sign it, and places the responsibility for safely conducting the transfer on that person.  The Declaration of Inspection must be retained for 30 days after completion of the transfer.  During routine inspections of the facility, the COTP will examine these Declarations of Inspection to ensure that they have been completed properly before each transfer.  The COTP also uses this information to identify the responsible person in charge when a violation of the requirements occurs.  Without the Declaration of Inspection, the COTP could not verify that persons in charge are following proper transfer procedures and the probability of human errors or equipment failures resulting in LNG or LHG releases will increase.

H.  Tests and inspections of the LNG and LHG transfer system must be conducted on a regular basis to ensure that these systems will not fail and release LNG or LHG.  Records of these tests and inspections must be retained at the facility for 24 months.  During routine inspections of the facility, the COTP examines these records to ensure that the required tests have been completed.  Without these records the operator would have to wait for a Coast Guard inspector to witness the tests to verify that they were done, thereby increasing the burden on both the operator and the Coast Guard.  If the tests and inspections are not conducted, the incidence of LNG and LHG releases due to equipment failures will increase.

I.  All LNG owners and operators seeking authorization to site, construct, and operate new LNG import or export facilities or those seeking authority to make modifications to existing or approved LNG import or export facilities must file a request to participate in the pre-filing process with FERC.  Upon receiving an LNG owner or operator’s request to participate, the Director of the Commission’s Office of Energy Projects (Director) determines whether the LNG owner or operator has adequately addressed the requirements of 18 CFR part 157 and may begin the pre-filing process.  The FERC regulation requires LNG owners or operators to file their letter of intent (LOI) and Preliminary WSA with the Coast Guard at the same time they make their initial filing with FERC per their pre-filing procedures in 18 CFR 157.21.  The LNG owner or operator must submit the LOI and the Preliminary WSA to the U.S. Coast Guard Captain of the Port (COTP).  Under the proposed rules, the LOI submission requirements for an LHG facility will differ from an LNG facility.  Applicants for LHG facilities must submit an LOI to the COTP no later than the date when the applicant files their permit application with the lead State or Federal agency having jurisdiction.  However, in all cases it must be at least 1 year prior to the start of construction.  At the time the applicant submits an LOI, the applicant must also submit a Preliminary WSA to the COTP.  Finally, a Follow-on WSA must be submitted to the COTP at least 180 days prior to the start of construction.
3.  Considerations of the use of improved information technology.

Information may be submitted by mail, fax or electronically via e-mail to the COTP at the local CG Sector Office.  Contact info for CG Sector Offices can be found at—http://www.uscg.mil/top/units/.  At this time, we estimate that 67% of reporting requirements are done electronically. 
4.  Efforts to identify duplication.

The Coast Guard monitors State and local regulatory activity in this field.  To date no equivalent State or local programs have been identified that require similar information, and no other Federal agencies have equivalent regulatory requirements.

5.  Methods to minimize the burden to small businesses or small entities.

The Coast Guard believes that these requirements do not have a significant economic impact on small entities.  Few, if any, small entities are involved in the costly and highly technical operations of LNG and LHG waterfront facilities.  All existing LNG waterfront facilities are owned and operated by multi-million dollar corporations and all are large companies based on industry size standards available at the Small Business Administration’s website.  Most LHG waterfront facilities are also operated by large entities.  Those LHG facilities operated by small entities generally handle small quantities of LHG and can avoid the burdens of this regulation by receiving packaged shipments of LHG instead of bulk shipments.

The appeal and alternatives requirements are intended to reduce the burden on small entities by allowing them to request less burdensome procedures where justified by small scale or simplified operations at a small waterfront facility.

6.  Consequences to the Federal program if collection were conducted less frequently.

A,D,E,F.  The Letter of Intent, the Operations Manual, and the Emergency Manual are submitted only once, before the facility begins transferring LNG or LHG.  The certification for persons in charge is completed each time a new individual is qualified as a person in charge.  Less frequent collection of this information would have the same consequences as not collecting the information.

B,C.  Appeals and alternatives are submitted whenever the operator makes a request.  Less frequent collection would prevent the waterfront facility operator's requests from being considered.

G.  Declarations of Inspection are collected for each transfer.  Less frequent collection would prevent the COTP from verifying that persons in charge are following proper transfer procedures for each transfer.  This would increase the probability of human errors or equipment failures resulting in LNG or LHG releases will increase.  It would also make identification of the responsible person in charge more difficult when a discharge does occur.

H.  The recordkeeping requirements are recorded whenever each event occurs.  If they were reported and recorded less frequently, facility operations would be delayed until the COTP sent his representative to obtain the information needed to verify compliance, evaluate the request, or witness the procedure.

I.  A WSA is a risk-based assessment process designed to document and address all safety and security concerns related to the movement of LNG in U.S. ports and waterways.  Since 2005, FERC regulations have required that prospective applicants for FERC authorization to site, construct and operate LNG terminals submit WSAs to the Coast Guard.  Less frequent collection would prevent the waterfront facility operator's requests from being considered.  
7. Special circumstances due to inconsistency.

This information collection is conducted in manner consistent with the guidelines in 5 CFR 1320.5(d)(2).
8.  Efforts to consult with persons outside the agency.

The Coast Guard published on April 28, 2009, a Notice of Proposed Rulemaking (NPRM) entitled “Revision of LNG and LHG Waterfront Facility General Requirements” (LNG-LHG) [USCG-2007-27022; RIN 1625-AB13; 74 FR 19158].  The rulemaking proposed—

•
to revise the requirements for waterfront facilities handling liquefied natural gas (LNG) and liquefied hazardous gas (LHG) by bring the regulations up to date with existing industry practices and current Coast Guard policy implemented due to increased emphasis on security since the events of September 11, 2001.  
These revisions harmonize the Coast Guard’s regulations for LNG with those established by the Federal Energy Regulatory Commission (FERC), the agency responsible for permitting onshore and near-shore LNG terminals.  The Coast Guard received no collection of information-related comments.  On May 26, 2010, the Coast Guard published the LNG-LHG Final Rule [75 FR 29420].    
9.  Explain any decision to provide payment or gift to respondents
There is no offer of monetary or material value for this information collection.

10.  Describe any assurance of confidentiality provided to respondents.

There are no assurances of confidentiality provided to the respondents for this information collection.

11.  Additional justification for any questions of a sensitive nature.

There are no questions of sensitive language.

12.  Estimates of information collection burden.

· The estimated number of annual respondents is 168.  

· The estimated number of annual responses is 4,997.  

· The estimated hour burden is 9,504 hours.  

· The estimated cost burden is $737,640.  

There are currently 168 (159 LHG and 9 LNG) facilities in the United States that handle LNG (eight are import facilities and one is an export facility) and LHG.  Many of these facilities also handle dangerous cargos or oil in bulk, and are therefore also regulated under 33 CFR 126 or 154, respectively.  The annualized costs and burden to the respondents for the collection of information is based upon the following assumptions: 

· a wage of 105 per hour
 for management personnel (the equivalent of O-5 rate)

· a wage rate of $93 per hour out of government (equivalent to O-4 wage rate to perform a WSA) and $71 per hour (O-4 reviews WSA and writes LOR)

· a wage of $79 per hour for technicians (the equivalent of O-3 rate)
· a wage of $40 per hour for clerical personnel (the equivalent of E-4 rate).

Table 12.1 provides, for each element of this collection for LHG facilities, the annual number of respondents and responses, as well as the estimated annual hour burden and cost (totals may not sum due to independent rounding).  The paragraph letters appearing under the total burden rows in the tables below correspond to the letters preceding each paragraph below, containing a description of the assumptions used for each element of this collection.  We retained all of the estimated assumptions unless otherwise noted.
A.  Letter of Intent:  Only one letter of intent is required during the lifetime of the facility unless the owner or operator plans new changes on an existing facility or the facility is deactivated or the owner /operator changes.  Past experience with bulk liquid facilities indicates that approximately 6% of the facilities will be required to submit a new or resubmit a Letter of Intent each year.  There have been a number of LOI applications over the past three years submitted by current LNG facilities that wish to expand their facilities build new ones.  From our query to the field, we found that 22 applications have been submitted or approved by FERC.  The 6% rate did not account for these applications over the past three years, making the number of LOI submittals 0, which was not representative of the past three years in question since the last update of this collection.  Table 12.2 presents our findings (averages) for facilities that have submitted LOIs in the past 3 years and possible future facilities (totals may not sum due to independent rounding).  
B.  Appeals:  Appeals are very rare, but to account for their possibility, we assume an average of one appeal per year.  We did not find any for the existing LNG facilities.
C.  Alternatives:  Past experience with bulk liquid transfer facilities indicates that approximately 10% of the facilities request an alternative during the lifetime of the facility. Approximately double that rate (20%) is expected for LNG and LHG facilities during the assumed 25 year lifetime.  The annual number of responses is therefore conservatively estimated at 1% per year (20%/25 years) of the total population.  None were reported for the existing LNG facilities.
D.  Operations Manual Development:  Operations Manuals only need to be developed once during the lifetime of a facility.  Based on our more extensive experience with bulk liquid transfer facilities, we assume that approximately 3% of facilities will be replaced by newer facilities in a given year.  

E.  Operations Manual Amendments:  Certain changes to facility systems will require facility owners to amend their Operations Manual.  We assume that 6% of facilities will update their Operations Manual annually.  

F.  Emergency Manual Development:  same as paragraph D.

G.  Emergency Manual Amendment:  same as paragraph E.

H.  Person in Charge Qualification and Certification:  An employee need only demonstrate the required qualification and be certified as a Person in Charge once for the duration of his or her employment with a facility.  New qualification and certification must therefore only be conducted to for the new employees.  Large facilities, operating with three shifts, will typically employ three Persons in Charge plus one alternate.  Using the conservative estimate of employee turnover at 33%, facilities must recertify, on average, one-third of their four Persons in Charge.  Restated, each facility will, on average, conduct certification of 1.33 Persons in Charge each year.  Each facility is a respondent, and the number of responses is the population of LNG and LHG facilities multiplied by 1.33.  For LNG facilities, the values from the last three years lie within our estimate.

I.  Declaration of Inspection:  The Coast Guard has historically estimated that LHG facilities will, on average, each conduct approximately 26 transfers per year.  Each facility is therefore a respondent, and the number of responses may be calculated by multiplying the population of LHG facilities by 26.  We found that LNG facilities make on average 46 transfers per year, at least over the past three years since the last collection.  Therefore, we separated LNG from LHG facilities and multiplied 46 by 9 LNG facilities.  We found that import LNG facilities make more transfers on average per year than the lone export facility. 
J.  Maintenance Records:  Each LHG and LNG facility must conduct and record a series of tests and inspections.  Both the number of respondents and the number of responses is therefore equal to the population of LNG and LHG facilities.  
K. Waterway Suitability Assessment: The WSA process would be new for the LHG industry. However, the LNG industry has been voluntarily submitting WSAs to the Coast Guard since 2005.  Since the date of the FERC final rule discussed above, every owner or operator who has either begun the pre-filing process or filed an application with FERC has submitted a WSA to the Coast Guard.  As of December 31, 2007, the Coast Guard had received 22 WSAs.  This rulemaking would make the submission of the WSAs mandatory for new LNG or LHG waterfront facilities or for existing LNG or LHG facilities proposing expansion or modification of their marine terminal operations.  The submission deadlines for LNG waterfront facilities would correspond with FERC’s requirements.  However, for LHG waterfront facilities, the timeline would correspond with the lead State or Federal agency having jurisdiction.  The current Coast Guard regulations at 33 CFR 127.007 state that the LOI must be submitted “at least 60 days before construction begins”, or for inactive existing facilities, “at least 60 days before transferring LHG or LNG”.  WSAs are typically completed and submitted years before the facility begins operations.  Between the submission of the Follow-on WSA and the date the facility begins operations, it is possible the port’s overall security picture could change significantly.  Therefore, facility owners or operators must annually review their WSAs and provide a written report to the COTP.  If revisions to the WSA are necessary, the applicant’s annual report must describe which revisions are needed and include a timeline for completion.  If there are no changes affecting the suitability of the waterway for LHG or LNG traffic, no WSA revision would be required, and the annual report should state this.  Additionally, a final report must be submitted to the COTP at least 30 days, but not more than 60 days prior to the start of operations.  We have received approximately 22 WSAs over the past three years, or about 7 per year.  We also estimate that it takes approximately 4 months or about 4,928 hours annually to complete the WSAs, or about 704 hours per WSA at a labor rate of $93 per hour.


[image: image1.emf]Table 12.1.  Estimated Burden Hours and Cost to Industry for LHG Facilities

$105Management Hourly Rate

$79Technician Hourly Rate

159 Population of LHG Facilities = # Respondents $40Clerical Hourly Rate

Letter of Ops Manual Ops Manual Emerg Manual Emerg Manual Person In Charge Declaration Maintenance 

Intent WSA Appeals Alternatives Development Amendment Development Amendment Quals and Certs of Inspection Records

% Population responding annually 6% - 1% 1% 3% 6% 3% 6% 100% 100% 100%

# Annual Responses 10 - 2 1 5 10 5 10 212 4,134 159

# Annual Respondents 10 - 2 1 5 10 5 10 159 159 159

# Management Hours per response 2 8 8 15 1 15 1 2 0

Management Hourly Rate $105 $105 $105 $105 $105 $105 $105 $105 $105 $105

# Technician Hours per Response 0 0 0 0 0 0 0 0 0 8

Technician Hourly Rate $79 $79 $79 $79 $79 $79 $79 $79 $79 $79

# Clerical Hours per Response 0.5 2 2 5 1 5 1 0.5 0.5 0.5

Clerical Hourly Rate $40 $40 $40 $40 $40 $40 $40 $40 $40 $40

0

Total Hours per Response 2.5 - 10 10 20 2 20 2 2.5 0.5 8.5

Total Cost per Response $230 - $920 $920 $1,775 $145 $1,775 $145 $230 $20 $652

Total Burden Hours 25 - 20 10 100 20 100 20 530 2067 1352

Total Burden Cost $2,300 - $1,840 $920 $8,875 $1,450 $8,875 $1,450 $48,760 $82,680 $103,668

159 Total Number of Annual Respondents

4,548 Total Number of Annual Responses

4,244 Total Annual Burden Hours

$260,818 Total Annual Burden Cost

Table 12.2.  Estimated Burden Hours and Cost to Industry for LNG Facilities

$105Management Hourly Rate

$79Technician Hourly Rate

9 Population LNG Facilities = # Respondents $40Clerical Hourly Rate

Letter of Ops Manual Ops Manual Emerg Manual Emerg Manual Person In Charge Declaration Maintenance 

Intent WSA Appeals Alternatives Development Amendment Development Amendment Quals and Certs of Inspection Records

% Population responding annually 6% - 1% 1% 3% 6% 3% 6% 100% 100% 100%

# Annual Responses 8 7 0 0.00 0.0 0.00 0 0 11 414 9

# Annual Respondents 8 7 0 0 0 0.0 0 0 9 9 9

# Management Hours per response 2 704 8 8 15 1 15 1 2 0

Management Hourly Rate $105 93 $             $105 $105 $105 $105 $105 $105 $105 $105 $105

# Technician Hours per Response 0 0 0 0 0 0 0 0 0 0 8

Technician Hourly Rate $79 - $79 $79 $79 $79 $79 $79 $79 $79 $79

# Clerical Hours per Response 0.5 - 2 2 5 1 5 1 0.5 0.5 0.5

Clerical Hourly Rate $40 - $40 $40 $40 $40 $40 $40 $40 $40 $40

0

Total Hours per Response 2.5 704 10 10 20 2 20 2 2.5 0.5 8.5

Total Cost per Response $230 $65,472 $920 $920 $1,775 $145 $1,775 $145 $230 $20 $652

Total Burden Hours 20 4,928           0 0 0 0 0 0 28 207 77

Total Burden Cost $1,840 $458,304 $0 $0 $0 $0 $0 $0 $2,530 $8,280 $5,868



[image: image2.emf]Table 12.2.  Estimated Burden Hours and Cost to Industry for LNG Facilities

$105Management Hourly Rate

$79Technician Hourly Rate

9 Population LNG Facilities = # Respondents $40Clerical Hourly Rate

Letter of Ops Manual Ops Manual Emerg Manual Emerg Manual Person In Charge Declaration Maintenance 

Intent WSA Appeals Alternatives Development Amendment Development Amendment Quals and Certsof Inspection Records

% Population responding annually 6% - 1% 1% 3% 6% 3% 6% 100% 100% 100%

# Annual Responses 8 7 0 0.00 0.0 0.00 0 0 11 414 9

# Annual Respondents 8 7 0 0 0 0.0 0 0 9 9 9

# Management Hours per response 2 704 8 8 15 1 15 1 2 0

Management Hourly Rate $105 93 $          $105 $105 $105 $105 $105 $105 $105 $105 $105

# Technician Hours per Response 0 0 0 0 0 0 0 0 0 0 8

Technician Hourly Rate $79- $79 $79 $79 $79 $79 $79 $79 $79 $79

# Clerical Hours per Response 0.5- 2 2 5 1 5 1 0.5 0.5 0.5

Clerical Hourly Rate $40- $40 $40 $40 $40 $40 $40 $40 $40 $40

0

Total Hours per Response 2.5 704 10 10 20 2 20 2 2.5 0.5 8.5

Total Cost per Response $230 $65,472 $920 $920 $1,775 $145 $1,775 $145 $230 $20 $652

Total Burden Hours 20 4,928         0 0 0 0 0 0 28 207 77

Total Burden Cost $1,840 $458,304 $0 $0 $0 $0 $0 $0 $2,530 $8,280 $5,868

Maintenance records accounts for 77 burden hours and $5,868 burden cost.

9 Total Number of Annual Respondents (LNG) 168Total (LNG + LHG) $5,868

449 Total Number of Annual Responses (LNG) 4,997Total (LNG + LHG)

5,260 Total Annual Burden Hours (LNG) 9,504Total (LNG + LHG) 4,244

$476,822 Total Annual Burden Cost (LNG) $737,640Total (LNG + LHG) 1,406

NOTE:

There are 9 LNG waterfront facilities currently operational.

From information obtained from the field, we estimate that LNG facilities carry out about 46 transfers per year,

per facility.  Therefore, we broke out LNG facilities separately from LHG facilities in order to be more transparent.



13.  Estimates of annualized capital and start-up costs.

There are no capital, start-up or maintenance costs associated with this information collection.

14.  Estimates of Federal Government costs.

This wage rate2 for officers was derived by averaging the standard “in government” rates for pay grades O-3 and O-2.  The rate for enlisted time uses the average standard “in government” rates for pay grades E-6 and E-5.  Table 14.1 details these costs (totals may not sum due to independent rounding).
  The total estimated annual cost to the government is approximately $48,624 with the total estimated burden hours being approximately 899.

[image: image3.emf]Table 14.1.  Estimated Burden Hours to the Government and Cost

$61 O-3 "In Government" Rate

$48 O-2 "In Government" Rate

$44 E-6 "In Government" Rate 

$39 E-5 "In Government" Rate

$71 O-4 "In Government" Rate

$55 Average Officer Rate

$42 Average Enlisted Rate

# of Annual% of Responses # of Officer Hours # of Enlisted Hours TOTAL COAST TOTAL COAST

Responses Reviewed by USCGRequired per ReviewRequired per ReviewGUARD HOURSGUARD COST

Letter of Intent 18 100% 1 0 18 $990

WSA 7 100% 40 0 280 $19,880

Appeals 2 100% 8 1 18 $964

Alternatives 1 100% 8 1 9 $482

Ops Manual Development 5 100% 15 1 80 $4,335

Ops Manual Amendment 10 100% 1 0.5 15 $760

Emergency Manual Development 5 100% 15 1 80 $4,335

Emergency Manual Amendment 10 100% 1 0.5 15 $760

Person in Charge Quals and Certs 223 100% 0 0.25 56 $2,342

Declaration of Inspection 4,576 25% 0 0.25 286 $12,012

Maintenance Records 168 100% 0 0.25 42 $1,764

GRAND TOTALS 899 $48,624



15.  Reasons for the change in burden.

The change (i.e., increase) in burden is both a PROGRAM CHANGE and an ADJUSTMENT.  The program change due to a new requirement for submitting a WSA for each facility when a facility wishes to expand operations or when a new facility plans construction [see section 8 for details on LNG-LHG rulemaking; USCG-2007-27022; RIN 1625-AB13].  The adjustment is due to an increase in the number of respondents (i.e., facilities).  
16.  Plans for tabulation, statistical analysis, and publication.

This information collection will not be published for statistical purposes.

17.  Approval to not display expiration date.

The Coast Guard will display the expiration date for OMB approval of this information collection. 

18.  Exception to the certification statement.

The Coast Guard does not request an exception to the certification of this information collection.

B.  Collection of Information Employing Statistical Methods.

This information collection does not employ statistical methods.
�  Of the 113 LNG active facilities in the United States (including storage facilities), this collection is relevant to the  9 current shoreside facilities (including expansion projects) as well as proposals for new facilities that require an initial LOI.  More information can be found at the following website. Source:  � HYPERLINK "http://www.eia.doe.gov/pub/oil_gas/natural_gas/feature_articles/2004/lng/lng2004.pdf" ��http://www.eia.doe.gov/pub/oil_gas/natural_gas/feature_articles/2004/lng/lng2004.pdf�


�  Section 127 refers to 33 CFR and section 157 refers to 18 CFR.


�  Hourly wage rates taken from COMDTINST 7310.1I


�  Hourly wage rates taken from COMDTINST 7310.1I





9
13 of 13

_1335182330.xls
06 Population

		Name		Primary Unique_Id		Description		Type		Sub Type		State		Unit		AOR Unit		Nav Hazard		Pollution Source		Safety Risk		Rev Date		Formatted Rev Date		Rev Individual		Facility Historical Id		Facility Id		Current?		MTSA Regulated		MTSA - No Plan Required		Sans COTP Id		SAns Port Id		MTSA - No Plan Required Reason

		Agrium Formerly Royster Clark (384 UMR)		38400UMR		105 FACIL - Anhydrous Ammonia; Niota, IL		Waterfront Facility		Bulk Liquid HAZMAT; LNG		IL		4000417		4000417								11/20/06 10:55		20061120.105504		Garcia, Mellannie P.		1886168		100064775		Yes		Yes				1000000		2000003		0

		Agrium U.S. Inc.		KEND5002		formerly known as: UNOCAL CHEMICALS DIVISION		Waterfront Facility		Bulk Solid (non-HAZMAT); LHG (Other)		AK		44		4000433								1/29/04 13:29		20040129.132903		Combs, Donald J.		1841370		91002877		Yes		Yes				5		107		0

		AGRIUM WEST SAC NITROGEN OPERATION		MSDF0001				Waterfront Facility		LHG (Other); MARPOL Reception		CA		4000396		4000396								5/3/05 17:45		20050503.174502		Wells, Hubert L.		1842607		91003501		Yes		Yes				46		1057		0

		AMERIGAS		LOSMS137		FSO-Jeff Hamilton		Waterfront Facility		LNG		CA		4000210		4000210								12/6/05 16:13		20051206.161308		Pottgieser, Robert D.		1879932		91002731		Yes		No				32		580		0

		AMERIGAS		MOB116		Panama City, FL // Propane facility		Waterfront Facility		LNG		FL		68		4000190								7/8/04 15:31		20040708.153142		Marston, Randall S.		1853690		91004751		Yes		Yes				37		691		0

		Atlantic Energy Inc.		SYS-100063208		CDC - LHG facility		Waterfront Facility		LPG; MARPOL Reception		VA		4000294		4000294								7/1/04 14:27		20040701.142711		guyton, diana .		1864056		100063208		Yes		Yes				26		395		0

		BASF - AMMONIA TERMINAL		GALMS005		Also known as: THE LEMM CORPORATION		Waterfront Facility		LHG (Other); MARPOL Reception		TX		4000412		4000412								2/6/06 15:51		20060206.155143		Deases, David .		1880641		93000675		Yes		Yes				28		1197		0

		BASF - AMMONIA TERMINAL		LEMCORAD				Waterfront Facility		LHG (Other)		TX		29		4000412								3/16/06 10:31		20060316.103156		Deases, David .		1881611		92003047		Yes		No				28		1197		0

		BP/ARCO Ferndale "LHG"		SEA127001				Waterfront Facility		LHG (Other)		WA		4000220		4000220								11/4/04 12:19		20041104.121903		Valenti, Matthew J.		1851437		94002716		Yes		Yes				45		977		0

		C.F. INDUSTRIES		14505ILR		KINGSTON MINES, IL		Waterfront Facility		LHG (Other)		IL		4000417		4000417								9/28/04 14:26		20040928.142658		Foster, Sally C.		1849308		91003204		Yes		Yes				1000000		2000001		0

		C.F. INDUSTRIES		32005UMR		Anhydrous Ammonia		Waterfront Facility		LHG (Other)		MO		4000417		4000417								3/30/04 10:43		20040330.104358		miller, brandon w.		1855827		91002264		Yes		Yes				1000000		2000001		0

		C.F. INDUSTRIES		50906UMR		105 FACIL-Anhydrous Ammonia NH3 - Active; Cordova,IL		Waterfront Facility		Bulk Liquid HAZMAT; LNG		IL		4000417		4000417								7/18/05 14:05		20050718.140504		Barger, Christian J.		1852110		100065680		Yes		Yes				1000000		2000003		0

		C.F. INDUSTRIES (823.0 UMR)		82380UMR		Anhydrous Ammonia

Urea Ammonium Nitrate (28%)		Waterfront Facility		LHG (Other)		MN		4000417		4000417								9/20/06 21:49		20060920.214941		Cunningham, James  T.		1885504		100064811		Yes		Yes				1000000		2000002		0

		CALIFORNIA AMMONIA CO.		MSDF0002		LHG: Anhydrous Ammonia		Waterfront Facility		LHG (Other); MARPOL Reception		CA		4000396		4000396								3/30/06 19:18		20060330.191828		Pugh, Eric W.		1882028		91003502		Yes		Yes				46		1068		0

		CF Industries Inc.		BRWF19		127, 154, 158		Waterfront Facility		Bulk Solid (HAZMAT); LPG; MARPOL Reception		LA		13		13								3/21/05 16:44		20050321.16445		Salva, Edward D.		1876045		91002042		Yes		Yes				39		717		0

		CF INDUSTRIES, INC.		TAMLHG01		Product: Anhydrous Ammonia (NH3)		Waterfront Facility		LHG (Other); MARPOL Reception		FL		4000284		4000284								9/24/04 12:53		20040924.125312		Weiller, Chris F.		1843921		91002837		Yes		Yes				50		1133		0

		CF INDUSTRIES, INC.      MI 831.1		LOUMS038		CDC Facility (Anhydrous Ammonia)		Waterfront Facility		LHG (Other)						4000231								7/5/05 15:48		20050705.154816		Hutchins, Walter C.		1877384		91002093		Yes		Yes				33		610		0

		CHEROKEE NITROGEN		PADDF037				Waterfront Facility		Bulk Liquid HAZMAT; Bulk Solid (HAZMAT); Explosives (Other); LHG (Other)		AL		58		58								6/29/04 9:59		20040629.095935		Eckard, Chris S.		1841815		92000046		Yes		Yes				33		2000009		0

		CHEVRON PHILLIPS CHEMICALS PUERTO RICO C		PROHM008		154, 127 MTR Facility and 105 MTSA Facility		Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception		PR		4000130		4000130								8/18/06 9:40		20060818.094059		Tonon, David M.		1885158		91002512		Yes		Yes				47		1079		0

		Chevron Texaco - Pascagoula		MOB006CA				Waterfront Facility		Bulk Oil; LNG; MARPOL Reception		MS		4000190		4000190								9/7/06 11:41		20060907.114157		Lisenby, Samuel .		1885318		91005270		Yes		Yes				37		692		0

		Citgo Petroleum Corp. Lake Charles Refin		LKCD064		AKA: Citgo Refinery		Waterfront Facility		Bulk Oil; LHG (Other); MARPOL Reception		LA		4000413		4000413								6/22/04 13:07		20040622.130746		Davison, Chad .		1861127		91003707		Yes		Yes				41		118		0

		Commonwealth Oil Refinning Corp. (CORCO)		PROHM016		154 and 127 MTR Facility (CORCO)		Waterfront Facility		Bulk Oil; LPG		PR		4000130		4000130								10/30/06 10:00		20061030.1		Tonon, David M.		1885930		100061874		Yes		Yes				47		1080		0

		ConocoPhillips Alaska		KEND5004		Phillips LNG		Waterfront Facility		Bulk Oil; LNG; MARPOL Reception		AK		44		4000433								9/16/04 12:16		20040916.121627		Hardy, Jerry L.		1841371		91002860		Yes		Yes				5		107		0

		COVE POINT LNG TERMINAL		SYS-100070390		LNG		Waterfront Facility		LNG		MD		11		3933741								2/9/06 23:33		20060209.233357		Downham, Rachel N.		1880814		100070390		Yes		No				1		9		0

		Crosstex		BRWF30		Aka: El Paso Field Services, LP. Coastal Field Services Co. and Transcanada Gas Processing		Waterfront Facility		Bulk Oil; LHG (Other)		LA		13		13								2/6/06 9:36		20060206.093628		Pohlman, James R.		1880631		91002074		Yes		Yes				39		733		0

		Crosstex Processing Services, LLC		LKCD052		AKA: El Paso (Tennesse Gas Pipeline)                                          Bayou Nezpique and Mermentau River		Waterfront Facility		Bulk Oil; LHG (Other)		LA		4000413		4000413								11/9/05 10:52		20051109.105249		chatagnier, nolen j.		1879439		91003768		Yes		Yes				41		118		0

		DISTRIGAS OF MA CORPORATION		BSNDISTR		LNG TERMINAL		Waterfront Facility		LNG		MA		4000140		4000140								10/26/04 14:35		20041026.143538		White, Timothy J.		1854300		91000321		Yes		Yes				17		273		0

		Dominion Cove Point LNG, LP		BAL00026		LNG Facility with an off-shore platform		Waterfront Facility		LNG		MD		11		11								6/27/05 9:25		20050627.092534		Hoetker, Stuart J.		1840865		91001846		Yes		Yes				1		9		0

		DOW CHEMICAL - FREEPORT		GALMS016				Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception		TX		4000412		4000412								2/8/06 11:35		20060208.113555		Deases, David .		1880691		92003036		Yes		Yes				28		1197		0

		Dow Chemical (Docks One and Two)		BRWF27				Waterfront Facility		Bulk Oil; LHG (Other); MARPOL Reception		LA		13		13								3/22/05 8:40		20050322.084009		Salva, Edward D.		1876069		91002069		Yes		Yes				39		754		0

		DYNO NOBEL INC.		PITMS016		Cargo Anhydrous Ammonia                                           Mile 35.9 LDB, Monongahela River		Waterfront Facility		LHG (Other)		PA		4000238		4000238								12/12/05 10:45		20051212.104547		Kingsberry, Shawntae A.		1880047		91001176		Yes		Yes				1000003		2000010		0

		E. I. DUPONT COMPANY NEW JOHNSONVILLE		PADDF064		New Johnsonville		Waterfront Facility		LHG (Other)		TN		58		58								7/20/05 9:10		20050720.091031		Creager, David B.		1877581		91000342		Yes		Yes				1000001		2000013		0

		ECO-ELECTRICA, LP		PROHM026		127 MTR Facility (LNG)  POC: Oscar Cedeno/Yvette Laborde		Waterfront Facility		LNG; MARPOL Reception		PR		4000130		4000130								10/11/05 14:17		20051011.141704		Moran, Joanna L.		1878909		99000477		Yes		Yes				47		1080		0

		Enterprise Tebone Refractions		BRWF137		Uses El Paso Field Services Dock		Waterfront Facility		Bulk Oil; LNG		LA		13		13								9/28/04 14:23		20040928.142329		clark, james l.		1858704		100066545		Yes		Yes				39		717		0

		G.E. PLASTICS		HUN0018C				Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other)		WV		4000243		4000243								1/27/04 13:31		20040127.133116		Scott, Adam W.		1848174		91002589		Yes		Yes				1000002		2000004		0

		GULF (Caribbean Petroleum Refining)		PROHM015		154 and 127 MTR Facility

POC: Domingo Perez (FSO)

POC: Miguel Berríos		Waterfront Facility		Bulk Oil; LHG (Other); MARPOL Reception		PR		4000130		4000130								4/28/06 11:38		20060428.11385		Tonon, David M.		1882372		91002144		Yes		Yes				47		1088		0

		Helis Oil & Gas		MORML100		Willow Cove		Waterfront Facility		LNG		LA		4000390		4000390								3/25/05 10:20		20050325.102039		Kupietz, Adrianne M.		1876393		100067518		Yes		No				38		708		0

		Honeywell		BRWF2		Ex Allied-Signal Inc.		Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other)		LA		13		13								3/22/05 9:36		20050322.093622		Salva, Edward D.		1876105		91001581		Yes		Yes				39		717		0

		HONOLULU; BARBERS POINT HARBOR		HON25035		STATE OF HAWAII		Waterfront Facility		Break Bulk (HAZMAT); Break Bulk (non-HAZMAT); Bulk Liquid (non-HAZMAT); Bulk Liquid HAZMAT; LPG		HI		4000120		4000120								10/25/04 14:50		20041025.145028		Franquez, Jon M.		1868662		96001430		Yes		Yes				27		418		0

		HOUSTON AMMONIA TERMINAL		HOUWHLHG				Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other); MARPOL Reception		TX		4000409		4000409								6/13/06 13:31		20060613.133105		Morrin, Kevin P.		1883140		91003977		Yes		Yes				28		453		0

		HOVENSA, L.L.C. - LHG		STCD506		Refrigerated butane facility.		Waterfront Facility		LHG (Other)		VI		91		4000130								11/8/04 8:25		20041108.082555		Weiller, Chris F.		1870587		100063109		Yes		Yes				47		1215		1

		INEOS O&P - CHOCOLATE BAYOU		GALMS031		Previously known as Innovene, O&D, and BP Chem Chocolate Bayou		Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other)		TX		4000412		4000412								8/11/06 11:58		20060811.115853		Deases, David .		1885005		91004793		Yes		Yes				28		1194		0

		INNOVENE		CHOONDNA		previously known as O&D and BP- Chocolate Bayou		Waterfront Facility		LHG (Other)		TX		29		4000412								3/21/06 10:32		20060321.103215		Deases, David .		1881758		100068244		Yes		No				28		1194		0

		Intercontinental Terminals Company		BRWF84		Aka: Anchorage Chemical Terminal (ACT)		Waterfront Facility		LHG (Other)		LA		13		13								3/30/05 15:37		20050330.153703		Salva, Edward D.		1876452		95000080		Yes		Yes				39		717		0

		INTERCONTINENTAL TERMINALS, INC.		HOUITCCO				Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception		TX		4000409		4000409								12/9/04 15:35		20041209.153507		lapointe, roy w.		1874222		91003955		Yes		No				28		453		0

		Jordan Cove Energy Project		PDX20063		LNG Receiving Terminal at Coos Bay, OR		Waterfront Facility		LNG		OR		4000274		4000274								5/5/06 13:04		20060505.130453		Jones, Cullen B.		1882480		100070882		Yes		No				43		889		0

		KEYSPAN LNG, LP		RI900016		LNG FACILITY - USED TO BE ALGONQUIN		Waterfront Facility		LNG		RI		4000414		4000414								5/5/03 11:09		20030505.110947		Giese, Kirsten A.		1835665		100063645		Yes		No				44		945		0

		Kinder Morgan		MEMB33		Formerly Terra Nitrogen -- Ammonium Nitrate and Anhydrous Ammonia		Waterfront Facility		Bulk Liquid HAZMAT; Bulk Solid (HAZMAT); LHG (Other)		AR		4000288		4000288								8/17/06 15:44		20060817.15443		Monterroza, Allan  O.		1885128		100065509		Yes		Yes				34		616		0

		KinderMorgan Tampaplex Terminal		TAMLHG03		Products: Anhydrous Ammonia (NH3)

Previously: IMC Phosphates Port Sutton		Waterfront Facility		LHG (Other); MARPOL Reception		FL		4000284		4000284								11/3/05 12:09		20051103.120903		Hollis, Angela M.		1851001		91002828		Yes		Yes				50		1140		0

		KIRBY INLAND MARINE, LP		HOUHWLHG				Waterfront Facility		LHG (Other)		TX		4000409		4000409								7/23/04 12:57		20040723.125723		Sheltrown, Tiffany S.		1844506		98001413		Yes		Yes				28		453		0

		KOCH - East Alton		19808UMR		NITROGEN		Waterfront Facility		LHG (Other)		IL		4000417		4000417								11/1/04 9:31		20041101.093146		Clark, Patrick W.		1852084		91002117		Yes		Yes				1000000		2000000		0

		KOCH - Pekin Terminal		15801ILR		CARETAKER STATUS AS OF 29SEP04		Waterfront Facility		LHG (Other)		IL		4000417		4000417								2/15/06 14:03		20060215.140311		Johnson, Jeffrey A.		1880934		91003197		Yes		No				1000000		2000001		0

		KRATON POLYMERS LLC		HUN0017C				Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other)		OH		4000243		4000243								7/14/05 13:44		20050714.134451		Wilson, Randall T.		1848200		91002587		Yes		Yes				1000002		2000004		0

		Name		Primary Unique_Id

		LBC Houston L.P. (LHG)		HOUPELHG				Waterfront Facility		LHG (Other)		TX		4000409		4000409								12/9/04 16:17		20041209.161729		lapointe, roy w.		1874229		99000587		Yes		Yes				28		453		0

		LBC Houston, L.P.		HOUPETRU		154, 158 Facility		Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception		TX		4000409		4000409								12/9/04 16:18		20041209.161818		lapointe, roy w.		1874230		91003987		Yes		No				28		453		0

		LNG		SYS-100068467		SAVANNAH RIVER BETWEEN MARKER 40 AND 43		Waterfront Facility		LNG		GA		4000233		3933706								3/1/05 9:14		20050301.091447		barnett, charles j.		1875780		100068467		Yes		No				49		1125		0

		Louisiana Gas Development Corp.		BRWF104		Aka: Blind River Gas Plant (West Bank of Lake Maurepas)(LHG)		Waterfront Facility		LHG (Other)		LA		13		13								3/22/05 10:00		20050322.100028		Salva, Edward D.		1876125		91001662		Yes		No				39		717		0

		MILLENNIUM PETROCHEMICALS		HOUQUADP				Waterfront Facility		LHG (Other)		TX		4000409		4000409								1/9/04 16:59		20040109.165936		Dilworth, David C.		1844478		91003997		Yes		Yes				28		453		0

		Mississippi Phosphates		MOB046CA				Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other); MARPOL Reception		MS		4000190		4000190								7/19/05 14:45		20050719.144525		Bloyd, Kevin M.		1877563		92002626		Yes		Yes				37		683		0

		Mosaic Company		LOUMS033		CDC Facility (Anhydrous Ammonia)		Waterfront Facility		LHG (Other)		KY		4000231		4000231								7/5/05 15:08		20050705.150851		Hutchins, Walter C.		1877378		91002084		Yes		Yes				33		608		0

		MUNICIPAL PIER		RI900025		Also known as: MUNI		Waterfront Facility		Break Bulk (non-HAZMAT); Bulk Liquid HAZMAT; Bulk Oil; Bulk Solid (non-HAZMAT); LPG; MARPOL Reception		RI		77		4000414								3/4/04 14:24		20040304.142444		ROSS, DANIEL E.		1853356		91003140		Yes		No				44		945		0

		Northern Star Natural Gas		pdx99923				Waterfront Facility		LNG		TX												3/29/05 16:14		20050329.16141		Heaton, John M.		1876440		100068608		Yes		No				28		453		0

		OCCIDENTAL CHEMICAL		CORWF025		Also known as: OXYCHEM BARGE DOCKS		Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception		TX		4000221		4000221								10/25/04 11:03		20041025.110339		schultz, amanda n.		1841678		91003581		Yes		Yes				22		345		0

		OILTANKING - TEXAS CITY		GALMS046		Previously known as:  Dow/Union Carbide		Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception		TX		4000412		4000412								2/15/06 13:10		20060215.131013		Deases, David .		1880908		100066419		Yes		Yes				28		1214		0

		OILTANKING - TEXAS CITY		UNCARTCY		Previously known as: Dow & Union Carbide Corp.		Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other)		TX		29		4000412								3/9/06 16:54		20060309.1654		Deases, David .		1881438		92003033		Yes		No				28		1214		0

		OILTANKING HOUSTON INC		HOUOILTK		127, 154, 158 Facility		Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception; Pollution Response Gear Storage		TX		4000409		4000409								9/21/06 8:22		20060921.082201		Owen, William E.		1885508		91003983		Yes		Yes				28		453		0

		OLIN CHEMICAL CORPORATION		PADDF060				Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other)		TN		58		58								12/10/04 17:08		20041210.170814		Bogardus, Paul H.		1874282		91000401		Yes		No				1000001		2000013		0

		PCS Nitrogen Fertilizer L.P.		BRWF9				Waterfront Facility		Bulk Oil; LHG (Other); MARPOL Reception		LA		13		13								3/22/05 10:42		20050322.104205		Salva, Edward D.		1876140		91002015		Yes		Yes				39		733		0

		PCS PHOSPHATES		SAVWAT31		AKA White Springs,  Potash Inc.		Waterfront Facility		LHG (Other); MARPOL Reception		GA		4000233		4000233								8/22/05 14:32		20050822.143231		Webb, Robert D.		1878297		91003064		Yes		Yes				49		1125		0

		PORT EVERGLADES		MIAD0043		Bulk Liquid/Container/Non-Containerized/Passenger Vsls       PORT EVERGLADES AUTHORITY		Waterfront Facility		Assist/Escort Tugs; Break Bulk (non-HAZMAT); Bulk Liquid HAZMAT; Bulk Oil; Container; Emergency Services; Explosives (Class 1); LNG; Marine Event; MARPOL Reception; Passengers (Ferries, w/Vehicles); Passengers (Foreign Cruises); Pilot Station/Embarkation; Pollution Response Gear Storage; Ro-Ro; Safety/Security Services		FL		4000033		4000033								7/9/06 14:37		20060709.143708		Terrell, Richard D.		1883712		91005570		Yes		Yes				35		659		0

		Port of Galveston		SYS-100071992		Pier 39		Waterfront Facility		Assist/Escort Tugs; Barge Fleeting; Boat Ramp; Break Bulk (HAZMAT); Break Bulk (non-HAZMAT); Bulk Liquid (non-HAZMAT); Bulk Liquid HAZMAT; Bulk Oil; Bulk Solid (HAZMAT); Bulk Solid (non-HAZMAT); Commercial Fishing; Container; Emergency Services; Explosives (Class 1); Explosives (Other); LHG (Other); LNG; LPG; Marine Event; MARPOL Reception; Military (non-Specific); Military Supply; Offshore Support; Passengers (Domestic Cruises); Passengers (Ferries, no Vehicles); Passengers (Ferries, w/Vehicles); Passengers (Foreign Cruises); Pilot Station/Embarkation; Pollution Response Gear Storage; Radioactive Material; Railcars (Ferry); Recreation, Other; Recreational Boating (< 10 vessels); Recreational Boating (>= 10 vessels); Ro-Ro; Safety/Security Services; Ship Construction; Ship Repair; Timber/Logging		TX		4000412		4000412								11/15/06 13:30		20061115.133047		Torres, Melvin A.		1886140		100071992		Yes		No				28		1198		0

		PORT OF PORT LAVACA/POINT COMFORT		PLAWF008		CALHOUN COUNTY NAVIGATION DIST.		Waterfront Facility		Assist/Escort Tugs; Bulk Liquid HAZMAT; LPG; MARPOL Reception		TX		73		73								6/1/06 10:09		20060601.100942		Nemec, Mark A.		1883012		92001141		Yes		Yes				22		1187		0

		PORT OF STOCKTON		MSDD0019				Waterfront Facility		Break Bulk (HAZMAT); Break Bulk (non-HAZMAT); Bulk Liquid HAZMAT; Bulk Solid (HAZMAT); LHG (Other); MARPOL Reception		CA		4000396		4000396								7/28/04 13:13		20040728.131356		Kester, Greg B.		1864435		91003499		Yes		Yes				46		1068		0

		PPG Industries		LKCD063		Lake Charles, LA		Waterfront Facility		Barge Fleeting; Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception		LA		4000413		4000413								10/7/04 15:58		20041007.155855		Lanno, Daniel R.		1870228		91003733		Yes		Yes				41		118		0

		PPG INDUSTRIES		PITMS063		Mile 119.2 LDB, Ohio River		Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other)		WV		4000238		4000238								12/12/05 12:25		20051212.122515		Kingsberry, Shawntae A.		1880065		91001403		Yes		Yes				1000003		2000010		0

		PRO CARIBE		PROHM022		127 MTR Facilty  OPS. Man. Roberto Aponte		Waterfront Facility		LPG		PR		4000130		4000130								2/10/06 10:36		20060210.103629		Moran, Joanna L.		1880816		91002500		Yes		Yes				47		1089		0

		Promix, LLC		MORMD150		Belle River Facility		Waterfront Facility		Bulk Oil; LHG (Other)		LA		4000390		4000390								2/22/05 13:47		20050222.134759		Hebert, Harold A.		1875700		91003697		Yes		Yes				38		708		0

		Rentech Energy Midwest Corp.		57209UMR		105 FACIL - Anhydrous Ammonia NH3; East Dubuque, IA		Waterfront Facility		Bulk Liquid HAZMAT; LNG		IL		4000417		4000417								5/4/06 14:00		20060504.140022		Knapp, Kenneth W.		1882445		100064776		Yes		Yes				1000000		2000003		0

		Royster Clark Nitrogen		06908ILR				Waterfront Facility		LHG (Other)														11/14/06 15:15		20061114.15154		Johnson, Jeffrey A.		1886091		91002241		Yes		Yes				1000000		2000001		0

		SCOTT PETROLEUM		MEMG06				Waterfront Facility		LPG		MS		32										10/25/04 15:53		20041025.155319		Dixon, James T.		1846844		97001845		Yes		Yes				34		624		0

		SEA-3 Inc. of Florida		TAMLHG05		Product: LPG

Owner: Transammonia, Inc.		Waterfront Facility		LPG; MARPOL Reception		FL		4000284		4000284								11/3/05 12:26		20051103.122631		Decker, Stephanie A.		1850323		115		Yes		Yes				50		1140		0

		SEA-3, INC.		SEA3NH		SEA-3 TERMINAL NEWINGTON, NH		Waterfront Facility		LPG; MARPOL Reception		NH		4000232		4000232								6/29/05 14:54		20050629.145422		Foster, Aaron P.		1859022		91004731		Yes		Yes				42		867		0

		SHELL GUAM INC., (MTR: F-1 TO AGAT)		SYS-92000788		SHELL GUAM INC., (FOXTROT 1, CABRAS UP TO AGAT TERMINAL); AKA: SHELL PETROLEUM, SHELL GUAM, SHELL PACIFIC INC.; A 33 CFR 127/ 33 CFR 158 FACILITY/ 33 CFR 154		Waterfront Facility		Bulk Oil; LPG		GU		4000160		4000160								1/30/06 18:34		20060130.183434		Thomas, Jennifer .		1880479		92000788		Yes		Yes				25		380		0

		Shell Guam, Inc.		SYS-100063633		LPG Fixed Facility, F-1/Shell Fuel Dock; 6 inch LPG liquid line and 4 inch vapor return line, both owned by SPPC (South Pacific Petroleum Corp.)		Waterfront Facility		LPG		GU		4000160		4000160								10/30/05 5:32		20051030.053201		Thomas, Jennifer .		1879334		100063633		Yes		No				25		380		0

		SHELL OIL COMPANY		HOUSHLHG				Waterfront Facility		LHG (Other)		TX		4000409		4000409								9/8/05 15:02		20050908.150237		Langerman, Marc I.		1836084		96001792		Yes		No				28		453		0

		SOLUTIA INC.		GALMS054				Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other)		TX		4000412		4000412								10/25/04 15:25		20041025.152525		Deases, David .		1842464		97002054		Yes		Yes				28		1194		0

		Solutia Inc.		MOB032		AKA:  MONSANTO		Waterfront Facility		Bulk Liquid HAZMAT; LNG		FL		4000190		4000190								8/3/06 14:46		20060803.144657		Lisenby, Samuel .		1884833		91000679		Yes		Yes				37		2000038		0

		SOUTH PACIFIC PETROLEUM CORPORATIO		SYS-100064627		SOUTH PACIFIC PETROLEUM CORPORATION (SPPC) OWNER OF TWO LPG LINES FROM PIER F-1 TO SPPC'S RECEIVING MOUNDS.		Waterfront Facility		LPG		GU		4000160		4000160								10/30/05 4:51		20051030.045144		Thomas, Jennifer .		1879333		100064627		Yes		Yes				25		380		0

		Southern LNG		SAVWAT42		AKA: Southern Energy, El Paso Energy, El Paso Gas  PO Box 1367 Savannah, GA 31402		Waterfront Facility		LNG; MARPOL Reception		GA		4000233		4000233								2/15/06 10:25		20060215.102514		hatchitt, brian m.		1880883		91003110		Yes		Yes				49		1125		0

		STERLING CHEMICAL COMPANY		GALMS057				Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception		TX		4000412		4000412								2/9/06 15:29		20060209.152905		Deases, David .		1880806		92003035		Yes		Yes				28		1214		0

		TARGA MIDSTREAM SERVICES		TAMLHG04		Product: LPG

Also known as: Dynegy		Waterfront Facility		LPG		FL		4000284		4000284								5/19/06 7:49		20060519.074953		Bergstrom, Greg C.		1882850		91002845		Yes		Yes				50		1141		0

		Targa MIDSTREAM SERVICES L.P.		HOUWALHG		Galena Park Terminal		Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other); MARPOL Reception		TX		4000409		4000409								11/1/05 8:43		20051101.08433		Sheltrown, Tiffany S.		1879353		96000681		Yes		Yes				28		453		0

		Targa Midstream Services Ltd Partnership		MEMG08		Formerly known as: Dynegy Midstream Services		Waterfront Facility		LPG				32										3/16/06 16:50		20060316.16504		Moore, Keith A.		1881670		91000617		Yes		Yes				34		624		0

		TEPPCO		RI900028		Also known as:  TEXAS EASTERN		Waterfront Facility		LPG		RI		4000414		4000414								9/13/05 9:57		20050913.095752		Lafond, Michael A.		1857316		91003143		Yes		Yes				44		945		0

		Terra Mississippi Nitrogen		BRWF77		Formerly Triad Nitrogen		Waterfront Facility		LHG (Other); MARPOL Reception		LA		13		13								7/14/05 14:56		20050714.145649		hannan, tim m.		1877469		91003517		Yes		Yes				39		730		0

		Terra Nitrogen		MEMR21		Also known as: TERRA INDUSTRIES, INC.-VERDIGRIS PLANT		Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other)		OK		3934156										2/14/06 15:21		20060214.152138		FISHER, mark A.		1880865		91000504		Yes		Yes				34		619		0

		TESORO HAWAII CORP (SAND ISLAND)		HON26015				Waterfront Facility		Bulk Oil; LPG; Pollution Response Gear Storage		HI		4000120		4000120								10/28/04 18:40		20041028.184001		Franquez, Jon M.		1868324		1000422		Yes		Yes				27		420		0

		Texas Butylene Chemical Corp.		LKCD055		Westlake, LA		Waterfront Facility		LHG (Other)		LA		4000413		4000413								10/7/04 16:01		20041007.16015		Lanno, Daniel R.		1870232		91003740		Yes		Yes				41		118		0

		TEXAS PETROCHEMICAL CORP		HOUTXPET		127, 158 Facility		Waterfront Facility		LHG (Other); MARPOL Reception		TX		4000409		4000409								9/21/06 9:19		20060921.09192		Owen, William E.		1885514		91003366		Yes		Yes				28		453		0

		TEXAS PETROCHEMICAL CORPORATION		HOUTXLHG				Waterfront Facility		LHG (Other)		TX		4000409		4000409								2/4/98		19980204				1811560		96000680		Yes		No				28		453		0

		THE GAS COMPANY  (BPDDH)		HON26024		Also known as: CITIZEN'S UTILITIES		Waterfront Facility		LPG		HI		4000120		4000120								6/28/04 13:59		20040628.135907		Brown, Gary R.		1841183		91000908		Yes		Yes				27		418		0

		THE GAS COMPANY  (HILO PIER 3)		HON26027		Also known as: CITIZEN'S UTILITIES		Waterfront Facility		LNG		HI												6/28/04 15:14		20040628.151429		corrigan, shaun p.		1841253		92002867		Yes		Yes				27		419		0

		THE GAS COMPANY  (KAHULUI)		HON26025		Also known as: CITIZEN'S UTILITIES		Waterfront Facility		LNG		HI												9/8/04 17:32		20040908.173241		Brown, Gary R.		1841239		91002846		Yes		Yes				27		421		0

		THE GAS COMPANY  (NAWILIWILI)		HON26045		Also known as: CITIZEN'S UTILITIES		Waterfront Facility		LNG		HI												6/28/04 16:49		20040628.16492		corrigan, shaun p.		1850757		95001158		Yes		Yes				27		436		0

		TROPIGAS		PROHM025		127 LHG (propane)

POC:Quinones Rodolfo (FSO)		Waterfront Facility		LHG (Other); MARPOL Reception		PR		4000130		4000130								5/12/06 8:31		20060512.083128		Moran, Joanna L.		1882571		99000448		Yes		Yes				47		1088		0

		Trunkline LNG		LKCD060		aka (Panhandle) Lake Charles, LA		Waterfront Facility		LNG; MARPOL Reception		LA		4000413		4000413								6/7/05 13:49		20050607.134934		chatagnier, nolen j.		1877099		91003723		Yes		Yes				41		118		0

		VALERO REFINING		CORWF007		Ops: O.D. #6; WEST/EAST		Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LPG; MARPOL Reception		TX		4000221		4000221								10/25/04 11:08		20041025.11083		schultz, amanda n.		1866279		91002762		Yes		Yes				22		343		0





WSA.Est.

		WSAs submitted		22		3		year period

				7.33		per year

		Avg. per year		7		rounded

		Time to complete		4		months		source: CG personnel based on FSP time completion

				22		days per month

				8		hours per day

		Time (1 WSA)		704		per WSA

		Total time		4928		total annual hours to complete 7 WSAs

		Managerial work equivalent to LCDR

		out of gov't.						$   93.00		per hour

		Cost per WSA		$   65,472		per WSA

		Total WSA cost		$   458,304		annually

		Government Cost		7		WSAs submitted per year on average

		Time to review WSA		5		days

				8		hours per day

		Total time per WSA		40		hours

		Total WSA time		280		hours

		LCDR reviews WSA		$   71.00		per hour

		Total review cost		$   19,880		per year

		including LOR





LNG Table

		Table 12.2.  Estimated Burden Hours and Cost to Industry for LNG Facilities

														$105		Management Hourly Rate

														$79		Technician Hourly Rate

				9				Population LNG Facilities = # Respondents						$40		Clerical Hourly Rate

				Letter of								Ops Manual		Ops Manual		Emerg Manual		Emerg Manual		Person In Charge		Declaration		Maintenance

				Intent		WSA		Appeals		Alternatives		Development		Amendment		Development		Amendment		Quals and Certs		of Inspection		Records

		% Population responding annually		6%		-		1%		1%		3%		6%		3%		6%		100%		100%		100%

		# Annual Responses		8		7		0		0.00		0.0		0.00		0		0		11		414		9

		# Annual Respondents		8		7		0		0		0		0.0		0		0		9		9		9

		# Management Hours per response		2		704		8		8		15		1		15		1		2				0

		Management Hourly Rate		$105		$   93		$105		$105		$105		$105		$105		$105		$105		$105		$105

		# Technician Hours per Response		0		0		0		0		0		0		0		0		0		0		8

		Technician Hourly Rate		$79		-		$79		$79		$79		$79		$79		$79		$79		$79		$79

		# Clerical Hours per Response		0.5		-		2		2		5		1		5		1		0.5		0.5		0.5

		Clerical Hourly Rate		$40		-		$40		$40		$40		$40		$40		$40		$40		$40		$40

																						0

		Total Hours per Response		2.5		704		10		10		20		2		20		2		2.5		0.5		8.5

		Total Cost per Response		$230		$65,472		$920		$920		$1,775		$145		$1,775		$145		$230		$20		$652

		Total Burden Hours		20		4,928		0		0		0		0		0		0		28		207		77

		Total Burden Cost		$1,840		$458,304		$0		$0		$0		$0		$0		$0		$2,530		$8,280		$5,868

														Maintenance records accounts for 77 burden hours and $5,868 burden cost.

				9				Total Number of Annual Respondents (LNG)										168		Total (LNG + LHG)				$5,868

				449				Total Number of Annual Responses (LNG)										4,995		Total (LNG + LHG)

				5,260				Total Annual Burden Hours (LNG)										9,504		Total (LNG + LHG)				4,244

				$476,822				Total Annual Burden Cost (LNG)										$737,640		Total (LNG + LHG)				1,406

				NOTE:

				There are 9 LNG waterfront facilities currently operational.

				From information obtained from the field, we estimate that LNG facilities carry out about 46 transfers per year,

				per facility.  Therefore, we broke out LNG facilities separately from LHG facilities in order to be more transparent.



JSKerby:
Shoreside facilities, there are 113 total LNG facilities that include storage facilities and deepwater facilities and so on.  This collection only affects the 5 shoreside facilities that must submit or maintain these documents for current operations and future expansion projects as well as possible future facilities.

JSKerby:
After this COI was completed, we obtained info from the field on the number of LOIs submitted over 3-year period from 2004-2006.  There were a total of 22 LOIs either proposed to or approved by FERC.  This is an avergae of 7 per year.  However, 2004 had the most LOIs submitted with 11.  We still assume this growth rate but added these three years since the number of annual responses would have 0 and we've clearly shown that it is not 0.

JSKerby:
Data obtained from LANTAREA.  See spreadsheet.



Block 12 Data

		Table 12.1.  Estimated Burden Hours and Cost to Industry for LHG Facilities

																$105		Management Hourly Rate

																$79		Technician Hourly Rate

				159				Population of LHG Facilities = # Respondents								$40		Clerical Hourly Rate

				Letter of								Ops Manual		Ops Manual		Emerg Manual		Emerg Manual		Person In Charge		Declaration		Maintenance

				Intent		WSA		Appeals		Alternatives		Development		Amendment		Development		Amendment		Quals and Certs		of Inspection		Records

		% Population responding annually		6%		-		1%		1%		3%		6%		3%		6%		100%		100%		100%

		# Annual Responses		10		-		2		1		5		10		5		10		212		4,134		159

		# Annual Respondents		10		-		2		1		5		10		5		10		159		159		159

		# Management Hours per response		2				8		8		15		1		15		1		2				0

		Management Hourly Rate		$105				$105		$105		$105		$105		$105		$105		$105		$105		$105

		# Technician Hours per Response		0				0		0		0		0		0		0		0		0		8

		Technician Hourly Rate		$79				$79		$79		$79		$79		$79		$79		$79		$79		$79

		# Clerical Hours per Response		0.5				2		2		5		1		5		1		0.5		0.5		0.5

		Clerical Hourly Rate		$40				$40		$40		$40		$40		$40		$40		$40		$40		$40

																						0

		Total Hours per Response		2.5		-		10		10		20		2		20		2		2.5		0.5		8.5

		Total Cost per Response		$230		-		$920		$920		$1,775		$145		$1,775		$145		$230		$20		$652

		Total Burden Hours		25		-		20		10		100		20		100		20		530		2067		1352

		Total Burden Cost		$2,300		-		$1,840		$920		$8,875		$1,450		$8,875		$1,450		$48,760		$82,680		$103,668

				159				Total Number of Annual Respondents

				4,548				Total Number of Annual Responses

				4,244				Total Annual Burden Hours

				$260,818				Total Annual Burden Cost

		Table 12.2.  Estimated Burden Hours and Cost to Industry for LNG Facilities

																$105		Management Hourly Rate

																$79		Technician Hourly Rate

				9				Population LNG Facilities = # Respondents								$40		Clerical Hourly Rate

				Letter of								Ops Manual		Ops Manual		Emerg Manual		Emerg Manual		Person In Charge		Declaration		Maintenance

				Intent		WSA		Appeals		Alternatives		Development		Amendment		Development		Amendment		Quals and Certs		of Inspection		Records

		% Population responding annually		6%		-		1%		1%		3%		6%		3%		6%		100%		100%		100%

		# Annual Responses		8		7		0		0.00		0.0		0.00		0		0		11		414		9

		# Annual Respondents		8		7		0		0		0		0.0		0		0		9		9		9

		# Management Hours per response		2		704		8		8		15		1		15		1		2				0

		Management Hourly Rate		$105		$   93		$105		$105		$105		$105		$105		$105		$105		$105		$105

		# Technician Hours per Response		0		0		0		0		0		0		0		0		0		0		8

		Technician Hourly Rate		$79		-		$79		$79		$79		$79		$79		$79		$79		$79		$79

		# Clerical Hours per Response		0.5		-		2		2		5		1		5		1		0.5		0.5		0.5

		Clerical Hourly Rate		$40		-		$40		$40		$40		$40		$40		$40		$40		$40		$40

																						0

		Total Hours per Response		2.5		704		10		10		20		2		20		2		2.5		0.5		8.5

		Total Cost per Response		$230		$65,472		$920		$920		$1,775		$145		$1,775		$145		$230		$20		$652

		Total Burden Hours		20		4,928		0		0		0		0		0		0		28		207		77

		Total Burden Cost		$1,840		$458,304		$0		$0		$0		$0		$0		$0		$2,530		$8,280		$5,868

														Maintenance records accounts for 77 burden hours and $5,868 burden cost.

				9		Total Number of Annual Respondents (LNG)												168		Total (LNG + LHG)				$5,868		check

				449		Total Number of Annual Responses (LNG)												4,997		Total (LNG + LHG)

				5,260		Total Annual Burden Hours (LNG)												9,504		Total (LNG + LHG)				4,244

				$476,822		Total Annual Burden Cost (LNG)												$737,640		Total (LNG + LHG)				1,406

				NOTE:

				There are 9 LNG waterfront facilities currently operational.

				From information obtained from the field, we estimate that LNG facilities carry out about 46 transfers per year,

				per facility.  Therefore, we broke out LNG facilities separately from LHG facilities in order to be more transparent.



JSKerby:
After this COI was completed, we obtained info from the field on the number of LOIs submitted over 3-year period from 2004-2006.  There were a total of 22 LOIs either proposed to or approved by FERC.  This is an avergae of 7 per year.  However, 2004 had the most LOIs submitted with 11.  We still assume this growth rate but added these three years since the number of annual responses would have 0 and we've clearly shown that it is not 0.

JSKerby:
Data obtained from LANTAREA.  See spreadsheet.

JSKerby:
Shoreside facilities, there are 113 total LNG facilities that include storage facilities and deepwater facilities and so on.  This collection only affects the 5 shoreside facilities that must submit or maintain these documents for current operations and future expansion projects as well as possible future facilities.



Block 14 Data

		Table 14.1.  Estimated Burden Hours to the Government and Cost

				$61		O-3 "In Government" Rate

				$48		O-2 "In Government" Rate

				$44		E-6 "In Government" Rate

				$39		E-5 "In Government" Rate

				$71		O-4 "In Government" Rate

				$55		Average Officer Rate

				$42		Average Enlisted Rate

				# of Annual		% of Responses		# of Officer Hours		# of Enlisted Hours		TOTAL COAST		TOTAL COAST

				Responses		Reviewed by USCG		Required per Review		Required per Review		GUARD HOURS		GUARD COST

		Letter of Intent		18		100%		1		0		18		$990

		WSA		7		100%		40		0		280		$19,880

		Appeals		2		100%		8		1		18		$964

		Alternatives		1		100%		8		1		9		$482

		Ops Manual Development		5		100%		15		1		80		$4,335

		Ops Manual Amendment		10		100%		1		0.5		15		$760

		Emergency Manual Development		5		100%		15		1		80		$4,335

		Emergency Manual Amendment		10		100%		1		0.5		15		$760

		Person in Charge Quals and Certs		223		100%		0		0.25		56		$2,342

		Declaration of Inspection		4,576		25%		0		0.25		286		$12,012

		Maintenance Records		168		100%		0		0.25		42		$1,764

										GRAND TOTALS		899		$48,624





Spreadsheet Instructions

		

		Step 1		Obtain Raw Data		Use MISLE (or alternatively ask Tom to perform a query)

								>main menu

								>facilities/bridges

								>type=waterfront facility

								>check:

								LHG(other)

								LNG

								LPG

								>export to Excel

		Step 2		Clean Raw Data		remove duplicates (should not be many)

		Step 3		Print Raw Data and file in folder

		Step 4		Enter data into "Block 12 Data"		Only those cells in Blue must be changed:

				worksheet		>Total Population

						>Hourly Wage Rates "Out Gov't" for

						O-5 for Management

						O-3 for Technician

						E-4 for Clerical

		Step 5		Put proper page number and total

				number of pages in cell A30

		Step 6		Access the "Block 14" wkt		Enter data for cells bordered in blue, for

						hourly wage rates "In Gov't" for:

						O-2

						O-3

						E-5

						E-6

		Step 7		Ensure Data imported into SS		a. Open Supporting Statement

						b. Click "yes" when asked if external

						links should be updated

						c. verify SS updated links from spreadsheet.





Sheet1

		






06 Population

		Name		Primary Unique_Id		Description		Type		Sub Type		State		Unit		AOR Unit		Nav Hazard		Pollution Source		Safety Risk		Rev Date		Formatted Rev Date		Rev Individual		Facility Historical Id		Facility Id		Current?		MTSA Regulated		MTSA - No Plan Required		Sans COTP Id		SAns Port Id		MTSA - No Plan Required Reason

		Agrium Formerly Royster Clark (384 UMR)		38400UMR		105 FACIL - Anhydrous Ammonia; Niota, IL		Waterfront Facility		Bulk Liquid HAZMAT; LNG		IL		4000417		4000417		FALSE		FALSE		FALSE		11/20/06 10:55		20061120.105504		Garcia, Mellannie P.		1886168		100064775		Yes		Yes				1000000		2000003		0

		Agrium U.S. Inc.		KEND5002		formerly known as: UNOCAL CHEMICALS DIVISION		Waterfront Facility		Bulk Solid (non-HAZMAT); LHG (Other)		AK		44		4000433		FALSE		TRUE		FALSE		1/29/04 13:29		20040129.132903		Combs, Donald J.		1841370		91002877		Yes		Yes				5		107		0

		AGRIUM WEST SAC NITROGEN OPERATION		MSDF0001				Waterfront Facility		LHG (Other); MARPOL Reception		CA		4000396		4000396		FALSE		FALSE		FALSE		5/3/05 17:45		20050503.174502		Wells, Hubert L.		1842607		91003501		Yes		Yes				46		1057		0

		AMERIGAS		LOSMS137		FSO-Jeff Hamilton		Waterfront Facility		LNG		CA		4000210		4000210		FALSE		FALSE		FALSE		12/6/05 16:13		20051206.161308		Pottgieser, Robert D.		1879932		91002731		Yes		No				32		580		0

		AMERIGAS		MOB116		Panama City, FL // Propane facility		Waterfront Facility		LNG		FL		68		4000190		FALSE		FALSE		FALSE		7/8/04 15:31		20040708.153142		Marston, Randall S.		1853690		91004751		Yes		Yes				37		691		0

		Atlantic Energy Inc.		SYS-100063208		CDC - LHG facility		Waterfront Facility		LPG; MARPOL Reception		VA		4000294		4000294		FALSE		FALSE		FALSE		7/1/04 14:27		20040701.142711		guyton, diana .		1864056		100063208		Yes		Yes				26		395		0

		BASF - AMMONIA TERMINAL		GALMS005		Also known as: THE LEMM CORPORATION		Waterfront Facility		LHG (Other); MARPOL Reception		TX		4000412		4000412		FALSE		FALSE		TRUE		2/6/06 15:51		20060206.155143		Deases, David .		1880641		93000675		Yes		Yes				28		1197		0

		BASF - AMMONIA TERMINAL		LEMCORAD				Waterfront Facility		LHG (Other)		TX		29		4000412		FALSE		FALSE		TRUE		3/16/06 10:31		20060316.103156		Deases, David .		1881611		92003047		Yes		No				28		1197		0

		BP/ARCO Ferndale "LHG"		SEA127001				Waterfront Facility		LHG (Other)		WA		4000220		4000220		FALSE		FALSE		FALSE		11/4/04 12:19		20041104.121903		Valenti, Matthew J.		1851437		94002716		Yes		Yes				45		977		0

		C.F. INDUSTRIES		14505ILR		KINGSTON MINES, IL		Waterfront Facility		LHG (Other)		IL		4000417		4000417		FALSE		FALSE		FALSE		9/28/04 14:26		20040928.142658		Foster, Sally C.		1849308		91003204		Yes		Yes				1000000		2000001		0

		C.F. INDUSTRIES		32005UMR		Anhydrous Ammonia		Waterfront Facility		LHG (Other)		MO		4000417		4000417		FALSE		FALSE		FALSE		3/30/04 10:43		20040330.104358		miller, brandon w.		1855827		91002264		Yes		Yes				1000000		2000001		0

		C.F. INDUSTRIES		50906UMR		105 FACIL-Anhydrous Ammonia NH3 - Active; Cordova,IL		Waterfront Facility		Bulk Liquid HAZMAT; LNG		IL		4000417		4000417		FALSE		FALSE		FALSE		7/18/05 14:05		20050718.140504		Barger, Christian J.		1852110		100065680		Yes		Yes				1000000		2000003		0

		C.F. INDUSTRIES (823.0 UMR)		82380UMR		Anhydrous Ammonia

Urea Ammonium Nitrate (28%)		Waterfront Facility		LHG (Other)		MN		4000417		4000417		FALSE		FALSE		FALSE		9/20/06 21:49		20060920.214941		Cunningham, James  T.		1885504		100064811		Yes		Yes				1000000		2000002		0

		CALIFORNIA AMMONIA CO.		MSDF0002		LHG: Anhydrous Ammonia		Waterfront Facility		LHG (Other); MARPOL Reception		CA		4000396		4000396		FALSE		FALSE		FALSE		3/30/06 19:18		20060330.191828		Pugh, Eric W.		1882028		91003502		Yes		Yes				46		1068		0

		CF Industries Inc.		BRWF19		127, 154, 158		Waterfront Facility		Bulk Solid (HAZMAT); LPG; MARPOL Reception		LA		13		13		FALSE		FALSE		FALSE		3/21/05 16:44		20050321.16445		Salva, Edward D.		1876045		91002042		Yes		Yes				39		717		0

		CF INDUSTRIES, INC.		TAMLHG01		Product: Anhydrous Ammonia (NH3)		Waterfront Facility		LHG (Other); MARPOL Reception		FL		4000284		4000284		FALSE		FALSE		TRUE		9/24/04 12:53		20040924.125312		Weiller, Chris F.		1843921		91002837		Yes		Yes				50		1133		0

		CF INDUSTRIES, INC.      MI 831.1		LOUMS038		CDC Facility (Anhydrous Ammonia)		Waterfront Facility		LHG (Other)						4000231		FALSE		FALSE		FALSE		7/5/05 15:48		20050705.154816		Hutchins, Walter C.		1877384		91002093		Yes		Yes				33		610		0

		CHEROKEE NITROGEN		PADDF037				Waterfront Facility		Bulk Liquid HAZMAT; Bulk Solid (HAZMAT); Explosives (Other); LHG (Other)		AL		58		58		FALSE		FALSE		FALSE		6/29/04 9:59		20040629.095935		Eckard, Chris S.		1841815		92000046		Yes		Yes				33		2000009		0

		CHEVRON PHILLIPS CHEMICALS PUERTO RICO C		PROHM008		154, 127 MTR Facility and 105 MTSA Facility		Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception		PR		4000130		4000130		FALSE		FALSE		FALSE		8/18/06 9:40		20060818.094059		Tonon, David M.		1885158		91002512		Yes		Yes				47		1079		0

		Chevron Texaco - Pascagoula		MOB006CA				Waterfront Facility		Bulk Oil; LNG; MARPOL Reception		MS		4000190		4000190		FALSE		FALSE		FALSE		9/7/06 11:41		20060907.114157		Lisenby, Samuel .		1885318		91005270		Yes		Yes				37		692		0

		Citgo Petroleum Corp. Lake Charles Refin		LKCD064		AKA: Citgo Refinery		Waterfront Facility		Bulk Oil; LHG (Other); MARPOL Reception		LA		4000413		4000413		FALSE		FALSE		FALSE		6/22/04 13:07		20040622.130746		Davison, Chad .		1861127		91003707		Yes		Yes				41		118		0

		Commonwealth Oil Refinning Corp. (CORCO)		PROHM016		154 and 127 MTR Facility (CORCO)		Waterfront Facility		Bulk Oil; LPG		PR		4000130		4000130		FALSE		FALSE		FALSE		10/30/06 10:00		20061030.1		Tonon, David M.		1885930		100061874		Yes		Yes				47		1080		0

		ConocoPhillips Alaska		KEND5004		Phillips LNG		Waterfront Facility		Bulk Oil; LNG; MARPOL Reception		AK		44		4000433		FALSE		TRUE		FALSE		9/16/04 12:16		20040916.121627		Hardy, Jerry L.		1841371		91002860		Yes		Yes				5		107		0

		COVE POINT LNG TERMINAL		SYS-100070390		LNG		Waterfront Facility		LNG		MD		11		3933741		FALSE		FALSE		FALSE		2/9/06 23:33		20060209.233357		Downham, Rachel N.		1880814		100070390		Yes		No				1		9		0

		Crosstex		BRWF30		Aka: El Paso Field Services, LP. Coastal Field Services Co. and Transcanada Gas Processing		Waterfront Facility		Bulk Oil; LHG (Other)		LA		13		13		FALSE		FALSE		FALSE		2/6/06 9:36		20060206.093628		Pohlman, James R.		1880631		91002074		Yes		Yes				39		733		0

		Crosstex Processing Services, LLC		LKCD052		AKA: El Paso (Tennesse Gas Pipeline)                                          Bayou Nezpique and Mermentau River		Waterfront Facility		Bulk Oil; LHG (Other)		LA		4000413		4000413		FALSE		FALSE		FALSE		11/9/05 10:52		20051109.105249		chatagnier, nolen j.		1879439		91003768		Yes		Yes				41		118		0

		DISTRIGAS OF MA CORPORATION		BSNDISTR		LNG TERMINAL		Waterfront Facility		LNG		MA		4000140		4000140		FALSE		FALSE		TRUE		10/26/04 14:35		20041026.143538		White, Timothy J.		1854300		91000321		Yes		Yes				17		273		0

		Dominion Cove Point LNG, LP		BAL00026		LNG Facility with an off-shore platform		Waterfront Facility		LNG		MD		11		11		FALSE		FALSE		FALSE		6/27/05 9:25		20050627.092534		Hoetker, Stuart J.		1840865		91001846		Yes		Yes				1		9		0

		DOW CHEMICAL - FREEPORT		GALMS016				Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception		TX		4000412		4000412		FALSE		TRUE		FALSE		2/8/06 11:35		20060208.113555		Deases, David .		1880691		92003036		Yes		Yes				28		1197		0

		Dow Chemical (Docks One and Two)		BRWF27				Waterfront Facility		Bulk Oil; LHG (Other); MARPOL Reception		LA		13		13		FALSE		FALSE		FALSE		3/22/05 8:40		20050322.084009		Salva, Edward D.		1876069		91002069		Yes		Yes				39		754		0

		DYNO NOBEL INC.		PITMS016		Cargo Anhydrous Ammonia                                           Mile 35.9 LDB, Monongahela River		Waterfront Facility		LHG (Other)		PA		4000238		4000238		FALSE		FALSE		FALSE		12/12/05 10:45		20051212.104547		Kingsberry, Shawntae A.		1880047		91001176		Yes		Yes				1000003		2000010		0

		E. I. DUPONT COMPANY NEW JOHNSONVILLE		PADDF064		New Johnsonville		Waterfront Facility		LHG (Other)		TN		58		58		FALSE		FALSE		FALSE		7/20/05 9:10		20050720.091031		Creager, David B.		1877581		91000342		Yes		Yes				1000001		2000013		0

		ECO-ELECTRICA, LP		PROHM026		127 MTR Facility (LNG)  POC: Oscar Cedeno/Yvette Laborde		Waterfront Facility		LNG; MARPOL Reception		PR		4000130		4000130		FALSE		FALSE		FALSE		10/11/05 14:17		20051011.141704		Moran, Joanna L.		1878909		99000477		Yes		Yes				47		1080		0

		Enterprise Tebone Refractions		BRWF137		Uses El Paso Field Services Dock		Waterfront Facility		Bulk Oil; LNG		LA		13		13		FALSE		FALSE		FALSE		9/28/04 14:23		20040928.142329		clark, james l.		1858704		100066545		Yes		Yes				39		717		0

		G.E. PLASTICS		HUN0018C				Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other)		WV		4000243		4000243		FALSE		FALSE		FALSE		1/27/04 13:31		20040127.133116		Scott, Adam W.		1848174		91002589		Yes		Yes				1000002		2000004		0

		GULF (Caribbean Petroleum Refining)		PROHM015		154 and 127 MTR Facility

POC: Domingo Perez (FSO)

POC: Miguel Berríos		Waterfront Facility		Bulk Oil; LHG (Other); MARPOL Reception		PR		4000130		4000130		FALSE		FALSE		FALSE		4/28/06 11:38		20060428.11385		Tonon, David M.		1882372		91002144		Yes		Yes				47		1088		0

		Helis Oil & Gas		MORML100		Willow Cove		Waterfront Facility		LNG		LA		4000390		4000390		FALSE		TRUE		FALSE		3/25/05 10:20		20050325.102039		Kupietz, Adrianne M.		1876393		100067518		Yes		No				38		708		0

		Honeywell		BRWF2		Ex Allied-Signal Inc.		Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other)		LA		13		13		FALSE		FALSE		FALSE		3/22/05 9:36		20050322.093622		Salva, Edward D.		1876105		91001581		Yes		Yes				39		717		0

		HONOLULU; BARBERS POINT HARBOR		HON25035		STATE OF HAWAII		Waterfront Facility		Break Bulk (HAZMAT); Break Bulk (non-HAZMAT); Bulk Liquid (non-HAZMAT); Bulk Liquid HAZMAT; LPG		HI		4000120		4000120		FALSE		FALSE		FALSE		10/25/04 14:50		20041025.145028		Franquez, Jon M.		1868662		96001430		Yes		Yes				27		418		0

		HOUSTON AMMONIA TERMINAL		HOUWHLHG				Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other); MARPOL Reception		TX		4000409		4000409		FALSE		FALSE		FALSE		6/13/06 13:31		20060613.133105		Morrin, Kevin P.		1883140		91003977		Yes		Yes				28		453		0

		HOVENSA, L.L.C. - LHG		STCD506		Refrigerated butane facility.		Waterfront Facility		LHG (Other)		VI		91		4000130		FALSE		FALSE		FALSE		11/8/04 8:25		20041108.082555		Weiller, Chris F.		1870587		100063109		Yes		Yes				47		1215		1

		INEOS O&P - CHOCOLATE BAYOU		GALMS031		Previously known as Innovene, O&D, and BP Chem Chocolate Bayou		Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other)		TX		4000412		4000412		FALSE		TRUE		FALSE		8/11/06 11:58		20060811.115853		Deases, David .		1885005		91004793		Yes		Yes				28		1194		0

		INNOVENE		CHOONDNA		previously known as O&D and BP- Chocolate Bayou		Waterfront Facility		LHG (Other)		TX		29		4000412		FALSE		TRUE		FALSE		3/21/06 10:32		20060321.103215		Deases, David .		1881758		100068244		Yes		No				28		1194		0

		Intercontinental Terminals Company		BRWF84		Aka: Anchorage Chemical Terminal (ACT)		Waterfront Facility		LHG (Other)		LA		13		13		FALSE		FALSE		FALSE		3/30/05 15:37		20050330.153703		Salva, Edward D.		1876452		95000080		Yes		Yes				39		717		0

		INTERCONTINENTAL TERMINALS, INC.		HOUITCCO				Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception		TX		4000409		4000409		FALSE		FALSE		FALSE		12/9/04 15:35		20041209.153507		lapointe, roy w.		1874222		91003955		Yes		No				28		453		0

		Jordan Cove Energy Project		PDX20063		LNG Receiving Terminal at Coos Bay, OR		Waterfront Facility		LNG		OR		4000274		4000274		FALSE		FALSE		FALSE		5/5/06 13:04		20060505.130453		Jones, Cullen B.		1882480		100070882		Yes		No				43		889		0

		KEYSPAN LNG, LP		RI900016		LNG FACILITY - USED TO BE ALGONQUIN		Waterfront Facility		LNG		RI		4000414		4000414		FALSE		FALSE		TRUE		5/5/03 11:09		20030505.110947		Giese, Kirsten A.		1835665		100063645		Yes		No				44		945		0

		Kinder Morgan		MEMB33		Formerly Terra Nitrogen -- Ammonium Nitrate and Anhydrous Ammonia		Waterfront Facility		Bulk Liquid HAZMAT; Bulk Solid (HAZMAT); LHG (Other)		AR		4000288		4000288		FALSE		FALSE		FALSE		8/17/06 15:44		20060817.15443		Monterroza, Allan  O.		1885128		100065509		Yes		Yes				34		616		0

		KinderMorgan Tampaplex Terminal		TAMLHG03		Products: Anhydrous Ammonia (NH3)

Previously: IMC Phosphates Port Sutton

		Waterfront Facility		LHG (Other); MARPOL Reception		FL		4000284		4000284		FALSE		FALSE		TRUE		11/3/05 12:09		20051103.120903		Hollis, Angela M.		1851001		91002828		Yes		Yes				50		1140		0

		KIRBY INLAND MARINE, LP		HOUHWLHG				Waterfront Facility		LHG (Other)		TX		4000409		4000409		FALSE		FALSE		FALSE		7/23/04 12:57		20040723.125723		Sheltrown, Tiffany S.		1844506		98001413		Yes		Yes				28		453		0

		KOCH - East Alton		19808UMR		NITROGEN		Waterfront Facility		LHG (Other)		IL		4000417		4000417		FALSE		FALSE		FALSE		11/1/04 9:31		20041101.093146		Clark, Patrick W.		1852084		91002117		Yes		Yes				1000000		2000000		0

		KOCH - Pekin Terminal		15801ILR		CARETAKER STATUS AS OF 29SEP04		Waterfront Facility		LHG (Other)		IL		4000417		4000417		FALSE		FALSE		FALSE		2/15/06 14:03		20060215.140311		Johnson, Jeffrey A.		1880934		91003197		Yes		No				1000000		2000001		0

		KRATON POLYMERS LLC		HUN0017C				Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other)		OH		4000243		4000243		FALSE		FALSE		FALSE		7/14/05 13:44		20050714.134451		Wilson, Randall T.		1848200		91002587		Yes		Yes				1000002		2000004		0



		Name		Primary Unique_Id

		LBC Houston L.P. (LHG)		HOUPELHG				Waterfront Facility		LHG (Other)		TX		4000409		4000409		FALSE		FALSE		FALSE		12/9/04 16:17		20041209.161729		lapointe, roy w.		1874229		99000587		Yes		Yes				28		453		0

		LBC Houston, L.P.		HOUPETRU		154, 158 Facility		Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception		TX		4000409		4000409		FALSE		FALSE		FALSE		12/9/04 16:18		20041209.161818		lapointe, roy w.		1874230		91003987		Yes		No				28		453		0

		LNG		SYS-100068467		SAVANNAH RIVER BETWEEN MARKER 40 AND 43		Waterfront Facility		LNG		GA		4000233		3933706		FALSE		FALSE		TRUE		3/1/05 9:14		20050301.091447		barnett, charles j.		1875780		100068467		Yes		No				49		1125		0

		Louisiana Gas Development Corp.		BRWF104		Aka: Blind River Gas Plant (West Bank of Lake Maurepas)(LHG)		Waterfront Facility		LHG (Other)		LA		13		13		FALSE		FALSE		FALSE		3/22/05 10:00		20050322.100028		Salva, Edward D.		1876125		91001662		Yes		No				39		717		0

		MILLENNIUM PETROCHEMICALS		HOUQUADP				Waterfront Facility		LHG (Other)		TX		4000409		4000409		FALSE		FALSE		FALSE		1/9/04 16:59		20040109.165936		Dilworth, David C.		1844478		91003997		Yes		Yes				28		453		0

		Mississippi Phosphates		MOB046CA				Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other); MARPOL Reception		MS		4000190		4000190		FALSE		FALSE		FALSE		7/19/05 14:45		20050719.144525		Bloyd, Kevin M.		1877563		92002626		Yes		Yes				37		683		0

		Mosaic Company		LOUMS033		CDC Facility (Anhydrous Ammonia)		Waterfront Facility		LHG (Other)		KY		4000231		4000231		FALSE		FALSE		TRUE		7/5/05 15:08		20050705.150851		Hutchins, Walter C.		1877378		91002084		Yes		Yes				33		608		0

		MUNICIPAL PIER		RI900025		Also known as: MUNI		Waterfront Facility		Break Bulk (non-HAZMAT); Bulk Liquid HAZMAT; Bulk Oil; Bulk Solid (non-HAZMAT); LPG; MARPOL Reception		RI		77		4000414		FALSE		FALSE		FALSE		3/4/04 14:24		20040304.142444		ROSS, DANIEL E.		1853356		91003140		Yes		No				44		945		0

		Northern Star Natural Gas		pdx99923				Waterfront Facility		LNG		TX						FALSE		FALSE		FALSE		3/29/05 16:14		20050329.16141		Heaton, John M.		1876440		100068608		Yes		No				28		453		0

		OCCIDENTAL CHEMICAL		CORWF025		Also known as: OXYCHEM BARGE DOCKS		Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception		TX		4000221		4000221		FALSE		FALSE		FALSE		10/25/04 11:03		20041025.110339		schultz, amanda n.		1841678		91003581		Yes		Yes				22		345		0

		OILTANKING - TEXAS CITY		GALMS046		Previously known as:  Dow/Union Carbide		Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception		TX		4000412		4000412		FALSE		TRUE		FALSE		2/15/06 13:10		20060215.131013		Deases, David .		1880908		100066419		Yes		Yes				28		1214		0

		OILTANKING - TEXAS CITY		UNCARTCY		Previously known as: Dow & Union Carbide Corp.		Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other)		TX		29		4000412		FALSE		TRUE		FALSE		3/9/06 16:54		20060309.1654		Deases, David .		1881438		92003033		Yes		No				28		1214		0

		OILTANKING HOUSTON INC		HOUOILTK		127, 154, 158 Facility		Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception; Pollution Response Gear Storage		TX		4000409		4000409		FALSE		FALSE		FALSE		9/21/06 8:22		20060921.082201		Owen, William E.		1885508		91003983		Yes		Yes				28		453		0

		OLIN CHEMICAL CORPORATION		PADDF060				Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other)		TN		58		58		FALSE		FALSE		FALSE		12/10/04 17:08		20041210.170814		Bogardus, Paul H.		1874282		91000401		Yes		No				1000001		2000013		0

		PCS Nitrogen Fertilizer L.P.		BRWF9				Waterfront Facility		Bulk Oil; LHG (Other); MARPOL Reception		LA		13		13		FALSE		FALSE		FALSE		3/22/05 10:42		20050322.104205		Salva, Edward D.		1876140		91002015		Yes		Yes				39		733		0

		PCS PHOSPHATES		SAVWAT31		AKA White Springs,  Potash Inc.		Waterfront Facility		LHG (Other); MARPOL Reception		GA		4000233		4000233		FALSE		FALSE		TRUE		8/22/05 14:32		20050822.143231		Webb, Robert D.		1878297		91003064		Yes		Yes				49		1125		0

		PORT EVERGLADES		MIAD0043		Bulk Liquid/Container/Non-Containerized/Passenger Vsls       PORT EVERGLADES AUTHORITY		Waterfront Facility		Assist/Escort Tugs; Break Bulk (non-HAZMAT); Bulk Liquid HAZMAT; Bulk Oil; Container; Emergency Services; Explosives (Class 1); LNG; Marine Event; MARPOL Reception; Passengers (Ferries, w/Vehicles); Passengers (Foreign Cruises); Pilot Station/Embarkation; Pollution Response Gear Storage; Ro-Ro; Safety/Security Services		FL		4000033		4000033		FALSE		FALSE		FALSE		7/9/06 14:37		20060709.143708		Terrell, Richard D.		1883712		91005570		Yes		Yes				35		659		0

		Port of Galveston		SYS-100071992		Pier 39		Waterfront Facility		Assist/Escort Tugs; Barge Fleeting; Boat Ramp; Break Bulk (HAZMAT); Break Bulk (non-HAZMAT); Bulk Liquid (non-HAZMAT); Bulk Liquid HAZMAT; Bulk Oil; Bulk Solid (HAZMAT); Bulk Solid (non-HAZMAT); Commercial Fishing; Container; Emergency Services; Explosives (Class 1); Explosives (Other); LHG (Other); LNG; LPG; Marine Event; MARPOL Reception; Military (non-Specific); Military Supply; Offshore Support; Passengers (Domestic Cruises); Passengers (Ferries, no Vehicles); Passengers (Ferries, w/Vehicles); Passengers (Foreign Cruises); Pilot Station/Embarkation; Pollution Response Gear Storage; Radioactive Material; Railcars (Ferry); Recreation, Other; Recreational Boating (< 10 vessels); Recreational Boating (>= 10 vessels); Ro-Ro; Safety/Security Services; Ship Construction; Ship Repair; Timber/Logging		TX		4000412		4000412		FALSE		FALSE		FALSE		11/15/06 13:30		20061115.133047		Torres, Melvin A.		1886140		100071992		Yes		No				28		1198		0

		PORT OF PORT LAVACA/POINT COMFORT		PLAWF008		CALHOUN COUNTY NAVIGATION DIST.		Waterfront Facility		Assist/Escort Tugs; Bulk Liquid HAZMAT; LPG; MARPOL Reception		TX		73		73		FALSE		FALSE		FALSE		6/1/06 10:09		20060601.100942		Nemec, Mark A.		1883012		92001141		Yes		Yes				22		1187		0

		PORT OF STOCKTON		MSDD0019				Waterfront Facility		Break Bulk (HAZMAT); Break Bulk (non-HAZMAT); Bulk Liquid HAZMAT; Bulk Solid (HAZMAT); LHG (Other); MARPOL Reception		CA		4000396		4000396		FALSE		FALSE		FALSE		7/28/04 13:13		20040728.131356		Kester, Greg B.		1864435		91003499		Yes		Yes				46		1068		0

		PPG Industries		LKCD063		Lake Charles, LA		Waterfront Facility		Barge Fleeting; Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception		LA		4000413		4000413		FALSE		FALSE		FALSE		10/7/04 15:58		20041007.155855		Lanno, Daniel R.		1870228		91003733		Yes		Yes				41		118		0

		PPG INDUSTRIES		PITMS063		Mile 119.2 LDB, Ohio River		Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other)		WV		4000238		4000238		FALSE		FALSE		FALSE		12/12/05 12:25		20051212.122515		Kingsberry, Shawntae A.		1880065		91001403		Yes		Yes				1000003		2000010		0

		PRO CARIBE		PROHM022		127 MTR Facilty  OPS. Man. Roberto Aponte		Waterfront Facility		LPG		PR		4000130		4000130		FALSE		FALSE		FALSE		2/10/06 10:36		20060210.103629		Moran, Joanna L.		1880816		91002500		Yes		Yes				47		1089		0

		Promix, LLC		MORMD150		Belle River Facility		Waterfront Facility		Bulk Oil; LHG (Other)		LA		4000390		4000390		FALSE		TRUE		TRUE		2/22/05 13:47		20050222.134759		Hebert, Harold A.		1875700		91003697		Yes		Yes				38		708		0

		Rentech Energy Midwest Corp.		57209UMR		105 FACIL - Anhydrous Ammonia NH3; East Dubuque, IA		Waterfront Facility		Bulk Liquid HAZMAT; LNG		IL		4000417		4000417		FALSE		FALSE		FALSE		5/4/06 14:00		20060504.140022		Knapp, Kenneth W.		1882445		100064776		Yes		Yes				1000000		2000003		0

		Royster Clark Nitrogen		06908ILR				Waterfront Facility		LHG (Other)								FALSE		FALSE		FALSE		11/14/06 15:15		20061114.15154		Johnson, Jeffrey A.		1886091		91002241		Yes		Yes				1000000		2000001		0

		SCOTT PETROLEUM		MEMG06				Waterfront Facility		LPG		MS		32				FALSE		FALSE		FALSE		10/25/04 15:53		20041025.155319		Dixon, James T.		1846844		97001845		Yes		Yes				34		624		0

		SEA-3 Inc. of Florida		TAMLHG05		Product: LPG

Owner: Transammonia, Inc.

		Waterfront Facility		LPG; MARPOL Reception		FL		4000284		4000284		FALSE		FALSE		TRUE		11/3/05 12:26		20051103.122631		Decker, Stephanie A.		1850323		115		Yes		Yes				50		1140		0

		SEA-3, INC.		SEA3NH		SEA-3 TERMINAL NEWINGTON, NH		Waterfront Facility		LPG; MARPOL Reception		NH		4000232		4000232		FALSE		FALSE		FALSE		6/29/05 14:54		20050629.145422		Foster, Aaron P.		1859022		91004731		Yes		Yes				42		867		0

		SHELL GUAM INC., (MTR: F-1 TO AGAT)		SYS-92000788		SHELL GUAM INC., (FOXTROT 1, CABRAS UP TO AGAT TERMINAL); AKA: SHELL PETROLEUM, SHELL GUAM, SHELL PACIFIC INC.; A 33 CFR 127/ 33 CFR 158 FACILITY/ 33 CFR 154		Waterfront Facility		Bulk Oil; LPG		GU		4000160		4000160		FALSE		FALSE		FALSE		1/30/06 18:34		20060130.183434		Thomas, Jennifer .		1880479		92000788		Yes		Yes				25		380		0

		Shell Guam, Inc.		SYS-100063633		LPG Fixed Facility, F-1/Shell Fuel Dock; 6 inch LPG liquid line and 4 inch vapor return line, both owned by SPPC (South Pacific Petroleum Corp.)		Waterfront Facility		LPG		GU		4000160		4000160		FALSE		FALSE		FALSE		10/30/05 5:32		20051030.053201		Thomas, Jennifer .		1879334		100063633		Yes		No				25		380		0

		SHELL OIL COMPANY		HOUSHLHG				Waterfront Facility		LHG (Other)		TX		4000409		4000409		FALSE		FALSE		FALSE		9/8/05 15:02		20050908.150237		Langerman, Marc I.		1836084		96001792		Yes		No				28		453		0

		SOLUTIA INC.		GALMS054				Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other)		TX		4000412		4000412		FALSE		TRUE		FALSE		10/25/04 15:25		20041025.152525		Deases, David .		1842464		97002054		Yes		Yes				28		1194		0

		Solutia Inc.		MOB032		AKA:  MONSANTO		Waterfront Facility		Bulk Liquid HAZMAT; LNG		FL		4000190		4000190		FALSE		FALSE		FALSE		8/3/06 14:46		20060803.144657		Lisenby, Samuel .		1884833		91000679		Yes		Yes				37		2000038		0

		SOUTH PACIFIC PETROLEUM CORPORATIO		SYS-100064627		SOUTH PACIFIC PETROLEUM CORPORATION (SPPC) OWNER OF TWO LPG LINES FROM PIER F-1 TO SPPC'S RECEIVING MOUNDS.		Waterfront Facility		LPG		GU		4000160		4000160		FALSE		FALSE		FALSE		10/30/05 4:51		20051030.045144		Thomas, Jennifer .		1879333		100064627		Yes		Yes				25		380		0

		Southern LNG		SAVWAT42		AKA: Southern Energy, El Paso Energy, El Paso Gas  PO Box 1367 Savannah, GA 31402		Waterfront Facility		LNG; MARPOL Reception		GA		4000233		4000233		FALSE		FALSE		FALSE		2/15/06 10:25		20060215.102514		hatchitt, brian m.		1880883		91003110		Yes		Yes				49		1125		0

		STERLING CHEMICAL COMPANY		GALMS057				Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception		TX		4000412		4000412		FALSE		TRUE		FALSE		2/9/06 15:29		20060209.152905		Deases, David .		1880806		92003035		Yes		Yes				28		1214		0

		TARGA MIDSTREAM SERVICES		TAMLHG04		Product: LPG

Also known as: Dynegy		Waterfront Facility		LPG		FL		4000284		4000284		FALSE		FALSE		TRUE		5/19/06 7:49		20060519.074953		Bergstrom, Greg C.		1882850		91002845		Yes		Yes				50		1141		0

		Targa MIDSTREAM SERVICES L.P.		HOUWALHG		Galena Park Terminal		Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other); MARPOL Reception		TX		4000409		4000409		FALSE		FALSE		FALSE		11/1/05 8:43		20051101.08433		Sheltrown, Tiffany S.		1879353		96000681		Yes		Yes				28		453		0

		Targa Midstream Services Ltd Partnership		MEMG08		Formerly known as: Dynegy Midstream Services		Waterfront Facility		LPG				32				FALSE		FALSE		FALSE		3/16/06 16:50		20060316.16504		Moore, Keith A.		1881670		91000617		Yes		Yes				34		624		0

		TEPPCO		RI900028		Also known as:  TEXAS EASTERN		Waterfront Facility		LPG		RI		4000414		4000414		FALSE		FALSE		FALSE		9/13/05 9:57		20050913.095752		Lafond, Michael A.		1857316		91003143		Yes		Yes				44		945		0

		Terra Mississippi Nitrogen		BRWF77		Formerly Triad Nitrogen		Waterfront Facility		LHG (Other); MARPOL Reception		LA		13		13		FALSE		FALSE		FALSE		7/14/05 14:56		20050714.145649		hannan, tim m.		1877469		91003517		Yes		Yes				39		730		0

		Terra Nitrogen		MEMR21		Also known as: TERRA INDUSTRIES, INC.-VERDIGRIS PLANT		Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other)		OK		3934156				FALSE		FALSE		FALSE		2/14/06 15:21		20060214.152138		FISHER, mark A.		1880865		91000504		Yes		Yes				34		619		0

		TESORO HAWAII CORP (SAND ISLAND)		HON26015				Waterfront Facility		Bulk Oil; LPG; Pollution Response Gear Storage		HI		4000120		4000120		FALSE		FALSE		FALSE		10/28/04 18:40		20041028.184001		Franquez, Jon M.		1868324		1000422		Yes		Yes				27		420		0

		Texas Butylene Chemical Corp.		LKCD055		Westlake, LA		Waterfront Facility		LHG (Other)		LA		4000413		4000413		FALSE		FALSE		FALSE		10/7/04 16:01		20041007.16015		Lanno, Daniel R.		1870232		91003740		Yes		Yes				41		118		0

		TEXAS PETROCHEMICAL CORP		HOUTXPET		127, 158 Facility		Waterfront Facility		LHG (Other); MARPOL Reception		TX		4000409		4000409		FALSE		FALSE		FALSE		9/21/06 9:19		20060921.09192		Owen, William E.		1885514		91003366		Yes		Yes				28		453		0

		TEXAS PETROCHEMICAL CORPORATION		HOUTXLHG				Waterfront Facility		LHG (Other)		TX		4000409		4000409		FALSE		FALSE		FALSE		2/4/98		19980204				1811560		96000680		Yes		No				28		453		0

		THE GAS COMPANY  (BPDDH)		HON26024		Also known as: CITIZEN'S UTILITIES		Waterfront Facility		LPG		HI		4000120		4000120		FALSE		FALSE		FALSE		6/28/04 13:59		20040628.135907		Brown, Gary R.		1841183		91000908		Yes		Yes				27		418		0

		THE GAS COMPANY  (HILO PIER 3)		HON26027		Also known as: CITIZEN'S UTILITIES		Waterfront Facility		LNG		HI						FALSE		FALSE		FALSE		6/28/04 15:14		20040628.151429		corrigan, shaun p.		1841253		92002867		Yes		Yes				27		419		0

		THE GAS COMPANY  (KAHULUI)		HON26025		Also known as: CITIZEN'S UTILITIES		Waterfront Facility		LNG		HI						FALSE		FALSE		FALSE		9/8/04 17:32		20040908.173241		Brown, Gary R.		1841239		91002846		Yes		Yes				27		421		0

		THE GAS COMPANY  (NAWILIWILI)		HON26045		Also known as: CITIZEN'S UTILITIES		Waterfront Facility		LNG		HI						FALSE		FALSE		FALSE		6/28/04 16:49		20040628.16492		corrigan, shaun p.		1850757		95001158		Yes		Yes				27		436		0

		TROPIGAS		PROHM025		127 LHG (propane)

POC:Quinones Rodolfo (FSO)		Waterfront Facility		LHG (Other); MARPOL Reception		PR		4000130		4000130		FALSE		FALSE		FALSE		5/12/06 8:31		20060512.083128		Moran, Joanna L.		1882571		99000448		Yes		Yes				47		1088		0

		Trunkline LNG		LKCD060		aka (Panhandle) Lake Charles, LA		Waterfront Facility		LNG; MARPOL Reception		LA		4000413		4000413		FALSE		FALSE		FALSE		6/7/05 13:49		20050607.134934		chatagnier, nolen j.		1877099		91003723		Yes		Yes				41		118		0

		VALERO REFINING		CORWF007		Ops: O.D. #6; WEST/EAST		Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LPG; MARPOL Reception		TX		4000221		4000221		FALSE		FALSE		FALSE		10/25/04 11:08		20041025.11083		schultz, amanda n.		1866279		91002762		Yes		Yes				22		343		0





WSA.Est.

		WSAs submitted		22		3		year period

				7.33		per year

		Avg. per year		7		rounded

		Time to complete		4		months		source: CG personnel based on FSP time completion

				22		days per month

				8		hours per day

		Time (1 WSA)		704		per WSA

		Total time		4928		total annual hours to complete 7 WSAs

		Managerial work equivalent to LCDR

		out of gov't.						$   93.00		per hour



		Cost per WSA		$   65,472		per WSA

		Total WSA cost		$   458,304		annually



		Government Cost		7		WSAs submitted per year on average

		Time to review WSA		5		days

				8		hours per day

		Total time per WSA		40		hours

		Total WSA time		280		hours

		LCDR reviews WSA		$   71.00		per hour

		Total review cost		$   19,880		per year

		including LOR





LNG Table

		Table 12.2.  Estimated Burden Hours and Cost to Industry for LNG Facilities

														$105		Management Hourly Rate

														$79		Technician Hourly Rate

				9				Population LNG Facilities = # Respondents						$40		Clerical Hourly Rate



				Letter of								Ops Manual		Ops Manual		Emerg Manual		Emerg Manual		Person In Charge		Declaration		Maintenance 

				Intent		WSA		Appeals		Alternatives		Development		Amendment		Development		Amendment		Quals and Certs		of Inspection		Records

		% Population responding annually		6%		-		1%		1%		3%		6%		3%		6%		100%		100%		100%

		# Annual Responses		8

JSKerby: JSKerby:
After this COI was completed, we obtained info from the field on the number of LOIs submitted over 3-year period from 2004-2006.  There were a total of 22 LOIs either proposed to or approved by FERC.  This is an avergae of 7 per year.  However, 2004 had the most LOIs submitted with 11.  We still assume this growth rate but added these three years since the number of annual responses would have 0 and we've clearly shown that it is not 0.		7		0		0.00		0.0		0.00		0		0		11

JSKerby: JSKerby:
Data obtained from LANTAREA.  See spreadsheet.
		

JSKerby: JSKerby:
Shoreside facilities, there are 113 total LNG facilities that include storage facilities and deepwater facilities and so on.  This collection only affects the 5 shoreside facilities that must submit or maintain these documents for current operations and future expansion projects as well as possible future facilities.		

JSKerby: JSKerby:
After this COI was completed, we obtained info from the field on the number of LOIs submitted over 3-year period from 2004-2006.  There were a total of 22 LOIs either proposed to or approved by FERC.  This is an avergae of 7 per year.  However, 2004 had the most LOIs submitted with 11.  We still assume this growth rate but added these three years since the number of annual responses would have 0 and we've clearly shown that it is not 0.																		414		9

		# Annual Respondents		8		7		0		0		0		0.0		0		0		9		9		9



		# Management Hours per response		2		704		8		8		15		1		15		1		2				0

		Management Hourly Rate		$105		$   93		$105		$105		$105		$105		$105		$105		$105		$105		$105

		# Technician Hours per Response		0		0		0		0		0		0		0		0		0		0		8

		Technician Hourly Rate		$79		-		$79		$79		$79		$79		$79		$79		$79		$79		$79

		# Clerical Hours per Response		0.5		-		2		2		5		1		5		1		0.5		0.5		0.5

		Clerical Hourly Rate		$40		-		$40		$40		$40		$40		$40		$40		$40		$40		$40

																						0

		Total Hours per Response		2.5		704		10		10		20		2		20		2		2.5		0.5		8.5

		Total Cost per Response		$230		$65,472		$920		$920		$1,775		$145		$1,775		$145		$230		$20		$652



		Total Burden Hours		20		4,928		0		0		0		0		0		0		28		207		77

		Total Burden Cost		$1,840		$458,304		$0		$0		$0		$0		$0		$0		$2,530		$8,280		$5,868

														Maintenance records accounts for 77 burden hours and $5,868 burden cost.





				9				Total Number of Annual Respondents (LNG)										168		Total (LNG + LHG)				$5,868

				449				Total Number of Annual Responses (LNG)										4,997		Total (LNG + LHG)

				5,260				Total Annual Burden Hours (LNG)										9,504		Total (LNG + LHG)				4,244

				$476,822				Total Annual Burden Cost (LNG)										$737,640		Total (LNG + LHG)				1,406





				NOTE:

				There are 9 LNG waterfront facilities currently operational.

				From information obtained from the field, we estimate that LNG facilities carry out about 46 transfers per year,

				per facility.  Therefore, we broke out LNG facilities separately from LHG facilities in order to be more transparent.





Block 12 Data

		Table 12.1.  Estimated Burden Hours and Cost to Industry for LHG Facilities

																$105		Management Hourly Rate

																$79		Technician Hourly Rate

				159				Population of LHG Facilities = # Respondents								$40		Clerical Hourly Rate

				Letter of								Ops Manual		Ops Manual		Emerg Manual		Emerg Manual		Person In Charge		Declaration		Maintenance 

				Intent		WSA		Appeals		Alternatives		Development		Amendment		Development		Amendment		Quals and Certs		of Inspection		Records

		% Population responding annually		6%		-		1%		1%		3%		6%		3%		6%		100%		100%		100%

		# Annual Responses		10		-		2		1		5		10		5		10		212		4,134		159

		# Annual Respondents		10		-		2		1		5		10		5		10		159		159		159



		# Management Hours per response		2				8		8		15		1		15		1		2				0

		Management Hourly Rate		$105				$105		$105		$105		$105		$105		$105		$105		$105		$105

		# Technician Hours per Response		0				0		0		0		0		0		0		0		0		8

		Technician Hourly Rate		$79				$79		$79		$79		$79		$79		$79		$79		$79		$79

		# Clerical Hours per Response		0.5				2		2		5		1		5		1		0.5		0.5		0.5

		Clerical Hourly Rate		$40				$40		$40		$40		$40		$40		$40		$40		$40		$40

																						0

		Total Hours per Response		2.5		-		10		10		20		2		20		2		2.5		0.5		8.5

		Total Cost per Response		$230		-		$920		$920		$1,775		$145		$1,775		$145		$230		$20		$652



		Total Burden Hours		25		-		20		10		100		20		100		20		530		2067		1352

		Total Burden Cost		$2,300		-		$1,840		$920		$8,875		$1,450		$8,875		$1,450		$48,760		$82,680		$103,668





				159				Total Number of Annual Respondents

				4,546				Total Number of Annual Responses

				4,244				Total Annual Burden Hours

				$260,818				Total Annual Burden Cost







		Table 12.2.  Estimated Burden Hours and Cost to Industry for LNG Facilities

																$105		Management Hourly Rate

																$79		Technician Hourly Rate

				9				Population LNG Facilities = # Respondents

JSKerby: JSKerby:
Shoreside facilities, there are 113 total LNG facilities that include storage facilities and deepwater facilities and so on.  This collection only affects the 5 shoreside facilities that must submit or maintain these documents for current operations and future expansion projects as well as possible future facilities.								$40		Clerical Hourly Rate

				Letter of								Ops Manual		Ops Manual		Emerg Manual		Emerg Manual		Person In Charge		Declaration		Maintenance 

				Intent		WSA		Appeals		Alternatives		Development		Amendment		Development		Amendment		Quals and Certs		of Inspection		Records

		% Population responding annually		6%		-		1%		1%		3%		6%		3%		6%		100%		100%		100%

		# Annual Responses		8

JSKerby: JSKerby:
After this COI was completed, we obtained info from the field on the number of LOIs submitted over 3-year period from 2004-2006.  There were a total of 22 LOIs either proposed to or approved by FERC.  This is an avergae of 7 per year.  However, 2004 had the most LOIs submitted with 11.  We still assume this growth rate but added these three years since the number of annual responses would have 0 and we've clearly shown that it is not 0.		7		0		0.00		0.0		0.00		0		0		11		414

JSKerby: JSKerby:
Data obtained from LANTAREA.  See spreadsheet.
		

JSKerby: JSKerby:
Shoreside facilities, there are 113 total LNG facilities that include storage facilities and deepwater facilities and so on.  This collection only affects the 5 shoreside facilities that must submit or maintain these documents for current operations and future expansion projects as well as possible future facilities.		

JSKerby: JSKerby:
After this COI was completed, we obtained info from the field on the number of LOIs submitted over 3-year period from 2004-2006.  There were a total of 22 LOIs either proposed to or approved by FERC.  This is an avergae of 7 per year.  However, 2004 had the most LOIs submitted with 11.  We still assume this growth rate but added these three years since the number of annual responses would have 0 and we've clearly shown that it is not 0.																				9

		# Annual Respondents		8		7		0		0		0		0.0		0		0		9		9		9



		# Management Hours per response		2		704		8		8		15		1		15		1		2				0

		Management Hourly Rate		$105		$   93		$105		$105		$105		$105		$105		$105		$105		$105		$105

		# Technician Hours per Response		0		0		0		0		0		0		0		0		0		0		8

		Technician Hourly Rate		$79		-		$79		$79		$79		$79		$79		$79		$79		$79		$79

		# Clerical Hours per Response		0.5		-		2		2		5		1		5		1		0.5		0.5		0.5

		Clerical Hourly Rate		$40		-		$40		$40		$40		$40		$40		$40		$40		$40		$40

																						0

		Total Hours per Response		2.5		704		10		10		20		2		20		2		2.5		0.5		8.5

		Total Cost per Response		$230		$65,472		$920		$920		$1,775		$145		$1,775		$145		$230		$20		$652

		Total Burden Hours		20		4,928		0		0		0		0		0		0		28		207		77

		Total Burden Cost		$1,840		$458,304		$0		$0		$0		$0		$0		$0		$2,530		$8,280		$5,868

														Maintenance records accounts for 77 burden hours and $5,868 burden cost.





				9		Total Number of Annual Respondents (LNG)												168		Total (LNG + LHG)				$5,868		check

				449		Total Number of Annual Responses (LNG)												4,995		Total (LNG + LHG)

				5,260		Total Annual Burden Hours (LNG)												9,504		Total (LNG + LHG)				4,244

				$476,822		Total Annual Burden Cost (LNG)												$737,640		Total (LNG + LHG)				1,406





				NOTE:

				There are 9 LNG waterfront facilities currently operational.

				From information obtained from the field, we estimate that LNG facilities carry out about 46 transfers per year,

				per facility.  Therefore, we broke out LNG facilities separately from LHG facilities in order to be more transparent.





Block 14 Data

		Table 14.1.  Estimated Burden Hours to the Government and Cost

				$61		O-3 "In Government" Rate

				$48		O-2 "In Government" Rate

				$44		E-6 "In Government" Rate 

				$39		E-5 "In Government" Rate

				$71		O-4 "In Government" Rate

				$55		Average Officer Rate

				$42		Average Enlisted Rate



				# of Annual		% of Responses		# of Officer Hours		# of Enlisted Hours		TOTAL COAST		TOTAL COAST

				Responses		Reviewed by USCG		Required per Review		Required per Review		GUARD HOURS		GUARD COST

		Letter of Intent		18		100%		1		0		18		$990

		WSA		7		100%		40		0		280		$19,880

		Appeals		2		100%		8		1		18		$964

		Alternatives		1		100%		8		1		9		$482

		Ops Manual Development		5		100%		15		1		80		$4,335

		Ops Manual Amendment		10		100%		1		0.5		15		$760

		Emergency Manual Development		5		100%		15		1		80		$4,335

		Emergency Manual Amendment		10		100%		1		0.5		15		$760

		Person in Charge Quals and Certs		223		100%		0		0.25		56		$2,342

		Declaration of Inspection		4,576		25%		0		0.25		286		$12,012

		Maintenance Records		168		100%		0		0.25		42		$1,764

										GRAND TOTALS		899		$48,624

































Spreadsheet Instructions

		Step 1		Obtain Raw Data		Use MISLE (or alternatively ask Tom to perform a query)



								>main menu

								>facilities/bridges

								>type=waterfront facility

								>check:

								     LHG(other)

								     LNG

								     LPG

								>export to Excel



		Step 2		Clean Raw Data		remove duplicates (should not be many)



		Step 3		Print Raw Data and file in folder



		Step 4		Enter data into "Block 12 Data"		Only those cells in Blue must be changed:

				worksheet		>Total Population 

						>Hourly Wage Rates "Out Gov't" for

						     O-5 for Management

						     O-3 for Technician

						     E-4 for Clerical

		Step 5		Put proper page number and total 

				number of pages in cell A30

		Step 6		Access the "Block 14" wkt		Enter data for cells bordered in blue, for

						hourly wage rates "In Gov't" for:

						     O-2

						     O-3

						     E-5

						     E-6

		Step 7		Ensure Data imported into SS		a. Open Supporting Statement

						b. Click "yes" when asked if external

						links should be updated

						c. verify SS updated links from spreadsheet.






_1331027115.xls
06 Population

		Name		Primary Unique_Id		Description		Type		Sub Type		State		Unit		AOR Unit		Nav Hazard		Pollution Source		Safety Risk		Rev Date		Formatted Rev Date		Rev Individual		Facility Historical Id		Facility Id		Current?		MTSA Regulated		MTSA - No Plan Required		Sans COTP Id		SAns Port Id		MTSA - No Plan Required Reason

		Agrium Formerly Royster Clark (384 UMR)		38400UMR		105 FACIL - Anhydrous Ammonia; Niota, IL		Waterfront Facility		Bulk Liquid HAZMAT; LNG		IL		4000417		4000417								11/20/06 10:55		20061120.105504		Garcia, Mellannie P.		1886168		100064775		Yes		Yes				1000000		2000003		0

		Agrium U.S. Inc.		KEND5002		formerly known as: UNOCAL CHEMICALS DIVISION		Waterfront Facility		Bulk Solid (non-HAZMAT); LHG (Other)		AK		44		4000433								1/29/04 13:29		20040129.132903		Combs, Donald J.		1841370		91002877		Yes		Yes				5		107		0

		AGRIUM WEST SAC NITROGEN OPERATION		MSDF0001				Waterfront Facility		LHG (Other); MARPOL Reception		CA		4000396		4000396								5/3/05 17:45		20050503.174502		Wells, Hubert L.		1842607		91003501		Yes		Yes				46		1057		0

		AMERIGAS		LOSMS137		FSO-Jeff Hamilton		Waterfront Facility		LNG		CA		4000210		4000210								12/6/05 16:13		20051206.161308		Pottgieser, Robert D.		1879932		91002731		Yes		No				32		580		0

		AMERIGAS		MOB116		Panama City, FL // Propane facility		Waterfront Facility		LNG		FL		68		4000190								7/8/04 15:31		20040708.153142		Marston, Randall S.		1853690		91004751		Yes		Yes				37		691		0

		Atlantic Energy Inc.		SYS-100063208		CDC - LHG facility		Waterfront Facility		LPG; MARPOL Reception		VA		4000294		4000294								7/1/04 14:27		20040701.142711		guyton, diana .		1864056		100063208		Yes		Yes				26		395		0

		BASF - AMMONIA TERMINAL		GALMS005		Also known as: THE LEMM CORPORATION		Waterfront Facility		LHG (Other); MARPOL Reception		TX		4000412		4000412								2/6/06 15:51		20060206.155143		Deases, David .		1880641		93000675		Yes		Yes				28		1197		0

		BASF - AMMONIA TERMINAL		LEMCORAD				Waterfront Facility		LHG (Other)		TX		29		4000412								3/16/06 10:31		20060316.103156		Deases, David .		1881611		92003047		Yes		No				28		1197		0

		BP/ARCO Ferndale "LHG"		SEA127001				Waterfront Facility		LHG (Other)		WA		4000220		4000220								11/4/04 12:19		20041104.121903		Valenti, Matthew J.		1851437		94002716		Yes		Yes				45		977		0

		C.F. INDUSTRIES		14505ILR		KINGSTON MINES, IL		Waterfront Facility		LHG (Other)		IL		4000417		4000417								9/28/04 14:26		20040928.142658		Foster, Sally C.		1849308		91003204		Yes		Yes				1000000		2000001		0

		C.F. INDUSTRIES		32005UMR		Anhydrous Ammonia		Waterfront Facility		LHG (Other)		MO		4000417		4000417								3/30/04 10:43		20040330.104358		miller, brandon w.		1855827		91002264		Yes		Yes				1000000		2000001		0

		C.F. INDUSTRIES		50906UMR		105 FACIL-Anhydrous Ammonia NH3 - Active; Cordova,IL		Waterfront Facility		Bulk Liquid HAZMAT; LNG		IL		4000417		4000417								7/18/05 14:05		20050718.140504		Barger, Christian J.		1852110		100065680		Yes		Yes				1000000		2000003		0

		C.F. INDUSTRIES (823.0 UMR)		82380UMR		Anhydrous Ammonia

Urea Ammonium Nitrate (28%)		Waterfront Facility		LHG (Other)		MN		4000417		4000417								9/20/06 21:49		20060920.214941		Cunningham, James  T.		1885504		100064811		Yes		Yes				1000000		2000002		0

		CALIFORNIA AMMONIA CO.		MSDF0002		LHG: Anhydrous Ammonia		Waterfront Facility		LHG (Other); MARPOL Reception		CA		4000396		4000396								3/30/06 19:18		20060330.191828		Pugh, Eric W.		1882028		91003502		Yes		Yes				46		1068		0

		CF Industries Inc.		BRWF19		127, 154, 158		Waterfront Facility		Bulk Solid (HAZMAT); LPG; MARPOL Reception		LA		13		13								3/21/05 16:44		20050321.16445		Salva, Edward D.		1876045		91002042		Yes		Yes				39		717		0

		CF INDUSTRIES, INC.		TAMLHG01		Product: Anhydrous Ammonia (NH3)		Waterfront Facility		LHG (Other); MARPOL Reception		FL		4000284		4000284								9/24/04 12:53		20040924.125312		Weiller, Chris F.		1843921		91002837		Yes		Yes				50		1133		0

		CF INDUSTRIES, INC.      MI 831.1		LOUMS038		CDC Facility (Anhydrous Ammonia)		Waterfront Facility		LHG (Other)						4000231								7/5/05 15:48		20050705.154816		Hutchins, Walter C.		1877384		91002093		Yes		Yes				33		610		0

		CHEROKEE NITROGEN		PADDF037				Waterfront Facility		Bulk Liquid HAZMAT; Bulk Solid (HAZMAT); Explosives (Other); LHG (Other)		AL		58		58								6/29/04 9:59		20040629.095935		Eckard, Chris S.		1841815		92000046		Yes		Yes				33		2000009		0

		CHEVRON PHILLIPS CHEMICALS PUERTO RICO C		PROHM008		154, 127 MTR Facility and 105 MTSA Facility		Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception		PR		4000130		4000130								8/18/06 9:40		20060818.094059		Tonon, David M.		1885158		91002512		Yes		Yes				47		1079		0

		Chevron Texaco - Pascagoula		MOB006CA				Waterfront Facility		Bulk Oil; LNG; MARPOL Reception		MS		4000190		4000190								9/7/06 11:41		20060907.114157		Lisenby, Samuel .		1885318		91005270		Yes		Yes				37		692		0

		Citgo Petroleum Corp. Lake Charles Refin		LKCD064		AKA: Citgo Refinery		Waterfront Facility		Bulk Oil; LHG (Other); MARPOL Reception		LA		4000413		4000413								6/22/04 13:07		20040622.130746		Davison, Chad .		1861127		91003707		Yes		Yes				41		118		0

		Commonwealth Oil Refinning Corp. (CORCO)		PROHM016		154 and 127 MTR Facility (CORCO)		Waterfront Facility		Bulk Oil; LPG		PR		4000130		4000130								10/30/06 10:00		20061030.1		Tonon, David M.		1885930		100061874		Yes		Yes				47		1080		0

		ConocoPhillips Alaska		KEND5004		Phillips LNG		Waterfront Facility		Bulk Oil; LNG; MARPOL Reception		AK		44		4000433								9/16/04 12:16		20040916.121627		Hardy, Jerry L.		1841371		91002860		Yes		Yes				5		107		0

		COVE POINT LNG TERMINAL		SYS-100070390		LNG		Waterfront Facility		LNG		MD		11		3933741								2/9/06 23:33		20060209.233357		Downham, Rachel N.		1880814		100070390		Yes		No				1		9		0

		Crosstex		BRWF30		Aka: El Paso Field Services, LP. Coastal Field Services Co. and Transcanada Gas Processing		Waterfront Facility		Bulk Oil; LHG (Other)		LA		13		13								2/6/06 9:36		20060206.093628		Pohlman, James R.		1880631		91002074		Yes		Yes				39		733		0

		Crosstex Processing Services, LLC		LKCD052		AKA: El Paso (Tennesse Gas Pipeline)                                          Bayou Nezpique and Mermentau River		Waterfront Facility		Bulk Oil; LHG (Other)		LA		4000413		4000413								11/9/05 10:52		20051109.105249		chatagnier, nolen j.		1879439		91003768		Yes		Yes				41		118		0

		DISTRIGAS OF MA CORPORATION		BSNDISTR		LNG TERMINAL		Waterfront Facility		LNG		MA		4000140		4000140								10/26/04 14:35		20041026.143538		White, Timothy J.		1854300		91000321		Yes		Yes				17		273		0

		Dominion Cove Point LNG, LP		BAL00026		LNG Facility with an off-shore platform		Waterfront Facility		LNG		MD		11		11								6/27/05 9:25		20050627.092534		Hoetker, Stuart J.		1840865		91001846		Yes		Yes				1		9		0

		DOW CHEMICAL - FREEPORT		GALMS016				Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception		TX		4000412		4000412								2/8/06 11:35		20060208.113555		Deases, David .		1880691		92003036		Yes		Yes				28		1197		0

		Dow Chemical (Docks One and Two)		BRWF27				Waterfront Facility		Bulk Oil; LHG (Other); MARPOL Reception		LA		13		13								3/22/05 8:40		20050322.084009		Salva, Edward D.		1876069		91002069		Yes		Yes				39		754		0

		DYNO NOBEL INC.		PITMS016		Cargo Anhydrous Ammonia                                           Mile 35.9 LDB, Monongahela River		Waterfront Facility		LHG (Other)		PA		4000238		4000238								12/12/05 10:45		20051212.104547		Kingsberry, Shawntae A.		1880047		91001176		Yes		Yes				1000003		2000010		0

		E. I. DUPONT COMPANY NEW JOHNSONVILLE		PADDF064		New Johnsonville		Waterfront Facility		LHG (Other)		TN		58		58								7/20/05 9:10		20050720.091031		Creager, David B.		1877581		91000342		Yes		Yes				1000001		2000013		0

		ECO-ELECTRICA, LP		PROHM026		127 MTR Facility (LNG)  POC: Oscar Cedeno/Yvette Laborde		Waterfront Facility		LNG; MARPOL Reception		PR		4000130		4000130								10/11/05 14:17		20051011.141704		Moran, Joanna L.		1878909		99000477		Yes		Yes				47		1080		0

		Enterprise Tebone Refractions		BRWF137		Uses El Paso Field Services Dock		Waterfront Facility		Bulk Oil; LNG		LA		13		13								9/28/04 14:23		20040928.142329		clark, james l.		1858704		100066545		Yes		Yes				39		717		0

		G.E. PLASTICS		HUN0018C				Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other)		WV		4000243		4000243								1/27/04 13:31		20040127.133116		Scott, Adam W.		1848174		91002589		Yes		Yes				1000002		2000004		0

		GULF (Caribbean Petroleum Refining)		PROHM015		154 and 127 MTR Facility

POC: Domingo Perez (FSO)

POC: Miguel Berríos		Waterfront Facility		Bulk Oil; LHG (Other); MARPOL Reception		PR		4000130		4000130								4/28/06 11:38		20060428.11385		Tonon, David M.		1882372		91002144		Yes		Yes				47		1088		0

		Helis Oil & Gas		MORML100		Willow Cove		Waterfront Facility		LNG		LA		4000390		4000390								3/25/05 10:20		20050325.102039		Kupietz, Adrianne M.		1876393		100067518		Yes		No				38		708		0

		Honeywell		BRWF2		Ex Allied-Signal Inc.		Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other)		LA		13		13								3/22/05 9:36		20050322.093622		Salva, Edward D.		1876105		91001581		Yes		Yes				39		717		0

		HONOLULU; BARBERS POINT HARBOR		HON25035		STATE OF HAWAII		Waterfront Facility		Break Bulk (HAZMAT); Break Bulk (non-HAZMAT); Bulk Liquid (non-HAZMAT); Bulk Liquid HAZMAT; LPG		HI		4000120		4000120								10/25/04 14:50		20041025.145028		Franquez, Jon M.		1868662		96001430		Yes		Yes				27		418		0

		HOUSTON AMMONIA TERMINAL		HOUWHLHG				Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other); MARPOL Reception		TX		4000409		4000409								6/13/06 13:31		20060613.133105		Morrin, Kevin P.		1883140		91003977		Yes		Yes				28		453		0

		HOVENSA, L.L.C. - LHG		STCD506		Refrigerated butane facility.		Waterfront Facility		LHG (Other)		VI		91		4000130								11/8/04 8:25		20041108.082555		Weiller, Chris F.		1870587		100063109		Yes		Yes				47		1215		1

		INEOS O&P - CHOCOLATE BAYOU		GALMS031		Previously known as Innovene, O&D, and BP Chem Chocolate Bayou		Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other)		TX		4000412		4000412								8/11/06 11:58		20060811.115853		Deases, David .		1885005		91004793		Yes		Yes				28		1194		0

		INNOVENE		CHOONDNA		previously known as O&D and BP- Chocolate Bayou		Waterfront Facility		LHG (Other)		TX		29		4000412								3/21/06 10:32		20060321.103215		Deases, David .		1881758		100068244		Yes		No				28		1194		0

		Intercontinental Terminals Company		BRWF84		Aka: Anchorage Chemical Terminal (ACT)		Waterfront Facility		LHG (Other)		LA		13		13								3/30/05 15:37		20050330.153703		Salva, Edward D.		1876452		95000080		Yes		Yes				39		717		0

		INTERCONTINENTAL TERMINALS, INC.		HOUITCCO				Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception		TX		4000409		4000409								12/9/04 15:35		20041209.153507		lapointe, roy w.		1874222		91003955		Yes		No				28		453		0

		Jordan Cove Energy Project		PDX20063		LNG Receiving Terminal at Coos Bay, OR		Waterfront Facility		LNG		OR		4000274		4000274								5/5/06 13:04		20060505.130453		Jones, Cullen B.		1882480		100070882		Yes		No				43		889		0

		KEYSPAN LNG, LP		RI900016		LNG FACILITY - USED TO BE ALGONQUIN		Waterfront Facility		LNG		RI		4000414		4000414								5/5/03 11:09		20030505.110947		Giese, Kirsten A.		1835665		100063645		Yes		No				44		945		0

		Kinder Morgan		MEMB33		Formerly Terra Nitrogen -- Ammonium Nitrate and Anhydrous Ammonia		Waterfront Facility		Bulk Liquid HAZMAT; Bulk Solid (HAZMAT); LHG (Other)		AR		4000288		4000288								8/17/06 15:44		20060817.15443		Monterroza, Allan  O.		1885128		100065509		Yes		Yes				34		616		0

		KinderMorgan Tampaplex Terminal		TAMLHG03		Products: Anhydrous Ammonia (NH3)

Previously: IMC Phosphates Port Sutton		Waterfront Facility		LHG (Other); MARPOL Reception		FL		4000284		4000284								11/3/05 12:09		20051103.120903		Hollis, Angela M.		1851001		91002828		Yes		Yes				50		1140		0

		KIRBY INLAND MARINE, LP		HOUHWLHG				Waterfront Facility		LHG (Other)		TX		4000409		4000409								7/23/04 12:57		20040723.125723		Sheltrown, Tiffany S.		1844506		98001413		Yes		Yes				28		453		0

		KOCH - East Alton		19808UMR		NITROGEN		Waterfront Facility		LHG (Other)		IL		4000417		4000417								11/1/04 9:31		20041101.093146		Clark, Patrick W.		1852084		91002117		Yes		Yes				1000000		2000000		0

		KOCH - Pekin Terminal		15801ILR		CARETAKER STATUS AS OF 29SEP04		Waterfront Facility		LHG (Other)		IL		4000417		4000417								2/15/06 14:03		20060215.140311		Johnson, Jeffrey A.		1880934		91003197		Yes		No				1000000		2000001		0

		KRATON POLYMERS LLC		HUN0017C				Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other)		OH		4000243		4000243								7/14/05 13:44		20050714.134451		Wilson, Randall T.		1848200		91002587		Yes		Yes				1000002		2000004		0

		Name		Primary Unique_Id

		LBC Houston L.P. (LHG)		HOUPELHG				Waterfront Facility		LHG (Other)		TX		4000409		4000409								12/9/04 16:17		20041209.161729		lapointe, roy w.		1874229		99000587		Yes		Yes				28		453		0

		LBC Houston, L.P.		HOUPETRU		154, 158 Facility		Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception		TX		4000409		4000409								12/9/04 16:18		20041209.161818		lapointe, roy w.		1874230		91003987		Yes		No				28		453		0

		LNG		SYS-100068467		SAVANNAH RIVER BETWEEN MARKER 40 AND 43		Waterfront Facility		LNG		GA		4000233		3933706								3/1/05 9:14		20050301.091447		barnett, charles j.		1875780		100068467		Yes		No				49		1125		0

		Louisiana Gas Development Corp.		BRWF104		Aka: Blind River Gas Plant (West Bank of Lake Maurepas)(LHG)		Waterfront Facility		LHG (Other)		LA		13		13								3/22/05 10:00		20050322.100028		Salva, Edward D.		1876125		91001662		Yes		No				39		717		0

		MILLENNIUM PETROCHEMICALS		HOUQUADP				Waterfront Facility		LHG (Other)		TX		4000409		4000409								1/9/04 16:59		20040109.165936		Dilworth, David C.		1844478		91003997		Yes		Yes				28		453		0

		Mississippi Phosphates		MOB046CA				Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other); MARPOL Reception		MS		4000190		4000190								7/19/05 14:45		20050719.144525		Bloyd, Kevin M.		1877563		92002626		Yes		Yes				37		683		0

		Mosaic Company		LOUMS033		CDC Facility (Anhydrous Ammonia)		Waterfront Facility		LHG (Other)		KY		4000231		4000231								7/5/05 15:08		20050705.150851		Hutchins, Walter C.		1877378		91002084		Yes		Yes				33		608		0

		MUNICIPAL PIER		RI900025		Also known as: MUNI		Waterfront Facility		Break Bulk (non-HAZMAT); Bulk Liquid HAZMAT; Bulk Oil; Bulk Solid (non-HAZMAT); LPG; MARPOL Reception		RI		77		4000414								3/4/04 14:24		20040304.142444		ROSS, DANIEL E.		1853356		91003140		Yes		No				44		945		0

		Northern Star Natural Gas		pdx99923				Waterfront Facility		LNG		TX												3/29/05 16:14		20050329.16141		Heaton, John M.		1876440		100068608		Yes		No				28		453		0

		OCCIDENTAL CHEMICAL		CORWF025		Also known as: OXYCHEM BARGE DOCKS		Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception		TX		4000221		4000221								10/25/04 11:03		20041025.110339		schultz, amanda n.		1841678		91003581		Yes		Yes				22		345		0

		OILTANKING - TEXAS CITY		GALMS046		Previously known as:  Dow/Union Carbide		Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception		TX		4000412		4000412								2/15/06 13:10		20060215.131013		Deases, David .		1880908		100066419		Yes		Yes				28		1214		0

		OILTANKING - TEXAS CITY		UNCARTCY		Previously known as: Dow & Union Carbide Corp.		Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other)		TX		29		4000412								3/9/06 16:54		20060309.1654		Deases, David .		1881438		92003033		Yes		No				28		1214		0

		OILTANKING HOUSTON INC		HOUOILTK		127, 154, 158 Facility		Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception; Pollution Response Gear Storage		TX		4000409		4000409								9/21/06 8:22		20060921.082201		Owen, William E.		1885508		91003983		Yes		Yes				28		453		0

		OLIN CHEMICAL CORPORATION		PADDF060				Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other)		TN		58		58								12/10/04 17:08		20041210.170814		Bogardus, Paul H.		1874282		91000401		Yes		No				1000001		2000013		0

		PCS Nitrogen Fertilizer L.P.		BRWF9				Waterfront Facility		Bulk Oil; LHG (Other); MARPOL Reception		LA		13		13								3/22/05 10:42		20050322.104205		Salva, Edward D.		1876140		91002015		Yes		Yes				39		733		0

		PCS PHOSPHATES		SAVWAT31		AKA White Springs,  Potash Inc.		Waterfront Facility		LHG (Other); MARPOL Reception		GA		4000233		4000233								8/22/05 14:32		20050822.143231		Webb, Robert D.		1878297		91003064		Yes		Yes				49		1125		0

		PORT EVERGLADES		MIAD0043		Bulk Liquid/Container/Non-Containerized/Passenger Vsls       PORT EVERGLADES AUTHORITY		Waterfront Facility		Assist/Escort Tugs; Break Bulk (non-HAZMAT); Bulk Liquid HAZMAT; Bulk Oil; Container; Emergency Services; Explosives (Class 1); LNG; Marine Event; MARPOL Reception; Passengers (Ferries, w/Vehicles); Passengers (Foreign Cruises); Pilot Station/Embarkation;		FL		4000033		4000033								7/9/06 14:37		20060709.143708		Terrell, Richard D.		1883712		91005570		Yes		Yes				35		659		0

		Port of Galveston		SYS-100071992		Pier 39		Waterfront Facility		Assist/Escort Tugs; Barge Fleeting; Boat Ramp; Break Bulk (HAZMAT); Break Bulk (non-HAZMAT); Bulk Liquid (non-HAZMAT); Bulk Liquid HAZMAT; Bulk Oil; Bulk Solid (HAZMAT); Bulk Solid (non-HAZMAT); Commercial Fishing; Container; Emergency Services; Explosive		TX		4000412		4000412								11/15/06 13:30		20061115.133047		Torres, Melvin A.		1886140		100071992		Yes		No				28		1198		0

		PORT OF PORT LAVACA/POINT COMFORT		PLAWF008		CALHOUN COUNTY NAVIGATION DIST.		Waterfront Facility		Assist/Escort Tugs; Bulk Liquid HAZMAT; LPG; MARPOL Reception		TX		73		73								6/1/06 10:09		20060601.100942		Nemec, Mark A.		1883012		92001141		Yes		Yes				22		1187		0

		PORT OF STOCKTON		MSDD0019				Waterfront Facility		Break Bulk (HAZMAT); Break Bulk (non-HAZMAT); Bulk Liquid HAZMAT; Bulk Solid (HAZMAT); LHG (Other); MARPOL Reception		CA		4000396		4000396								7/28/04 13:13		20040728.131356		Kester, Greg B.		1864435		91003499		Yes		Yes				46		1068		0

		PPG Industries		LKCD063		Lake Charles, LA		Waterfront Facility		Barge Fleeting; Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception		LA		4000413		4000413								10/7/04 15:58		20041007.155855		Lanno, Daniel R.		1870228		91003733		Yes		Yes				41		118		0

		PPG INDUSTRIES		PITMS063		Mile 119.2 LDB, Ohio River		Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other)		WV		4000238		4000238								12/12/05 12:25		20051212.122515		Kingsberry, Shawntae A.		1880065		91001403		Yes		Yes				1000003		2000010		0

		PRO CARIBE		PROHM022		127 MTR Facilty  OPS. Man. Roberto Aponte		Waterfront Facility		LPG		PR		4000130		4000130								2/10/06 10:36		20060210.103629		Moran, Joanna L.		1880816		91002500		Yes		Yes				47		1089		0

		Promix, LLC		MORMD150		Belle River Facility		Waterfront Facility		Bulk Oil; LHG (Other)		LA		4000390		4000390								2/22/05 13:47		20050222.134759		Hebert, Harold A.		1875700		91003697		Yes		Yes				38		708		0

		Rentech Energy Midwest Corp.		57209UMR		105 FACIL - Anhydrous Ammonia NH3; East Dubuque, IA		Waterfront Facility		Bulk Liquid HAZMAT; LNG		IL		4000417		4000417								5/4/06 14:00		20060504.140022		Knapp, Kenneth W.		1882445		100064776		Yes		Yes				1000000		2000003		0

		Royster Clark Nitrogen		06908ILR				Waterfront Facility		LHG (Other)														11/14/06 15:15		20061114.15154		Johnson, Jeffrey A.		1886091		91002241		Yes		Yes				1000000		2000001		0

		SCOTT PETROLEUM		MEMG06				Waterfront Facility		LPG		MS		32										10/25/04 15:53		20041025.155319		Dixon, James T.		1846844		97001845		Yes		Yes				34		624		0

		SEA-3 Inc. of Florida		TAMLHG05		Product: LPG

Owner: Transammonia, Inc.		Waterfront Facility		LPG; MARPOL Reception		FL		4000284		4000284								11/3/05 12:26		20051103.122631		Decker, Stephanie A.		1850323		115		Yes		Yes				50		1140		0

		SEA-3, INC.		SEA3NH		SEA-3 TERMINAL NEWINGTON, NH		Waterfront Facility		LPG; MARPOL Reception		NH		4000232		4000232								6/29/05 14:54		20050629.145422		Foster, Aaron P.		1859022		91004731		Yes		Yes				42		867		0

		SHELL GUAM INC., (MTR: F-1 TO AGAT)		SYS-92000788		SHELL GUAM INC., (FOXTROT 1, CABRAS UP TO AGAT TERMINAL); AKA: SHELL PETROLEUM, SHELL GUAM, SHELL PACIFIC INC.; A 33 CFR 127/ 33 CFR 158 FACILITY/ 33 CFR 154		Waterfront Facility		Bulk Oil; LPG		GU		4000160		4000160								1/30/06 18:34		20060130.183434		Thomas, Jennifer .		1880479		92000788		Yes		Yes				25		380		0

		Shell Guam, Inc.		SYS-100063633		LPG Fixed Facility, F-1/Shell Fuel Dock; 6 inch LPG liquid line and 4 inch vapor return line, both owned by SPPC (South Pacific Petroleum Corp.)		Waterfront Facility		LPG		GU		4000160		4000160								10/30/05 5:32		20051030.053201		Thomas, Jennifer .		1879334		100063633		Yes		No				25		380		0

		SHELL OIL COMPANY		HOUSHLHG				Waterfront Facility		LHG (Other)		TX		4000409		4000409								9/8/05 15:02		20050908.150237		Langerman, Marc I.		1836084		96001792		Yes		No				28		453		0

		SOLUTIA INC.		GALMS054				Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other)		TX		4000412		4000412								10/25/04 15:25		20041025.152525		Deases, David .		1842464		97002054		Yes		Yes				28		1194		0

		Solutia Inc.		MOB032		AKA:  MONSANTO		Waterfront Facility		Bulk Liquid HAZMAT; LNG		FL		4000190		4000190								8/3/06 14:46		20060803.144657		Lisenby, Samuel .		1884833		91000679		Yes		Yes				37		2000038		0

		SOUTH PACIFIC PETROLEUM CORPORATIO		SYS-100064627		SOUTH PACIFIC PETROLEUM CORPORATION (SPPC) OWNER OF TWO LPG LINES FROM PIER F-1 TO SPPC'S RECEIVING MOUNDS.		Waterfront Facility		LPG		GU		4000160		4000160								10/30/05 4:51		20051030.045144		Thomas, Jennifer .		1879333		100064627		Yes		Yes				25		380		0

		Southern LNG		SAVWAT42		AKA: Southern Energy, El Paso Energy, El Paso Gas  PO Box 1367 Savannah, GA 31402		Waterfront Facility		LNG; MARPOL Reception		GA		4000233		4000233								2/15/06 10:25		20060215.102514		hatchitt, brian m.		1880883		91003110		Yes		Yes				49		1125		0

		STERLING CHEMICAL COMPANY		GALMS057				Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LHG (Other); MARPOL Reception		TX		4000412		4000412								2/9/06 15:29		20060209.152905		Deases, David .		1880806		92003035		Yes		Yes				28		1214		0

		TARGA MIDSTREAM SERVICES		TAMLHG04		Product: LPG

Also known as: Dynegy		Waterfront Facility		LPG		FL		4000284		4000284								5/19/06 7:49		20060519.074953		Bergstrom, Greg C.		1882850		91002845		Yes		Yes				50		1141		0

		Targa MIDSTREAM SERVICES L.P.		HOUWALHG		Galena Park Terminal		Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other); MARPOL Reception		TX		4000409		4000409								11/1/05 8:43		20051101.08433		Sheltrown, Tiffany S.		1879353		96000681		Yes		Yes				28		453		0

		Targa Midstream Services Ltd Partnership		MEMG08		Formerly known as: Dynegy Midstream Services		Waterfront Facility		LPG				32										3/16/06 16:50		20060316.16504		Moore, Keith A.		1881670		91000617		Yes		Yes				34		624		0

		TEPPCO		RI900028		Also known as:  TEXAS EASTERN		Waterfront Facility		LPG		RI		4000414		4000414								9/13/05 9:57		20050913.095752		Lafond, Michael A.		1857316		91003143		Yes		Yes				44		945		0

		Terra Mississippi Nitrogen		BRWF77		Formerly Triad Nitrogen		Waterfront Facility		LHG (Other); MARPOL Reception		LA		13		13								7/14/05 14:56		20050714.145649		hannan, tim m.		1877469		91003517		Yes		Yes				39		730		0

		Terra Nitrogen		MEMR21		Also known as: TERRA INDUSTRIES, INC.-VERDIGRIS PLANT		Waterfront Facility		Bulk Liquid HAZMAT; LHG (Other)		OK		3934156										2/14/06 15:21		20060214.152138		FISHER, mark A.		1880865		91000504		Yes		Yes				34		619		0

		TESORO HAWAII CORP (SAND ISLAND)		HON26015				Waterfront Facility		Bulk Oil; LPG; Pollution Response Gear Storage		HI		4000120		4000120								10/28/04 18:40		20041028.184001		Franquez, Jon M.		1868324		1000422		Yes		Yes				27		420		0

		Texas Butylene Chemical Corp.		LKCD055		Westlake, LA		Waterfront Facility		LHG (Other)		LA		4000413		4000413								10/7/04 16:01		20041007.16015		Lanno, Daniel R.		1870232		91003740		Yes		Yes				41		118		0

		TEXAS PETROCHEMICAL CORP		HOUTXPET		127, 158 Facility		Waterfront Facility		LHG (Other); MARPOL Reception		TX		4000409		4000409								9/21/06 9:19		20060921.09192		Owen, William E.		1885514		91003366		Yes		Yes				28		453		0

		TEXAS PETROCHEMICAL CORPORATION		HOUTXLHG				Waterfront Facility		LHG (Other)		TX		4000409		4000409								2/4/98		19980204				1811560		96000680		Yes		No				28		453		0

		THE GAS COMPANY  (BPDDH)		HON26024		Also known as: CITIZEN'S UTILITIES		Waterfront Facility		LPG		HI		4000120		4000120								6/28/04 13:59		20040628.135907		Brown, Gary R.		1841183		91000908		Yes		Yes				27		418		0

		THE GAS COMPANY  (HILO PIER 3)		HON26027		Also known as: CITIZEN'S UTILITIES		Waterfront Facility		LNG		HI												6/28/04 15:14		20040628.151429		corrigan, shaun p.		1841253		92002867		Yes		Yes				27		419		0

		THE GAS COMPANY  (KAHULUI)		HON26025		Also known as: CITIZEN'S UTILITIES		Waterfront Facility		LNG		HI												9/8/04 17:32		20040908.173241		Brown, Gary R.		1841239		91002846		Yes		Yes				27		421		0

		THE GAS COMPANY  (NAWILIWILI)		HON26045		Also known as: CITIZEN'S UTILITIES		Waterfront Facility		LNG		HI												6/28/04 16:49		20040628.16492		corrigan, shaun p.		1850757		95001158		Yes		Yes				27		436		0

		TROPIGAS		PROHM025		127 LHG (propane)

POC:Quinones Rodolfo (FSO)		Waterfront Facility		LHG (Other); MARPOL Reception		PR		4000130		4000130								5/12/06 8:31		20060512.083128		Moran, Joanna L.		1882571		99000448		Yes		Yes				47		1088		0

		Trunkline LNG		LKCD060		aka (Panhandle) Lake Charles, LA		Waterfront Facility		LNG; MARPOL Reception		LA		4000413		4000413								6/7/05 13:49		20050607.134934		chatagnier, nolen j.		1877099		91003723		Yes		Yes				41		118		0

		VALERO REFINING		CORWF007		Ops: O.D. #6; WEST/EAST		Waterfront Facility		Bulk Liquid HAZMAT; Bulk Oil; LPG; MARPOL Reception		TX		4000221		4000221								10/25/04 11:08		20041025.11083		schultz, amanda n.		1866279		91002762		Yes		Yes				22		343		0





WSA.Est.

		WSAs submitted		22		3		year period

				7.33		per year

		Avg. per year		7		rounded

		Time to complete		4		months		source: CG personnel based on FSP time completion

				22		days per month

				8		hours per day

		Time (1 WSA)		704		per WSA

		Total time		4928		total annual hours to complete 7 WSAs

		Managerial work equivalent to LCDR

		out of gov't.						$   93.00		per hour

		Cost per WSA		$   65,472		per WSA

		Total WSA cost		$   458,304		annually

		Government Cost		7		WSAs submitted per year on average

		Time to review WSA		5		days

				8		hours per day

		Total time per WSA		40		hours

		Total WSA time		280		hours

		LCDR reviews WSA		$   71.00		per hour

		Total review cost		$   19,880		per year

		including LOR





LNG Table

		Table 12.2.  Estimated Burden Hours and Cost to Industry for LNG Facilities

														$105		Management Hourly Rate

														$79		Technician Hourly Rate

				9				Population LNG Facilities = # Respondents						$40		Clerical Hourly Rate

				Letter of								Ops Manual		Ops Manual		Emerg Manual		Emerg Manual		Person In Charge		Declaration		Maintenance

				Intent		WSA		Appeals		Alternatives		Development		Amendment		Development		Amendment		Quals and Certs		of Inspection		Records

		% Population responding annually		6%		-		1%		1%		3%		6%		3%		6%		100%		100%		100%

		# Annual Responses		8		7		0		0.00		0.0		0.00		0		0		11		414		9

		# Annual Respondents		8		7		0		0		0		0.0		0		0		9		9		9

		# Management Hours per response		2		704		8		8		15		1		15		1		2				0

		Management Hourly Rate		$105		$   93		$105		$105		$105		$105		$105		$105		$105		$105		$105

		# Technician Hours per Response		0		0		0		0		0		0		0		0		0		0		8

		Technician Hourly Rate		$79		-		$79		$79		$79		$79		$79		$79		$79		$79		$79

		# Clerical Hours per Response		0.5		-		2		2		5		1		5		1		0.5		0.5		0.5

		Clerical Hourly Rate		$40		-		$40		$40		$40		$40		$40		$40		$40		$40		$40

																						0

		Total Hours per Response		2.5		704		10		10		20		2		20		2		2.5		0.5		8.5

		Total Cost per Response		$230		$65,472		$920		$920		$1,775		$145		$1,775		$145		$230		$20		$652

		Total Burden Hours		20		4,928		0		0		0		0		0		0		28		207		77

		Total Burden Cost		$1,840		$458,304		$0		$0		$0		$0		$0		$0		$2,530		$8,280		$5,868

														Maintenance records accounts for 77 burden hours and $5,868 burden cost.

				9				Total Number of Annual Respondents (LNG)										168		Total (LNG + LHG)				$5,868

				449				Total Number of Annual Responses (LNG)										4,995		Total (LNG + LHG)

				5,260				Total Annual Burden Hours (LNG)										9,504		Total (LNG + LHG)				4,244

				$476,822				Total Annual Burden Cost (LNG)										$737,640		Total (LNG + LHG)				1,406

				NOTE:

				There are 9 LNG waterfront facilities currently operational.

				From information obtained from the field, we estimate that LNG facilities carry out about 46 transfers per year,

				per facility.  Therefore, we broke out LNG facilities separately from LHG facilities in order to be more transparent.



JSKerby:
Shoreside facilities, there are 113 total LNG facilities that include storage facilities and deepwater facilities and so on.  This collection only affects the 5 shoreside facilities that must submit or maintain these documents for current operations and future expansion projects as well as possible future facilities.

JSKerby:
After this COI was completed, we obtained info from the field on the number of LOIs submitted over 3-year period from 2004-2006.  There were a total of 22 LOIs either proposed to or approved by FERC.  This is an avergae of 7 per year.  However, 2004 had the most LOIs submitted with 11.  We still assume this growth rate but added these three years since the number of annual responses would have 0 and we've clearly shown that it is not 0.

JSKerby:
Data obtained from LANTAREA.  See spreadsheet.



Block 12 Data

		Table 12.1.  Estimated Burden Hours and Cost to Industry for LHG Facilities

																$105		Management Hourly Rate

																$79		Technician Hourly Rate

				159												$40		Clerical Hourly Rate

				Letter of								Ops Manual		Ops Manual		Emerg Manual		Emerg Manual		Person In Charge		Declaration		Maintenance

				Intent		WSA		Appeals		Alternatives		Development		Amendment		Development		Amendment		Quals and Certs		of Inspection		Records

		% Population responding annually		6%		-		1%		1%		3%		6%		3%		6%		100%		100%		100%

		# Annual Responses		10		-		2		1		5		10		5		10		212		4,134		159

		# Annual Respondents		10		-		2		1		5		10		5		10		159		159		159

		# Management Hours per response		2				8		8		15		1		15		1		2				0

		Management Hourly Rate		$105				$105		$105		$105		$105		$105		$105		$105		$105		$105

		# Technician Hours per Response		0				0		0		0		0		0		0		0		0		8

		Technician Hourly Rate		$79				$79		$79		$79		$79		$79		$79		$79		$79		$79

		# Clerical Hours per Response		0.5				2		2		5		1		5		1		0.5		0.5		0.5

		Clerical Hourly Rate		$40				$40		$40		$40		$40		$40		$40		$40		$40		$40

																						0

		Total Hours per Response		2.5		-		10		10		20		2		20		2		2.5		0.5		8.5

		Total Cost per Response		$230		-		$920		$920		$1,775		$145		$1,775		$145		$230		$20		$652

		Total Burden Hours		25		-		20		10		100		20		100		20		530		2067		1352

		Total Burden Cost		$2,300		-		$1,840		$920		$8,875		$1,450		$8,875		$1,450		$48,760		$82,680		$103,668

				159				Total Number of Annual Respondents

				4,546				Total Number of Annual Responses

				4,244				Total Annual Burden Hours

				$260,818				Total Annual Burden Cost

		Table 12.2.  Estimated Burden Hours and Cost to Industry for LNG Facilities

																$105		Management Hourly Rate

																$79		Technician Hourly Rate

				9												$40		Clerical Hourly Rate

				Letter of								Ops Manual		Ops Manual		Emerg Manual		Emerg Manual		Person In Charge		Declaration		Maintenance

				Intent		WSA		Appeals		Alternatives		Development		Amendment		Development		Amendment		Quals and Certs		of Inspection		Records

		% Population responding annually		6%		-		1%		1%		3%		6%		3%		6%		100%		100%		100%

		# Annual Responses		8		7		0		0.00		0.0		0.00		0		0		11		414		9

		# Annual Respondents		8		7		0		0		0		0.0		0		0		9		9		9

		# Management Hours per response		2		704		8		8		15		1		15		1		2				0

		Management Hourly Rate		$105		$   93		$105		$105		$105		$105		$105		$105		$105		$105		$105

		# Technician Hours per Response		0		0		0		0		0		0		0		0		0		0		8

		Technician Hourly Rate		$79		-		$79		$79		$79		$79		$79		$79		$79		$79		$79

		# Clerical Hours per Response		0.5		-		2		2		5		1		5		1		0.5		0.5		0.5

		Clerical Hourly Rate		$40		-		$40		$40		$40		$40		$40		$40		$40		$40		$40

																						0

		Total Hours per Response		2.5		704		10		10		20		2		20		2		2.5		0.5		8.5

		Total Cost per Response		$230		$65,472		$920		$920		$1,775		$145		$1,775		$145		$230		$20		$652

		Total Burden Hours		20		4,928		0		0		0		0		0		0		28		207		77

		Total Burden Cost		$1,840		$458,304		$0		$0		$0		$0		$0		$0		$2,530		$8,280		$5,868

														Maintenance records accounts for 77 burden hours and $5,868 burden cost.

				9		Total Number of Annual Respondents (LNG)												168		Total (LNG + LHG)				$5,868		check

				449		Total Number of Annual Responses (LNG)												4,995		Total (LNG + LHG)

				5,260		Total Annual Burden Hours (LNG)												9,504		Total (LNG + LHG)				4,244

				$476,822		Total Annual Burden Cost (LNG)												$737,640		Total (LNG + LHG)				1,406

				NOTE:

				There are 9 LNG waterfront facilities currently operational.

				From information obtained from the field, we estimate that LNG facilities carry out about 46 transfers per year,

				per facility.  Therefore, we broke out LNG facilities separately from LHG facilities in order to be more transparent.



JSKerby:
After this COI was completed, we obtained info from the field on the number of LOIs submitted over 3-year period from 2004-2006.  There were a total of 22 LOIs either proposed to or approved by FERC.  This is an avergae of 7 per year.  However, 2004 had the most LOIs submitted with 11.  We still assume this growth rate but added these three years since the number of annual responses would have 0 and we've clearly shown that it is not 0.

JSKerby:
Data obtained from LANTAREA.  See spreadsheet.

JSKerby:
Shoreside facilities, there are 113 total LNG facilities that include storage facilities and deepwater facilities and so on.  This collection only affects the 5 shoreside facilities that must submit or maintain these documents for current operations and future expansion projects as well as possible future facilities.



Block 14 Data

		Table 14.1.  Estimated Burden Hours to the Government and Cost

				$61		O-3 "In Government" Rate

				$48		O-2 "In Government" Rate

				$44		E-6 "In Government" Rate

				$39		E-5 "In Government" Rate

				$71		O-4 "In Government" Rate

				$55		Average Officer Rate

				$42		Average Enlisted Rate

				# of Annual		% of Responses		# of Officer Hours		# of Enlisted Hours		TOTAL COAST		TOTAL COAST

				Responses		Reviewed by USCG		Required per Review		Required per Review		GUARD HOURS		GUARD COST

		Letter of Intent		18		100%		1		0		18		$990

		WSA		7		100%		40		0		280		$19,880

		Appeals		2		100%		8		1		18		$964

		Alternatives		1		100%		8		1		9		$482

		Ops Manual Development		5		100%		15		1		80		$4,335

		Ops Manual Amendment		10		100%		1		0.5		15		$760

		Emergency Manual Development		5		100%		15		1		80		$4,335

		Emergency Manual Amendment		10		100%		1		0.5		15		$760

		Person in Charge Quals and Certs		223		100%		0		0.25		56		$2,342

		Declaration of Inspection		4,576		25%		0		0.25		286		$12,012

		Maintenance Records		168		100%		0		0.25		42		$1,764

										GRAND TOTALS		899		$48,624





Spreadsheet Instructions

		

		Step 1		Obtain Raw Data		Use MISLE (or alternatively ask Tom to perform a query)

								>main menu

								>facilities/bridges

								>type=waterfront facility

								>check:

								LHG(other)

								LNG

								LPG

								>export to Excel

		Step 2		Clean Raw Data		remove duplicates (should not be many)

		Step 3		Print Raw Data and file in folder

		Step 4		Enter data into "Block 12 Data"		Only those cells in Blue must be changed:

				worksheet		>Total Population

						O-5 for Management

						O-3 for Technician

						E-4 for Clerical

		Step 5		Put proper page number and total

				number of pages in cell A30

		Step 6		Access the "Block 14" wkt		Enter data for cells bordered in blue, for

						hourly wage rates "In Gov't" for:

						O-2

						O-3

						E-5

						E-6

		Step 7		Ensure Data imported into SS		a. Open Supporting Statement

						b. Click "yes" when asked if external

						links should be updated

						c. verify SS updated links from spreadsheet.





Sheet1

		






