## Source Summary (hidden)
Cost Factor (in 2008$) |  | Reference/Note | Year of Costs
Advanced Combustion Controls (Linkageless Boiler Management System) -- cost is per boiler - TCI
19127 |  | LBMS costs are based on a 2008 quote provided to the U.S. Department of Energy. The installed cost for a LBMS on a 20 mmBtu/hr unit was are $19,127. The DOE noted that costs are relatively fixed, regardless of the size of the unit. | Assumed to represent $2008, since that was the year the quote was obtained.
Activated Carbon Injection
Hospital/Medical/Infectious Waste Incinerators (HMIWI). [EPA-HQ-OAR-2006-0534] |  | Received spreadsheet of HMIWI model costs from Tom Holloway of RTI International. | Originally $2004
Fabric Filter
Hospital/Medical/Infectious Waste Incinerators (HMIWI). [EPA-HQ-OAR-2006-0534] |  | Received spreadsheet of HMIWI model costs from Tom Holloway of RTI International. | Originally $2004
Packed Scrubber
Hospital/Medical/Infectious Waste Incinerators (HMIWI). [EPA-HQ-OAR-2006-0534] |  | Received spreadsheet of HMIWI model costs from Tom Holloway of RTI International. | Originally $2004
Secondary Chamber/Afterburner Retrofit
Hospital/Medical/Infectious Waste Incinerators (HMIWI). [EPA-HQ-OAR-2006-0534] |  | Received spreadsheet of HMIWI model costs from Tom Holloway of RTI International. | Originally $2004
Selective Non-Catalytic Reduction
Hospital/Medical/Infectious Waste Incinerators (HMIWI). [EPA-HQ-OAR-2006-0534] |  | Received spreadsheet of HMIWI model costs from Tom Holloway of RTI International. | Originally $2004
Catalytic Oxidizer
EPA Air Pollution Control Cost Manual, Sixth Edition EPA 452/B-02-001 |  | Used catalytic oxidizer costing for all sizes, though some fell outside the appropriate size-range for the equation. | Originally $2004
Incremental Control Costs (lime addition, caustic addition, improve scrubber, improve FF)
Hospital/Medical/Infectious Waste Incinerators (HMIWI). [EPA-HQ-OAR-2006-0534] |  | Received spreadsheet of HMIWI model costs from Tom Holloway of RTI International. | Originally $2004
Boiler Tune-up - cost is per boiler
7% | 3%
1580 | 1414 | 1. The cost to conduct an annual tune-up on a industrial/commercial/institutional boiler is based on the cost estimate provided in a report by Dr. H.M. Eckerlin and E.W. Soderberg. Industrial Extension Service. USI Boiler Efficiency Program. A Report su | Assumed these costs were presented in $2004, the date of the report.
Continuous Opacity Monitor Cost (7%)
TCI | TAC
43146 | 14660 | 2004 Boiler MACT rule, original quote from Memorandum from Thomas Holloway, Midwest Research Institute, to Rick Copland, U.S. Environmental Protection Agency, Revised Testing and Monitoring Options and Costs for Medical Waste Incinerators (MWI’s) - Metho | Costs adjusted to 2008 dollars.

## Stack Testing (hidden)
Process Vents Emission Testing Costs
Parameters/Costs |  | Equation | Values | Testing Freq.* | Annual Cost fo Test | Annual Cost of Initial Test | TAC of Testing
A. Parameters
1. CE Plant Cost index
| a. 2010 (Feb 10 Final CE Index) |  | 539.1
| b. 2009 (Annual CE Index) |  | 521.9
| c. 1992 (Annual CE Index) |  | 358.2
B. Testing Costs, $
| 1. Method 1 or 1A | Included as part of M 23 | 0 | 1 | 0 | 0 | 0
| 2. Method 26 (HCl) | = $5,000 x (539.1/358.2) | 8000 | 1 |  | 755.1434 | 755.1434
| 3. Method 23 (CDD/CDF) | = $21,000 x (539.1/358.2) - $5,000 | 27000 | 1 | 27000 | 2548.609 | 29548.609
| 4. Method 25A (THC) | =$6,000x(539.1/521.9) | 6197.739 | 1 | 6197.739 | 585.0227 | 6782.7618
| 5. Method 18 (assumed cost is equal to Method SW 846 0031) |  | 10000 | 1 | 10000 | 943.9293 | 10943.9293
Removed method 301
C. | CRF (20 yr, 7%): | (0.07*(1+0.07)^20)/((1+0.07)^20-1) | 0.094393
D. Facility Totals
| 1. HCl, TOH, &VC | [5 empty] | 18481.8344
| 2. CDD/CDF | [5 empty] | 29548.609
| 3. Facility Total |  | 51197.739 |  |  |  | 48030
* Number of Years Between Tests
Note:
1. Initial testing costs to be annualized over 20 years at 7% interest.
2. Testing costs have been rounded to the nearest $1,000 to be consistent with level of rounding in original costs; costs also adjusted based on additional information from EPA.
Sources:
1. Memorandum from R. Segall, EPA/EMB, to R. Copland, EPA/SDB. October 14, 1992. Medical Waste Incinerator Study: Emission Measurement and Continuous Monitoring. (II-B-89)
2. E-mail from Jason Dewees, EPA, to Peter Westlin, EPA. August 20, 2008. Monitoring Options for SNCR & Test Cost Questions.
3. E-mail from Jason Dewees, EPA, to Mary Johnson, EPA. August 20, 2008. Re: Monitoring Options for SNCR & Test Cost Questions.
4. Conversation with Ray Merrill, ERG - 11/5/2010.

## Resin Sampling and Monitoring (hidden)
Resin Sampling and Monitoring
|  | Low* | High* | Avg
| US EPA Method 8260B | 201 | 400 | 300.5
Initial Compliance
| 3 | outlet tests x 2 strippers2 |  |  | 1803
| Total Compliance Cost |  |  |  | 1803
| CRF (20 yr, 7%): | (0.07*(1+0.07)^20)/((1+0.07)^20-1) |  |  | 0.094393
| Annual Cost of Initial Compliance |  |  |  | 170.1904 |  | Annual Cost of Initial Compliance = (3 inlet tests*Avg Cost + 3 outlet test*Avg Cost)*CRF
Monitoring
[5 empty] | monthly | annual
| 3 | tests per month for each type of resin x 2 strippers2 |  |  | 1803 | 23089
| Company | Location | Resin Type | Number of Resin Types | TAC of Resin Testing
| Certain Teed | Lake Charles | B | 1 | 21806.1904
| Formosa | Baton Rouge | S | 1 | 21806.1904
| Formosa | Delaware | D | 1 | 21806.1904
| Formosa | Point Comfort | S | 1 | 21806.1904
| Georgia Gulf | Aberdeen | S | 1 | 21806.1904
| Georgia Gulf | Plaquemine | S | 1 | 21806.1904
| OxyVinyls | Deer Park | S | 1 | 21806.1904
| OxyVinyls | Pasadena | S | 1 | 21806.1904
| OxyVinyls | Pedricktown | S | 1 | 21806.1904
| PolyOne | Henry | S/D | 2 | 43612.3809
| PolyOne | Pedricktown | D | 1 | 21806.1904
| Shintech | Addis | S | 1 | 21806.1904
| Shintech | Freeport | S | 1 | 21806.1904
| Shintech | Plaquemine | S | 1 | 21806.1904
| Dow | Midland | S | 1 | 21806.1904
| Westlake | Calvert City | S | 1 | 21806.1904
| Westlake | Geismar | S | 1 | 21806.1904
*Assumes no additional cost is incurred for EPA Method 107 - Facilities already required to perform 107
*National Environmental Methods Index Website https://www.nemi.gov/apex/f?p=237:38:951365369293524::::P38_METHOD_ID:7041
2. Average number of strippers calculated from facility submitted survey data

## WW Testing (hidden)
Wastewater Sampling and Monitoring
|  | Low* | High* | Avg
| US EPA Method 8260B | 201 | 400 | 300.5
Initial Testing for All Streams
| 8 | Average number of wastewater streams - Assume M107 is insignificant compared to 8260B | 2404
Initial Wastewater Stripper Compliance 99.9%
(assuming M107 cost = 8260B)
| 3 | outlet tests (assume cost of 8260B) | 901.5 |  | Initial | 3305.5
| CRF (20 yr, 7%): | (0.07*(1+0.07)^20)/((1+0.07)^20-1) | 0.094393
| Annual Cost of Initial Compliance | `= (3 inlet tests*Avg Cost + 3 outlet test*Avg Cost + 8 wastewater streams* Avg Cost)*CRF | 312.0158
Monthly Testing
| 3 | average of uncontrolled streams | 901.5
| 1 | stripper outlet test | 300.5
| Monthly Monitoring Costs |  | 1202 | 14736.0158
*National Environmental Methods Index Website https://www.nemi.gov/apex/f?p=237:38:951365369293524::::P38_METHOD_ID:7041

## Heat Exchangers (hidden)
Company/Facility | Sampling and Analysis | Costs to Repair | Number of Cooling Towers | Repairs | Sampling and Analysis
| ($/yr-tower) | ($/event-tower) |  | (event/yr) | ($/yr)
CertainTeed - Lake Charles | 7600 | 4300 | 2 | 2 | 15200
Formosa - Baton Rouge | 7600 | 4300 | 1 | 1 | 7600
Formosa - Delaware City | 7600 | 4300 | 2 | 2 | 15200
Formosa - Point Comfort | 7600 | 4300 | 1 | 1 | 7600
Georgia Gulf - Aberdeen | 7600 | 4300 | 4 | 4 | 30400
Georgia Gulf - Plaquemine | 7600 | 4300 | 2 | 2 | 15200
OxyVinyls - Deer Park | 7600 | 4300 | 3 | 3 | 22800
OxyVinyls - Pasadena | 7600 | 4300 | 2 | 2 | 15200
OxyVinyls - Pedricktown | 7600 | 4300 | 1 | 1 | 7600
PolyOne - Henry | 7600 | 4300 | 1 | 1 | 7600
PolyOne - Pedricktwon | 7600 | 4300 | 1 | 1 | 7600
Shintech - Addis | 7600 | 4300 | 1 | 1 | 7600
Shintech - Freeport | 7600 | 4300 | 1 | 1 | 7600
Shintech - Plaquemine | 7600 | 4300 | 1 | 1 | 7600
Dow - Midland | 7600 | 4300 | 1 | 1 | 7600
Westlake - Calvert City | 7600 | 4300 | 1 | 1 | 7600
Westlake - Geismar | 7600 | 4300 | 1 | 1 | 7600
TOTAL | - | - | 26 | 26 | 197600
|  |  |  | Average Annual | 11623.5294
|  |  |  | Average Monthly | 968.6275

## EquipmentLeaks (hidden)
LDAR Cost increase for V to UU
Company | Facility | LDAR Program Type (by Survey) | Facility Reported LDAR Cost ($) | 2006 Capacity 1,000 US Tons | Facility LDAR Cost $/1,000Ton | Facility LDAR Cost by Using Average Cost of 40CFR61V x 2006 Capacity | Facility LDAR Cost by Using Average Cost of 40CFR63UU x 2006 Capacity | Increase in LDAR Cost from V to UU
Certain Teed | Lake Charles | 40CFR61 V | 26000 | 240.3036 | 108.1965 | 55859.7667 | 64595.4468 | 8735.6801
Formosa | Baton Rouge | 40CFR61 V | - | 458.561 | - | 106594.7842 | 123264.7059 | 16669.9217
Formosa | Delaware City | 40CFR63 UU | 20000 | 71.6501 | 279.1341 | 16655.435 | 19260.1103 | 0
Formosa | Point Comfort | 40CFR61 V | 43675 | 782.6401 | 55.8047 | 181928.5981 | 210379.6663 | 28451.0682
Georgia Gulf | Aberdeen | 40CFR61 V | - | 500.4487 | - | 116331.8078 | 134524.4627 | 18192.6549
Georgia Gulf | Plaquemine | 40CFR63 UU | 155000 | 599.6566 | 258.4813 | 139393.1794 | 161192.3077 | 0
OxyVinyls | Deer Park | 40CFR61 V | 29093.94 | 275.5775 | 105.5744 | 64059.3655 | 74077.3473 | 10017.9818
OxyVinyls | Pasadena | 40CFR61 V | 85277 | 1050.5014 | 81.1774 | 244194.3013 | 282382.8479 | 38188.5465
OxyVinyls | Pedricktown | 40CFR61 V | 16000 | 175.2673 | 91.2891 | 40741.7565 | 47113.1929 | 6371.4364
PolyOne | Henry | 40CFR61 V | 2160 | 62.8317 | 34.3776 | 14605.5353 | 16889.6352 | 2284.0998
PolyOne | Pedricktown | 40CFR61 V | 20000 | 65.0363 | 307.5206 | 15118.0103 | 17482.254 | 2364.2437
Shintech | Addis | 40CFR61 V | 14000 | 311.9537 | 44.8785 | 72515.2018 | 83855.5571 | 11340.3554
Shintech | Freeport | 40CFR63 UU | - | 1598.3495 | - | 371544.32 | 429648.6143 | 0
Shintech | Plaquemine | 40CFR61 V | 17000 | 650.3629 | 26.1393 | 151180.1026 | 174822.5396 | 23642.437
Dow | Midland2 | 40CFR61 V | 20000 | 10.8 | 1851.8519 | 2510.5139 | 2903.1229 | 392.609
Westlake | Calvert City | 40CFR61 V | 10000 | 400.1385 | 24.9913 | 93014.1987 | 107560.3083 | 14546.1095
Westlake | Geismar | 40CFR61 V | 16525 | 286.6006 | 57.6586 | 66621.7401 | 77040.4412 | 10418.701
[7 empty] | Total | 191615.845
[7 empty] | Average Annual | 11271.5203
[7 empty] | Average Monthly | 939.2934

## VE Testing (hidden)
Visible Emissions Testing Costs
Parameters/Costs |  | Equation | Values
A. Parameters
| 1. Operating labor rate, $/hr (LR) |  | 98.196
| 2. Capital recovery factor, 5-yr equipment life, 7% interest (CRF) | = [i x (1 + i)a] / [(1 + i)a - 1], where i = interest rate, a = equipment life | 0.24389
B. Total Capital Investment, $ (TCI) |  | = Combination light meter/anemometer ($200) + digital stopwatches (2 each at $25) | 250
C. Direct Annual Costs, $/yr
| 1. Operating labor | = (1 hr/reading) x (3 readings/test) x (1 test/yr) x LR | 294.588
D. Indirect Annual Costs, $/yr
| 1. Overhead | = 0.6 x (operating labor) | 176.7528
| 2. Property taxes, insurance, and administration | = 0.04 x TCI | 10
| 3. Capital recovery | = CRF x TCI | 60.9727
E. Total Annual Cost, $/yr (rounded) |  | = Direct Annual Costs + Indirect Annual Costs | 540
Sources:
1. Professional Equipment. 2008. Light Meters Industrial and Professional: Digital Light Meter. Website: http://www.professionalequipment.com.
Accessed July 24, 2008.
2. Cole-Parmer. 2008. Digital Stopwatches -Cole Parmer Instrument Catalog. Website: http://www.coleparmer.com. Accessed July 24, 2008.

## R&R (hidden)
2. Required activities
| a. Perf. spec. tests (certif.) for CMS | 11 | 1 | 11 | 0.55 | 1.1 | 12.65 | 1196.5107
Notes:
2. Person-hours per occurrence for CMS performance specification costs are based on the performance specification costs to certify CMS ($700) divided by the composite hourly
labor rate ($66.41/hr).
3. Control device inspection cost already accounted for under monitoring costs.
4. Assume 8 hours for each facility to review the report of the initial performance test for pollutants and fugitive ash.
5. Assume 2 hours for each facility to review the report of the initial performance test for fugitive ash.
6. Assume 40 hours to review report of annual PM, CO, and HCl compliance reports.
7. The average recurrent burden and cost in the first 3 years after promulgation for the sources with recurrent burden are equal to the person-hours added down each column for
technical, management, and clerical and the sum of the cost column.
Sources:
1. Bureau of Labor Statistics, Occupational Employment Statistics, May 2008 National Industry-Specific Occupational Employment and Wage Estimates.
2. Hospital/Medical/Infectious Waste Incinerators (HMIWI) [EPA-HQ-OAR2006-0534] Testing and Monitoring Options and Costs Memo (IV-B-66).
These rates are from the United States Department of Labor, Bureau of Labor Statistics, September 2009, ATable 2. Civilian Workers, by occupational and industry group.@ The rates are from column 1, ATotal compensation.@ The rates have been increased by 110 percent to account for the benefit packages available to those employed by private industry.
| Sector and SOC Code* | Labor Type | Hourly mean wage (From OES tables) | Loaded Rate (Rate + 110%rate)
| Managerial | Mgmt. | 54.52 | 114.492
| Technical | Tech. | 46.76 | 98.196
| Clerical | Cler. | 23.11 | 48.531
| Composite labor rate |  |  | 108.7737
| Contractor |  |  | 80
http://www.bls.gov/oes/current/naics4_999300.htm
EPA
|  | Hourly Mean Wage | With Fringe & Overhead
| (GS- 12, step 1) - Tech. | 28.88 | 46.208
| (GS- 13, step 5) - Mgmt. | 38.92 | 62.272
| (GS-6, step 3) - Cler. | 15.63 | 25.008
Source: http://www.opm.gov/oca/10tables/pdf/gs_h.pdf
from http://www.opm.gov/oca/10tables/

## Notes (hidden)
Burden Item | (A) Respondent Hours per Occurrence (Technical hours) | Burden Item |  |  |  | (A) Respondent Hours per Occurrence (Technical hours) | Burden Item |  |  |  | (A) Respondent Hours per Occurrence (Technical hours)
1. Applications | na | 1. | Applications |  |  | N/A | 1. | Applications
2. Surveys and Studies | na | 2. | Surveys and Studies |  |  | N/A | 2. | Surveys and Studies
3. Reporting Requirements |  | 3. | Reporting Requirements |  |  |  | 3. | Reporting Requirements
A. Read and Understand Rule Requirements | 40 |  | A. | Read and Understand Rule Requirements |  | 1 |  | A. | Read and Understand Rule Requirements |  | 20
B. Required Activities |  |  | B. | Required Activities |  |  |  | B. | Required Activities
1. Conduct Energy Audit |  |  |  | 1) Initial stack test and report |  | Incl. in E. |  |  | 1. Initial stack test and report |  | 40
a) Commerical | 20 |  |  | 2) Annual stack test and test report |  | Incl. in E. |  |  | 2. Annual stack test and report |  | 40
b) Industrial | 20 |  |  | 4) Establish operating parameters (maximum and minimum) |  | 40 |  |  | 3. Establish operating parameters (maximum and minimum) |  | 50
2. Initial Stack Test and Report (for PM) | 12 |  |  | 5) Continuous parameter monitoring (including CEMS) | [5 empty] | a. monitoring plan | 20
3. Initial Stack Test and Report (for Hg) | 12 |  |  |  | a) Initial capital costs | 0 |  |  | 4. Continuous parameter monitoring (including CEMS) |  |  | CEMS in rule?
4. Initial Stack Test and Report (for HCl) | 12 |  |  |  | b) Annualized capital and O&M costs | 11 |  |  |  | a. Initial capital costs | 0
5. Initial Stack Test and Report (for CO) | 12 |  | C. | Create Information |  | Incl. in 3.B |  |  |  | b. Annualized capital and O&M costs | 11
6. Initial Stack Test and Report (for D/F) | 12 |  | D. | Gather Information |  | Incl. in 3.E |  | C. | Create Information |  | Incl. in 3.B
7. Annual Stack Test and Report (for PM) | 12 |  | E. | Report Preparation |  |  |  | D. | Gather Information |  | Incl. in 3.E
8. Annual Stack Test and Report (for Hg) | 12 |  |  | 1) Notification of initial performance test |  |  |  | E. | Report Preparation
9. Annual Stack Test and Report (for HCl) | 12 |  |  |  | a) Continuous parameter monitoring (including CEMS) | 2 |  |  | 1. Initial Notification |  | 5
10. Annual Stack Test and Report (for CO) | 12 |  |  | 2) Notification of initial CMS Demonstration |  | 2 |  |  | 2. Notification of performance test with test plan |  | 10
11. Annual Stack Test and Report (for D/F) | 12 |  |  | 3) Report of initial performance test |  |  |  |  | 3. Notification of Compliance Status |  | 20
12. Initial Fuel Analysis for Mercury and HCL Content | 5 |  |  |  | a) Pollutants, opacity | 8 |  |  | 4. Compliance Report |  | 25 | twice a year
13. Monthly Fuel Analysis for Mercury and HCL Content | 5 |  |  | 4) Report of initial CMS demonstration |  | Incl. in 3.B.5 | ReportingSubtotal
14. Continuous Parameter Monitoring |  |  |  | 5) Report for site-specific parameter petition |  | 14 | 4. Recordkeeping Requirements
Establish Site-specific monitoring plan (all) | 40 | 0.1 |  | 6) Report of initial stack test |  | Incl. in 3.B.1 |  | A. Read Instructions |  |  | Incl. in 3.A
Opacity |  |  |  | 7) Annual Report: |  |  |  | B. Implement Activities |  |  | N/A
a) initial | 10 |  |  |  | a) Results of performance tests conducted during the year | 40 |  | D. Develop Record System |  |  | ? Would they have this
b) annual | 10 |  |  | 10) Semiannual report of emissions/parameter exceedances |  | 24 |  | E. Record Information
PM (only sources greater than 250 mmBtu/hr) |  | ReportingSubtotal | [6 empty] | 1. Records of deviations and malfunctions |  | 10
a) initial | 10 | 4. Recordkeeping Requirements | [6 empty] | 2. Records of subpart I requirements |  | 10 | a
b) annual | 10 |  | A. Read Instructions | [5 empty] | 3. Records of subpart J requirements |  | 25 | b
CO (only sources greater than 100 mmBtu/hr) |  |  | C. Implement Activities | [5 empty] | 4. Records of subpart L requirements |  | 10 | c
a) initial | 10 |  | D. Develop Record System | [5 empty] | 5. Records of subpart M requirements |  | 10 | d
b) annual | 10 |  | E. Record Information |  |  |  |  | F. Personnel Training |  |  | N/A
Scrubber System Monitoring and Operation (for units with wet scrubbers) |  |  |  | 1) Records of operating parameters |  | Incl. in 3.B.5 |  | G. Time for Audits |  |  | N/A
a) initial | 10 |  |  | 2) Records of exceedances of the operating parameters |  | 1.5 | Recordkeeping Subtotal
b) annual | 10 |  |  | 3) Records of stack tests |  | Incl. in 3.E | TOTAL:
Bag Leak Detection System Operation (all sources that have fabric filters) |  |  |  | 7) Records of monitoring device calibration |  | Incl. in 3.B
a) initial | 10 |  |  | 8) Records of site-specific documentation |  | 24 |  |  |  | Records:
b) annual | 10 |  | F. Personnel Training |  |  |  |  | d | m | initial performance test
Carbon Injection Monitoring System (all sources that use ACI to control Hg) |  |  | G. Time for Audits |  |  |  |  | d | m | operating parameter values
a) initial | 10 | Recordkeeping Subtotal | [6 empty] | pvc | deviations, malfunctions
b) annual | 10 | TOTAL: | [5 empty] | b | j | equipment leak detection and repair plan
C. Create Information | na | [6 empty] | a | i | inspection records for vessels
D. Gather Information | na | [6 empty] | a | i | defects and leaks for vessels
E. Report Preparation | [7 empty] | b | j | monitoring schedule and inspection records for valves, pumps, connectors, agitators, pressure relief devices, and compressors
1) Initial Notification that Source is Subject | 2 | [6 empty] | c | l | monitoring events along with leak and repair dates for heat exchangers
2) Notification of Compliance Status | 8 | [6 empty] | d | m | calibration and maintenance of monitors
3) Initial Report on results of Energy Audit | 5
4) Semi-annual Compliance Report | 20
Reporting Subtotal
4. Recordkeeping Requirements
A. Read Instructions | Included in 3a
B. Implement Activities | na
C. Develop Record System | na
D. Record Information
1) Records of Operating Parameter Values | 20
2) Records of Startup, Shutdown, Malfunction | 15
3) Records of Stack Tests | 2
4) Records of Monitoring Device Calibrations | 2
5) Records of All Compliance Reports Submitted | 2
6) Records of Monthly Fuel Use | 0.5
E. Personnel Training | na
F. Time for Audits | na
Note on A1: CMacQueen: Update line items based on preamble info e.g., on p. 32-34 … 135-147

## RR Cost Per Facility For Memo (hidden)
Attachment G1 - Recordkeeping and Reporting Annual Cost Summary
April 11, 2011
Draft - Do Not Cite or Quote
Table 1.D Calculation of Annual Recordkeeping and Reporting Costs
on a Per Facility Basis
Caclulation of Annual Recordkeeping and Reporting Cost on a Per Facility Basis
Total Recordkeeping, Monitoring, and Reporting Cost
Year 1 | 2740466.6078
Year 2 | 2774692.795
Year 3 | 2774692.795
Total | 8289852.1978
Initial / Yearly Performance Testing and Monitoring Cost
Year 1 | 2434719.6912
Year 2 | 2461400.1139
Year 3 | 2461400.1139
Total | 7357519.919
Record Keeping and Reporting Cost less Performance Testing and Monitoring
Total Cost | 8289852.1978
Performance Testing | 7357519.919
Difference | 932332.2788
Annual Difference (difference divided by 3) | 310777.4263
Per Facility Record Keeping and Reporting Cost Less Performance Testing and Monitoring
Annual Difference | 310777.4263
Number of Facilities | 17
Cost per Facility | 18281.0251

## Hrs_Responses (hidden)
| Reporting |  |  | Recordkeeping
| Hours | # of Respondents | # of Responses | Hours
Year 1 | 3125.7 | 17 | 85 | 0
Year 2 | 1854.95 | 17 | 34 | 1368.5
Year 3 | 1854.95 | 17 | 34 | 1368.5
Total | 6835.6 | 51 | 153 | 2737
Average Annual | 2278.5333 | 17 | 51 | 912.3333
Total hours | 9572.6
Hours per year | 3190.8667
# of responses per respondent (annual) | 3
Hours per response (annual) | 62.566
Reporting hours per response (annual) | 44.6771
Recorkeeping hours per response (annual) | 17.8889

## Monitoring (hidden)
Monitoring Costs
Parameters/Costs |  | Equation | FF | ACI | Equipment Leaks (From EQ Analysis) | ws
A. Parameters
| 1. Recording lime/carbon flow, min/4-hr period |  |  | 5
| 2. Annual operating hours, hr/yr (H) |  | 8400 | 8400
3. Cost index
| a. 2010 |  | 539.1 | 539.1 |  | 539.1
| b. 2006 |  | 499.6 | 499.6 |  | 499.6
| c. 1997 |  | 386.5 | 386.5 |  | 386.5
| d. 1993 |  | 359.2 | 359.2 |  | 359.2
| e. 1992 |  | 358.2 | 358.2 |  | 358.2
| 4. Operating labor wage rate, $/hr (LR) |  | 98.196 | 98.196 |  | 98.2
| 5. Capital recovery factor, 20-yr equipment life, 7% interest (CRF) | = [i x (1 + i)a] / [(1 + i)a - 1], where i = interest rate, a = equipment life | 0.094393 | 0.094393 |  | 0.094393
B. Total Capital Investment, $ (TCI)
| 1. Planning |  | 700 |  |  | 700
| 2. Select type of equipment |  | 400 |  |  | 400
| 3. Provide support facilities |  | 1400 |  |  | 1400
| 4. Purchased equipment cost (PEC) |  | 12200 |  |  | 18100
| 5. Install and check equipment |  | 1000 |  |  | 1000
| 6. Perf. spec. tests (certif.) |  | 700 |  |  | 700
| 7. Prepare QA/QC plan |  | 700 |  |  | 700
| 8. Total capital cost | = Planning + selecting equipment + support facilities + PEC + installation + perf. spec. tests + QA/QC plan | 17100 |  | 188913 | 23000
C. Annual Costs, $/yr
| 1. Operating labor | = (5 min to record lime/carbon flow/4-hr period) x (1 hr/60 min) x H x LR |  | 17200
| 2. Maintenance materials | = 0.02 x TCI | 300 |  |  | 500
| 3. Operation & maintenance | = Day-to-day activities + annual RATA + CGA + annual QA + O&M review and update
| 4. Recordkeeping and reporting | = $1,000 x (641.1/386.5) | 1400 |  |  | 1400
| 5. Overhead | = 0.6 x (labor + maintenance materials) | 200 | 10300 |  | 300
| 6. Property taxes, insurance, and administration | = 0.04 x TCI | 700 |  |  | 900
| 7. Capital recovery | = CRF x TCI | 1600 |  |  | 2200
| 8. Total annual cost | = Operating labor + maintenance materials + recordkeeping and reporting + overhead + property taxes, insurance, and administration + capital recovery | 4200 | 27500 | 26897 | 5300
| 9. Annual costs minus capital recovery |  | 2600 | 27500 | 26897 | 3100
|  | Number of monitors | 5 | 5 | 17 | 1
Notes:
1. Monitoring costs have been rounded to the nearest $100 to be consistent with level of rounding in original costs.
Sources:
1. Hospital/Medical/Infectious Waste Incinerators (HMIWI) [EPA-HQ-OAR-2006-0534] Testing and Monitoring Options and Costs Memo (IV-B-66).
2. E-mail and attachment from Peter Westlin, EPA, to Mary Johnson, EPA. August 19, 2008. Monitoring Options for SNCR on Medical Waste Incinerators.
3. E-mail from Dan Bivins, EPA, to Mary Johnson, EPA. September 27, 2006. Cost of CO CEMS.
4. E-mail from Dan Bivins, EPA, to Mary Johnson, EPA. July 28, 2006. Some Preliminary Thoughts on the HWI Monitoring.

## PVC YR 1
Attachment 2
Table 1 - Annual Respondent Burden and Cost of Recordkeeping and Reporting Requirements of the MACT Floor
for Existing Sources: Polyvinyl Chloride and Copolymer Manufacturing Units - Year 1
|  |  |  | (A) |  | (B) | (C) | (D) | (E) | (F) | (G) |  |  |  | Footnotes
|  |  |  | Respondent | Non-Labor | Number of | Hours | Number of | Technical | Management | Clerical | Total | Total | Total
|  |  |  | Hours per | Costs | Occurrences | Per | Respondents | Hours | Hours | Hours | Labor Costs | Non-Labor | Responses
|  |  |  | Occurrence | Per | Per | Respondent | Per Year | Per Year | Per Year | Per Year | Per Year | Costs | Per Year
|  |  |  | (Technical | Occurrence | Respondent | Per Year | [5 empty] | Per Year
Burden Item |  |  |  | hours) |  | Per Year | (C=A x B) |  | (CXD) | (E x 0.05) | (E x 0.1)
1. | Applications |  |  | N/A |  |  | 0 | 55 |  |  |  | 0
2. | Surveys and Studies |  |  | N/A |  |  | 0 |  |  |  | 0 | 0
3. | Reporting Requirements | [5 empty] | 0 |  | 0 | 0 | 0 | 0
| A. | Read and Understand Rule Requirements |  | 25 | 100 | 1 | 25 | 17 | 425 | 21.25 | 42.5 | 46228.8225 | 1700 | 0 | a,b
| B. | Required Activities | [6 empty] | 0 | 0 | 0
|  | 1) Initial performance test, sampling, and report |  | 40 | 53138.5 | 1 | 40 | 17 | 680 | 34 | 68 | 73966.116 | 903354.5 | 0 | a
|  | 2) Periodic performance test, sampling, and report |  | 15 | 54042.1289 | 1 | 15 | 17 | 255 | 12.75 | 25.5 | 27737.2935 | 918716.1912 | 0 | f
|  | 3) Establish operating parameters and monitoring plan |  | 20 | 0 | 1 | 20 | 17 | 340 | 17 | 34 | 36983.058 | 0 | 0 | a
4) Continuous parameter monitoring
|  |  | a) Initial capital costs (Fabric Filters) | 0 | 17100 | 1 | 0 | 5 | 0 | 0 | 0 | 0 | 85500 | 0 | a,d
|  |  | b) Annualized capital and O&M costs (Fabric Filters & ACI) | 11 | 31700 | 1 | 11 | 5 | 55 | 2.75 | 5.5 | 5982.5535 | 158500 | 0 | c,e
|  |  | c) Initial capital costs (PRD Electronic Monitor) | 0 | 188913 | 1 | 0 | 17 | 0 | 0 | 0 | 0 | 3211521 | 0 | a,d
|  |  | d) Annualized capital and O&M costs (PRD Electronic Monitor) | 11 | 26897 | 1 | 11 | 17 | 187 | 9.35 | 18.7 | 20340.6819 | 457249 | 0 | c,e
|  |  | e) Initial capital costs (PB Scrubber Monitor) | 0 | 23000 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 23000 | 0 | a,d
|  |  | f) Annualized capital and O&M costs (PB Scrubber Monitor | 11 | 5300 | 1 | 11 | 1 | 11 | 0.55 | 1.1 | 1196.5107 | 5300 | 0 | c,e
| C. | Create Information |  | Incl. in 3.B
| D. | Gather Information |  | Incl. in 3.E
| E. | Report Preparation | [6 empty] | 0 | 0 | 0
|  | 1) Initial Notification |  | 5 | 0 | 1 | 5 | 17 | 85 | 4.25 | 8.5 | 9245.7645 | 0 | 17
|  | 2) Batch precompliance report |  | 5 | 0 | 1 | 5 | 17 | 85 | 4.25 | 8.5 | 9245.7645 | 0 | 17
|  | 3) Notification of performance test with test plan |  | 10 | 0 | 1 | 10 | 17 | 170 | 8.5 | 17 | 18491.529 | 0 | 17
|  | 4) Notification of compliance status |  | 20 | 0 | 1 | 20 | 17 | 340 | 17 | 34 | 36983.058 | 0 | 17 | b
|  | 5) Compliance report |  | 25 | 0 | 1 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 6) Notice of inspection |  | 5 | 0 | 1 | 5 | 17 | 85 | 4.25 | 8.5 | 9245.7645 | 0 | 17
|  | 7) Affirmative defense |  | 18 | 0 | 1 | 18 | 0 | 18 | 12 | 0 | 0 | 0 | 0 | g
ReportingSubtotal | [8 empty] | 2718 | 135.9 | 271.8 | 295646.9166 | 2444819.6912 | 85
4. Recordkeeping Requirements
| A. Read Instructions |  |  | Incl. in 3.A
| B. Implement Activities |  |  | N/A
| C. Develop Record System |  |  | N/A
D. Record Information
|  | 1) Records of process vent requirements |  | 10 | 0 | 1 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2) Records of resin stripper and wastewater requirements |  | 15 | 0 | 1 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 3) Records of storage vessel requirements |  | 10 | 0 | 1 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 4) Records of equipment leak requirements |  | 25 | 0 | 1 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 5) Records of heat exchanger requirements |  | 10 | 0 | 1 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| E. Personnel Training |  |  | Incl. in 3.B
| F. Time for Audits |  |  | N/A
Recordkeeping Subtotal | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
TOTAL: | [8 empty] | 2718 | 135.9 | 271.8 | 295646.9166 | 2444819.6912 | 85
[10 empty] | Total Hours | Labor | Non-Labor | Total
[7 empty] | Summary of Respondent Burden |  |  | 3125.7 | 295646.9166 | 2444819.6912 | 2740466.6078
[7 empty] | Initial Capital and Startup |  |  |  |  | 3298721
[7 empty] | Annualized Capital/Start-up and O & M |  |  |  |  | 2444819.6912
FOOTNOTES
a | One-time only costs.
b | Cost incurred by a facility regardless of the number of affected units at the plant.
c | Annual cost. Annual costs are not incurred until the second year of operation.
d | Based on the sum of the total capital costs for each monitoring system required for PVC facilities.
e | Based on the sum of the annualized capital costs for each monitoring system required for PVC facilities.
f | Includes 11 months testing for wastewater and resin to cover rest of the year after the initial test.
g | Hours for affirmative defense are shown only for illustration and are not included in the total burden estimate

## PVC YR 2
Attachment 2
Table 2 - Annual Respondent Burden and Cost of Recordkeeping and Reporting Requirements of the MACT Floor
for Existing Sources: Polyvinyl Chloride and Copolymer Manufacturing Units - Year 2
|  |  |  | (A) |  | (B) | (C) | (D) | (E) | (F) | (G) |  |  |  | Footnotes
|  |  |  | Respondent | Non-Labor | Number of | Hours | Number of | Technical | Management | Clerical | Total | Total | Total
|  |  |  | Hours per | Costs | Occurrences | Per | Respondents | Hours | Hours | Hours | Labor Costs | Non-Labor | Responses
|  |  |  | Occurrence | Per | Per | Respondent | Per Year | Per Year | Per Year | Per Year | Per Year | Costs | Per Year
|  |  |  | (Technical | Occurrence | Respondent | Per Year | [5 empty] | Per Year
Burden Item |  |  |  | hours) |  | Per Year | (C=A x B) |  | (CXD) | (E x 0.05) | (E x 0.1)
1. | Applications |  |  | N/A |  |  | 0 | 55 |  |  |  | 0
2. | Surveys and Studies |  |  | N/A |  |  | 0 |  |  |  | 0 | 0
3. | Reporting Requirements | [5 empty] | 0 |  | 0 | 0 | 0 | 0
| A. | Read and Understand Rule Requirements |  | 25 | 100 | 1 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | a,b
| B. | Required Activities | [6 empty] | 0 | 0 | 0
|  | 1) Initial performance test, sampling, and report |  | 40 | 53138.5 | 1 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | a
|  | 2) Periodic performance test, sampling, and report |  | 50 | 108750.0655 | 1 | 50 | 17 | 850 | 42.5 | 85 | 92457.645 | 1848751.1139 | 0
|  | 3) Establish operating parameters and monitoring plan |  | 20 | 0 | 1 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | a
4) Continuous parameter monitoring
|  |  | a) Initial capital costs (Fabric Filters) | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | a,d
|  |  | b) Annualized capital and O&M costs (Fabric Filters & ACI) | 11 | 31700 | 1 | 11 | 5 | 55 | 2.75 | 5.5 | 5982.5535 | 158500 | 0 | c,e
|  |  | c) Initial capital costs (PRD Electronic Monitor) | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | a,d
|  |  | d) Annualized capital and O&M costs (PRD Electronic Monitor) | 11 | 26897 | 1 | 11 | 17 | 187 | 9.35 | 18.7 | 20340.6819 | 457249 | 0 | c,e
|  |  | e) Initial capital costs (PB Scrubber Monitor) | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | a,d
|  |  | f) Annualized capital and O&M costs (PB Scrubber Monitor | 11 | 5300 | 1 | 11 | 1 | 11 | 0.55 | 1.1 | 1196.5107 | 5300 | 0 | c,e
| C. | Create Information |  | Incl. in 3.B
| D. | Gather Information |  | Incl. in 3.E
| E. | Report Preparation | [6 empty] | 0 | 0 | 0
|  | 1) Initial Notification |  | 5 | 0 | 1 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2) Batch precompliance report |  | 5 | 0 | 1 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 3) Notification of performance test with test plan |  | 10 | 0 | 1 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 4) Notification of compliance status |  | 20 | 0 | 1 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | b
|  | 5) Compliance report |  | 25 | 0 | 1 | 25 | 17 | 425 | 21.25 | 42.5 | 46228.8225 | 0 | 17
|  | 6) Notice of inspection |  | 5 | 0 | 1 | 5 | 17 | 85 | 4.25 | 8.5 | 9245.7645 | 0 | 17
|  | 7) Affirmative defense |  | 18 | 0 | 1 | 18 | 0 | 18 | 12 | 0 | 0 | 0 | 0 | f
ReportingSubtotal | [8 empty] | 1613 | 80.65 | 161.3 | 175451.9781 | 2469800.1139 | 34
4. Recordkeeping Requirements
| A. Read Instructions |  |  | Incl. in 3.A
| B. Implement Activities |  |  | N/A
| C. Develop Record System |  |  | N/A
D. Record Information
|  | 1) Records of process vent requirements |  | 10 | 0 | 1 | 10 | 17 | 170 | 8.5 | 17 | 18491.529 | 0 | 0
|  | 2) Records of resin stripper and wastewater requirements |  | 15 | 0 | 1 | 15 | 17 | 255 | 12.75 | 25.5 | 27737.2935 | 0 | 0
|  | 3) Records of storage vessel requirements |  | 10 | 0 | 1 | 10 | 17 | 170 | 8.5 | 17 | 18491.529 | 0 | 0
|  | 4) Records of equipment leak requirements |  | 25 | 0 | 1 | 25 | 17 | 425 | 21.25 | 42.5 | 46228.8225 | 0 | 0
|  | 5) Records of heat exchanger requirements |  | 10 | 0 | 1 | 10 | 17 | 170 | 8.5 | 17 | 18491.529 | 0 | 0
| E. Personnel Training |  |  | Incl. in 3.B
| F. Time for Audits |  |  | N/A
Recordkeeping Subtotal | [8 empty] | 1190 | 59.5 | 119 | 129440.703 | 0 | 0
TOTAL: | [8 empty] | 2803 | 140.15 | 280.3 | 304892.6811 | 2469800.1139 | 34
[10 empty] | Total Hours | Labor | Non-Labor | Total
[7 empty] | Summary of Respondent Burden |  |  | 3223.45 | 304892.6811 | 2469800.1139 | 2774692.795
[7 empty] | Initial Capital and Startup |  |  |  |  | 0
[7 empty] | Annualized Capital/Start-up and O & M |  |  |  |  | 2469800.1139
FOOTNOTES
a | One-time only costs.
b | Cost incurred by a facility regardless of the number of affected units at the plant.
c | Annual cost. Annual costs are not incurred until the second year of operation.
d | Based on the sum of the total capital costs for each monitoring system required for PVC facilities.
e | Based on the sum of the annualized capital costs for each monitoring system required for PVC facilities.
f | Hours for affirmative defense are shown only for illustration and are not included in the total burden estimate

## PVC YR 3
Attachment 2
Table 3 - Annual Respondent Burden and Cost of Recordkeeping and Reporting Requirements of the MACT Floor
for Existing Sources: Polyvinyl Chloride and Copolymer Manufacturing Units - Year 3
|  |  |  | (A) |  | (B) | (C) | (D) | (E) | (F) | (G) |  |  |  | Footnotes
|  |  |  | Respondent | Non-Labor | Number of | Hours | Number of | Technical | Management | Clerical | Total | Total | Total
|  |  |  | Hours per | Costs | Occurrences | Per | Respondents | Hours | Hours | Hours | Labor Costs | Non-Labor | Responses
|  |  |  | Occurrence | Per | Per | Respondent | Per Year | Per Year | Per Year | Per Year | Per Year | Costs | Per Year
|  |  |  | (Technical | Occurrence | Respondent | Per Year | [5 empty] | Per Year
Burden Item |  |  |  | hours) |  | Per Year | (C=A x B) |  | (CXD) | (E x 0.05) | (E x 0.1)
1. | Applications |  |  | N/A |  |  | 0 | 55 |  |  |  | 0
2. | Surveys and Studies |  |  | N/A |  |  | 0 |  |  |  | 0 | 0
3. | Reporting Requirements | [5 empty] | 0 |  | 0 | 0 | 0 | 0
| A. | Read and Understand Rule Requirements |  | 25 | 100 | 1 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | a,b
| B. | Required Activities | [6 empty] | 0 | 0 | 0
|  | 1) Initial performance test, sampling, and report |  | 40 | 53138.5 | 1 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | a
|  | 2) Periodic performance test, sampling, and report |  | 50 | 108750.0655 | 1 | 50 | 17 | 850 | 42.5 | 85 | 92457.645 | 1848751.1139 | 0
|  | 3) Establish operating parameters and monitoring plan |  | 20 | 0 | 1 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | a
4) Continuous parameter monitoring
|  |  | a) Initial capital costs (Fabric Filters) | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | a,d
|  |  | b) Annualized capital and O&M costs (Fabric Filters & ACI) | 11 | 31700 | 1 | 11 | 5 | 55 | 2.75 | 5.5 | 5982.5535 | 158500 | 0 | c,e
|  |  | c) Initial capital costs (PRD Electronic Monitor) | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | a,d
|  |  | d) Annualized capital and O&M costs (PRD Electronic Monitor) | 11 | 26897 | 1 | 11 | 17 | 187 | 9.35 | 18.7 | 20340.6819 | 457249 | 0 | c,e
|  |  | e) Initial capital costs (PB Scrubber Monitor) | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | a,d
|  |  | f) Annualized capital and O&M costs (PB Scrubber Monitor | 11 | 5300 | 1 | 11 | 1 | 11 | 0.55 | 1.1 | 1196.5107 | 5300 | 0 | c,e
| C. | Create Information |  | Incl. in 3.B
| D. | Gather Information |  | Incl. in 3.E
| E. | Report Preparation | [6 empty] | 0 | 0 | 0
|  | 1) Initial Notification |  | 5 | 0 | 1 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 2) Batch precompliance report |  | 5 | 0 | 1 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 3) Notification of performance test with test plan |  | 10 | 0 | 1 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 4) Notification of compliance status |  | 20 | 0 | 1 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | b
|  | 5) Compliance report |  | 25 | 0 | 1 | 25 | 17 | 425 | 21.25 | 42.5 | 46228.8225 | 0 | 17
|  | 6) Notice of inspection |  | 5 | 0 | 1 | 5 | 17 | 85 | 4.25 | 8.5 | 9245.7645 | 0 | 17
|  | 7) Affirmative defense |  | 18 | 0 | 1 | 18 | 0 | 18 | 12 | 0 | 0 | 0 | 0 | f
ReportingSubtotal | [8 empty] | 1613 | 80.65 | 161.3 | 175451.9781 | 2469800.1139 | 34
4. Recordkeeping Requirements
| A. Read Instructions |  |  | Incl. in 3.A
| B. Implement Activities |  |  | N/A
| C. Develop Record System |  |  | N/A
D. Record Information
|  | 1) Records of process vent requirements |  | 10 | 0 | 1 | 10 | 17 | 170 | 8.5 | 17 | 18491.529 | 0 | 0
|  | 2) Records of resin stripper and wastewater requirements |  | 15 | 0 | 1 | 15 | 17 | 255 | 12.75 | 25.5 | 27737.2935 | 0 | 0
|  | 3) Records of storage vessel requirements |  | 10 | 0 | 1 | 10 | 17 | 170 | 8.5 | 17 | 18491.529 | 0 | 0
|  | 4) Records of equipment leak requirements |  | 25 | 0 | 1 | 25 | 17 | 425 | 21.25 | 42.5 | 46228.8225 | 0 | 0
|  | 5) Records of heat exchanger requirements |  | 10 | 0 | 1 | 10 | 17 | 170 | 8.5 | 17 | 18491.529 | 0 | 0
| E. Personnel Training |  |  | Incl. in 3.B
| F. Time for Audits |  |  | N/A
Recordkeeping Subtotal | [8 empty] | 1190 | 59.5 | 119 | 129440.703 | 0 | 0
TOTAL: | [8 empty] | 2803 | 140.15 | 280.3 | 304892.6811 | 2469800.1139 | 34
[10 empty] | Total Hours | Labor | Non-Labor | Total
[7 empty] | Summary of Respondent Burden |  |  | 3223.45 | 304892.6811 | 2469800.1139 | 2774692.795
[7 empty] | Initial Capital and Startup |  |  |  |  | 0
[7 empty] | Annualized Capital/Start-up and O & M |  |  |  |  | 2469800.1139
FOOTNOTES
a | One-time only costs.
b | Cost incurred by a facility regardless of the number of affected units at the plant.
c | Annual cost. Annual costs are not incurred until the second year of operation.
d | Based on the sum of the total capital costs for each monitoring system required for PVC facilities.
e | Based on the sum of the annualized capital costs for each monitoring system required for PVC facilities.
f | Hours for affirmative defense are shown only for illustration and are not included in the total burden estimate

## PVC Summary
Attachment 2
Table 4 - Summary of Annual Respondent Burden and Cost of Recordkeeping and Reporting Requirements of the MACT Floor for Existing Sources: Polyvinyl Chloride and Copolymer Manufacturing Units
Year | Technical Hours | Management Hours | Clerical Hours | Total Hours | Labor Costs | Non-Labor (Annualized Capital/Startup and O&M) Costs | Total Costs
1 | 2718 | 135.9 | 271.8 | 3125.7 | 295646.9166 | 2444819.6912 | 2740466.6078
2 | 2803 | 140.15 | 280.3 | 3223.45 | 304892.6811 | 2469800.1139 | 2774692.795
3 | 2803 | 140.15 | 280.3 | 3223.45 | 304892.6811 | 2469800.1139 | 2774692.795
Total | 8324 | 416.2 | 832.4 | 9572.6 | 905432.2788 | 7384419.919 | 8289852.1978
Average | 2774.6667 | 138.7333 | 277.4667 | 3190.8667 | 301810.7596 | 2461473.3063 | 2763284.0659

## EPA YR 1
Attachment 3
Table 5 - Annual Designated Administrator Burden and Cost of Recordkeeping and Reporting Requirements of the MACT Floor for Existing Sources: Polyvinyl Chloride and Copolymer Manufacturing Units - Year 1
|  |  |  | (A) |  | (B) | (C) | (D) | (E) | (F)
Burden Item |  |  |  | Number of Occurrences Per Year |  | EPA Hours Per Occurrence | Tech Hours Per Year (C=AxB) | Management Hours Per Year (D=Cx0.05) | Clerical Hours Per Year (E=Cx0.1) | EPA Cost Per Year (a,b)
1. | Applications |  |  | not applicable
2. | Read and Understand Rule Requirements |  |  | 10 |  | 16 | 160 | 8 | 16 | 8291.584
3. | Required Activities
0.08 | A. | Observe initial performance tests |  | 3.4 | b | 48 | 163.2 | 8.16 | 16.32 | 8457.4157
0.01 | B. | Excess emissions -- Enforcement Activities |  | 1.7 | d | 24 | 40.8 | 2.04 | 4.08 | 2114.3539
| C. | Create Information |  | not applicable
| D. | Gather Information |  | not applicable
| E. | Report Reviews
|  | 1) | Review initial notification | 17 |  | 3 | 51 | 2.55 | 5.1 | 2642.9424
|  | 2) | Review batch precompliance report | 17 |  | 5 | 85 | 4.25 | 8.5 | 4404.904
|  | 3) | Review notification of performance test | 17 |  | 10 | 170 | 8.5 | 17 | 8809.808
0.01 |  | 4) | Review notification of compliance status | 17 |  | 40 | 680 | 34 | 68 | 35239.232
|  | 5) | Review compliance report | 0 |  | 20 | 0 | 0 | 0 | 0
|  | 6) | Review notice of inspection | 17 |  | 3 | 51 | 2.55 | 5.1 | 2642.9424
|  | 7) | Review affirmative defense | 0 |  | 10 | 0 | 0 | 0 | 0
| F. | Prepare annual summary report |  | 1 | c | 200 | 200 | 10 | 20 | 10364.48
4. | Travel expenses: (1 person * 30 hours per year / 8 hours per day * $75 per diem) + ($600 per round trip) = | [6 empty] | 881.25 | per trip | 2996.25
| TOTAL | [5 empty] | 1601 | 80.05 | 160.1 | 85963.9124
FOOTNOTES
a | Figures may not add exactly due to rounding.
b | Assumes EPA personnel attend 20 percent of the initial stack tests.
c | Using four hours per state to write annual summary report.
d | Assume 10% have emission exceedances.

## EPA YR 2
Attachment 3
Table 6 - Annual Designated Administrator Burden and Cost of Recordkeeping and Reporting Requirements of the MACT Floor for Existing Sources: Polyvinyl Chloride and Copolymer Manufacturing Units - Year 2
|  |  |  | (A) |  | (B) | (C) | (D) | (E) | (F)
Burden Item |  |  |  | Number of Occurrences Per Year |  | EPA Hours Per Occurrence | Tech Hours Per Year (C=AxB) | Management Hours Per Year (D=Cx0.05) | Clerical Hours Per Year (E=Cx0.1) | EPA Cost Per Year (a,b)
1. | Applications |  |  | not applicable
2. | Read and Understand Rule Requirements |  |  | 0 |  | 16 | 0 | 0 | 0 | 0
3. | Required Activities
0.08 | A. | Observe initial performance tests |  | 0 | b | 48 | 0 | 0 | 0 | 0
0.01 | B. | Excess emissions -- Enforcement Activities |  | 1.7 | d | 24 | 40.8 | 2.04 | 4.08 | 2114.3539
| C. | Create Information |  | not applicable
| D. | Gather Information |  | not applicable
| E. | Report Reviews
|  | 1) | Review initial notification | 0 |  | 3 | 0 | 0 | 0 | 0
|  | 2) | Review batch precompliance report | 0 |  | 5 | 0 | 0 | 0 | 0
|  | 3) | Review notification of performance test | 0 |  | 10 | 0 | 0 | 0 | 0
0.01 |  | 4) | Review notification of compliance status | 0 |  | 40 | 0 | 0 | 0 | 0
|  | 5) | Review compliance report | 17 |  | 20 | 340 | 17 | 34 | 17619.616
|  | 6) | Review notice of inspection | 17 |  | 3 | 51 | 2.55 | 5.1 | 2642.9424
|  | 7) | Review affirmative defense | 0 |  | 10 | 0 | 0 | 0 | 0
| F. | Prepare annual summary report |  | 1 | c | 200 | 200 | 10 | 20 | 10364.48
4. | Travel expenses: (1 person * 30 hours per year / 8 hours per day * $75 per diem) + ($600 per round trip) = | [6 empty] | n/a | per trip | 0
| TOTAL | [5 empty] | 631.8 | 31.59 | 63.18 | 32741.3923
FOOTNOTES
a | Figures may not add exactly due to rounding.
b | Assumes EPA personnel attend 20 percent of the initial stack tests.
c | Using four hours per state to write annual summary report.
d | Assume 10% have emission exceedances.

## EPA YR 3
Attachment 3
Table 7 - Annual Designated Administrator Burden and Cost of Recordkeeping and Reporting Requirements of the MACT Floor for Existing Sources: Polyvinyl Chloride and Copolymer Manufacturing Units - Year 3
|  |  |  | (A) |  | (B) | (C) | (D) | (E) | (F)
Burden Item |  |  |  | Number of Occurrences Per Year |  | EPA Hours Per Occurrence | Tech Hours Per Year (C=AxB) | Management Hours Per Year (D=Cx0.05) | Clerical Hours Per Year (E=Cx0.1) | EPA Cost Per Year (a,b)
1. | Applications |  |  | not applicable
2. | Read and Understand Rule Requirements |  |  | 0 |  | 16 | 0 | 0 | 0 | 0
3. | Required Activities
0.08 | A. | Observe initial performance tests |  | 0 | b | 48 | 0 | 0 | 0 | 0
0.01 | B. | Excess emissions -- Enforcement Activities |  | 1.7 | d | 24 | 40.8 | 2.04 | 4.08 | 2114.3539
| C. | Create Information |  | not applicable
| D. | Gather Information |  | not applicable
| E. | Report Reviews
|  | 1) | Review initial notification | 0 |  | 3 | 0 | 0 | 0 | 0
|  | 2) | Review batch precompliance report |  |  | 5
|  | 3) | Review notification of performance test | 0 |  | 10 | 0 | 0 | 0 | 0
0.01 |  | 4) | Review notification of compliance status | 0 |  | 40 | 0 | 0 | 0 | 0
|  | 5) | Review compliance report | 17 |  | 20 | 340 | 17 | 34 | 17619.616
|  | 6) | Review notice of inspection | 17 |  | 3 | 51 | 2.55 | 5.1 | 2642.9424
|  | 7) | Review affirmative defense | 0 |  | 10 | 0 | 0 | 0 | 0
| F. | Prepare annual summary report |  | 1 | c | 200 | 200 | 10 | 20 | 10364.48
4. | Travel expenses: (1 person * 30 hours per year / 8 hours per day * $75 per diem) + ($600 per round trip) = | [6 empty] | n/a | per trip | 0
| TOTAL | [5 empty] | 631.8 | 31.59 | 63.18 | 32741.3923
FOOTNOTES
a | Figures may not add exactly due to rounding.
b | Assumes EPA personnel attend 20 percent of the initial stack tests.
c | Using four hours per state to write annual summary report.
d | Assume 10% have emission exceedances.

## EPA Summary
Attachment 3
Table 8 - Summary of Annual Designated Administrator Burden and Cost of Recordkeeping and Reporting Requirements of the MACT Floor for Existing Sources: Polyvinyl Chloride and Copolymer Manufacturing Units
Year | Technical Hours | Management Hours | Clerical Hours | Total Hours | Labor Costs | Non-Labor Costs | Total Costs
1 | 1601 | 80.05 | 160.1 | 1841.15 | 85963.9124 | 0 | 85963.9124
2 | 631.8 | 31.59 | 63.18 | 726.57 | 32741.3923 | 0 | 32741.3923
3 | 631.8 | 31.59 | 63.18 | 726.57 | 32741.3923 | 0 | 32741.3923
Total | 2864.6 | 143.23 | 286.46 | 3294.29 | 151446.697 | 0 | 151446.697
Average | 954.8667 | 47.7433 | 95.4867 | 1098.0967 | 50482.2323 | 0 | 50482.2323