Medical Device Reporting: Electronic Submission Requirements
0910-0437
RIN 0910-AF86
SUPPORTING STATEMENT

Terms of Clearance: None.
A. Justification
1. Circumstances Making the Collection of Information Necessary
Section 519(a), (b), and (c) of the Federal Food Drug and Cosmetic Act (the FD&C Act) (21 U.S.C. 360i(a), (b), and (c)) requires user facilities, manufacturers, and importers of medical devices to report adverse events involving medical devices to the Food and Drug Administration (FDA). On December 11, 1995, FDA published a notice of rulemaking amending 21 CFR part 803 implementing section 519 of the FD&C Act (60 FR 63578).  The regulation was amended to conform with the changes reflected in the 1997 FDA Modernization Act (FDAMA) and the Medical Device User Fee and Modernization Act of 2002. On February 28, 2005 (70 FR 9516), FDA rewrote the regulation into plain language.  On June 13, 2008, FDA published a Notice of Proposed Rulemaking (73 FR 33749) and a Direct Final Rule (73 FR 33692) eliminating 21 CFR 803.55.  The rule became effective October 27, 2008. In the Federal Register of August 21, 2009 (74 FR 42203), FDA proposed to amend the regulation to require electronic submission of all reports. 
In accordance with the final rule, medical device manufacturers, importers, and user facilities submit electronic MDRs to FDA and maintain records, and may also seek exemption from these requirements. (User facilities may submit either electronic or paper MDRs.)  FDA is also amending §§ 803.32, 803.42, and 803.52 by making minor revisions to reflect prior modifications to Form FDA 3500A and its instructions.  Manufacturers, importers, and user facilities are currently submitting paper MDRs on Form FDA 3500A, approved under OMB control number 0910-0291.  User facilities are currently submitting paper annual reports on Form FDA 3419, approved under this ICR, OMB control number 0910-0437.
FDA is requesting approval for the information collection requirements contained in part 803 as revised by this final rule.
21 CFR 803.17 – MDR Procedures – Recordkeeping

Manufacturers, user facilities, and importers must develop, implement, and maintain written MDR procedures for internal systems that provide for timely and effective identification of events.

21 CFR 803.18 – MDR Files – Recordkeeping

Manufacturers, user facilities, and importers must establish and maintain MDR event files (§ 803.18(a)).  MDR event files must contain information related to the adverse event, including documentation of the respondent’s deliberations and decision making processes used to determine if a device-related death, serious injury, or malfunction was or was not reportable under the regulations and copies of all MDR forms and other information related to the event that the respondent submitted to FDA and other entities and copies of all electronic acknowledgments FDA sends you in response to electronic MDR submissions (§ 803.18(b)). Under § 803.18(c), User facilities must retain an MDR event file relating to an adverse event for a period of 2 years from the date of the event.  Manufacturers and importers of medical devices must retain an MDR event file relating to an adverse event for a period of 2 years from the date of the event or a period of time equivalent to the expected life of the device, whichever is greater. Under § 803.18(d), Distributors of medical devices are required to establish complaint records and to retain them for 2 years after the date of event, or the expected life of the device whichever is greater.  FDAMA removed the requirement that medical device distributors submit MDR reports to FDA.

21 CFR 803.19 – Exemptions – Reporting

Allows manufacturers, importers, or user facilities of medical devices to request an exemption or variance from the Medical Device Reporting requirements (MDR).

21 CFR 803.20 – General Reporting Requirements
Medical device user facilities, importers, and manufacturers are required to submit individual medical device adverse event reports on the FDA MedWatch 3500A, approved under OMB control number 0910-0291.

21 CFR 803.30 and 803.32 – User Facility Reporting – Reporting
User facilities are required to submit MDR reports when a device causes or contributes to a death or serious injury.

21 CFR 803.33 – User Facility Annual Reporting – Reporting

User facilities are required to annually submit the number and summary of events reported during the previous calendar year (Form FDA 3419).  (See attachment A.)

21 CFR 803.40 and 803.42 – Importer Reporting – Reporting and Third-Party Disclosure

Importers of medical devices are required to submit MDR death and serious injury reports to the manufacturer and the FDA.  Importers send malfunction reports to the manufacturers of the problem devices, unless the manufacturers are unknown, then the reports are submitted to FDA.

21 CFR 803.50, 803.52 and 803.53 – Manufacturer Reporting – Reporting

Manufacturers of medical devices are required to submit MDR death, serious injury, and malfunction  reports.
21 CFR 803.56 – Supplemental Reports – Reporting

Within 1 month of receiving the information, manufacturers must submit to FDA supplemental information that they did not previously provide because it was not known or available when they submitted the initial report.
2. Purpose and Use of the Information Collection 
Respondents are manufacturers and importers of medical devices and device user facilities.  Device user facility means a hospital, ambulatory surgical facility, nursing home, outpatient diagnostic facility, or outpatient treatment facility as defined in § 803.3, which is not a physician's office (also defined in § 803.3). Respondents are required to report adverse events involving medical devices to the FDA.
The information that is obtained from these reports will be used to evaluate risks associated with medical devices and enable FDA to take appropriate regulatory measures to protect the public health. Complete, accurate, and timely adverse event information is necessary for the identification of emerging device problems so the Agency can protect the public health under section 519 of the FD&C Act. FDA makes the releasable information available to the public for downloading on its web site.

3. Use of Improved Information Technology and Burden Reduction 
FDA developed a voluntary program supporting electronic submission of Medical Device Reports in lieu of mailing paper reports.  FDA provides software for low-volume reporters to enter their reports and transmit the reports electronically, high-volume reporters develop custom programs to extract information from their internal databases and submit the reports electronically to FDA.  On May 8, 2008, FDA identified Medical Device Reports as records that could be submitted electronically instead of paper.  In the Federal Register of August 21, 2009 (74 FR 42203), FDA proposed to amend the regulation to require electronic submission of all reports. Under the final rule all respondents, except for user facilities, would be required to make electronic submissions via one of the two reporting options:  eSubmitter for low-volume reporters or HL7 ICSR for high-volume reporters. User facilities have the option of electronic or paper reporting (see discussion in section 8 of this document regarding comments on the proposed rule).  FDA estimates that 99 percent of the respondents will use electronic means to fulfill the information collection. 
4. Efforts to Identify Duplication and Use of Similar Information 
The FDA is the only Federal agency responsible for the collection of such information, and charged with the responsibility of regulating medical devices and establishments.  Therefore, there is not duplication with other data sources.
5. Impact on Small Businesses or Other Small Entities
The requirements set forth in the MDR regulation do not fall disproportionately upon small businesses. Over 90 percent of registered device firms affected by the final rule are considered small entities.  Because the costs per affected entity are low compared to revenues (see section VI.E of the final rule), FDA finds that although this final rule will affect a substantial number of small entities, it will not have a significant economic impact on those entities.  The FDA continues to pursue ways and means of reducing the reporting burden for both small and large medical device manufacturers and will continue to assess the latest technology for receipt of reports, consistent with the intent of the MDR regulation and protection of the public health.

FDA aids small business by providing guidance and information through the Center for Devices and Radiological Health’s Division of Small Manufacturers International and Consumer Assistance (DSMICA).  The Division produces workshops, onsite evaluations and other technical and nonfinancial assistance to small manufacturers.  In the workshops publications and educational materials, which include medical device reporting requirements, are generously distributed.  DSMICA also maintains a toll-free “800 telephone number which firms may use to obtain regulatory compliance information.
6. Consequences of Collecting the Information Less Frequently
Respondents submit the information following an adverse event (occasionally) and as annual reports (yearly). Collecting the information less frequently would limit FDA’s ability to evaluate risks associated with medical devices to protect the public health.

7. Special Circumstances Relating to the Guidelines of 5 CFR 1320.5
This regulation is consistent with principles in 5 CFR 1320.5.  There are no special circumstances.
8. Comments in Response to the Federal Register Notice and Efforts to Consult Outside the Agency
As required by section 3506(c)(2)(B) of the Paperwork Reduction Act of 1995 (PRA), FDA provided an opportunity for public comment on the information collection requirements of the proposed rule that published in the Federal Register of August 21, 2009 (74 FR 42203). FDA received 35 comments on the 2009 proposed rule.  Thirteen comments were related to the collections of information.  All comments are discussed in detail in section III of the final rule (see comments 1 through 6, 9 through 14, and 16) and in this supporting statement as follows (comment numbering has been retained as listed in the final rule for ease of reference):

(Comment 1) Two comments stated that firms that only submit a few reports should be able to send reports on paper. One comment stated that the part 11 (21 CFR part 11) electronic documents and signature requirement is a burden for firms that never have needed to report electronically.  The commenters objected to the expense of installing and validating the eSubmitter software.  One suggested that PDF scans of documents be allowed. 
(Response) The Agency disagrees with these comments as they apply to manufacturers and importers.  Electronic reporting will improve the Agency's process for collecting and analyzing postmarket medical device adverse event information in a timely and efficient manner.  If each manufacturer and importer that only had a "few reports" was exempt from the electronic reporting requirement, the cumulative effect would leave FDA with potentially thousands of reports to enter manually.  Thus, the aggregate effect of exempting such manufacturers and importers would significantly undermine the benefits of an electronic system of adverse event reporting.  The burden and expense of adopting electronic reporting is minimal.  The eSubmitter software has been designed and validated by FDA and is being made available to users for free. The user is expected to install and operate the software in accordance with the instructions provided by FDA.  Section VI of the final rule provides additional detail on the costs associated with this rule.  For more information regarding the FDA's current thinking and enforcement policy relating to electronic records requirements under part 11, see the Agency guidance document entitled "Guidance for Industry:  Part 11, Electronic Records; Electronic Signatures--Scope and Application" available at: http://www.fda.gov/downloads/Drugs/GuidanceComplianceRegulatoryInformation/Guidances/ucm072322.pdf5667fnl.pdf. 

The Agency has reassessed the proposal as it applies to user facilities, which are required to submit only device-related deaths directly to FDA.  FDA estimates that user facilities comprise approximately two-thirds of all entities subject to reporting requirements under Part 803, but provide only 3 percent of mandatory reports.  In light of the anticipated cost for all user facilities to implement electronic reporting, the relatively small number of reports filed and correspondingly small savings to the Agency from mandating electronic reporting by user facilities, FDA is not mandating electronic reporting for user facilities at this time.  Such facilities will be allowed to file paper reports, although--as is the case now--they can voluntarily choose to use electronic reporting, and the Agency encourages them to adopt electronic filing. 

(Comment 2) One comment stated that FDA should allow the manufacturer to submit a supplemental report before issuing a request for additional information.  

(Response) The Agency disagrees with this comment.  We issue a request for additional information when our analysis of available submissions from the manufacturer identifies a need for additional information.  Processing of paper submissions involves backlogs and delays in entry of the information into the database.  One advantage of electronic reporting is that supplemental reports will be quickly available for review.  Ready access to supplemental report information may reduce the need for additional information requests.  

(Comment 3) Two comments considered the required .xml format to be a problem.  One said that FDA field investigators may not be able to accurately interpret the electronic MDR .xml files to determine if the MDR is adequate or if the MDR was submitted on time.  The second said that the .xml format is difficult for people to read and FDA should provide guidance on creating acceptable MDR documents from submitted .xml files that can be used by FDA field investigators. 

(Response) The Agency does not believe that the .xml format is inherently problematic, but the Agency does agree that eMDR guidance on this issue would be helpful.  In the meantime, reporting entities that develop applications using the HL7 ICSR standard are encouraged to develop functions to save or print the reports in a human readable format.  The reporting entities will need to validate that the human readable format is an accurate representation of what was submitted.  

(Comment 4) One comment stated that the reference to paper is no longer necessary and should be deleted from the phrase "(whether paper or electronic)".

(Response) The Agency disagrees because paper copies will still be used in certain circumstances.  A reporting entity that files paper copies of MDR reports with FDA or other entities could choose to maintain a paper copy of the report in its MDR event files.  A reporting entity that uses HL7 to file an electronic MDR can maintain either an electronic or paper copy of the MDR in its MDR files, but the HL7 application needs to have validated that any paper copy produced is an accurate representation of the electronic copy filed with FDA.  A reporting entity that uses eSubmitter to file an electronic MDR can use a feature of eSubmitter to produce a paper copy of the MDR when it is needed and validation of the copy is not required.  If a reporting entity is granted an exemption from electronic reporting and the MDR report is sent on paper, it is likely that the entity would maintain a paper copy of the report sent to FDA in the MDR event file.

(Comment 5) One comment stated that FDA is requiring manufacturers to keep all three of the acknowledgments sent by FDA even though the MDR filing is not considered successful until the firm receives Acknowledgment 3 and it shows the submission did not fail.  The commenter recommended changing the regulation to eliminate retaining all of the acknowledgments sent by FDA.  The commenter suggested requiring manufacturers to retain only proof of the MDR being filed and not the acknowledgments sent by FDA, or only the final acknowledgment.  According to the commenter, Acknowledgments 1 and 2 should be invisible to the manufacturers; a single acknowledgment to the manufacturer should suffice.  

(Comment 6) One comment stated that the three acknowledgments sent by FDA are cumbersome and difficult to link together.  The commenter suggested consolidating the acknowledgments.  

(Response) The Agency disagrees.  Each acknowledgment sent by FDA indicates the stage of processing that has been reached (FDA ESG received, CDRH received, CDRH loaded into database) and whether it has been successfully processed.  The date the report reaches the FDA ESG (marked by Acknowledgment 1) is considered the date received only if the report is successfully loaded into the CDRH database (marked by Acknowledgment 3), and Acknowledgment 2 links the information from the other two acknowledgments.  If the submission has data errors, it will not be loaded into the CDRH database, and the submission must be corrected and resubmitted.  All three acknowledgments are needed to trace the reference numbers from the initial receipt at FDA's ESG to the successful loading of the submission into the CDRH database, and the comments do not indicate why retention of them would be particularly burdensome.  Until a report has been successfully processed, the reporting entity has not satisfied the requirement for submission of the MDR report.  Moreover, in the event there is a question or problem relating to a submission, the receipt or lack of receipt of each of the three acknowledgments will assist the reporter and CDRH in determining the status of the report and will allow a reporter to identify and address any problems.  For instance, failure to receive Acknowledgment 1 would indicate that it was not successfully received by the FDA ESG; if there was only one consolidated acknowledgment, the reporter would not know which aspect of the transmission failed and would not identify the problem as easily.  

(Comment 9) Two commenters asked for clarification about what date and time FDA will accept as timely submission.  One comment stated that the Agency should clarify when electronic MDRs are considered to be reported, upon receipt into the FDA ESG or upon notification by CDRH that the report has been successfully loaded into CDRH's adverse event database. The second comment asked the Agency to specify what time zone to use to determine the 30-day requirement and recommended that the time zone of the submitter should be used.

(Response) For paper reports, FDA considers the postmark date to be the date the event was reported.  For electronic reports, the date the eMDR submission is received at the FDA ESG is identified as the receipt date (i.e. the date the event was reported) for the MDR report, if the report is successfully loaded in the CDRH database.  If a report cannot be loaded by CDRH, it is rejected and must be corrected and resubmitted.  FDA does not have the benefit of the report information until the report is successfully loaded.  

The time zone should not be a concern for timely reporting under MDR.  The FDA ESG acknowledgment letter (Acknowledgment 1) displays both the date and time according to the Eastern Standard Time (EST)/Eastern Daylight Time (EDT) zone; however, MDR considers only the date for the purposes of calculating timely reporting.  If the report is successfully loaded, this processing should take no more than an hour.  Although Acknowledgment 1 displays EST/EDT, for purposes of timeliness FDA will consider the local time of the submitter, just as a postmark date is used for mailed paper reports.  See section III.Q of the final rule for further information.

(Comment 10) One comment stated that to avoid confusion the Agency should revise § 803.52(b)(4) back to the language in the current MDR regulation, to state: "Date of the report by the initial reporter."  According to the comment, that date, plus the date required under § 803.52(e)(4), "Date received by you" would permit a clear tracking of compliance with the regulation's reporting timeframes.  

(Response) FDA disagrees.  The date received by you is the date that you become aware of the event, which is also reported elsewhere on Form FDA 3500A.  We are asking for the "Date of this report" to provide the reporting entity with a means of documenting the date that the MDR is submitted to FDA.  This change will make the information requested for device reports consistent with the information recorded by other Centers for products that are reported using the Form FDA 3500A.

(Comment 11) One comment stated that there is no need for both the product code and the common device name.  It was suggested that the "and" be replaced with an "or."

(Response) FDA disagrees.  The product code does not always match directly with a single common device name.  Using both the product code and common device name provides FDA more specific information concerning the device that is the subject of the adverse event report.  The product code is information that was initially required for the baseline report, and is needed as part of the information for Form FDA 3500A because the baseline report requirement has been removed from the MDR regulation.  (See section I of the final rule).

(Comment 12) One comment stated that the Agency should revise or clarify that these fields [Block D8 and 9 on Form FDA 3500A] apply only to reprocessors.  An original equipment manufacturer that receives information about a reprocessed device for which the name and address of the reprocessor is known will send that information to the reprocessor because the reprocessor is the manufacturer for the purposes of MDR reporting.

(Response) FDA disagrees.  Form FDA 3500A was modified as a result of the MDUFMA mandate. The form and instructions specify that under Block D. Suspect Medical Device, field 8 should be answered to identify single use devices that are reprocessed, and if the answer to field 8 is yes, field 9 should be completed to identify the name and address of the reprocessor.  With this final rule we are revising the regulation to reflect the questions that are part of Form FDA 3500A.  Because a reprocessor of a single use device is considered a manufacturer, the name and address of the reprocessor will also appear in Section G of the report form.  Although this may result in duplication of information, changes to the form are beyond the scope of this regulation. 

(Comment 13) One comment suggested deleting § 803.52(e)(5) because PMA/510(k) number and combination product status have never been part of the MDR reporting provisions. This information was part of the old baseline reports, but the burden for submitting this information for each MDR is significantly more onerous than submitting this information in one baseline report on the device model.  Many manufacturers would have to add systems to connect the complaint/MDR systems with their submissions systems, significantly increasing the economic burden of the rule and adversely affecting the ability to comply with electronic MDR requirements timeframes.  

(Response) FDA disagrees.  The comment did not provide any support for considering this to be a significant burden, and FDA believes there is good reason for making this change.  FDA added these elements to Form FDA 3500A in 2005 because the Agency was removing the baseline reporting requirement.  The change in the regulation codifies the previous changes to the form.  

(Comment 14) Several comments stated that firms should be able to send a new complete report when submitting supplemental reports.   One comment stated that submissions of additional information should be submitted on paper if the initial report was not submitted electronically.

(Response) FDA disagrees.  The requirement to report only new, changed, or corrected information is consistent with the current regulation and the requirements and limitations of the CDRH database used for MDRs.  FDA is developing specifications for the new database, however, and may be able to address this suggestion in the future.  The use of electronic reporting for supplemental reports will provide FDA with more timely access to new, changed, or corrected information to facilitate the evaluation of adverse events that are reported. 

(Comment 16) One comment stated that our estimate of 10 hours for the burden to rewrite standard operating procedures (SOPs) and train personnel is too low.  In its discussion, the commenter stated that it would take at least 40 hours to align a manufacturer's complaint handling systems to work compatibly with FDA's eSubmitter software.  

(Response) The comment referred to our burden estimate for setting up systems for submission, which we estimated would require 8 to 16 hours.  Our estimate was derived based on firms that maintained their MDR records in paper form.  Companies with electronic complaint handling systems that do not intend to use HL7 ICSR could require approximately 40 hours to set up eSubmitter.  We have amended our analysis of the economic impact of this rule to reflect the burden on such companies (see section VI of the final rule). 

9. Explanation of Any Payment or Gift to Respondents
No payment or gifts will be provided to respondents to this information collection.
10. Assurance of Confidentiality Provided to Respondents
Information contained in the information collections is available as described by 21 CFR 803.9, as amended.  FDA may disclose the identity of a device user facility only in connection with an action concerning a failure to report or false or fraudulent reporting, in a communication to the manufacturer of the device, or to the employees of the Department of Health and Human Services, the Department of Justice, and duly authorized committees and subcommittees of Congress. 
11. Justification for Sensitive Questions
The information collection does not include questions concerning sexual behavior and attitudes, religious beliefs, or other matters that are commonly considered private.

12. Estimates of Annualized Burden Hours and Costs
12a. Annualized Hour Burden Estimate
FDA estimates the burden of this collection of information as follows:

Reporting Requirements
To calculate the annual reporting burden for Table 1 of this document, the number of reporting entities that had filed MDRs during 3 years (January 1, 2006, through December 31, 2008) was identified along with the number of MDR reports filed during that time period.  The rate of increase in reports and supplements filed was determined and projected for the next 3 years.  The projected total annual responses were calculated by multiplying the projected number of respondents by the annual frequency per response for the reports and supplements, resulting in the estimated total that will be filed by each entity by the year 2012.  The figures displayed in Table 3 of the 2009 proposed rule were based on MDRs processed during the year July 1, 2005, to June 30, 2006, but for this final rule FDA has used data for the years 2006 to 2008.  One exception is the counts under exemption reporting (§ 803.19), which reflect the number of firms that had an exemption and had submitted quarterly reports in 2009.  The annual burden for reporting calculated in Table 1 of this document is 37,185 hours.
The number of respondents for each applicable Code of Federal Regulations (CFR) reporting requirement in Table 1 was identified from the MDRs reported to FDA's internal databases during the period January 1, 2006, through December 31, 2008.  The annual frequency per response and total annual responses shown were based on the number of MDRs reported during the same period (January 1, 2006, through December 31, 2008) with a calculated increase for the next 3 years.  FDA estimates that electronic submission will decrease the burden associated with §§ 803.19, 803.30, 803.32, 803.40, 803.42, 803.50, 803.52, and 803.56.

	Table 1.--Estimated Annual Reporting Burden

	Activity/CFR Section
	FDA 

Form No.
	No. of Respondents
	No. of Responses per Respondent
	Total Annual  Responses
	Average Burden per Response
	Total Hours

	Exemptions--803.19


	
	56
	4
	224
	1
	224

	User Facility Reporting--803.30 and 803.32
	
	520
	7
	3,640
	0.35
	1,274

	User Facility Annual Reporting--803.33
	FDA Form 3419
	520
	1
	520
	1
	520

	Importer Reporting, Death and Serious Injury--803.40 and 803.42
	
	1
	1
	1
	1
	1

	Manufacturer Reporting--803.50 through 803.53
	
	1,240
	204
	252,960
	0.10
	25,296

	Supplemental Reports--803.56
	
	1,050
	94
	98,700
	0.10

	9,870

	Total
	
	
	
	
	
	37,185


Recordkeeping Requirements
The number of respondents for each CFR section in Table 2 of this document was identified from the MDRs reported to FDA's internal databases during the period January 1, 2006, through December 31, 2008. The Agency believes that the majority of manufacturers, user facilities, and importers has already established written procedures and MDR files to document complaints and information to meet the MDR requirements as part of their internal quality control system, but will need to modify their practices to address the electronic reporting process.
	Table 2.--Estimated Annual Recordkeeping Burden

	Activity/21 CFR Section
	No. of Recordkeepers
	No. of Records per Recordkeeper
	Total Annual Records
	Average Burden per Recordkeeping 
	Total Hours

	MDR Procedures--803.17
	1,820
	1
	1,820
	3.3
	6,006

	MDR Files--803.18
	1,820
	1
	1,820
	1.5
	2,730

	Total
	
	
	
	
	8,736


Third-Party Disclosure Requirements
The number of respondents for each CFR section in Table 3 of this document was identified from the MDRs reported to FDA's internal databases during the period January 1, 2006, through December 31, 2008.
	Table 3.--Estimated Annual Third-Party Disclosure Burden

	Activity/21 CFR Section
	No. of Respondents
	No. of Disclosures per Respondent
	Total Annual Disclosures
	Average Burden per Disclosure
	Total Hours

	Importer Reporting, Death and Serious Injury--803.40 and 803.42
	60
	25
	1,500
	0.35
	525


12b. Annualized Cost Burden Estimate
Respondents to this collection of information are businesses or other for-profit and not-for-profit organizations including user facilities, manufacturers, and importers of medical devices.

The annual cost burden is based on an average wage rate of $25 per hour.  FDA estimates, based on its experience and interaction with industry, that the group of workers represented by this wage rate will be doing most of the reporting and recordkeeping functions described in this information collection. 

Reporting:

The total amount estimated for reporting is $929,625 (37,185 X$25).  The cost described here represents the customary and usual cost of doing business.

Recordkeeping:

FDA estimates the one-time cost to respondents for establishing or revising procedures, under 21 CFR 803.17, to be $150,150 or $83 per entity (1,820 respondents x  3.3 Hours x $25).  For those entities, a one-time burden of 3.3 hours is estimated for establishing written MDR procedures.  Establishing MDR procedures is a normal cost for new manufacturers, user facilities, and importers.  The remaining manufacturers, user facilities, and importers, not required to revise their written procedures to comply with this provision, are excluded from the burden because the recordkeeping activities needed comply with this provision are considered “usual and customary” under 5 CFR 1320.3(b)(2).
FDA estimates the cost to respondents for establishing and retaining records under section 803.18 to be $68,250 (1,820 respondents x 1.5 hours per response x $25 per hour).Total hours for this section equal 2,730 hours.

Therefore the total recordkeeping costs, at $25 per hour, are estimated at $218,400 ((6,006 hours + 2,730 hours) x $25).  This cost described represents the customary and usual cost of doing business.
Third-Party Disclosure:
FDA estimates the cost to respondents for disclosing records under sections 803.40 and 803.42 to be $13,125 (525 hours x $25 per hour).

Total Annual Cost burden Estimate:

We estimate the total annual cost burden to be $1,161,150 ($929,625 reporting burden + $218,400 recordkeeping burden + $13,125 third-party disclosure burden).

Table 4  --- Estimated Annual Cost burden
	
	Burden Hours
	Wage Rate
	Total Respondent Costs

	Reporting Burden
	37,185
	$25
	$929,625

	Recordkeeping Burden 

	8,736
	$25
	$218,400

	Third-Party Disclosure Burden
	525
	$25
	$13,125

	Total
	$1,161,150


13. Estimates of Other Total Annual Costs to Respondents and/or Recordkeepers/Capital Costs
The conversion from paper to electronic submissions will result in a burden to reporting entities due to both capital costs (one-time setup costs) and annual operating and maintenance costs.  The one-time capital costs include the cost to develop procedures for handling adverse events and reporting MDRs, installing the eSubmitter software and/or installing gateway to gateway submission capabilities (HL7), and acquiring electronic certificates; these costs have been estimated at $14.0 million.  Once the procedures have been modified, there is an operating and maintenance cost to renew the digital certificate and maintain high-speed internet access, which has been estimated at $1.5 million each year.
We based our estimates on a count of all manufacturers, importers, and user facilities that filed MDRs during the period 2006 to 2008.  The estimate of capital costs included: 
· Development of procedures for handling adverse events and reporting MDRs,
· Installation of eSubmitter and/or installation and validation of H7, and
· Acquiring an electronic certificate.
The maximum and minimum estimates for installation of eSubmitter and HL7 were averaged in the calculations for capital costs.  The estimate of annual operating and maintenance costs included:

· Renewal of electronic certificate and
· Maintenance of high-speed Internet access.
14. Annualized Cost to the Federal Government
FDA estimates that it spends an average of 27 full time equivalents (FTEs) reviewing and processing Medical Device Adverse Events Reports.  An average full time equivalent employee is projected to cost FDA $209,632 (fully-loaded FTE for FDA/CDRH in FY 2013), which consists of the employee’s salary and overhead.  The burden imposed upon the government for this information collection is $5,660,064.
15. Explanation for Program Changes or Adjustments
The total estimated hour burden has been reduced as the result of program changes made in the final rule (previously approved 391,526 – estimated hour burden 46,446 = 354,080). The average burden per response/recordkeeping has decreased for all ICs, except User facility annual reporting and MDR files. Included in the reduction are adjustments to the respondents and number of responses per respondent. These adjustments are consistent with data used for the rulemaking analyses and differ from that used for the extension of the ICR. The reduction of hour burden discussed in the final rule differs from the reduction discussed here because the final rule compares the estimated hour burden to that of the estimate approved prior to the last extension of the ICR, which occurred between publication of the proposed and final rules. 
16. Plans for Tabulation and Publication and Project Time Schedule
Publication of information for statistical use is not planned.
17. Reason(s) Display of OMB Expiration Date is Inappropriate
FDA is not seeking an exemption of display of effective date. 

18. Exceptions to Certification for Paperwork Reduction Act Submissions
There are no exceptions to the certification.
PAGE  
11

