| LOW PRESSURE EVENT FORM |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1. Does this event affect at least 10 residential units? ⃝ Yes (Please continue to question 2) ⃝ No (This event is not eligible for study) |  |  |  |  |  |
| 2. Briefly describe what happened during the event ___________________________________________________________________________________________________________ |  |  |  |  |  |
| ___________________________________________________________________________________________________________ |  |  |  |  |  |
| ___________________________________________________________________________________________________________ |  |  |  |  |  |
| ___________________________________________________________________________________________________________ |  |  |  |  |  |
| ___________________________________________________________________________________________________________ |  |  |  |  |  |
| ___________________________________________________________________________________________________________ |  |  |  |  |  |
| c 3. Response ⃝ Planned ⃝ Emergency |  |  |  | 3a. When was emergency reported? Date ________Time ___________ |  |
| 4. Event type |  |  |  | 4a. What type of break? (mark all that apply) |  |
| c20a. What type of water? _____________________________________ ⃝ Main break (answer 4a and 4b) |  |  |  | ⃝ Circumferential | ⃝ Joint |
| ⃝ Planned repair |  |  |  | ⃝ Longitudinal | ⃝ Split at Corporation |
| ⃝ Supply disruption (describe below) |  |  |  | ⃝ Blowout | ⃝ Sleeve |
| _________________________________________ |  |  |  | ⃝ Other _____________________________________________________ |  |
| ⃝ Other ___________________________________ |  |  |  | _____________________________________________________ |  |
| 5. When did repair/maintenance crew arrive on site? |  |  |  | 4b. What factors contributed to the break? (mark all that apply) |  |
| Date _________________Time _______________ |  |  |  | ⃝ Defective part | ⃝ Deterioration |
| 6. When was repair/maintenance completed? |  |  |  | ⃝ Corrosion | ⃝ Excessive operating pressure |
| Date _________________Time _______________ |  |  |  | ⃝ Pumping changes | ⃝ Water hammer (surge) |
| 7. Main housing type in affected area |  |  |  | ⃝ Vehicle accident | ⃝ Contractor main break |
| ⃝ Single family homes (detached) |  |  |  | ⃝ Differential settlement | ⃝ Temperature change |
| ⃝Duplexes/townhomes (attached) |  |  |  | ⃝ Other ___________________________________________________ |  |
| ⃝Apartments/condos |  |  |  | 8. Location of work site (address)____________________________________ |  |
| ⃝ Mobile homes |  |  |  | (cross streets) ______________________ ________________________ |  |
| ⃝ Other_______________________________________ |  |  |  | (GPS coordinates) (Lat.) _______________ (Long.) ___________________ |  |
| INFRASTRUCTURE AND WATER INFORMATION |  |  |  |  |  |
| 9. Pipe diameter ___________ Inches |  |  | 13. Soil type (for example, sand, clay, rock backfill)___________________________________ |  |  |
| 10. Pipe age ___________ Years |  |  | 14. Pipe interior |  |  |
| 11. Pipe depth _____Feet ___Inches |  |  | 14a. Tuberculation 1 2 3 4 5 |  |  |
| 12. Pipe material |  |  | (smooth) (highly tuberculated) |  |  |
| ⃝ PVC | ⃝ Concrete | ⃝ Asbestos Cement | 14b. Describe sediment or biofilm______________________________ |  |  |
| ⃝ Ductile Iron | ⃝ Cast iron | ⃝ Wood | __________________________________________________________ |  |  |
| ⃝ Galvanized | ⃝ HDPE | ⃝ Steel | 15. Source water type ⃝ Surface water ⃝ Groundwater ⃝ Mixed |  |  |
| ⃝ Don’t know | ⃝ Other_________________________ |  | 16. Name of water storage facility, well, or plant serving area |  |  |
|  |  |  | ________________________________________________________________________ |  |  |

| WATER PRESSURE |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 17. How was low pressure verified? ⃝ Pressure readings ⃝ Verified at hose bibs (ground-level) ⃝ Customer complaint ⃝ Assumed (describe why) ____________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |
| 18. Pressure readings |  |  |  |  |  |  |  |  |  |
| Suggested reading locations | Location of reading (cross-streets, address, GPS coordinates) |  | Pressure during event (psi) |  |  | Date and time |  | Pressure after cleanup (psi) | Date and time |
| Near break/repair |  |  |  |  |  |  |  |  |  |
| Upstream |  |  |  |  |  |  |  |  |  |
| Downstream |  |  |  |  |  |  |  |  |  |
| REPAIR INFORMATION |  |  |  |  |  |  |  |  |  |
| 19. Was the repair site valved off? ⃝ No ⃝ Completely valved off ⃝ Partially valved off |  |  |  |  |  |  |  |  |  |
| 20. What repair or maintenance activities occurred? (mark all that apply) ⃝ Repair existing main ⃝ Replace existing main |  |  |  |  |  |  |  |  |  |
| ⃝ Add new pipes to distribution system ⃝ Fix cross-connection ⃝ Exercise valves ⃝ Flush Hydrant |  |  |  |  |  |  |  |  |  |
| ⃝ Cut open main for reasons other than pipe work (for example, install valve) ____________________________________________ |  |  |  |  |  |  |  |  |  |
| ⃝ Other (describe)__________________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |
| 21. What type of repair was conducted? ⃝ Clamp repair ⃝ Cut and replace section of pipe ⃝ Replace or repair fitting |  |  |  |  |  |  |  |  |  |
| ⃝ Other (describe)__________________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |
| c20a. What type of water? _____________________________________ 22. Was the pipe ever submerged in trench water? ⃝ No ⃝ Yes |  |  |  | 22a. Describe water (rain, sewage, leakage from system) _________________________________________________________ |  |  |  |  |  |
| 23. Describe precipitation while the main was being repaired ⃝ Heavy Rain ⃝ Light Rain ⃝ Snow or Sleet ⃝ None |  |  |  |  |  |  |  |  |  |
| c20a. What type of water? _____________________________________ 24. Were any sewage lines near the main being repaired? ⃝ No ⃝ Yes |  |  |  |  | 24a. Describe location, breaches, leaks |  |  |  |  |
| _________________________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |
| c20a. What type of water? _____________________________________ 25. Were any reclaimed water lines near the main being repaired? ⃝ No ⃝ Yes |  |  |  |  |  |  | 25a. Describe location, breaches, leaks |  |  |
| _________________________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |
| 26. Were replacement parts swabbed prior to being installed? ⃝ Yes ⃝ No ⃝ N/A |  |  |  |  |  |  |  |  |  |
| 27. Was the main flushed before being brought back into service? ⃝ Yes ⃝ No ⃝ N/A |  |  |  |  |  |  |  |  |  |
| 27a. Describe flushing process (for example, estimated velocity and duration) ___________________________________________ |  |  |  |  |  |  |  |  |  |
| 28. Was the main chlorinated before being brought back into service? ⃝ Yes ⃝ No ⃝ N/A |  |  |  |  |  |  |  |  |  |
| 28a. Chlorination method and dose? (slug dose, swabbing, 100 mg/L, 25 mg/L) ________________________________________________________ 28b. Disinfectant residual of bulk water in the main before being brought into service? _____________ |  |  |  |  |  |  |  |  |  |
| EVENT IMPACT |  |  |  |  |  |  |  |  |  |
| 29. Number of households that experienced low pressure _______ 29a. Duration of low pressure ______ hrs. ______ min. |  |  |  |  |  |  |  |  |  |
| c20a. What type of water? _____________________________________ 30. Was there a loss of household water service? ⃝ No ⃝ Yes |  |  | 30a. Num. of households lost service __________ |  |  |  |  |  |  |
| (include total time of loss of service, before and after area valved off) |  |  | 30b. Duration of lost service ______ hrs. ______ min. |  |  |  |  |  |  |
| c20a. What type of water? _____________________________________ 31. Was service to homes turned off? ⃝ No ⃝ Yes |  | 31a. Main lines closed? ⃝ Service branches to homes closed? ⃝ |  |  |  |  |  |  |  |
| 31b. Num. of households out of service__________ |  | 31c. Duration of shutoff ______ hrs. ______ min. |  |  |  |  |  |  |  |
| 32. Was a boil-water advisory (BWA) or notice administered as a result of this event? ⃝ Yes ⃝ No |  |  |  |  |  |  |  |  |  |
| 33. Based on your observations, do you think there was any potential for contamination? ⃝ Yes ⃝ No ⃝ Unsure |  |  |  |  |  |  |  |  |  |
| 33a. Please explain why you selected yes, no, or unsure:____ _____________________________________________________ |  |  |  |  |  |  |  |  |  |
| __________________________________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |
| 34. Do you have any other comments about the low pressure event? ________________________________________________ |  |  |  |  |  |  |  |  |  |
| __________________________________________________________________________________________________________ |  |  |  |  |  |  |  |  |  |

WATER SAMPLE COLLECTION DATA SHEET

SAMPLE ID: ___________________________________ Date & Time: ____________________Collected By: ____________________

Location of sample (address or GPS coordinates): ___________________________________________________________________

Pipe material at service connection: ______________________________         Area:         Affected          Unaffected

| Field water temperature: | oC | Chlorine residual (total or free) (Circle): | mg/L |
| --- | --- | --- | --- |
| pH: |  | Conductivity: | µS/cm |
| Grab sample collected? | Yes No | Preserved w/ Sodium Thiosulfate? | Yes No |
| Filtration meter start reading: |  | Filtration start time: |  |
| Filter 100 liters | + 26.4 gallons = | Filtration end time: |  |
| Stop filtration meter reading: |  | Preserved w/ Sodium Thiosulfate? | Yes No |

SAMPLE ID: ___________________________________ Date & Time: ____________________Collected By: ____________________

Location of sample (address or GPS coordinates): ___________________________________________________________________

Pipe material at service connection: ______________________________         Area:         Affected          Unaffected

| Field water temperature: | oC | Chlorine residual (total or free) (Circle): | mg/L |
| --- | --- | --- | --- |
| pH: |  | Conductivity: | µS/cm |
| Grab sample collected? | Yes No | Preserved w/ Sodium Thiosulfate? | Yes No |
| Filtration meter start reading: |  | Filtration start time: |  |
| Filter 100 liters | + 26.4 gallons = | Filtration end time: |  |
| Stop filtration meter reading: |  | Preserved w/ Sodium Thiosulfate? | Yes No |

SAMPLE ID: ___________________________________ Date & Time: ____________________Collected By: ____________________

Location of sample (address or GPS coordinates): ___________________________________________________________________

Pipe material at service connection: ______________________________         Area:         Affected          Unaffected

| Field water temperature: | oC |  | Chlorine residual (total or free) (Circle): |  |  |  | mg/L |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| pH: |  |  | Conductivity: |  |  |  | µS/cm |  |
| Grab sample collected? | Yes No |  | Preserved w/ Sodium Thiosulfate? |  |  |  | Yes No |  |
| Filtration meter start reading: |  |  | Filtration start time: |  |  |  |  |  |
| Filter 100 liters | + 26.4 gallons = |  | Filtration end time: |  |  |  |  |  |
| Stop filtration meter reading: | ____________________ |  | Preserved w/ Sodium Thiosulfate? |  |  |  | Yes No |  |
| SIGNATURE: |  |  | PRINT NAME: |  | DATE: | TIME: | SAMPLE CONDITION: |  |  |  |
| RELINQUISHED BY: |  |  |  |  |  |  | (FOR LAB USE ONLY) |  |  |  |
|  |  |  |  |  |  |  | Actual Temperature: |  |  |  |
| RECEIVED BY: |  |  |  |  |  |  | Received On Ice |  | Y / N |  |
| RELINQUISHED BY: |  |  |  |  |  |  | Preserved |  | Y / N |  |
| RECEIVED BY: |  |  |  |  |  |  | Seals Present |  | Y / N |  |
| COMMENTS/FIELD OBSERVATIONS: PLEASE SHIP SAMPLES ON ICE TO KEEP COLD DURING OVERNIGHT SHIPMENT |  |  |  |  |  |  | Container Intact |  | Y / N |  |
|  |  |  |  |  |  |  | Preserved at Lab |  | Y / N |  |

WATER SAMPLE COLLECTION DATA SHEET

SAMPLE ID: ___________________________________ Date & Time: ____________________Collected By: ____________________

Location of sample (address or GPS coordinates): ___________________________________________________________________

Pipe material at service connection: ______________________________         Area:         Affected          Unaffected

| Field water temperature: | oC | Chlorine residual (total or free) (Circle): | mg/L |
| --- | --- | --- | --- |
| pH: |  | Conductivity: | µS/cm |
| Grab sample collected? | Yes No | Preserved w/ Sodium Thiosulfate? | Yes No |
| Filtration meter start reading: |  | Filtration start time: |  |
| Filter 100 liters | + 26.4 gallons = | Filtration end time: |  |
| Stop filtration meter reading: |  | Preserved w/ Sodium Thiosulfate? | Yes No |

SAMPLE ID: ___________________________________ Date & Time: ____________________Collected By: ____________________

Location of sample (address or GPS coordinates): ___________________________________________________________________

Pipe material at service connection: ______________________________         Area:         Affected          Unaffected

| Field water temperature: | oC | Chlorine residual (total or free) (Circle): | mg/L |
| --- | --- | --- | --- |
| pH: |  | Conductivity: | µS/cm |
| Grab sample collected? | Yes No | Preserved w/ Sodium Thiosulfate? | Yes No |
| Filtration meter start reading: |  | Filtration start time: |  |
| Filter 100 liters | + 26.4 gallons = | Filtration end time: |  |
| Stop filtration meter reading: |  | Preserved w/ Sodium Thiosulfate? | Yes No |

SAMPLE ID: ___________________________________ Date & Time: ____________________Collected By: ____________________

Location of sample (address or GPS coordinates): ___________________________________________________________________

Pipe material at service connection: ______________________________         Area:         Affected          Unaffected

| Field water temperature: | oC |  | Chlorine residual (total or free) (Circle): |  |  |  | mg/L |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| pH: |  |  | Conductivity: |  |  |  | µS/cm |  |
| Grab sample collected? | Yes No |  | Preserved w/ Sodium Thiosulfate? |  |  |  | Yes No |  |
| Filtration meter start reading: |  |  | Filtration start time: |  |  |  |  |  |
| Filter 100 liters | + 26.4 gallons = |  | Filtration end time: |  |  |  |  |  |
| Stop filtration meter reading: | ____________________ |  | Preserved w/ Sodium Thiosulfate? |  |  |  | Yes No |  |
| SIGNATURE: |  |  | PRINT NAME: |  | DATE: | TIME: | SAMPLE CONDITION: |  |  |  |
| RELINQUISHED BY: |  |  |  |  |  |  | (FOR LAB USE ONLY) |  |  |  |
|  |  |  |  |  |  |  | Actual Temperature: |  |  |  |
| RECEIVED BY: |  |  |  |  |  |  | Received On Ice |  | Y / N |  |
| RELINQUISHED BY: |  |  |  |  |  |  | Preserved |  | Y / N |  |
| RECEIVED BY: |  |  |  |  |  |  | Seals Present |  | Y / N |  |
| COMMENTS/FIELD OBSERVATIONS: PLEASE SHIP SAMPLES ON ICE TO KEEP COLD DURING OVERNIGHT SHIPMENT |  |  |  |  |  |  | Container Intact |  | Y / N |  |
|  |  |  |  |  |  |  | Preserved at Lab |  | Y / N |  |