DEPARTMENT OF TRANSPORTATION

INFORMATION COLLECTION SUPPORTING STATEMENT

TITLE OF INFORMATION COLLECTION: Driver Alcohol Detection System for Safety Field Operational Test

OMB CONTROL NUMBER:

INTRODUCTION

This is to request the Office of Management and Budget’s (OMB) approved clearance for the information collection entitled, Driver Alcohol Detection System for Safety Field Operational Test.

Part B. Collections of Information Employing Statistical Methods

- Describe potential respondent universe and any sampling selection method to be used.

The Driver Alcohol Detection System for Safety - Field Operational Test (DADSS-FOT) is designed to collect both subjective and objective data regarding an in-vehicle, non-invasive alcohol detection system using both touch- and breath-based sensors. Even as technology moves towards automating automobiles, the realization of full automation may be years away and humans will still be in the loop of operations, requiring their unimpaired attention.  The objectives of the data collection are to:

- Determine the effectiveness of the DADSS sensors in a real-world driving environment.

- Analyze DADSS touch- and breath-based sensors in real-world driving scenarios

- Obtain technical data to further refine the DADSS Performance Specifications that will ultimately be used for system design and product development.

The criteria for participation are broad as we do not require a nationally representative mix nor do we intend to study target behaviors for a particular demographic.  Therefore, a convenience sample that meets specific criteria are sufficient for this study.  Even so, we will keep track of demographics during recruitment to ensure that we do not have a skewed sample.  The following criteria and recruiting methods were used in the EURO-FOT that the research team participated in and had success with recruiting efforts (this study and its details are proprietary and not available for public review).

Participants must:

- Be at least 21 years of age

- Hold a valid U.S. or Canadian driver’s license

- Have no more than one (1) driving infraction and/or conviction on their driving record for the previous three years (participants who self-report their status will be required to submit to a background check for confirmation prior to participation in the study)

- Be free of any criminal conviction in their past including criminal driving offenses (participants who self-report their status will be required to submit to a background check for confirmation prior to participation in the study)

- Be willing to work at least five (5) days per week for 12 consecutive weeks during a three-month data collection cycle

  - Meet self-reported health criteria:

    - Cannot have a substance abuse condition including alcoholism

    - Cannot have a history of neck or back conditions which still limit their ability to participate in certain activities.

    - Cannot have a history of brain damage from stroke, tumor, head injury, recent concussion, or disease or infection of the brain

    - Cannot have a current heart condition which limits their ability to participate in certain activities

    - Cannot have current uncontrolled respiratory disorders or disorders requiring oxygen

    - Cannot have had epileptic seizures or lapses of consciousness within the last 12 months

    - Cannot have chronic migraines or tension headaches (no more than one per month during the past 12 months).

    - Cannot have current problems with motion sickness, inner ear problems, dizziness, vertigo, or balance problems

    - Cannot have uncontrolled diabetes (have they been recently diagnosed, or have they been hospitalized for this condition, or any changes in their insulin prescription during the past 3 months)

    - Must not have had any major surgery within the past 6 months (including eye procedures).

    - Cannot currently be taking any medication or supplements that may interfere with driving ability (i.e., cause drowsiness or impair motor abilities).

    - Must not be pregnant or planning to become pregnant.

  - Have normal (or corrected-to-normal) hearing and vision.

  - Self-report that they are able to read, write, speak and understand English.

  - Be excluded if anyone in their household works in or is retired from any of the following businesses, occupations, or industries, which may constitute a conflict of interest with the DADSS-FOT:

    - The police force or another law enforcement agency, working as a police officer, corrections officer, or probation officer

    - A newspaper, magazine, radio or television station, or related website or online news site

    - An advertising, marketing, or public relations agency

    - A market or public opinion research company

    - The automobile or automotive industry

    - Liquor sales or hospitality, such as bartending

    - Law, such as a lawyer or attorney, or working at a law firm, or in the legal profession

    - The federal, state, or county Departments of Transportation

  - Be excluded if anyone in their immediate family has been a victim of drunk driving, or if they personally know someone that has been a victim.

A total of 480 test participants is needed to complete data collection for this study. Based on the Intraclass Correlation Coefficient (ICC) statistic (for more detail, see Part B item 2), our research team estimates that the required number of data points needed to achieve power of 96% where there is 95% agreement between readings from two data sources (touch- or breath-based sensor and the reference sensor) is 2000.  Because this is the first real-world test of these sensors and the exact failure rate associated with the environmental conditions in which we plan to conduct the tests is unknown, the research team is proposing to obtain 30% more data than the statistical analysis requires to account for the potential of sensor failure.  Therefore, the research team will collect 2600 data points for each condition, for each technology tested and for three (3) alcohol conditions (no alcohol, one drink and two drinks).  There are four data points to be collected per test: two (2) breath-based, one (1) touch-based and one (1) reference.

The study conditions are determined by the different geographic regions and temperature conditions from which we plan to sample. There are five different geographic regions: Northern, Midwestern, Pacific, Southwestern and Southeastern.  There are two different temperature levels: cold and hot.  Five geographic regions and four temperature levels per region yields 10 unique conditions. To study the covariate relationships, humidity and altitude will also be measured in these 10 different conditions.  This yields 312,000 required data points required for the study.

The study will utilize 30 in-service test vehicles over the 24-month study period.  The research team will recruit two (2) participants per car per three-month period which 480 test participants over the course of the 24-month study period.

Table 1.  Summary of Data Collection Requirements

| Attribute | Count |
| --- | --- |
| Statistical Power Targeted | 96% |
| Data Points Needed Per Technology Per Region Type | 2000 |
| Data Points Needed Per Technology Per Region Type (including anticipated 30% error) | 2600 |
| Data Points Collected Per Test | 4 (2 breath, 1 touch, 1 reference) |
| Number of Test Conditions (Geographic Site x Temperature Category) | 10 |
| Number of Data Points | 312,000 |
| Study Periods (24 months/3 months per participant) | 8 |
| Count of Vehicles | 30 |
| Count of Occupants Per Vehicle | 2 |
| Count of Participants (2 people per 3 months per vehicle) | 480 |
| Number of Tests Per Participant | 650 |
| Number of 4-hr Test Days Per Participant | 60 |
| Number of Tests Required Per Day Per Participant | 11 |
| Study Months | 24 |

2. Describe procedures for collecting information, including statistical methodology for

stratification and sample selection, estimation procedures, degree of accuracy needed,

and less than annual periodic data cycles

Overview

NHTSA and its research team believe that, to meet its research objectives, this study collects data at the lowest frequency possible within a single ICR approval based on the methods of the study described below and through statistical estimation of the data required to address the goals of the study.  To ensure that the research team collects the least amount of data possible, the Intraclass Correlation Coefficient (ICC, a value between 0 and 1) can be computed to analyze the validity of breath-  or touch-based sensors versus an ACS Alcolock L3 Interlock (reference instrument). The ICC indicates how closely the instruments correlate in their measurements, where 0 = no correlation and 1 = full correlation. Based on ICC calculations including an inflation factor for sensor failure, approximately 2600 observations per test condition per technology across all test participants is required.  This study will utilize 30 test vehicles and 480 test participants.  This study will be conducted once over a twenty-four (24) month period.

Recruitment & Orientation

To recruit participants, KEA will use a web-based advertisement strategy to reach potential participants.  When interested participants contact KEA, a screening questionnaire will be conducted over the phone to determine eligibility for participation in the full study. Once deemed eligible through self-report and a verified background check (driving and criminal), participants will be scheduled for a study orientation. (Although not required by DOT, a background check is needed due to the nature of the study.)  Upon arrival to the facility, orientation will be conducted by DADSS research team members at each selected locale.  Orientation will be conducted in groups to the extent possible or on an individual basis.

The study purpose, approach and goals will be openly communicated to participants.  Each participant will be briefed on the purpose of the study, given the opportunity ask questions and given the opportunity to willfully consent to participate in the study.   Security measures in place for data transmission will be explained.  Once informed consent has been obtained, test participants will be oriented to their test vehicle and DADSS sensor functions and operations.  The vehicle orientation will include basics on features and safety technologies within each vehicle, what to do in the event of an emergency, crash involvement, etc.

A research team member will provide an overview of the DADSS Alcohol detection subsystems and their purpose.  The operation of each will be demonstrated with the opportunity for questions.  Procedures for bypass of the ignition interlock system in the event of technology failure will be explained.  Driving rules will be covered including the following high-level requirements:

- Alcohol must not be present in the physiological system of any of the participants at the beginning of the test day (i.e., BAC 0.00%) as measured by ACS Alcolock L3 Interlock.  Test drivers, specifically, are not permitted to consume any alcohol on the test day.  Any alcohol detected in the drivers during the study or operation of the vehicle will be grounds for removal from the study.  Driving participants who do not comply with the no drinking rule and whose BrAC levels are above the legal limit while operating a test vehicle are subject to the prevailing laws of the region where the infraction took place.

- Paid drivers are expected to obey all local laws including safe driving speeds.  In the event of a violation, ticket or evidence of unsafe operation of the vehicle (such data is automatically captured by the DAS), drivers will be immediately removed from the study.

Test Day Procedures

At the start of each test day, drivers and test passengers are expected to meet with DADSS study coordinators at a predetermined location to receive keys and check in for the day.  Each day, participants will be provided route information in the form of waypoints.  This series of waypoints will be provided in a format that is easy to follow using in-vehicle navigation.  Instructions will include a count of the minimum number of successful alcohol tests required for the day and the location and sequence of tests expected.   Participants must successfully complete the minimum number of requested tests unless a permanent system failure occurs.  Participants will be given contact information for a DADSS research team member in the event of a complete system failure to receive instructions for returning the test vehicle and assignment to another vehicle.

At designated test spots, drivers and test passengers will be asked to:

- Safely park vehicles

- Perform tests within a predefined number of minutes after turning the ignition off (in some cases an immediate restart will occur or a predefined cool down/shut down period will be required)

- Perform four (4) tests (two (2) for the breath-based DADSS system, one (1) for the touch-based DADSS system, and one (1) for the breath-based reference sensor test)

At the completion of the driving shift, participants will return the vehicle to a designated location.  After each test day, drivers will be asked if they had any issues with the performance of the DADSS sensors, problems experienced with the vehicle or DADSS subsystems or other relevant information (see post-test questionnaire).

Equipment Validation

This study is intended to test reliability and technical function of the DADSS alcohol detection systems during normal vehicle operation and in geographic areas of interest. Each quarter, DADSS program staff will remove the DADSS subsystems from each test vehicle and send the device to KEA labs for validation tests to assess any system level changes that have occurred.

Statistical Estimation and Procedures

Estimation model:  A Hierarchical Linear Model (HLM) will be applied to this multilevel data to explain dependencies and compute relationships within each group. The dependent variable will be observations of alcohol level (Level 2), and the independent variables including Level 1 units (i.e. devices) and Level 2 units (i.e. drivers). Driver level covariates will include time, altitude, temperature, humidity, and the amount of alcohol intake per occupant. The resulting model is a mixed model including fixed effects plus the random effects.

In this study, the main hypotheses are: 1. Temperature, humidity and altitude will impact alcohol readings per device, after controlling for driver weight, alcohol consumed and time.  2. The device type (breath, touch or reference) are related to observed alcohol level, after controlling for temperature, humidity and altitude.  3. The device moderates the relationship between observed alcohol level and temperature, observed alcohol level and humidity, and observed alcohol level and altitude.

Variance estimation and inference methods.  In this three-level hierarchical model, there are tjktime points nested within each of  J=1,…, Jk drivers, in turn nested within each of k=1,…, K devices. At level 1, the outcome Ytjk for time t within driver level unit J and device level unit k is represented as

Ytjk=π0jk+p=1Pπpqkαpjk +etjk          Level 1

πpjk=βp0k+q=1QpβpqkXqjk+rpjk           Level 2

βpqk=βpq0+s=1S0qγpqsWsK+upqk           Level 3

Where  πpqk are level-1 coeﬃcients, with the corresponding α’s the level-1 predictors.  etjk are the level-1 random effect, with the assumption that etjk~N(o, σ2). Without device level coefficients,  etjk will be used to account the difference between devices. βpqk are driver level coefficients and the Xqjk are driver level predictors including driver’s weight. γpqs are time level coefficients, WsK are time level predictors including temperature, humidity and altitude, and upqk are time level random effects. Taken as a vector, the u’s are assumed to have a multivariate normal distribution with a mean vector of 0 and a covariance matrix Tβ, with maximum dimension p=0P(Qp+1)×p=0P(Qp+1).

Validity and reliability will be analyzed by comparing breath and touch instruments to a reference instrument. The Intraclass Correlation Coefficient (ICC, a value between 0 and 1) will be computed to analyze the validity and reliability of breath- or touch-based sensors versus the reference category (see Table 1). The ICC indicates how closely the instruments correlate in their measurement of each subject, where 0 = no correlation and 1 = full correlation.

Table 2.  Intraclass Correlation Coefficient Table

| ICC | Required Data Points Per Technology | POWER |
| --- | --- | --- |
| 0.90 | 1000 | 49% |
| 0.90 | 2000 | 61% |
| 0.90 | 3000 | 76% |
| 0.95 | 1000 | 77% |
| 0.95 | 2000 | 96% |
| 0.95 | 3000 | 99% |

To ensure that the research team obtains observations for an adequate number of trips in the aforementioned geographic regions as well as the targeted environmental conditions we are targeting power of 96% and an ICC of 0.95.  As described in Part B item 1 of this document, this requires 312,000 data points given the target number of test conditions, the technologies being tested and the anticipated sensor failure rates.  The number of tests required per participant is 650.  For a 4-hour test day, that averages 11 tests per day per participant, a feasible number of required tests.

The impact of data collection in the proposed study are expected to be stable over time and will not require annual data collection cycles.  Data collection from all participants will only happen over the phone during the recruiting interview and general feedback at the conclusion of each test day.  Data collection from the test vehicles is automatic and will not require any action from the participants.  The data will be collected and transmitted securely and wirelessly from the test vehicles’ data acquisition system (DAS).

The procedure for the collection of information for this research is summarized as follows:

- Participant pool is defined.

- Recruitment agency recruit participants from five (5) geographic regions using existing participant databases of the recruitment agency.

- Personnel from KEA’s recruitment team will go through the eligibility questionnaire over the phone to determine if the person is eligible to participate (criteria listed above).

- Qualified participants will then be scheduled for an orientation at a location in the appropriate geographic region.

- Upon arrival, the participants will show the researcher their valid driver’s license and researchers will obtain consent. Then the participants will complete the test orientation. It will take approximately 15 minutes to complete the demographic interview and one (1) hour to complete the orientation session.

- A total sample size of up to 480 participants will be collected.

- The interviews will only be conducted in English.

- Describe methods to maximize response rate.

To minimize burden to public and study costs, participants will be screened over the phone prior to their participation to ensure eligibility for full participation. The research team has given careful consideration to factors that might prevent individuals from participating in this study and/or successfully completing it and have included these factors in the screening criteria.  The research team will also use popular online job boards (e.g., Indeed) to reach potential participants. Also, eligible participants will be compensated for their time to maximize the likelihood that participants will complete the study Using participants in three-month cycles is a reasonable data collection period and makes it unlikely that they would drop-out of the study. Even in the event that someone drops out of the study, their data can still be used in the sensor analysis.  It is also not necessary for individuals to remain in pairs (driver, passenger) throughout the study.  Therefore, the research team can reassign drivers and passengers in the event a request is made.

- Describe tests of procedures or methods

Demographic data will be collected during a verbal interview. Data processing will consist of tabulation of quantitative information using descriptive statistics.  The data collection protocol has not been distributed to anyone who is outside of this research team.  The demographic/eligibility scripts have been distributed to the research team members (less than ten individuals) for validation.

The DADSS system and test vehicles have been extensively evaluated in bench tests to assess the validity and reliability of the system and its subsystems.  Prior to the execution of the study, two DADSS test cars will be made available to research team members (less than 10 individuals) for system tests of the interface as well as extensive testing of the DAS and data storage/transfer systems.  The purpose of these system tests is to identify any trouble with the system and subsystems so that the issues can be remedied prior to study commencement.

5. Provide name and telephone number of individuals who were consulted on statistical

aspects of the IC and who will actually collect and/or analyze the information.

The following individuals are primarily responsible for data collection and analysis:

| Dr. Abdullatif (Bud) Zaouk | 508-658-9420 | KEA President & Principal Investigator |
| --- | --- | --- |
| Dr. George Bahouth | 410-988-4107 | Statistical Design, Data Collection, Warehousing & Analysis |
| Mr. Michael Willis | 508-658-9421 | Recruitment & Screening |
| Ms. Amanda DiFiore | 978-228-8615 | Data Analysis |

Dr. Zaouk, Mr. Willis and Ms. DiFiore are located at KEA Technologies, Inc. headquartered in Marlborough, Massachusetts.  Dr. Bahouth is located at Impact Research in Columbia, Maryland.