## Regulated Sources_Overview
Overview - Number of Facilities and CEMS/CPMS Subject to ICR
Cells highlighted in blue denote values updated by ERG. All other cells use values EPA provided from calculations for the previous ICR.
| Number of Facilities Subject to ICR |  | 2137.06 |  |  | 2137.07 |  |  | 2137.08
|  |  | Year 1 | Year 2 | Year 3 | Year 1 | Year 2 | Year 3 | Year 1 | Year 2 | Year 3
| Existing Facilities |  | 1244 | 1246 | 1248 | 1250 | 1252 | 1254 | 727 | 727 | 727
| New Facilities |  | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0
| Number of CEMS/CPMS Subject to ICR | HAP | 2137.06 Year 1: 2137.06; 2137.07 Year 1: 2137.07; 2137.08 Year 1: 2137.08
|  |  | Year 1 | Year 2 | Year 3 | Year 1 | Year 2 | Year 3 | Year 1 | Year 2 | Year 3
| A. Existing CEMS/CPMS | PM | N/A | N/A | N/A | 1250 | 1252 | 1254 | 253.94 | 253.94 | 253.94 | [5 empty] | Updated formulas to address changes to cells E70:M87 (changes to existing inventory per OAQPS)
|  | HCl | N/A | N/A | N/A | 259 | 261 | 263 | 606.52 | 606.52 | 606.52 | [5 empty] | Updated formulas to address changes to cells E70:M87 (changes to existing inventory per OAQPS)
|  | Hg | 700 | 700 | 700 | 1101 | 1103 | 1105 | 554.78 | 554.78 | 554.78 | [5 empty] | Updated formulas to address changes to cells E70:M87 (changes to existing inventory per OAQPS)
|  | HF | N/A | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | Updated formulas to address changes to cells E70:M87 (changes to existing inventory per OAQPS)
|  | Total Existing CEMS/CPMS | 700 | 700 | 700 | 2610 | 2616 | 2622 | 1415.24 | 1415.24 | 1415.24
| B. New CEMS/CPMS | PM | 1246 | 1248 | 1250 | 2 | 2 | 2 | 0 | 0 | 0 | [5 empty] | Updated formulas to address changes to cells E70:M87 (no new sources)
|  | HCl | 255 | 257 | 259 | 2 | 2 | 2 | 0 | 0 | 0 | [5 empty] | Updated formulas to address changes to cells E70:M87 (no new sources)
|  | Hg | 397 | 399 | 401 | 2 | 2 | 2 | 0 | 0 | 0 | [5 empty] | Updated formulas to address changes to cells E70:M87 (no new sources)
|  | HF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [5 empty] | Updated formulas to address changes to cells E70:M87 (no new sources)
|  | Total New CEMS/CPMS | 1898 | 1904 | 1910 | 6 | 6 | 6 | 0 | 0 | 0
| C. Total CEMS/CPMS in Operation | PM | 1246 | 1248 | 1250 | 1252 | 1254 | 1256 | 253.94 | 253.94 | 253.94
|  | HCl | 255 | 257 | 259 | 261 | 263 | 265 | 606.52 | 606.52 | 606.52
|  | Hg | 1097 | 1099 | 1101 | 1103 | 1105 | 1107 | 554.78 | 554.78 | 554.78
|  | HF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Total CEMS/CPMS | 2598 | 2604 | 2610 | 2616 | 2622 | 2628 | 1415.24 | 1415.24 | 1415.24
| Average CEMS/CPMS per Facility |  | 2.09 | 2.09 | 2.09 | 2.09 | 2.09 | 2.09 | 1.95 | 1.95 | 1.95
Supporting Information
|  | ICR Year | 2137.07 Year 1: PM; 2137.08 Year 1: HCl; 2137.08 Year 2: SO2; 2137.08 Year 3: Hg | HF | PM |  | HCl | SO2 | Notes
|  |  | EGU Type | New | Existing | M5, M202 | M29 | M29 | M320 | M6A | M30B | M320 | M5, M202 | M29 | M320 | M6A
| Calculations for 2137.06 | Year 1 | Coal-fired >8,300 | 2 | 1046 | 1048 | 1048 | 0 | 255 | 0 | 1048 |  | 1061 | 1061 | 1061 | 0 | M5 and M202 are most expensive for total PM; HCl testing more expensive than SO2; Hg testing is required
|  |  | Coal-fired <8,300 | 0 | 36 | 36 | 36 | 0 | 0 | 0 | 36 |  | 30 | 30 | 30 | 0 | M5 and M202 are most expensive for total PM; HCl testing more expensive than SO2; Hg testing is required
|  |  | IGCC | 0 | 2 | 2 | 2 |  | 0 |  | 2 |  | 2 | 2 | 2 | 0 | M5 and M202 are most expensive for total PM; HCl testing more expensive than SO2; Hg testing is required
|  |  | liq oil-fired | 0 | 149 | 149 | 0 | 0 | 0 |  | 0 |  | 0 | 154 | 154 | 0 | All sources must use M29 for Hg; assumed would use for total HAP metals as well; M320 required for HF and HCl; no SO2 required
|  |  | solid oil-fired | 0 | 11 | 11 | 11 | 0 | 0 | 0 | 11 |  | 10 | 10 | 10 | 0 | M5 and M202 are most expensive for total PM; HCl testing more expensive than SO2; Hg testing is required
|  |  | Total | 2 | 1244 | 1246 | 1097 | 0 | 255 | 0 | 1097 | 0 | 1103 | 1257 | 1257 | 0
|  | Year 2 | Coal-fired >8,300 | 2 | 1048 | 1050 | 1050 | 0 | 257 | 0 | 1050 |  | 1061 | 1061 | 1061 | 0 | M5 and M202 are most expensive for total PM; HCl testing more expensive than SO2; Hg testing is required
|  |  | Coal-fired <8,300 | 0 | 36 | 36 | 36 | 0 | 0 | 0 | 36 |  | 30 | 30 | 30 | 0 | M5 and M202 are most expensive for total PM; HCl testing more expensive than SO2; Hg testing is required
|  |  | IGCC | 0 | 2 | 2 | 2 |  | 0 |  | 2 |  | 2 | 2 | 2 | 0 | M5 and M202 are most expensive for total PM; HCl testing more expensive than SO2; Hg testing is required
|  |  | liq oil-fired | 0 | 149 | 149 | 0 | 0 | 0 |  | 0 |  | 0 | 154 | 154 | 0 | All sources must use M29 for Hg; assumed would use for total HAP metals as well; M320 required for HF and HCl; no SO2 required
|  |  | solid oil-fired | 0 | 11 | 11 | 11 | 0 | 0 | 0 | 11 |  | 10 | 10 | 10 | 0 | M5 and M202 are most expensive for total PM; HCl testing more expensive than SO2; Hg testing is required
|  |  | Total | 2 | 1246 | 1248 | 1099 | 0 | 257 | 0 | 1099 | 0 | 1103 | 1257 | 1257 | 0
|  | Year 3 | Coal-fired >8,300 | 2 | 1050 | 1052 | 1052 | 0 | 259 | 0 | 1052 |  | 1061 | 1061 | 1061 | 0 | M5 and M202 are most expensive for total PM; HCl testing more expensive than SO2; Hg testing is required
|  |  | Coal-fired <8,300 | 0 | 36 | 36 | 36 | 0 | 0 | 0 | 36 |  | 30 | 30 | 30 | 0 | M5 and M202 are most expensive for total PM; HCl testing more expensive than SO2; Hg testing is required
|  |  | IGCC | 0 | 2 | 2 | 2 |  | 0 |  | 2 |  | 2 | 2 | 2 | 0 | M5 and M202 are most expensive for total PM; HCl testing more expensive than SO2; Hg testing is required
|  |  | liq oil-fired | 0 | 149 | 149 | 0 | 0 | 0 |  | 0 |  | 0 | 154 | 154 | 0 | All sources must use M29 for Hg; assumed would use for total HAP metals as well; M320 required for HF and HCl; no SO2 required
|  |  | solid oil-fired | 0 | 11 | 11 | 11 | 0 | 0 | 0 | 11 |  | 10 | 10 | 10 | 0 | M5 and M202 are most expensive for total PM; HCl testing more expensive than SO2; Hg testing is required
|  |  | Total | 2 | 1248 | 1250 | 1101 | 0 | 259 | 0 | 1101 | 0 | 1103 | 1257 | 1257 | 0
| Calculations for 2137.07 | Year 1 | Coal-fired >8,300 | 2 | 1052 | 1054 | 1054 | 0 | 261 | 0 | 1054
|  |  | Coal-fired <8,300 | 0 | 36 | 36 | 36 | 0 | 0 | 0 | 36
|  |  | IGCC | 0 | 2 | 2 | 2 |  | 0 |  | 2
|  |  | liq oil-fired | 0 | 149 | 149 | 0 | 0 | 0 |  | 0
|  |  | solid oil-fired | 0 | 11 | 11 | 11 | 0 | 0 | 0 | 11
|  |  | Total | 2 | 1250 | 1252 | 1103 | 0 | 261 | 0 | 1103 | 0
|  | Year 2 | Coal-fired >8,300 | 2 | 1054 | 1056 | 1056 | 0 | 263 | 0 | 1056
|  |  | Coal-fired <8,300 | 0 | 36 | 36 | 36 | 0 | 0 | 0 | 36
|  |  | IGCC | 0 | 2 | 2 | 2 |  | 0 |  | 2
|  |  | liq oil-fired | 0 | 149 | 149 | 0 | 0 | 0 |  | 0
|  |  | solid oil-fired | 0 | 11 | 11 | 11 | 0 | 0 | 0 | 11
|  |  | Total | 2 | 1252 | 1254 | 1105 | 0 | 263 | 0 | 1105 | 0
|  | Year 3 | Coal-fired >8,300 | 2 | 1056 | 1058 | 1058 | 0 | 265 | 0 | 1058
|  |  | Coal-fired <8,300 | 0 | 36 | 36 | 36 | 0 | 0 | 0 | 36
|  |  | IGCC | 0 | 2 | 2 | 2 |  | 0 |  | 2
|  |  | liq oil-fired | 0 | 149 | 149 | 0 | 0 | 0 |  | 0
|  |  | solid oil-fired | 0 | 11 | 11 | 11 | 0 | 0 | 0 | 11
|  |  | Total | 2 | 1254 | 1256 | 1107 | 0 | 265 | 0 | 1107 | 0
| Calculations for 2137.08 | Year 1 | Coal-fired >8,300 | 0 | 630 | 226.8 | 226.8 | 0 | 579.6 | 0 | 529.2 | [5 empty] | Updated existing unit counts based on data provided by OAQPS for RTR, with no new units for next 3 year prd
|  |  | Coal-fired <8,300 | 0 | 26 | 21.58 | 21.58 | 0 | 20.28 | 0 | 21.58 | [5 empty] | Revised # of units with CEMS/CPMS based on data provided by OAQPS, see %CEMSCPMSvstesting tab
|  |  | IGCC | 0 | 3 | 0 | 0 |  | 0 |  | 0
|  |  | liq oil-fired | 0 | 60 | 4.2 | 0 | 0 | 0 |  | 0
|  |  | solid oil-fired | 0 | 8 | 1.36 | 1.36 | 0 | 6.64 | 0 | 4
|  |  | Total | 0 | 727 | 253.94 | 249.74 | 0 | 606.52 | 0 | 554.78 | 0
|  | Year 2 | Coal-fired >8,300 | 0 | 630 | 226.8 | 226.8 | 0 | 579.6 | 0 | 529.2
|  |  | Coal-fired <8,300 | 0 | 26 | 21.58 | 21.58 | 0 | 20.28 | 0 | 21.58
|  |  | IGCC | 0 | 3 | 0 | 0 | 0 | 0 |  | 0
|  |  | liq oil-fired | 0 | 60 | 4.2 | 4.2 | 0 | 0 |  | 0
|  |  | solid oil-fired | 0 | 8 | 1.36 | 1.36 | 0 | 6.64 | 0 | 4
|  |  | Total | 0 | 727 | 253.94 | 253.94 | 0 | 606.52 | 0 | 554.78 | 0
|  | Year 3 | Coal-fired >8,300 | 0 | 630 | 226.8 | 226.8 | 0 | 579.6 | 0 | 529.2
|  |  | Coal-fired <8,300 | 0 | 26 | 21.58 | 21.58 | 0 | 20.28 | 0 | 21.58
|  |  | IGCC | 0 | 3 | 0 | 0 |  | 0 |  | 0
|  |  | liq oil-fired | 0 | 60 | 4.2 | 4.2 | 0 | 0 |  | 0
|  |  | solid oil-fired | 0 | 8 | 1.36 | 1.36 | 0 | 6.64 | 0 | 4
|  |  | Total | 0 | 727 | 253.94 | 253.94 | 0 | 606.52 | 0 | 554.78 | 0

## Table 1a
Table 1a: Annual Respondent Burden and Cost for Private Facilities – NESHAP for Coal- and Oil-Fired Electric Utility Steam Generating Units (40 CFR Part 63, Subpart UUUUU) (Renewal)
Cells highlighted in blue denote values updated by ERG. All other cells use values EPA provided from calculations for the previous ICR.
Burden Item |  |  |  | A | B | C | D | E | F | G | H
|  |  |  | Technical person-hours per occurrence | No. of occurrences per respondent per year | Technical person-hours per respondent per year (AxB) | Respondents per year a | Technical hours per year (CxD) | Management hours per year (Ex0.05) | Clerical hours per year (Ex0.10) | Total cost per year ($) b
1. Applications |  |  |  | A: N/A
2. Surveys and studies |  |  |  | A: N/A
3. Acquisition, installation, and utilization of technology and systems |  |  |  | 160.6 | 1 | 160.6 | 0 | 0 | 0 | 0 | 0 | Removed/revised all fields that applied only to new respondents
4. Report requirements
| A. Familiarization with regulatory requirements |  |  | 1 | 1 | 1 | 268 | 268 | 13.4 | 26.8 | 33748.8648 | Updated # of respondents to # of footprints. Included familiarization burden since actual report submittals are due less often than quarterly
B. Required activities
Existing sources
|  |  | Initial Annual performance test (PM, Methods 5 and 202) c | 27.8 | 1 | 27.8 | 406.9272 | 11312.5763 | 565.6288 | 1131.2576 | 1424576.8956 | Updated to # of units conducting testing by pollutant
|  |  | Initial Annual performance test (HCl, Method 320) c | 26.4 | 1 | 26.4 | 100.2753 | 2647.2674 | 132.3634 | 264.7267 | 333366.6748 | Updated to # of units conducting testing by pollutant
|  |  | Initial Annual performance test (Hg, Method 30B) c | 27.8 | 1 | 27.8 | 143.3384 | 3984.8071 | 199.2404 | 398.4807 | 501801.1801 | Updated to # of units conducting testing by pollutant
|  |  | CEMS quarterly inspections d | 2.5 | 4 | 10 | 504.8055 | 5048.0547 | 252.4027 | 504.8055 | 635694.4559 | Updated to # of units using HCl/SO2 CEMS. Updated to revised # of respondents
|  |  | CEMS daily calibration drift tests d | 0.4 | 365 | 146 | 504.8055 | 73701.598 | 3685.0799 | 7370.1598 | 9281139.0555 | Updated to # of units using HCl/SO2 CEMS. Updated to revised # of respondents
|  |  | CEMS daily monitoring d | 0.25 | 365 | 91.25 | 504.8055 | 46063.4988 | 2303.1749 | 4606.3499 | 5800711.9097 | Updated to # of units using HCl/SO2 CEMS. Updated to revised # of respondents
|  |  | All CEMS must follow appropriate performance specifications d | 14 | 1 | 14 | 504.8055 | 7067.2765 | 353.3638 | 706.7277 | 889972.2382 | Updated to # of units using HCl/SO2 CEMS. Updated to revised # of respondents
New sources
|  |  | Initial performance test (PM, Methods 5 and 202) | 27.8 | 1 | 27.8 | 0 | 0 | 0 | 0 | 0
|  |  | Initial performance test (HCl, Method 320) | 26.4 | 1 | 26.4 | 0 | 0 | 0 | 0 | 0
|  |  | Initial performance test (Hg, Method 30B) | 27.8 | 1 | 27.8 | 0 | 0 | 0 | 0 | 0
|  |  | CEMS quarterly inspections | 2.46 | 4 | 9.84 | 0 | 0 | 0 | 0 | 0
|  |  | CEMS daily calibration drift tests | 0.12 | 365 | 43.8 | 0 | 0 | 0 | 0 | 0
|  |  | CEMS daily monitoring | 0 | 365 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | All CEMS must follow appropriate performance specifications | 7.3 | 365 | 2664.5 | 0 | 0 | 0 | 0 | 0
| C. Create information |  |  | A: See 4B
| D. Gather existing information |  |  | A: See 4E
E. Write Report
Existing sources
|  |  | Notification of CEMS demonstration | 5 | 1 | 5 | 0 | 0 | 0 | 0 | 0
|  |  | Notification of initial performance test | 3 | 1 | 3 | 0 | 0 | 0 | 0 | 0
|  |  | Performance test report | A: See 4B
|  |  | Notification of compliance status | 16.5 | 1 | 16.5 | 0 | 0 | 0 | 0 | 0
|  |  | Quality assurance program certification | 4 | 1 | 4 | 0 | 0 | 0 | 0 | 0
|  |  | Startup, shutdown, and malfunction report (10% of respondents) | 10 | 1 | 10 | 26.8 | 268 | 13.4 | 26.8 | 33748.8648 | Updated to based on 10% of footprints. Updated to revised # of respondents
|  |  | Semiannual compliance report | 75 | 2 | 150 | 268 | 40200 | 2010 | 4020 | 5062329.72 | Updated to based on # of footprints. Updated to revised # of respondents
|  |  | Site-specific performance evaluation test plan | 20 | 1 | 20 | 219.846 | 4396.9201 | 219.846 | 439.692 | 553697.9903 | Updated to based on # of units estimated to conduct testing, assumes 20 hrs/plan/per unit.
|  |  | Request to use alternative monitoring procedure (10% of respondents) | 5 | 1 | 5 | 21.9846 | 109.923 | 5.4962 | 10.9923 | 13842.4498
New sources
|  |  | Initial notification | 3 | 1 | 3 | 0 | 0 | 0 | 0 | 0
|  |  | Notification of CEMS demonstration | 5 | 1 | 5 | 0 | 0 | 0 | 0 | 0
|  |  | Notification of initial performance test | 4 | 1 | 4 | 0 | 0 | 0 | 0 | 0
|  |  | Performance test report | A: See 4B
|  |  | Notification of compliance status | 16.5 | 1 | 16.5 | 0 | 0 | 0 | 0 | 0
|  |  | Quality assurance program certification | 3 | 1 | 3 | 0 | 0 | 0 | 0 | 0
|  |  | Startup, shutdown, and malfunction report (10% of respondents) | 10 | 1 | 10 | 0 | 0 | 0 | 0 | 0
|  |  | Semiannual compliance report | 75 | 2 | 150 | 0 | 0 | 0 | 0 | 0
|  |  | Site-specific performance evaluation test plan | 20 | 1 | 20 | 0 | 0 | 0 | 0 | 0
|  |  | Request to use alternative monitoring procedure (10% of respondents) | 5 | 1 | 5 | 0 | 0 | 0 | 0 | 0
Subtotal for Reporting Requirements |  |  |  | E: 224328.1101; H: 24564630.2994
5. Recordkeeping requirements
| A. Familiarization with regulatory requirements |  |  | A: See 4A
| B. Plan activities |  |  | A: See 4B
| C. Implement activities |  |  | A: See 4B
| D. Record data |  |  | A: N/A
E. Time to transmit or disclose information
Existing sources
|  |  | Records of CEMS malfunctions (10% of respondents) | 1 | 12 | 12 | 26.8 | 321.6 | 16.08 | 32.16 | 40498.6378 | Updated to based on # of footprints. Updated to revised # of respondents
|  |  | Records of startups, shutdowns, malfunctions, etc. | 1 | 12 | 12 | 268 | 3216 | 160.8 | 321.6 | 404986.3776 | Updated to based on # of footprints. Updated to revised # of respondents
|  |  | Records of monthly fuel use | 2 | 12 | 24 | 268 | 6432 | 321.6 | 643.2 | 809972.7552 | Updated to based on # of footprints. Updated to revised # of respondents
New sources
|  |  | Records of CEMS malfunctions (10% of respondents) | 1 | 12 | 12 | 0 | 0 | 0 | 0 | 0
|  |  | Records of startups, shutdowns, malfunctions, etc. | 1 | 12 | 12 | 0 | 0 | 0 | 0 | 0
|  |  | Records of monthly fuel use | 2 | 12 | 24 | 0 | 0 | 0 | 0 | 0
| F. Time to train personnel |  |  | 80 | 1 | 80 | 0 | 0 | 0 | 0 | 0
| G. Time for audits |  |  | A: N/A
Subtotal for Recordkeeping Requirements |  |  |  | E: 11465.04; H: 1255457.7706
TOTAL LABOR BURDEN AND COSTS (ROUNDED) e |  |  |  | E: 236000; H: 25800000
TOTAL CAPITAL AND O&M COST (ROUNDED) e |  |  |  | H: 86600000
GRAND TOTAL (ROUNDED) e |  |  |  | H: 112000000
Footnotes:
a EPA estimates an average of 727 units at 322 existing facilities and no new units per year will be subject to the NESHAP over the next 3 years. Of these, 268 facilities are owned by private industry.
b This ICR uses the following labor rates: $112.98 (technical), $149.35 (managerial), and $54.81 (clerical). These rates are from the United States Department of Labor, Bureau of Labor Statistics, June 2017, “Table 2. Civilian workers, by occupational and industry group.” The rates are from column 1, “Total compensation.” They have been increased by 110 percent to account for the benefit packages available to those employed by private industry.
c Estimates are based on the number of privately-owned EGUs complying with annual testing requirements for PM, HCl, and Hg, in lieu of CEMS/CPMS monitoring for these pollutants and includes 407 EGUs conducting Method 5 and Method 202 testing, 100 EGUs conducting Method 320 testing, and 143 EGUs conducting Method 30B testing.
d Assumes that 505 privately-owned EGUs use HCl or SO2 CEMs.
e Totals have been rounded to 3 significant figures. Figures may not add exactly due to rounding.
Assumptions and calculation area:
|  |  |  | Respondent Labor Rates | Loaded | Unloaded | Rate (110%)
|  |  |  | Technical | 112.98 | 53.8 | 2.1
|  |  |  | Managerial | 149.352 | 71.12 | 2.1
|  |  |  | Clerical | 54.81 | 26.1 | 2.1
|  |  |  | Average Annual Capital Costs for Performance Testing |  |  |  | From MATS analysis November 2011--Stef Johnson
|  |  | HAP | A: Test Method; B: Cost per Test; C: Number of Tests; D: Total Cost
|  |  | PM | Methods 5 and 202 | 15522.0063 | 406.9272 | 6316326.6473 | updated - # of test is based on # of units testing by pollutant
|  |  | HCl | Method 320 | 20444.263 | 100.2753 | 2050054.1866 | updated - # of test is based on # of units testing by pollutant
|  |  | Hg | Method 30B | 20006 | 143.3384 | 2867627.7322 | updated - # of test is based on # of units testing by pollutant
|  |  |  | Total | 55972.2693 |  | 11234008.566
Average Annual Capital Costs for CEMS Installation (Labor and Other Direct Costs)
|  |  | Equipment | A: CEM; B: Cost per Installation; C: Number of Installations; D: Total Cost
|  |  | new beta gauge PM CEMS | PM | 65388.0727 | 0 | 0 | updated - no new respondents
|  |  | new FTIR CEMS | A: HCl; B: 111044.6067; C: 0; D: 0
|  |  | new Hg CEMS | A: Hg; B: 174001.6918; C: 0; D: 0
|  |  |  | Total | 350434.3712 | 0 | 0
[5 empty] | Total Capital Cost: |  | 11234008.566
Average Annual Operation and Maintenance (O&M) Costs
|  |  |  | CEM | Costs per Monitor |  |  |  | Number of Monitors | Total Annual Cost
[5 empty] | Labor | Testing | ODC's | Total
|  |  |  | PM | 11817.7758 | 20778.5582 | 8902.2237 | 41498.5577 | 198.1535 | 8223086.1348 | updated to reference annual costs w. recovery from CEMS Cost model as applied to CEMS from existing units; Updated number of monitors based on OAQPS percentage of ERPs using CEMs by pollutant
|  |  |  | HCl | 14788.7066 | 10931.9408 | 15897.2353 | 41617.8827 | 504.8055 | 21008934.6823 | updated to reference annual costs w. recovery from CEMS Cost model as applied to CEMS from existing units; Updated number of monitors based on OAQPS percentage of ERPs using CEMs by pollutant
|  |  |  | Hg | 19959.2166 | 40011.5548 | 40035.2861 | 100006.0575 | 461.7424 | 46177033.0155 | updated to reference annual costs w. recovery from CEMS Cost model as applied to CEMS from existing units; Updated number of monitors based on OAQPS percentage of ERPs using CEMs by pollutant
|  |  |  | Total | [5 empty] | 75409053.8326
Note on H16: Tracy Curtis: Updated to # of HCl/SO2 CEMS, assumes that hourly estimates apply on a unit basis. Note that data provided by OAQPS broke down CEMS for HCl/SO2, CPMS for Hg and PM
Note on D60: Tracy Curtis: We are only assuming 10% of respondents will be reporting SSM in line 37, have adjusted the records of CEMS malfunctions accordingly.
Note on J111: Tracy Curtis: Number of monitors has been updated based on the % of EGUs conducting CPMS or CEMS monitoring (see the %CEMSCPMSvs.testing tab)

## Table 1b
Table 1b: Annual Respondent Burden and Cost for Public Facilities – NESHAP for Coal- and Oil-Fired Electric Utility Steam Generating Units (40 CFR Part 63, Subpart UUUUU) (Renewal)
Cells highlighted in blue denote values updated by ERG. All other cells use values EPA provided from calculations for the previous ICR.
Burden Item |  |  |  | A | B | C | D | E | F | G | H
|  |  |  | Technical person-hours per occurrence | No. of occurrences per respondent per year | Technical person-hours per respondent per year (AxB) | Respondents per year a | Technical hours per year (CxD) | Management hours per year (Ex0.05) | Clerical hours per year (Ex0.10) | Total cost per year ($) b
1. Applications |  |  |  | A: N/A
2. Surveys and studies |  |  |  | A: N/A
3. Acquisition, installation, and utilization of technology and systems |  |  |  | 160.6 | 1 | 160.6 | 0 | 0 | 0 | 0 | 0 | Removed/revised all fields that applied only to new respondents
4. Report requirements
| A. Familiarization with regulatory requirements |  |  | 1 | 1 | 1 | 54 | 54 | 2.7 | 5.4 | 2911.7664 | Updated # of respondents to # of footprints. Included familiarization burden since actual report submittals are due less often than quarterly
B. Required activities
Existing sources
|  |  | Initial Annual performance test (PM, Methods 5 and 202) c | 27.8 | 1 | 27.8 | 81.9928 | 2279.3997 | 113.97 | 227.94 | 122908.879 | Updated to # of units conducting testing by pollutant
|  |  | Initial Annual performance test (HCl, Method 320) c | 26.4 | 1 | 26.4 | 20.2047 | 533.4046 | 26.6702 | 53.3405 | 28762.0306 | Updated to # of units conducting testing by pollutant
|  |  | Initial Annual performance test (Hg, Method 30B) c | 27.8 | 1 | 27.8 | 28.8816 | 802.9089 | 40.1454 | 80.2909 | 43294.1322 | Updated to # of units conducting testing by pollutant
|  |  | CEMS quarterly inspections d | 2.5 | 4 | 10 | 101.7145 | 1017.1453 | 50.8573 | 101.7145 | 54846.1043 | Updated to # of units using HCl/SO2 CEMS. Updated to revised # of respondents
|  |  | CEMS daily calibration drift tests d | 0.4 | 365 | 146 | 101.7145 | 14850.322 | 742.5161 | 1485.0322 | 800753.1221 | Updated to # of units using HCl/SO2 CEMS. Updated to revised # of respondents
|  |  | CEMS daily monitoring d | 0.25 | 365 | 91.25 | 101.7145 | 9281.4512 | 464.0726 | 928.1451 | 500470.7013 | Updated to # of units using HCl/SO2 CEMS. Updated to revised # of respondents
|  |  | All CEMS must follow appropriate performance specifications d | 14 | 1 | 14 | 101.7145 | 1424.0035 | 71.2002 | 142.4003 | 76784.546 | Updated to # of units using HCl/SO2 CEMS. Updated to revised # of respondents
New sources
|  |  | Initial performance test (PM, Methods 5 and 202) | 27.8 | 1 | 27.8 | 0 | 0 | 0 | 0 | 0
|  |  | Initial performance test (HCl, Method 320) | 26.4 | 1 | 26.4 | 0 | 0 | 0 | 0 | 0
|  |  | Initial performance test (Hg, Method 30B) | 27.8 | 1 | 27.8 | 0 | 0 | 0 | 0 | 0
|  |  | CEMS quarterly inspections | 2.46 | 4 | 9.84 | 0 | 0 | 0 | 0 | 0
|  |  | CEMS daily calibration drift tests | 0.12 | 365 | 43.8 | 0 | 0 | 0 | 0 | 0
|  |  | CEMS daily monitoring | 0 | 365 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | All CEMS must follow appropriate performance specifications | 7.3 | 365 | 2664.5 | 0 | 0 | 0 | 0 | 0
| C. Create information |  |  | A: See 4B
| D. Gather existing information |  |  | A: See 4E
E. Write Report
Existing sources
|  |  | Notification of CEMS demonstration | 5 | 1 | 5 | 0 | 0 | 0 | 0 | 0
|  |  | Notification of initial performance test | 3 | 1 | 3 | 0 | 0 | 0 | 0 | 0
|  |  | Performance test report | A: See 4B
|  |  | Notification of compliance status | 16.5 | 1 | 16.5 | 0 | 0 | 0 | 0 | 0
|  |  | Quality assurance program certification | 4 | 1 | 4 | 0 | 0 | 0 | 0 | 0
|  |  | Startup, shutdown, and malfunction report (10% of respondents) | 10 | 1 | 10 | 5.4 | 54 | 2.7 | 5.4 | 2911.7664 | Updated to based on 10% of footprints. Updated based on revised # of respondents
|  |  | Semiannual compliance report | 75 | 2 | 150 | 54 | 8100 | 405 | 810 | 436764.96 | Updated to based on # of footprints. Updated to revised # of respondents
|  |  | Site-specific performance evaluation test plan | 20 | 1 | 20 | 44.2973 | 885.9466 | 44.2973 | 88.5947 | 47771.6573 | Updated to based on # of units estimated to conduct testing, assumes 20 hrs/plan.
|  |  | Request to use alternative monitoring procedure (10% of respondents) | 5 | 1 | 5 | 4.4297 | 22.1487 | 1.1074 | 2.2149 | 1194.2914
New sources
|  |  | Initial notification | 3 | 1 | 3 | 0 | 0 | 0 | 0 | 0
|  |  | Notification of CEMS demonstration | 5 | 1 | 5 | 0 | 0 | 0 | 0 | 0
|  |  | Notification of initial performance test | 4 | 1 | 4 | 0 | 0 | 0 | 0 | 0
|  |  | Performance test report | A: See 4B
|  |  | Notification of compliance status | 16.5 | 1 | 16.5 | 0 | 0 | 0 | 0 | 0
|  |  | Quality assurance program certification | 3 | 1 | 3 | 0 | 0 | 0 | 0 | 0
|  |  | Startup, shutdown, and malfunction report (10% of respondents) | 10 | 1 | 10 | 0 | 0 | 0 | 0 | 0
|  |  | Semiannual compliance report | 75 | 2 | 150 | 0 | 0 | 0 | 0 | 0
|  |  | Site-specific performance evaluation test plan | 20 | 1 | 20 | 0 | 0 | 0 | 0 | 0
|  |  | Request to use alternative monitoring procedure (10% of respondents) | 5 | 1 | 5 | 0 | 0 | 0 | 0 | 0
Subtotal for Reporting Requirements |  |  |  | E: 45200.4401; H: 2119373.957
5. Recordkeeping requirements
| A. Familiarization with regulatory requirements |  |  | A: See 4A
| B. Plan activities |  |  | A: See 4B
| C. Implement activities |  |  | A: See 4B
| D. Record data |  |  | A: N/A
E. Time to transmit or disclose information
Existing sources
|  |  | Records of CEMS malfunctions (10% of respondents) | 1 | 12 | 12 | 5.4 | 64.8 | 3.24 | 6.48 | 3494.1197 | Updated to based on 10% of footprints. Updated to revised # of respondents
|  |  | Records of startups, shutdowns, malfunctions, etc. | 1 | 12 | 12 | 54 | 648 | 32.4 | 64.8 | 34941.1968 | Updated to based on # of footprints. Updated to revised # of respondents
|  |  | Records of monthly fuel use | 2 | 12 | 24 | 54 | 1296 | 64.8 | 129.6 | 69882.3936 | Updated to based on # of footprints. Updated to revised # of respondents
New sources
|  |  | Records of CEMS malfunctions (10% of respondents) | 1 | 12 | 12 | 0 | 0 | 0 | 0 | 0
|  |  | Records of startups, shutdowns, malfunctions, etc. | 1 | 12 | 12 | 0 | 0 | 0 | 0 | 0
|  |  | Records of monthly fuel use | 2 | 12 | 24 | 0 | 0 | 0 | 0 | 0
| F. Time to train personnel |  |  | 80 | 1 | 80 | 0 | 0 | 0 | 0 | 0
| G. Time for audits |  |  | A: N/A
Subtotal for Recordkeeping Requirements |  |  |  | E: 2310.12; H: 108317.7101
TOTAL LABOR BURDEN AND COSTS (ROUNDED) e |  |  |  | E: 48000; H: 2200000
TOTAL CAPITAL AND O&M COST (ROUNDED) e |  |  |  | H: 17500000
GRAND TOTAL (ROUNDED) e |  |  |  | H: 19700000
Footnotes:
a EPA estimates an average of 727 units at 322 existing facilities and no new units per year will be subject to the NESHAP over the next 3 years. Of these, 54 facilities are owned by private industry.
b This ICR uses the following labor rates: $112.98 (technical), $149.35 (managerial), and $54.81 (clerical). These rates are from the United States Department of Labor, Bureau of Labor Statistics, June 2017, “Table 2. Civilian workers, by occupational and industry group.” The rates are from column 1, “Total compensation.” They have been increased by 110 percent to account for the benefit packages available to those employed by private industry.
c Estimates are based on the number of publicly-owned EGUs complying with annual testing requirements for PM, HCl, and Hg, in lieu of CEMS/CPMS monitoring for these pollutants and includes 82 EGUs conducting Method 5 and Method 202 testing, 20 EGUs conducting Method 320 testing, and 29 EGUs conducting Method 30B testing.
d Assumes that 102 publicly-owned EGUs use HCl or SO2 CEMs.
e Totals have been rounded to 3 significant figures. Figures may not add exactly due to rounding.
Assumptions and calculation area:
|  |  |  | Respondent Labor Rates | Loaded | Multiplier | Unloaded | Updated to agency rates
|  |  |  | Technical | 48.08 | 1.6 | 30.05
|  |  |  | Managerial | 64.8 | 1.6 | 40.5
|  |  |  | Clerical | 26.016 | 1.6 | 16.26
|  |  |  | Average Annual Capital Costs for Performance Testing |  |  |  | From MATS analysis November 2011--Stef Johnson
|  |  | HAP | A: Test Method; B: Cost per Test; C: Number of Tests; D: Total Cost
|  |  | PM | Methods 5 and 202 | 15522.0063 | 81.9928 | 1272692.6827 | updated - # of test is based on # of units testing by pollutant
|  |  | HCl | Method 320 | 20444.263 | 20.2047 | 413070.6197 | updated - # of test is based on # of units testing by pollutant
|  |  | Hg | Method 30B | 20006 | 28.8816 | 577805.5878 | updated - # of test is based on # of units testing by pollutant
|  |  |  | Total | 55972.2693 |  | 2263568.8902
Average Annual Capital Costs for CEMS Installation (Labor and Other Direct Costs)
|  |  | Equipment | A: CEM; B: Cost per Installation; C: Number of Installations; D: Total Cost
|  |  | new beta gauge PM CEMS | PM | 65388.0727 | 0 | 0 | updated - no new respondents
|  |  | new FTIR CEMS | A: HCl; B: 111044.6067; C: 0; D: 0
|  |  | new Hg CEMS | A: Hg; B: 174001.6918; C: 0; D: 0
|  |  |  | Total | 350434.3712 | 0 | 0
[5 empty] | Total Capital Cost: |  | 2263568.8902
Average Annual Operation and Maintenance (O&M) Costs
|  |  |  | CEM | Costs per Monitor |  |  |  | Number of Monitors | Total Annual Cost
[5 empty] | Labor | Testing | ODC's | Total
|  |  |  | PM | 11817.7758 | 20778.5582 | 8902.2237 | 41498.5577 | 39.9265 | 1656890.4898 | updated to reference annual costs w. recovery from CEMS Cost model as applied to CEMS from existing units
|  |  |  | HCl | 14788.7066 | 10931.9408 | 15897.2353 | 41617.8827 | 101.7145 | 4233143.5554 | updated to reference annual costs w. recovery from CEMS Cost model as applied to CEMS from existing units
|  |  |  | Hg | 19959.2166 | 40011.5548 | 40035.2861 | 100006.0575 | 93.0376 | 9304327.5479 | updated to reference annual costs w. recovery from CEMS Cost model as applied to CEMS from existing units
|  |  |  | Total | [5 empty] | 15194361.5931
Note on D60: Tracy Curtis: We are only assuming 10% of respondents will be reporting SSM in line 37, have adjusted the records of CEMS malfunctions accordingly.
Note on J109: Tracy Curtis: Number of monitors has been updated based on the % of EGUs conducting CPMS or CEMS monitoring (see the %CEMSCPMSvs.testing tab)

## Table 1c
Table 1c: Annual Respondent Burden and Cost Breakdown by Affected Sector – NESHAP for Coal- and Oil-Fired Electric Utility Steam Generating Units (40 CFR Part 63, Subpart UUUUU) (Renewal)
Affected Sector | Number of Responses | Labor Hours |  |  | Labor Cost | Capital and O&M Cost | Total Cost
|  | Reporting | Recordkeeping | Total
Private | 1211.5578 | 224328.1101 | 11465.04 | 236000 | 25800000 | 86600000 | 112000000
Public (State/Local/Tribal) | 244.1199 | 45200.4401 | 2310.12 | 47500 | 2200000 | 17500000 | 19700000
Total (rounded) | 1460 | 270000 | 13800 | 284000 | 28000000 | 104000000 | 132000000 | 194.5205 | hrs/response
Totals have been rounded to 3 significant figures. Figures may not add exactly due to rounding.
2011 Final Rule |  | % by sector | Current |  | % by sector
Total # facilities: | 575 |  | Total # of facilities (May 2017 Inventory): | 322 |  | Updated percentage of public/private to be based on number of facilities/footprints
Total private sector: | 479 | 83.3% | Total private sector | 268 | 83.23%
Total public sector: | 96 | 16.7% | Total public sector | 54 | 16.77%
|  |  |  | 2.2578 | Units per facility (footprint)

## Table 2
Table 2: Average Annual EPA Burden and Cost – NESHAP for Coal- and Oil-Fired Electric Utility Steam Generating Units (40 CFR Part 63, Subpart UUUUU) (Renewal)
Cells highlighted in blue denote values updated by ERG. All other cells use values EPA provided from calculations for the previous ICR.
Burden Item | A | B | C | D | E | F | G | H
| Technical person-hours per occurrence | No. of occurrences per respondent per year | Technical person-hours per respondent per year (AxB) | Respondents per year a | Technical hours per year (CxD) | Management hours per year (Ex0.05) | Clerical hours per year (Ex0.10) | Total cost per year ($) b
Observe initial performance test c | 24 | 1 | 24 | 0 | 0 | 0 | 0 | 0 | Updated to 0 respondents, no new sources
Observe repeat performance test d | 24 | 0.2 | 4.8 | 0 | 0 | 0 | 0 | 0
Review initial notification | 0.5 | 1 | 0.5 | 0 | 0 | 0 | 0 | 0
Review notification of CEMS demonstration | 0.5 | 1 | 0.5 | 0 | 0 | 0 | 0 | 0
Review notification of initial performance test | 0.5 | 1 | 0.5 | 0 | 0 | 0 | 0 | 0
Review performance test report | 8 | 1 | 8 | 0 | 0 | 0 | 0 | 0
Review quality assurance program certification | 0.5 | 1 | 0.5 | 0 | 0 | 0 | 0 | 0
Review startup, shutdown, and malfunction report (10% of respondents) | 8 | 1 | 8 | 32.2 | 257.6 | 12.88 | 25.76 | 13890.2042
Review semiannual compliance report | 8 | 1 | 8 | 322 | 2576 | 128.8 | 257.6 | 138902.0416
Review notification of compliance status | 0.5 | 1 | 0.5 | 0 | 0 | 0 | 0 | 0
Review site-specific performance evaluation test plan | 8 | 1 | 8 | 264.1433 | 2113.1467 | 105.6573 | 211.3147 | 113944.2493
Review request to use alternative monitoring procedure (10% of respondents) | 0.5 | 1 | 0.5 | 26.4143 | 13.2072 | 0.66036 | 1.3207 | 712.1516
Travel Expenses e | H: 400
TOTAL (ROUNDED) f | E: 5700; H: 268000
Footnotes:
a EPA estimates an average of 727 existing facilities and no new facilities per year will be subject to the NESHAP over the next 3 years. Across all existing facilities, EPA estimates there will be a total of 727, 133, and 667 CEMS monitoring for PM, HCl, and Hg, respectively.
b This ICR uses the following labor rates: $48.08 (technical), $64.80 (managerial), and $26.02 (clerical). These rates are from the Office of Personnel Management (OPM), 2017 General Schedule, which excludes locality rates of pay. The rates have been increased by 60 percent to account for the benefit packages available to government employees.
c EPA estimates it will observe 20% of initial performance tests.
d EPA assumes 20% of initial performance tests must be repeated due to failure.
e EPA estimates annual travel expenses to be $400 [(1 person x 1 plant/year x 3 days/plant x $50 per diem) + ($250 round trip/plant x 1 plant/year) = $400/year].
f Totals have been rounded to 3 significant figures. Figures may not add exactly due to rounding.
Assumptions and calculation area:
| Agency Labor Rates |  | Unloaded Labor Rate | Multiplier | Loaded Labor Rate
| GS-12 Step 1 | Technical | 30.05 | 1.6 | 48.08
| GS-13 Step 5 | Managerial | 40.5 | 1.6 | 64.8
| GS-06 Step 3 | Clerical | 16.26 | 1.6 | 26.016
Travel Expenses
| SALARY TABLE 2011-GS | 400
Travel Expenses
Travel Expenses* = (1 person x 1 plant/year x 3 days/plant x $50 per diem) + ($250 round trip/plant x 1 plant/year) = $400/year
Travel Expenses* = | B: 400
*Assumes EPA will visit 1 plant per year
Note on E16: Tracy Curtis: Updated to add values from Table 1b

## Annual Responses
Total Annual Responses
Total Annual Responses
| (A) Information Collection Activity | (B) Number of Respondents | (C) Number of Responses per year | (D) Number of Respondents That Keep Records But Do Not Submit Reports | (E) Total Annual Responses E=(BxC)+D
Existing Sources
| Notification of CEMS demonstration | 0 | 1 | 0 | 0
| Notification of initial performance test | 0 | 1 | 0 | 0
| Performance test report | 488.92 | 1 | 0 | 488.92
| Notification of compliance status | 0 | 1 | 0 | 0
| Quality assurance program certification | 0 | 1 | 0 | 0
| Startup, shutdown, and malfunction report (10% of respondents) | 32.2 | 1 | 0 | 32.2
| Semiannual compliance report | 322 | 2 | 0 | 644
| Site-specific performance evaluation test plan | 264.1433 | 1 | 0 | 264.1433
| Request to use alternative monitoring procedure (10% of respondents) | 26.4143 | 1 | 0 | 26.4143
New Sources
| Initial notification | 0 | 1 | 0 | 0
| Notification of CEMS demonstration | 0 | 1 | 0 | 0
| Notification of initial performance test | 0 | 1 | 0 | 0
| Performance test report | 0 | 1 | 0 | 0
| Notification of compliance status | 0 | 1 | 0 | 0
| Quality assurance program certification | 0 | 1 | 0 | 0
| Startup, shutdown, and malfunction report (10% of respondents) | 0 | 1 | 0 | 0
| Semiannual compliance report | 0 | 2 | 0 | 0
| Site-specific performance evaluation test plan | 0 | 1 | 0 | 0
| Request to use alternative monitoring procedure (10% of respondents) | 0 | 1 | 0 | 0
| Total Annual Responses |  |  |  | 1455.6777
|  |  |  | Hrs/Response = | 195.0981
Note on C8: Tracy Curtis: This is based on # of PM tests/# of units; assuming that a report will cover multiple pollutants. Should other tests be included?

## Summary of CEMS Costs_2018
Summary of CEMS (Hg) |  |  |  |  | Summary of CEMS (HCl) |  |  |  |  | Summary of CEMS (PM)
Analyzers |  | BEFORE | AFTER |  | Analyzers |  | BEFORE | AFTER |  | Analyzers |  | BEFORE | AFTER
CO |  | 0 | 0 |  | CO |  | 0 | 0 |  | CO |  | 0 | 0
SO2 |  | 0 | 0 |  | SO2 |  | 0 | 0 |  | SO2 |  | 0 | 0
NOX |  | 0 | 0 |  | NOX |  | 0 | 0 |  | NOX |  | 0 | 0
HCl |  | 0 | 0 |  | HCl |  | 0 | 1 |  | HCl |  | 0 | 0
Mercury (and CO2/O2) |  | 0 | 1 |  | Mercury (and CO2/O2) |  | 0 | 0 |  | Mercury (and CO2/O2) |  | 0 | 0
CO2 |  | 0 | 0 |  | CO2 |  | 0 | 0 |  | CO2 |  | 0 | 0
O2 |  | 0 | 0 |  | O2 |  | 0 | 0 |  | O2 |  | 0 | 0
THC |  | 0 | 0 |  | THC |  | 0 | 0 |  | THC |  | 0 | 0
Monitors |  |  |  |  | Monitors |  |  |  |  | Monitors
OPACITY |  | 0 | 0 |  | OPACITY |  | 0 | 0 |  | OPACITY |  | 0 | 0
FLOW |  | 0 | 0 |  | FLOW |  | 0 | 0 |  | FLOW |  | 0 | 0
PM (beta gauge) |  | 0 | 0 |  | PM (beta gauge) |  | 0 | 0 |  | PM (beta gauge) |  | 0 | 0
PM (light scattering; insitu) |  | 0 | 0 |  | PM (light scattering; insitu) |  | 0 | 0 |  | PM (light scattering; insitu) |  | 0 | 1
PM (light scattering; extractive) |  | 0 | 0 |  | PM (light scattering; extractive) |  | 0 | 0 |  | PM (light scattering; extractive) |  | 0 | 0
Bag leak detector |  |  |  |  | Bag leak detector |  |  |  |  | Bag leak detector
Number of fabric filters to be monitored= |  | 0 | 0 |  | Number of fabric filters to be monitored= |  | 0 | 0 |  | Number of fabric filters to be monitored= |  | 0 | 0
Number of sensors= |  | 0 | 0 |  | Number of sensors= |  | 0 | 0 |  | Number of sensors= |  | 0 | 0
Summary of Costs |  |  |  |  | Summary of Costs |  |  |  |  | Summary of Costs
First Costs | Labor | Test | ODCs | Total | First Costs | Labor | Test | ODCs | Total | First Costs | Labor | Test | ODCs | Total
Planning | 2534.4 | 0 | 352 | 2886.4 | Planning | 2534.4 | 0 | 352 | 2886.4 | Planning | 806.4 | 0 | 0 | 806.4
Select Equipment | 10940.8 | 0 | 3067.086 | 14007.886 | Select Equipment | 10940.8 | 0 | 3067.086 | 14007.886 | Select Equipment | 5356.8 | 0 | 643.336 | 6000.136
Support Facilities | 0 | 0 | 19267.2649 | 19267.2649 | Support Facilities | 0 | 0 | 19267.2649 | 19267.2649 | Support Facilities | 0 | 0 | 365 | 365
Purchase CEMS Hardware | 0 | 0 | 103044.3472 | 103044.3472 | Purchase CEMS Hardware | 0 | 0 | 48762.875 | 48762.875 | Purchase CEMS Hardware | 0 | 0 | 33432.166 | 33432.166
Install and Check CEMS | 6762.24 | 0 | 11978.5 | 18740.74 | Install and Check CEMS | 4818.24 | 0 | 11978.5 | 16796.74 | Install and Check CEMS | 2419.2 | 0 | 12019.375 | 14438.575
Performance Specification Tests | 2244.24 | 33854.62 | 627.5 | 36726.36 | Performance Specification Tests | 2129.04 | 8463.195 | 502.5 | 11094.735 | Performance Specification Tests | 3639.12 | 26469.895 | 692.5 | 30801.515
QA/QC Plan | 2570.496 | 11981.068 | 692 | 15243.564 | QA/QC Plan | 2570.496 | 11981.068 | 692 | 15243.564 | QA/QC Plan | 2305.536 | 10444.093 | 692 | 13441.629
| 25052.176 | 45835.688 | 139028.6981 | 209916.5621 |  | 22992.976 | 20444.263 | 84622.2259 | 128059.4649 |  | 14527.056 | 36913.988 | 47844.377 | 99285.421
Annual Costs |  |  |  |  | Annual Costs |  |  |  |  | Annual Costs
Day-to-Day Activities | 11016 | 0 | 1000 | 12016 | Day-to-Day Activities | 6017.76 | 0 | 1000 | 7017.76 | Day-to-Day Activities | 1101.6 | 0 | 0 | 1101.6
Annual RATA | 885.1468 | 33484.5528 | 0 | 34369.6996 | Annual RATA | 885.1468 | 8020.6778 | 0 | 8905.8246 | Annual RATA | 0 | 0 | 0 | 0
PM Monitor RCA | 0 | 0 | 0 | 0 | PM Monitor RCA | 0 | 0 | 0 | 0 | PM Monitor RCA | 388.6282 | 5691.8063 | 19.055 | 6099.4895
PM Monitor RRA | 0 | 0 | 0 | 0 | PM Monitor RRA | 0 | 0 | 0 | 0 | PM Monitor RRA | 816 | 9830.2 | 50 | 10696.2
Cylinder Gas Audits (ACA/SVA for PM) | 1163.52 | 0 | 15881.25 | 17044.77 | Cylinder Gas Audits (ACA/SVA for PM) | 1284.48 | 0 | 1068.75 | 2353.23 | Cylinder Gas Audits (ACA/SVA for PM) | 585.6149 | 0 | 620 | 1205.6149
Recordkeeping and Reporting | 1252.8 | 0 | 160 | 1412.8 | Recordkeeping and Reporting | 1252.8 | 0 | 160 | 1412.8 | Recordkeeping and Reporting | 5448 | 0 | 40 | 5488
Annual QA & O&M Review and Update | 2074.32 | 0 | 3196.3494 | 5270.6694 | Annual QA & O&M Review and Update | 2074.32 | 0 | 1618.2804 | 3692.6004 | Annual QA & O&M Review and Update | 1409.28 | 0 | 1360.1294 | 2769.4094
Capital Recovery | 3567.4299 | 6527.002 | 19797.6866 | 29892.1184 | Capital Recovery | 3274.1998 | 2911.2631 | 12050.205 | 18235.6678 | Capital Recovery | 2068.6528 | 5256.5519 | 6813.0393 | 14138.2439
Total w/o capital recovery | 16391.7868 | 33484.5528 | 20237.5994 | 70113.939 | Total w/o capital recovery | 11514.5068 | 8020.6778 | 3847.0304 | 23382.2149 | Total w/o capital recovery | 9749.123 | 15522.0063 | 2089.1844 | 27360.3138
Total with capital recovery | 19959.2166 | 40011.5548 | 40035.2861 | 100006.0575 | Total with capital recovery | 14788.7066 | 10931.9408 | 15897.2353 | 41617.8827 | Total with capital recovery | 11817.7758 | 20778.5582 | 8902.2237 | 41498.5577

## %CEMSCPMSvs.testing
No. Release Pts | Hg Compliance Method |  |  | PM Compliance Method |  |  |  | AG Compliance Method
610 | All | Counts | % | All Units | Counts | % |  | All Units | Counts | %
| Hg CMS* | 463 | 76 | PM CMS** | 198 | 32 |  | HCl CEMS | 5 | 1 | Average % Units Using CEMS
[8 empty] | SO2 CEMS | 498 | 82 | 0.63667
| Stack Test | 147 | 24 | Stack Test | 412 | 68 |  | Stack Test | 107 | 17 | Average % Units Testing
0.36333
Coal: Bituminous Coal, Subbituminous Coal, Waste Coal - anthracite culm, bituminous gob, fine coal, lignite waste, waste coal
522 | C | Counts | % | C | Counts | % |  | C | Counts | %
| Hg CMS* | 441 | 84 | PM CMS** | 188 | 36 |  | HCl CEMS | 4 | 1
[8 empty] | SO2 CEMS | 476 | 91
| Stack Test | 81 | 16 | Stack Test | 334 | 64 |  | Stack Test | 42 | 8
Lignite Coal
23 | L | Counts | % | L | Counts | % |  | L | Counts | %
| Hg CMS* | 19 | 83 | PM CMS** | 5 | 22 |  | HCl CEMS | 0 | 0
[8 empty] | SO2 CEMS | 18 | 78
| Stack Test | 4 | 17 | Stack Test | 18 | 78 |  | Stack Test | 5 | 22
IGCC
3 | PTC | Counts | % | PTC | Counts | % |  | PTC | Counts | %
| Hg CMS* | 0 | 0 | PM CMS** | 0 | 0 |  | HCl CEMS | 0 | 0
| Stack Test | 3 | 100 | Stack Test | 3 | 100 |  | Stack Test | 3 | 100
Oil: Oil, Diesel Oil, Residual Oil, Other Oil
56 | OIL | Counts | % | OIL | Counts | % |  | OIL | Counts | %
| Hg CMS* | 0 | 0 | PM CMS** | 4 | 7 |  | HCl CEMS | 0 | 0
| Stack Test | 56 | 100 | Stack Test | 52 | 93 |  | Stack Test | 56 | 100
Petroleum Coke
6 | PTC | Counts | % | PTC | Counts | % |  | PTC | Counts | %
| Hg CMS* | 3 | 50 | PM CMS** | 1 | 17 |  | HCl CEMS | 1 | 17
[7 empty] | 6.64 | SO2 CEMS | 4 | 66
| Stack Test | 3 | 50 | Stack Test | 5 | 83 |  | Stack Test | 1 | 17
| * Hg CEMS or Hg sorbent traps |  |  | ** PM CEMS or PM CPMS

## Summary Info_2015 (hidden)
Summary of CEMS | Cells highlighted in blue denote values updated by ERG. All other cells use values EPA provided from calculations for the previous ICR.
Analyzers |  | BEFORE | AFTER
CO |  | 0 | 0
SO2 |  | 0 | 0
NOX |  | 0 | 0
HCl |  | 0 | 0
Mercury (and CO2/O2) |  | 0 | 1
CO2 |  | 0 | 0
O2 |  | 0 | 0
THC |  | 0 | 0
Monitors
OPACITY |  | 0 | 0
FLOW |  | 0 | 0
PM (beta gauge) |  | 0 | 0
PM (light scattering; insitu) |  | 0 | 0
PM (light scattering; extractive) |  | 0 | 0
Bag leak detector
Number of fabric filters to be monitored= |  | 0 | 0
Number of sensors= |  | 0 | 0
Summary of Costs
First Costs | Labor | Test | ODCs | Total
Planning | 2534.4 | 0 | 352 | 2886.4
Select Equipment | 8272 | 0 | 343.336 | 8615.336
Support Facilities | 0 | 0 | 17865 | 17865
Purchase CEMS Hardware | 0 | 0 | 95400 | 95400
Install and Check CEMS | 6762.24 | 0 | 11978.5 | 18740.74
Performance Specification Tests | 2244.24 | 33854.62 | 627.5 | 36726.36
QA/QC Plan | 2570.496 | 11981.068 | 692 | 15243.564
| 22383.376 | 45835.688 | 127258.336 | 195477.4
Annual Costs
Day-to-Day Activities | 10310.4 | 0 | 1000 | 11310.4
Annual RATA | 885.1468 | 33484.5528 | 0 | 34369.6996
PM Monitor RCA | 0 | 0 | 0 | 0
PM Monitor RRA | 0 | 0 | 0 | 0
Cylinder Gas Audits (ACA/SVA for PM) | 1163.52 | 0 | 15881.25 | 17044.77
Recordkeeping and Reporting | 1252.8 | 0 | 160 | 1412.8
Annual QA & O&M Review and Update | 2074.32 | 0 | 2980 | 5054.32
Capital Recovery | 3187.3927 | 6527.002 | 18121.587 | 27835.9818
Total w/o capital recovery | 15686.1868 | 33484.5528 | 20021.25 | 69191.9896
Total with capital recovery | 18873.5795 | 40011.5548 | 38142.837 | 97027.9713
Cost per Monitor
HCl (based on CEMS cost model) |  |  |  |  | PM CPMS (based on CEMS cost model--combination of PM, PM beta, and PM extractive monitors) |  |  |  |  | Hg CEMS (combination of CEMS cost model and NESCAUM; NESCAUM data in green)
First Costs | Labor | Test | ODCs | Total | First Costs | Labor | Test | ODCs | Total | First Costs | Labor | Test | ODCs | Total
Planning | 2534.4 | 0 | 352 | 2886.4 | Planning | 806.4 | 0 | 0 | 806.4 | Planning | 2534.4 | 0 | 352 | 2886.4
Select Equipment | 8272 | 0 | 343.336 | 8615.336 | Select Equipment | 4224 | 0 | 343.336 | 4567.336 | Select Equipment | 8272 | 0 | 343.336 | 8615.336
Support Facilities | 0 | 0 | 17865 | 17865 | Support Facilities | 0 | 0 | 365 | 365 | Support Facilities | 0 | 0 | 17865 | 17865
Purchase CEMS Hardware | 0 | 0 | 45145.4 | 45145.4 | Purchase CEMS Hardware | 0 | 0 | 30952 | 30952 | Purchase CEMS Hardware | 0 | 0 | 98451 | 98451
Install and Check CEMS | 4818.24 | 0 | 11978.5 | 16796.74 | Install and Check CEMS | 2419.2 | 0 | 12019.375 | 14438.575 | Install and Check CEMS | 6762.24 | 0 | 11978.5 | 18740.74
Performance Specification Tests | 2129.04 | 8463.195 | 502.5 | 11094.735 | Performance Specification Tests | 2244.24 | 8463.195 | 692.5 | 11399.935 | Performance Specification Tests | 2244.24 | 20006 | 627.5 | 22877.74
QA/QC Plan | 2570.496 | 11981.068 | 692 | 15243.564 | QA/QC Plan | 2305.536 | 10444.093 | 692 | 13441.629 | QA/QC Plan | 2570.496 | 11981.068 | 692 | 15243.564
| 20324.176 | 20444.263 | 76878.736 | 117647.175 |  | 11999.376 | 18907.288 | 45064.211 | 75970.875 |  | 22383.376 | 31987.068 | 130309.336 | 184679.78
w/cap. Recov | 23218.3387 | 23355.5261 | 87826.268 |  | w/cap. Recov | 13906.7181 | 24163.8399 | 51481.3546 |  | w/cap. Recov | 25570.7687 | 38514.07 | 148430.923
labor and ODC | 111044.6067 |  |  |  | labor and ODC | 65388.0727 |  |  |  | labor and ODC | 174001.6918
Annual Costs |  |  |  |  | Annual Costs |  |  |  |  | Annual Costs (NESCAUM)
Day-to-Day Activities | 5532.48 | 0 | 1000 | 6532.48 | Day-to-Day Activities | 1036.8 | 0 | 0 | 1036.8 | Day-to-Day Activities | 28000 | 0 | 32000 | 60000
Annual RATA | 885.1468 | 8020.6778 | 0 | 8905.8246 | Annual RATA | 442.5734 | 0 | 0 | 442.5734 | Annual RATA | 885.1468 | 20006 | 0 | 20891.1468
PM Monitor RCA | 0 | 0 | 0 | 0 | PM Monitor RCA | 388.6282 | 5691.8063 | 19.055 | 6099.4895 | PM Monitor RCA | 0 | 0 | 0 | 0
PM Monitor RRA | 0 | 0 | 0 | 0 | PM Monitor RRA | 816 | 9830.2 | 50 | 10696.2 | PM Monitor RRA | 0 | 0 | 0 | 0
Cylinder Gas Audits (ACA/SVA for PM) | 1284.48 | 0 | 1068.75 | 2353.23 | Cylinder Gas Audits (ACA/SVA for PM) | 585.6149 | 0 | 620 | 1205.6149 | Cylinder Gas Audits (ACA/SVA for PM) | 1163.52 | 0 | 15881.25 | 17044.77
Recordkeeping and Reporting | 1252.8 | 0 | 160 | 1412.8 | Recordkeeping and Reporting | 5448 | 0 | 40 | 5488 | Recordkeeping and Reporting | 1252.8 | 0 | 160 | 1412.8
Annual QA & O&M Review and Update | 2074.32 | 0 | 1519 | 3593.32 | Annual QA & O&M Review and Update | 1409.28 | 0 | 1280 | 2689.28 | Annual QA & O&M Review and Update | 2074.32 | 0 | 2980 | 5054.32
Capital Recovery | 2894.1627 | 2911.2631 | 10947.532 | 16752.9577 | Capital Recovery | 1907.3421 | 5256.5519 | 6417.1436 | 13581.0376 | Capital Recovery | 3187.3927 | 6527.002 | 18121.587 | 27835.9818
Total w/o capital recovery | 11029.2268 | 8020.6778 | 3747.75 | 22797.6546 | Total w/o capital recovery | 10126.8964 | 15522.0063 | 2009.055 | 27657.9578 | Total w/o capital recovery | 33375.7868 | 20006 | 51021.25 | 104403.0368
Total with capital recovery | 13923.3894 | 10931.9408 | 14695.282 | 39550.6123 | Total with capital recovery | 12034.2385 | 20778.5582 | 8426.1986 | 41238.9953 | Total with capital recovery | 36563.1795 | 26533.002 | 69142.837 | 132239.0185
Total Cost
HCl Monitors | 606.52 |  |  |  | PM CPMS | 253.94 |  |  |  | Hg CEMS | 554.78 |  |  |  | SUMMARY | All | 1415.24 | monitors
[17 empty] | 1.1377 | monitors/site
First Costs | Labor | Test | ODCs | Total | First Costs | Labor | Test | ODCs | Total | First Costs | Labor | Test | ODCs | Total | First Costs | Labor | Test | ODCs | Total
Planning | 1537164.288 | 0 | 213495.04 | 1750659.328 | Planning | 204777.216 | 0 | 0 | 204777.216 | Planning | 1406034.432 | 0 | 195282.56 | 1601316.992 | Planning | 3147975.936 | 0 | 408777.6 | 3556753.536
Select Equipment | 5017133.44 | 0 | 208240.1507 | 5225373.5907 | Select Equipment | 1072642.56 | 0 | 87186.7438 | 1159829.3038 | Select Equipment | 4589140.16 | 0 | 190475.9461 | 4779616.1061 | Select Equipment | 10678916.16 | 0 | 485902.8406 | 11164819.0006
Support Facilities | 0 | 0 | 10835479.8 | 10835479.8 | Support Facilities | 0 | 0 | 92688.1 | 92688.1 | Support Facilities | 0 | 0 | 9911144.7 | 9911144.7 | Support Facilities | 0 | 0 | 20839312.6 | 20839312.6
Purchase CEMS Hardware | 0 | 0 | 27381588.008 | 27381588.008 | Purchase CEMS Hardware | 0 | 0 | 7859950.88 | 7859950.88 | Purchase CEMS Hardware | 0 | 0 | 54618645.78 | 54618645.78 | Purchase CEMS Hardware | 0 | 0 | 89860184.668 | 89860184.668
Install and Check CEMS | 2922358.9248 | 0 | 7265199.82 | 10187558.7448 | Install and Check CEMS | 614331.648 | 0 | 3052200.0875 | 3666531.7355 | Install and Check CEMS | 3751555.5072 | 0 | 6645432.23 | 10396987.7372 | Install and Check CEMS | 7288246.08 | 0 | 16962832.1375 | 24251078.2175
Performance Specification Tests | 1291305.3408 | 5133097.0314 | 304776.3 | 6729178.6722 | Performance Specification Tests | 569902.3056 | 2149143.7383 | 175853.45 | 2894899.4939 | Performance Specification Tests | 1245059.4672 | 11098928.68 | 348124.45 | 12692112.5972 | Performance Specification Tests | 3106267.1136 | 18381169.4497 | 828754.2 | 22316190.7633
QA/QC Plan | 1559057.2339 | 7266757.3634 | 419711.84 | 9245526.4373 | QA/QC Plan | 585467.8118 | 2652172.9764 | 175726.48 | 3413367.2683 | QA/QC Plan | 1426059.7709 | 6646856.905 | 383907.76 | 8456824.4359 | QA/QC Plan | 3570584.8166 | 16565787.2448 | 979346.08 | 21115718.1415
Annual Costs |  |  |  |  | Annual Costs |  |  |  |  | Annual Costs |  |  |  |  | Annual Costs
Day-to-Day Activities | 3355559.7696 | 0 | 606520 | 3962079.7696 | Day-to-Day Activities | 263284.992 | 0 | 0 | 263284.992 | Day-to-Day Activities | 15533840 | 0 | 17752960 | 33286800 | Day-to-Day Activities | 19152684.7616 | 0 | 18359480 | 37512164.7616
Annual RATA | 536859.2274 | 4864701.4959 | 0 | 5401560.7234 | Annual RATA | 112387.0872 | 0 | 0 | 112387.0872 | Annual RATA | 491061.7328 | 11098928.68 | 0 | 11589990.4128 | Annual RATA | 1140308.0474 | 15963630.1759 | 0 | 17103938.2233
PM Monitor RCA | 0 | 0 | 0 | 0 | PM Monitor RCA | 98688.235 | 1445377.2969 | 4838.8267 | 1548904.3586 | PM Monitor RCA | 0 | 0 | 0 | 0 | PM Monitor RCA | 98688.235 | 1445377.2969 | 4838.8267 | 1548904.3586
PM Monitor RRA | 0 | 0 | 0 | 0 | PM Monitor RRA | 207215.04 | 2496280.988 | 12697 | 2716193.028 | PM Monitor RRA | 0 | 0 | 0 | 0 | PM Monitor RRA | 207215.04 | 2496280.988 | 12697 | 2716193.028
Cylinder Gas Audits (ACA/SVA for PM) | 779062.8096 | 0 | 648218.25 | 1427281.0596 | Cylinder Gas Audits (ACA/SVA for PM) | 148711.0426 | 0 | 157442.8 | 306153.8426 | Cylinder Gas Audits (ACA/SVA for PM) | 645497.6256 | 0 | 8810599.875 | 9456097.5006 | Cylinder Gas Audits (ACA/SVA for PM) | 1573271.4778 | 0 | 9616260.925 | 11189532.4028
Recordkeeping and Reporting | 759848.256 | 0 | 97043.2 | 856891.456 | Recordkeeping and Reporting | 1383465.12 | 0 | 10157.6 | 1393622.72 | Recordkeeping and Reporting | 695028.384 | 0 | 88764.8 | 783793.184 | Recordkeeping and Reporting | 2838341.76 | 0 | 195965.6 | 3034307.36
Annual QA & O&M Review and Update | 1258116.5664 | 0 | 921303.88 | 2179420.4464 | Annual QA & O&M Review and Update | 357872.5632 | 0 | 325043.2 | 682915.7632 | Annual QA & O&M Review and Update | 1150791.2496 | 0 | 1653244.4 | 2804035.6496 | Annual QA & O&M Review and Update | 2766780.3792 | 0 | 2899591.48 | 5666371.8592
Capital Recovery | 1755367.538 | 1765739.2658 | 6639897.1125 | 10161003.9163 | Capital Recovery | 484350.4413 | 1334848.7873 | 1629569.4576 | 3448768.6861 | Capital Recovery | 1768301.7456 | 3621050.1536 | 10053494.0616 | 15442845.9608 | Capital Recovery | 4008019.7249 | 6721638.2066 | 18322960.6317 | 29052618.5633
Total w/o capital recovery | 6689446.629 | 4864701.4959 | 2273085.33 | 13827233.455 | Total w/o capital recovery | 2571624.0799 | 3941658.2849 | 510179.4267 | 7023461.7915 | Total w/o capital recovery | 18516218.992 | 11098928.68 | 28305569.075 | 57920716.747 | Total w/o capital recovery | 27777289.701 | 19905288.4608 | 31088833.8317 | 78771411.9935
Total with capital recovery | 8444814.167 | 6630440.7617 | 8912982.4425 | 23988237.3713 | Total with capital recovery | 3055974.5212 | 5276507.0722 | 2139748.8843 | 10472230.4777 | Total with capital recovery | 20284520.7377 | 14719978.8336 | 38359063.1366 | 73363562.7078 | Total with capital recovery | 31785309.4259 | 26626926.6675 | 49411794.4634 | 107824030.5568

## Hg 1 monitor_2015 (hidden)
| Labor | Test | ODC
Planning
Review regulations | 230.4
Resolve questions | 441.6 |  | 284
Review drawing | 240
Inspect source | 278.4 |  | 68
Define constraints | 576
Write engineering report | 768
Subtotal | 2534.4 | 0 | 352
Select Equipment
Decide on approach | 288
Write specifications | 1907.2
Identify potential bidders | 288
Write RFP's | 1382.4
Copy and mail RFP's | 144 |  | 73.336
Respond to bidders | 364.8 |  | 50
Review and evaluate proposals | 1632 |  | 20
Select winner(s) and negotiate contract(s) | 720
Management | 1545.6 |  | 200
Subtotal | 8272 | 0 | 343.336
Support Facilities
Sampling ports |  |  | 365
Utilities |  |  | 0
Platforms and ladders |  |  | 0
Instrument room/shelter |  |  | 17500
Subtotal | 0 | 0 | 17865
Purchase equipment
Opacity monitor |  |  | 0
PM Monitor |  |  | 0
non-Hg GAS CEM analyzer(s) |  |  | 0
Sampling system(s) |  |  | 0
PLC |  |  | 0
DAS, including software |  |  | 0
Flow monitors |  |  | 0
Hg CEMS equipment (analyzer, sampling |  |  | 90000
line, data acquisition, software, etc)
Bag leak detection system |  |  | 0
Taxes and shipping |  |  | 5400
Subtotal |  |  | 95400
Install
Install equipment | 4320 |  | 0
Startup equipment | 230.4 |  | 7250
Training | 2211.84 |  | 4728.5
Subtotal | 6762.24 | 0 | 11978.5
Performance test
Select test contractor | 768 |  | 50
Pretest meeting | 630.72 | 369.495 | 292.5
Drift tests | 90 |  | 200
Analyzer RATA or PM ICT | 614.4 | 32283.95 | 85
Write PST test report |  | 1201.175
Review report | 141.12
Subtotal | 2244.24 | 33854.62 | 627.5
QA/QC plan (O&M plan for BLD)
Review needs | 172.8
Hire consultant | 614.4 |  | 50
On-site meeting | 575.232 | 2697.279 | 290
Write draft plan | 0 | 5273.9
Review draft plan | 322.56
Write final plan | 0 | 1558.825
Get Agency approval | 130.56
Kick-off meeting | 754.944 | 2451.064 | 352
Subtotal | 2570.496 | 11981.068 | 692
Total first costs | 22383.376 | 45835.688 | 127258.336
Grand total first costs |  |  | 195477.4
Operation, Maintenance, and Repairs
Daily checks of COMS/PM/BLD | 0
Daily checks of CEMS | 4608
Weekly checks of Beta PM monitors | 0
Weekly check of CEMS | 2937.6
Monthly check of Beta PM/BLD | 0
Monthly check of CEMS | 2764.8
Quarterly check of monitors | 0 |  | 0
Consumables |  |  | 1000
Subtotal | 10310.4 | 0 | 1000
Annual RATA for gas analyzers
Pretest preparation | 288
Hire testing team | 96
Notify Agency | 48
Do RATA | 288 | 32283.95
Take corrective action | 34.0246 | 171.1863
Retest | 35.1222 | 210.674
Write report |  | 818.7425
Certify report and send | 96
Subtotal | 885.1468 | 33484.5528 | 0
PM Monitor RCA (every 3 years)
Pretest preparation | 0
Hire testing team | 0
Notify agency | 0
Conduct RCA | 0 | 0
Recalibration calculations | 0 | 0
Write test report |  | 0 | 0
Certify and send report to agency | 0
Subtotal | 0 | 0 | 0
PM Monitor RRA (annually)
Pretest preparation | 0
Hire testing team | 0
Notify agency | 0
Conduct RRA | 0 | 0
Write test report |  | 0 | 0
Certify and send report to agency | 0
Subtotal | 0 | 0 | 0
Cylinder Gas Audits (ACA/SVA for PM)
Notify Agency | 144
Do CGA's and/or ACA/SVA | 172.8 |  | 15750
Take corrective action | 164.16
Retest | 95.04 |  | 93.75
Write, certify, and send report | 587.52 |  | 37.5
Subtotal | 1163.52 | 0 | 15881.25
Recordkeeping and reporting
Daily data reduction | 576
Monthly reduction and review | 489.6
Quarterly (semiannual) emissions report | 187.2 |  | 160
Subtotal | 1252.8 | 0 | 160
Annual QA & O&M review and update
Meeting with plant technicians | 994.32 |  | 230
Update QA plan (O&M plan) | 504 |  | 50
Update equipment inventory and repairs | 184.32 |  | 2700
Phone support | 391.68
Subtotal | 2074.32 | 0 | 2980
Capital recovery (10 years; 7% interest rate) | 3187.3927 | 6527.002 | 18121.587
Annual costs | 18873.5795 | 40011.5548 | 38142.837
Total annual costs |  |  | 97027.9713
Summary table
First Costs | Labor | Test | ODCs | Total
Planning | 2534.4 | 0 | 352 | 2886.4
Select Equipment | 8272 | 0 | 343.336 | 8615.336
Support Facilities | 0 | 0 | 17865 | 17865
Purchase CEMS Hardware | 0 | 0 | 95400 | 95400
Install and Check CEMS | 6762.24 | 0 | 11978.5 | 18740.74
Performance Specification Tests | 2244.24 | 33854.62 | 627.5 | 36726.36
QA/QC Plan | 2570.496 | 11981.068 | 692 | 15243.564
| 22383.376 | 45835.688 | 127258.336 | 195477.4
Annual Costs
Day-to-Day Activities | 10310.4 | 0 | 1000 | 11310.4
Annual RATA | 885.1468 | 33484.5528 | 0 | 34369.6996
PM Monitor RCA | 0 | 0 | 0 | 0
PM Monitor RRA | 0 | 0 | 0 | 0
Cylinder Gas Audits (ACA/SVA for PM) | 1163.52 | 0 | 15881.25 | 17044.77
Recordkeeping and Reporting | 1252.8 | 0 | 160 | 1412.8
Annual QA & O&M Review and Update | 2074.32 | 0 | 2980 | 5054.32
Capital Recovery | 3187.3927 | 6527.002 | 18121.587 | 27835.9818
Total w/o capital recovery | 15686.1868 | 33484.5528 | 20021.25 | 69191.9896
Total with capital recovery | 18873.5795 | 40011.5548 | 38142.837 | 97027.9713

## HCl 1 monitor_2015 (hidden)
| Labor | Test | ODC
Planning
Review regulations | 230.4
Resolve questions | 441.6 |  | 284
Review drawing | 240
Inspect source | 278.4 |  | 68
Define constraints | 576
Write engineering report | 768
Subtotal | 2534.4 | 0 | 352
Select Equipment
Decide on approach | 288
Write specifications | 1907.2
Identify potential bidders | 288
Write RFP's | 1382.4
Copy and mail RFP's | 144 |  | 73.336
Respond to bidders | 364.8 |  | 50
Review and evaluate proposals | 1632 |  | 20
Select winner(s) and negotiate contract(s) | 720
Management | 1545.6 |  | 200
Subtotal | 8272 | 0 | 343.336
Support Facilities
Sampling ports |  |  | 365
Utilities |  |  | 0
Platforms and ladders |  |  | 0
Instrument room/shelter |  |  | 17500
Subtotal | 0 | 0 | 17865
Purchase equipment
Opacity monitor |  |  | 0
PM Monitor |  |  | 0
non-Hg GAS CEM analyzer(s) |  |  | 12390
Sampling system(s) |  |  | 21000
PLC |  |  | 6800
DAS, including software |  |  | 2400
Flow monitors |  |  | 0
Hg CEMS equipment (analyzer, sampling |  |  | 0
line, data acquisition, software, etc)
Bag leak detection system |  |  | 0
Taxes and shipping |  |  | 2555.4
Subtotal |  |  | 45145.4
Install
Install equipment | 2376 |  | 0
Startup equipment | 230.4 |  | 7250
Training | 2211.84 |  | 4728.5
Subtotal | 4818.24 | 0 | 11978.5
Performance test
Select test contractor | 768 |  | 50
Pretest meeting | 630.72 | 369.495 | 292.5
Drift tests | 90 |  | 75
Analyzer RATA or PM ICT | 499.2 | 6892.525 | 85
Write PST test report |  | 1201.175
Review report | 141.12
Subtotal | 2129.04 | 8463.195 | 502.5
QA/QC plan (O&M plan for BLD)
Review needs | 172.8
Hire consultant | 614.4 |  | 50
On-site meeting | 575.232 | 2697.279 | 290
Write draft plan | 0 | 5273.9
Review draft plan | 322.56
Write final plan | 0 | 1558.825
Get Agency approval | 130.56
Kick-off meeting | 754.944 | 2451.064 | 352
Subtotal | 2570.496 | 11981.068 | 692
Total first costs | 20324.176 | 20444.263 | 76878.736
Grand total first costs |  |  | 117647.175
Operation, Maintenance, and Repairs
Daily checks of COMS/PM/BLD | 0
Daily checks of CEMS | 3225.6
Weekly checks of Beta PM monitors | 0
Weekly check of CEMS | 1615.68
Monthly check of Beta PM/BLD | 0
Monthly check of CEMS | 691.2
Quarterly check of monitors | 0 |  | 0
Consumables |  |  | 1000
Subtotal | 5532.48 | 0 | 1000
Annual RATA for gas analyzers
Pretest preparation | 288
Hire testing team | 96
Notify Agency | 48
Do RATA | 288 | 6820.075
Take corrective action | 34.0246 | 171.1863
Retest | 35.1222 | 210.674
Write report |  | 818.7425
Certify report and send | 96
Subtotal | 885.1468 | 8020.6778 | 0
PM Monitor RCA (every 3 years)
Pretest preparation | 0
Hire testing team | 0
Notify agency | 0
Conduct RCA | 0 | 0
Recalibration calculations | 0 | 0
Write test report |  | 0 | 0
Certify and send report to agency | 0
Subtotal | 0 | 0 | 0
PM Monitor RRA (annually)
Pretest preparation | 0
Hire testing team | 0
Notify agency | 0
Conduct RRA | 0 | 0
Write test report |  | 0 | 0
Certify and send report to agency | 0
Subtotal | 0 | 0 | 0
Cylinder Gas Audits (ACA/SVA for PM)
Notify Agency | 144
Do CGA's and/or ACA/SVA | 293.76 |  | 937.5
Take corrective action | 164.16
Retest | 95.04 |  | 93.75
Write, certify, and send report | 587.52 |  | 37.5
Subtotal | 1284.48 | 0 | 1068.75
Recordkeeping and reporting
Daily data reduction | 576
Monthly reduction and review | 489.6
Quarterly (semiannual) emissions report | 187.2 |  | 160
Subtotal | 1252.8 | 0 | 160
Annual QA & O&M review and update
Meeting with plant technicians | 994.32 |  | 230
Update QA plan (O&M plan) | 504 |  | 50
Update equipment inventory and repairs | 184.32 |  | 1239
Phone support | 391.68
Subtotal | 2074.32 | 0 | 1519
Capital recovery (10 years; 7% interest rate) | 2894.1627 | 2911.2631 | 10947.532
Annual costs | 13923.3894 | 10931.9408 | 14695.282
Total annual costs |  |  | 39550.6123
Summary table
First Costs | Labor | Test | ODCs | Total
Planning | 2534.4 | 0 | 352 | 2886.4
Select Equipment | 8272 | 0 | 343.336 | 8615.336
Support Facilities | 0 | 0 | 17865 | 17865
Purchase CEMS Hardware | 0 | 0 | 45145.4 | 45145.4
Install and Check CEMS | 4818.24 | 0 | 11978.5 | 16796.74
Performance Specification Tests | 2129.04 | 8463.195 | 502.5 | 11094.735
QA/QC Plan | 2570.496 | 11981.068 | 692 | 15243.564
| 20324.176 | 20444.263 | 76878.736 | 117647.175
Annual Costs
Day-to-Day Activities | 5532.48 | 0 | 1000 | 6532.48
Annual RATA | 885.1468 | 8020.6778 | 0 | 8905.8246
PM Monitor RCA | 0 | 0 | 0 | 0
PM Monitor RRA | 0 | 0 | 0 | 0
Cylinder Gas Audits (ACA/SVA for PM) | 1284.48 | 0 | 1068.75 | 2353.23
Recordkeeping and Reporting | 1252.8 | 0 | 160 | 1412.8
Annual QA & O&M Review and Update | 2074.32 | 0 | 1519 | 3593.32
Capital Recovery | 2894.1627 | 2911.2631 | 10947.532 | 16752.9577
Total w/o capital recovery | 11029.2268 | 8020.6778 | 3747.75 | 22797.6546
Total with capital recovery | 13923.3894 | 10931.9408 | 14695.282 | 39550.6123

## PM 1 monitor_2015 (hidden)
| Labor | Test | ODC
Planning
Review regulations | 48
Resolve questions | 48 |  | 0
Review drawing | 240
Inspect source | 86.4 |  | 0
Define constraints | 192
Write engineering report | 192
Subtotal | 806.4 | 0 | 0
Select Equipment
Decide on approach | 96
Write specifications | 508.8
Identify potential bidders | 192
Write RFP's | 480
Copy and mail RFP's | 144 |  | 73.336
Respond to bidders | 288 |  | 50
Review and evaluate proposals | 1440 |  | 20
Select winner(s) and negotiate contract(s) | 576
Management | 499.2 |  | 200
Subtotal | 4224 | 0 | 343.336
Support Facilities
Sampling ports |  |  | 365
Utilities |  |  | 0
Platforms and ladders |  |  | 0
Instrument room/shelter |  |  | 0
Subtotal | 0 | 0 | 365
Purchase equipment
Opacity monitor |  |  | 0
PM Monitor |  |  | 20000
non-Hg GAS CEM analyzer(s) |  |  | 0
Sampling system(s) |  |  | 0
PLC |  |  | 6800
DAS, including software |  |  | 2400
Flow monitors |  |  | 0
Hg CEMS equipment (analyzer, sampling |  |  | 0
line, data acquisition, software, etc)
Bag leak detection system |  |  | 0
Taxes and shipping |  |  | 1752
Subtotal |  |  | 30952
Install
Install equipment | 460.8 |  | 0
Startup equipment | 115.2 |  | 7250
Training | 1843.2 |  | 4769.375
Subtotal | 2419.2 | 0 | 12019.375
Performance test
Select test contractor | 768 |  | 50
Pretest meeting | 630.72 | 369.495 | 292.5
Drift tests | 90 |  | 0
Analyzer RATA or PM ICT | 2073.6 | 24697.4 | 350
Write PST test report |  | 1403
Review report | 76.8
Subtotal | 3639.12 | 26469.895 | 692.5
QA/QC plan (O&M plan for BLD)
Review needs | 76.8
Hire consultant | 614.4 |  | 50
On-site meeting | 575.232 | 2697.279 | 290
Write draft plan | 0 | 4715
Review draft plan | 153.6
Write final plan | 0 | 580.75
Get Agency approval | 130.56
Kick-off meeting | 754.944 | 2451.064 | 352
Subtotal | 2305.536 | 10444.093 | 692
Total first costs | 13394.256 | 36913.988 | 45064.211
Grand total first costs |  |  | 95372.455
Operation, Maintenance, and Repairs
Daily checks of COMS/PM/BLD | 460.8
Daily checks of CEMS | 0
Weekly checks of Beta PM monitors | 0
Weekly check of CEMS | 0
Monthly check of Beta PM/BLD | 0
Monthly check of CEMS | 0
Quarterly check of monitors | 576 |  | 0
Consumables |  |  | 0
Subtotal | 1036.8 | 0 | 0
Annual RATA for gas analyzers
Pretest preparation | 0
Hire testing team | 0
Notify Agency | 0
Do RATA | 0 | 0
Take corrective action | 0 | 0
Retest | 0 | 0
Write report |  | 0
Certify report and send | 0
Subtotal | 0 | 0 | 0
PM Monitor RCA (every 3 years)
Pretest preparation | 175.6109
Hire testing team | 36.5856
Notify agency | 18.2928
Conduct RCA | 109.7568 | 5090.0097
Recalibration calculations | 11.7965 | 89.0266
Write test report |  | 512.77 | 19.055
Certify and send report to agency | 36.5856
Subtotal | 388.6282 | 5691.8063 | 19.055
PM Monitor RRA (annually)
Pretest preparation | 460.8
Hire testing team | 96
Notify agency | 48
Conduct RRA | 115.2 | 8484.7
Write test report |  | 1345.5 | 50
Certify and send report to agency | 96
Subtotal | 816 | 9830.2 | 50
Cylinder Gas Audits (ACA/SVA for PM)
Notify Agency | 144
Do CGA's and/or ACA/SVA | 86.4 |  | 600
Take corrective action | 32.927
Retest | 5.4878 |  | 0
Write, certify, and send report | 316.8 |  | 20
Subtotal | 585.6149 | 0 | 620
Recordkeeping and reporting
Daily data reduction | 4608
Monthly reduction and review | 489.6
Quarterly (semiannual) emissions report | 350.4 |  | 40
Subtotal | 5448 | 0 | 40
Annual QA & O&M review and update
Meeting with plant technicians | 662.4 |  | 230
Update QA plan (O&M plan) | 240 |  | 50
Update equipment inventory and repairs | 115.2 |  | 1000
Phone support | 391.68
Subtotal | 1409.28 | 0 | 1280
Capital recovery (10 years; 7% interest rate) | 1907.3421 | 5256.5519 | 6417.1436
Annual costs | 11591.6651 | 20778.5582 | 8426.1986
Total annual costs |  |  | 40796.422
Summary table
First Costs | Labor | Test | ODCs | Total
Planning | 806.4 | 0 | 0 | 806.4
Select Equipment | 4224 | 0 | 343.336 | 4567.336
Support Facilities | 0 | 0 | 365 | 365
Purchase CEMS Hardware | 0 | 0 | 30952 | 30952
Install and Check CEMS | 2419.2 | 0 | 12019.375 | 14438.575
Performance Specification Tests | 3639.12 | 26469.895 | 692.5 | 30801.515
QA/QC Plan | 2305.536 | 10444.093 | 692 | 13441.629
| 13394.256 | 36913.988 | 45064.211 | 95372.455
Annual Costs
Day-to-Day Activities | 1036.8 | 0 | 0 | 1036.8
Annual RATA | 0 | 0 | 0 | 0
PM Monitor RCA | 388.6282 | 5691.8063 | 19.055 | 6099.4895
PM Monitor RRA | 816 | 9830.2 | 50 | 10696.2
Cylinder Gas Audits (ACA/SVA for PM) | 585.6149 | 0 | 620 | 1205.6149
Recordkeeping and Reporting | 5448 | 0 | 40 | 5488
Annual QA & O&M Review and Update | 1409.28 | 0 | 1280 | 2689.28
Capital Recovery | 1907.3421 | 5256.5519 | 6417.1436 | 13581.0376
Total w/o capital recovery | 9684.323 | 15522.0063 | 2009.055 | 27215.3844
Total with capital recovery | 11591.6651 | 20778.5582 | 8426.1986 | 40796.422

## PM beta 1 monitor_2015 (hidden)
| Labor | Test | ODC
Planning
Review regulations | 48
Resolve questions | 48 |  | 0
Review drawing | 240
Inspect source | 86.4 |  | 0
Define constraints | 192
Write engineering report | 192
Subtotal | 806.4 | 0 | 0
Select Equipment
Decide on approach | 96
Write specifications | 508.8
Identify potential bidders | 192
Write RFP's | 480
Copy and mail RFP's | 144 |  | 73.336
Respond to bidders | 288 |  | 50
Review and evaluate proposals | 1440 |  | 20
Select winner(s) and negotiate contract(s) | 576
Management | 1545.6 |  | 200
Subtotal | 5270.4 | 0 | 343.336
Support Facilities
Sampling ports |  |  | 365
Utilities |  |  | 0
Platforms and ladders |  |  | 0
Instrument room/shelter |  |  | 0
Subtotal | 0 | 0 | 365
Purchase equipment
Opacity monitor |  |  | 0
PM Monitor |  |  | 56000
non-Hg GAS CEM analyzer(s) |  |  | 0
Sampling system(s) |  |  | 9000
PLC |  |  | 6800
DAS, including software |  |  | 2400
Flow monitors |  |  | 0
Hg CEMS equipment (analyzer, sampling |  |  | 0
line, data acquisition, software, etc)
Bag leak detection system |  |  | 0
Taxes and shipping |  |  | 4452
Subtotal |  |  | 78652
Install
Install equipment | 921.6 |  | 2000
Startup equipment | 115.2 |  | 7250
Training | 1843.2 |  | 4769.375
Subtotal | 2880 | 0 | 14019.375
Performance test
Select test contractor | 768 |  | 50
Pretest meeting | 630.72 | 369.495 | 292.5
Drift tests | 90 |  | 0
Analyzer RATA or PM ICT | 2073.6 | 24697.4 | 350
Write PST test report |  | 1403
Review report | 76.8
Subtotal | 3639.12 | 26469.895 | 692.5
QA/QC plan (O&M plan for BLD)
Review needs | 76.8
Hire consultant | 614.4 |  | 50
On-site meeting | 575.232 | 2697.279 | 290
Write draft plan | 0 | 4715
Review draft plan | 153.6
Write final plan | 0 | 580.75
Get Agency approval | 130.56
Kick-off meeting | 754.944 | 2451.064 | 352
Subtotal | 2305.536 | 10444.093 | 692
Total first costs | 14901.456 | 36913.988 | 94764.211
Grand total first costs |  |  | 146579.655
Operation, Maintenance, and Repairs
Daily checks of COMS/PM/BLD | 460.8
Daily checks of CEMS | 0
Weekly checks of Beta PM monitors | 367.2
Weekly check of CEMS | 0
Monthly check of Beta PM/BLD | 691.2
Monthly check of CEMS | 0
Quarterly check of monitors | 230.4 |  | 1000
Consumables |  |  | 0
Subtotal | 1749.6 | 0 | 1000
Annual RATA for gas analyzers
Pretest preparation | 0
Hire testing team | 0
Notify Agency | 0
Do RATA | 0 | 0
Take corrective action | 0 | 0
Retest | 0 | 0
Write report |  | 0
Certify report and send | 0
Subtotal | 0 | 0 | 0
PM Monitor RCA (every 3 years)
Pretest preparation | 175.6109
Hire testing team | 36.5856
Notify agency | 18.2928
Conduct RCA | 109.7568 | 5090.0097
Recalibration calculations | 11.7965 | 89.0266
Write test report |  | 512.77 | 19.055
Certify and send report to agency | 36.5856
Subtotal | 388.6282 | 5691.8063 | 19.055
PM Monitor RRA (annually)
Pretest preparation | 460.8
Hire testing team | 96
Notify agency | 48
Conduct RRA | 115.2 | 8484.7
Write test report |  | 1345.5 | 50
Certify and send report to agency | 96
Subtotal | 816 | 9830.2 | 50
Cylinder Gas Audits (ACA/SVA for PM)
Notify Agency | 144
Do CGA's and/or ACA/SVA | 201.6 |  | 600
Take corrective action | 32.927
Retest | 5.4878 |  | 0
Write, certify, and send report | 316.8 |  | 20
Subtotal | 700.8149 | 0 | 620
Recordkeeping and reporting
Daily data reduction | 4608
Monthly reduction and review | 489.6
Quarterly (semiannual) emissions report | 350.4 |  | 40
Subtotal | 5448 | 0 | 40
Annual QA & O&M review and update
Meeting with plant technicians | 662.4 |  | 230
Update QA plan (O&M plan) | 240 |  | 50
Update equipment inventory and repairs | 115.2 |  | 5600
Phone support | 391.68
Subtotal | 1409.28 | 0 | 5880
Capital recovery (10 years; 7% interest rate) | 2121.9673 | 5256.5519 | 13494.4236
Annual costs | 12634.2904 | 20778.5582 | 21103.4786
Total annual costs |  |  | 54516.3272
Summary table
First Costs | Labor | Test | ODCs | Total
Planning | 806.4 | 0 | 0 | 806.4
Select Equipment | 5270.4 | 0 | 343.336 | 5613.736
Support Facilities | 0 | 0 | 365 | 365
Purchase CEMS Hardware | 0 | 0 | 78652 | 78652
Install and Check CEMS | 2880 | 0 | 14019.375 | 16899.375
Performance Specification Tests | 3639.12 | 26469.895 | 692.5 | 30801.515
QA/QC Plan | 2305.536 | 10444.093 | 692 | 13441.629
| 14901.456 | 36913.988 | 94764.211 | 146579.655
Annual Costs
Day-to-Day Activities | 1749.6 | 0 | 1000 | 2749.6
Annual RATA | 0 | 0 | 0 | 0
PM Monitor RCA | 388.6282 | 5691.8063 | 19.055 | 6099.4895
PM Monitor RRA | 816 | 9830.2 | 50 | 10696.2
Cylinder Gas Audits (ACA/SVA for PM) | 700.8149 | 0 | 620 | 1320.8149
Recordkeeping and Reporting | 5448 | 0 | 40 | 5488
Annual QA & O&M Review and Update | 1409.28 | 0 | 5880 | 7289.28
Capital Recovery | 2121.9673 | 5256.5519 | 13494.4236 | 20872.9429
Total w/o capital recovery | 10512.323 | 15522.0063 | 7609.055 | 33643.3844
Total with capital recovery | 12634.2904 | 20778.5582 | 21103.4786 | 54516.3272

## PM extractive_2015 (hidden)
| Labor | Test | ODC
Planning
Review regulations | 48
Resolve questions | 48 |  | 0
Review drawing | 240
Inspect source | 86.4 |  | 0
Define constraints | 192
Write engineering report | 192
Subtotal | 806.4 | 0 | 0
Select Equipment
Decide on approach | 96
Write specifications | 508.8
Identify potential bidders | 192
Write RFP's | 480
Copy and mail RFP's | 144 |  | 73.336
Respond to bidders | 288 |  | 50
Review and evaluate proposals | 1440 |  | 20
Select winner(s) and negotiate contract(s) | 576
Management | 1545.6 |  | 200
Subtotal | 5270.4 | 0 | 343.336
Support Facilities
Sampling ports |  |  | 365
Utilities |  |  | 0
Platforms and ladders |  |  | 0
Instrument room/shelter |  |  | 0
Subtotal | 0 | 0 | 365
Purchase equipment
Opacity monitor |  |  | 0
PM Monitor |  |  | 42000
non-Hg GAS CEM analyzer(s) |  |  | 0
Sampling system(s) |  |  | 9000
PLC |  |  | 6800
DAS, including software |  |  | 2400
Flow monitors |  |  | 0
Hg CEMS equipment (analyzer, sampling |  |  | 0
line, data acquisition, software, etc)
Bag leak detection system |  |  | 0
Taxes and shipping |  |  | 3612
Subtotal |  |  | 63812
Install
Install equipment | 921.6 |  | 2000
Startup equipment | 115.2 |  | 7250
Training | 1843.2 |  | 4769.375
Subtotal | 2880 | 0 | 14019.375
Performance test
Select test contractor | 768 |  | 50
Pretest meeting | 630.72 | 369.495 | 292.5
Drift tests | 90 |  | 0
Analyzer RATA or PM ICT | 2073.6 | 24697.4 | 350
Write PST test report |  | 1403
Review report | 76.8
Subtotal | 3639.12 | 26469.895 | 692.5
QA/QC plan (O&M plan for BLD)
Review needs | 76.8
Hire consultant | 614.4 |  | 50
On-site meeting | 575.232 | 2697.279 | 290
Write draft plan | 0 | 4715
Review draft plan | 153.6
Write final plan | 0 | 580.75
Get Agency approval | 130.56
Kick-off meeting | 754.944 | 2451.064 | 352
Subtotal | 2305.536 | 10444.093 | 692
Total first costs | 14901.456 | 36913.988 | 79924.211
Grand total first costs |  |  | 131739.655
Operation, Maintenance, and Repairs
Daily checks of COMS/PM/BLD | 460.8
Daily checks of CEMS | 0
Weekly checks of Beta PM monitors | 0
Weekly check of CEMS | 0
Monthly check of Beta PM/BLD | 0
Monthly check of CEMS | 0
Quarterly check of monitors | 576 |  | 1000
Consumables |  |  | 0
Subtotal | 1036.8 | 0 | 1000
Annual RATA for gas analyzers
Pretest preparation | 0
Hire testing team | 0
Notify Agency | 0
Do RATA | 0 | 0
Take corrective action | 0 | 0
Retest | 0 | 0
Write report |  | 0
Certify report and send | 0
Subtotal | 0 | 0 | 0
PM Monitor RCA (every 3 years)
Pretest preparation | 175.6109
Hire testing team | 36.5856
Notify agency | 18.2928
Conduct RCA | 109.7568 | 5090.0097
Recalibration calculations | 11.7965 | 89.0266
Write test report |  | 512.77 | 19.055
Certify and send report to agency | 36.5856
Subtotal | 388.6282 | 5691.8063 | 19.055
PM Monitor RRA (annually)
Pretest preparation | 460.8
Hire testing team | 96
Notify agency | 48
Conduct RRA | 115.2 | 8484.7
Write test report |  | 1345.5 | 50
Certify and send report to agency | 96
Subtotal | 816 | 9830.2 | 50
Cylinder Gas Audits (ACA/SVA for PM)
Notify Agency | 144
Do CGA's and/or ACA/SVA | 86.4 |  | 600
Take corrective action | 32.927
Retest | 5.4878 |  | 0
Write, certify, and send report | 316.8 |  | 20
Subtotal | 585.6149 | 0 | 620
Recordkeeping and reporting
Daily data reduction | 4608
Monthly reduction and review | 489.6
Quarterly (semiannual) emissions report | 350.4 |  | 40
Subtotal | 5448 | 0 | 40
Annual QA & O&M review and update
Meeting with plant technicians | 662.4 |  | 230
Update QA plan (O&M plan) | 240 |  | 50
Update equipment inventory and repairs | 115.2 |  | 2000
Phone support | 391.68
Subtotal | 1409.28 | 0 | 2280
Capital recovery (10 years; 7% interest rate) | 2121.9673 | 5256.5519 | 11381.2076
Annual costs | 11806.2904 | 20778.5582 | 15390.2626
Total annual costs |  |  | 47975.1112
Summary table
First Costs | Labor | Test | ODCs | Total
Planning | 806.4 | 0 | 0 | 806.4
Select Equipment | 5270.4 | 0 | 343.336 | 5613.736
Support Facilities | 0 | 0 | 365 | 365
Purchase CEMS Hardware | 0 | 0 | 63812 | 63812
Install and Check CEMS | 2880 | 0 | 14019.375 | 16899.375
Performance Specification Tests | 3639.12 | 26469.895 | 692.5 | 30801.515
QA/QC Plan | 2305.536 | 10444.093 | 692 | 13441.629
| 14901.456 | 36913.988 | 79924.211 | 131739.655
Annual Costs
Day-to-Day Activities | 1036.8 | 0 | 1000 | 2036.8
Annual RATA | 0 | 0 | 0 | 0
PM Monitor RCA | 388.6282 | 5691.8063 | 19.055 | 6099.4895
PM Monitor RRA | 816 | 9830.2 | 50 | 10696.2
Cylinder Gas Audits (ACA/SVA for PM) | 585.6149 | 0 | 620 | 1205.6149
Recordkeeping and Reporting | 5448 | 0 | 40 | 5488
Annual QA & O&M Review and Update | 1409.28 | 0 | 2280 | 3689.28
Capital Recovery | 2121.9673 | 5256.5519 | 11381.2076 | 18759.7269
Total w/o capital recovery | 9684.323 | 15522.0063 | 4009.055 | 29215.3844
Total with capital recovery | 11806.2904 | 20778.5582 | 15390.2626 | 47975.1112