## Table 1 (Respondent Summary)
Table 1: Annual Respondent Burden and Cost – NESHAP for Industrial, Commercial, and Institutional Boilers Area Sources (40 CFR Part 63, Subpart JJJJJJ) (Renewal)
TOTAL LABOR BURDEN AND COSTS
Fuel Category | Average No. Respondents | Average No. Responses | Reporting Burden (hrs) | Recordkeeping Burden (hrs) | Total Labor Burden (hrs) | Total Labor Cost ($) | Total Capital and O&M Cost ($) | Total Costs ($)
Large Solid | 2099.5 | 3026 | 98005.59 | 25479.86 | 123485.45 | 14065744.65 | 6060259.9 | 20126004.55
Large Liquid | 5263.84 | 3118.9283 | 88274.68 | 298130.19 | 386404.87 | 44013865.96 | 22453728.23 | 66467594.19
Small Solid | 5707.84 | 2952.255 | 65128.8 | 14769.02 | 79897.82 | 9100847.28 | 6358522.62 | 15459369.9
Small Liquid | 87303 | 45630.5 | 1009543.61 | 225896.52 | 1235440.13 | 140724151.0116 | 97255542 | 237979693.0116
Total | 100374.18 | 54727.6833 | 1260952.68 | 564275.59 | 1825228.27 | 207904608.9016 | 132128052.75 | 340032661.6516
Grand Total (rounded)1 |  |  |  |  | 1830000 | 208000000 | 132000000 | 340000000 | 33.3511 | hrs/response
Rounded by Sector1
Total Private Sector (49% of Respondents) | 49183.3482 | 26816.5648 | 617866.8132 | 276495.0391 | 894000 | 101900000 | 64700000 | 166600000
Total Public Sector (51% of Respondents) | 51190.8318 | 27911.1185 | 643085.8668 | 287780.5509 | 931000 | 106000000 | 67400000 | 173400000
1 Totals have been rounded to 3 significant figures. Figures may not add exactly due to rounding.

## Table 2 (Agency)
Table 2: Average Annual EPA Burden and Cost – NESHAP for Industrial, Commercial, and Institutional Boilers Area Sources (40 CFR Part 63, Subpart JJJJJJ) (Renewal)
Burden Item | A | B | C | D | E | F | G
| Technical Person-Hours per Occurrence | Occurrences per Year | Technical Person-Hours per Respondent per Year (C=AxB) | Technical Hours per Year (D=C) | Management Hours per Year (E=Dx0.05) | Clerical Hours per Year (F=Dx0.10) | Total Cost per Year ($) a
1. Read and Understand Rule Requirementsb | 40 | 0 | 0 | 0 | 0 | 0 | 0
2. Enter and Update Information into Agency Recordkeeping Systemc | 2 | 1129.84 | 2259.68 | 2259.68 | 112.98 | 225.97 | 123544.4
3. Required Activities
a) Observe Initial Stack/Performance Testd | 40 | 16.6 | 664 | 664 | 33.2 | 66.4 | 36303.2
b) Observe Repeat Performance Teste | 40 | 1.66 | 66.4 | 66.4 | 3.32 | 6.64 | 3630.32
c) Review Operating Parametersf | 2 | 83 | 166 | 166 | 8.3 | 16.6 | 9075.8
d) Review Continuous Parameter Monitoringg | 2 | 5559.5 | 11119 | 11119 | 555.95 | 1111.9 | 607914.65
4. Excess Emissions Enforcement Activities and Inspectionsh | 24 | 8.3 | 199.2 | 199.2 | 9.96 | 19.92 | 10890.96
5. Notification Requirements
a) Review Initial Notification that Sources are Subject to the Standardc | 2 | 1129.84 | 2259.68 | 2259.68 | 112.98 | 225.97 | 123544.4
b) Review Notification of Initial Performance Tests and Review Test Planf | 20 | 83 | 1660 | 1660 | 83 | 166 | 90758.01
c) Review Notification of Compliance Statusc | 2 | 1129.84 | 2259.68 | 2259.68 | 112.98 | 225.97 | 123544.4
6. Reporting Requirements | [5 empty] | 0
a) Review Annual Compliance Report | 4 | 2424.1733 | 9696.69 | 9696.69 | 484.83 | 969.67 | 530151.71
b) Review Biennial Compliance Report | 2 | 50043.83 | 100087.66 | 100087.66 | 5004.38 | 10008.77 | 5472142.59
c) Review Initial Report on Energy Audit Resultsi | 2 | 0 | 0 | 0 | 0 | 0 | 0
7. Travel Expenses for Performance Tests Observedj | [6 empty] | 20159.04
TOTAL ANNUAL BURDEN AND COST (ROUNDED)k |  |  |  | 150000 |  |  | 7150000
a. This ICR uses the following labor rates: $48.75 for technical, $65.71 for managerial, and $26.38 for clerical labor. These rates are from the Office of Personnel Management (OPM) 2018 General Schedule, which excludes locality rates of pay. The rates have been increased by 60 percent to account for the benefit packages available to government employees.
b. No burden will be incurred over the three-year ICR period, as this was a one-time requirement during the previous ICR period.
c. All new sources must submit initial notifications and notifications of compliance status, regardless of subcategory.
d. It is assumed that EPA will observe 20% of initial performance tests.
e. It is assumed that 10% of initial performance tests will be repeated, which will be observed by EPA.
f. The number of occurrences is based on the number of new facilities that will test and set/submit operating limits. All new sources must submit operating limits, regardless of subcategory.
g. The number of occurrences is based on the number of facilities maintaining records of control device parameters.
h. It is assumed that 10% of new facilities will have exceedances, requiring EPA enforcement.
i. All existing sources at the time of promulgation of the standard were required to complete the energy audit by the conclusion of the previous ICR period; therefore, no new or existing sources will incur this burden over the next three years.
j. The total cost is based on the number of performance tests observed by EPA multiplied by the cost of each trip. Based on EPA experience with other rulemakings, each trip is estimated to be 3 days x ($110 hotel + $58 meals/incidentals) + ($600 round trip) = $1,104 per trip.
k. Totals have been rounded to 3 significant figures. Figures may not add exactly due to rounding.

## Base Data
Boilers per Facility | 2
Existing Boiler Data
Number of Boilers Represented by Model (Over 3-Yr ICR Period) | [6 empty] | Number of Facilities Represented by Model (Over 3-Yr ICR Period)
Fuel Category | Size Category | Total |  | Source Classification | Total |  | Fuel Category | Size Category | Total |  | Source Classification | Total
Biomass | <10 | 7772 | 7632 | Existing Small Solid | 11219 |  | Biomass | <10 | 3886 | 3816 | Existing Small Solid | 5609.5
| >= 10 to 100 | 3440 | 3429 | Existing Large Solid | 4159 |  |  | >= 10 to 100 | 1720 | 1714.5 | Existing Large Solid | 2079.5
| >100 | 146 | 97 | Existing Small Liquid | 170648 |  |  | >100 | 73 | 48.5 | Existing Small Liquid | 85324
Coal | <10 | 3447 | 3292 | Existing Large Liquid | 10203 |  | Coal | <10 | 1723.5 | 1646 | Existing Large Liquid | 5101.5
| >= 10 to 100 | 573 | 573 | Grand Total | 196229 |  |  | >= 10 to 100 | 286.5 | 286.5 | Grand Total* | 98114.5
| >100 | 0 | 0 |  |  |  |  | >100 | 0 | 0 | *Roundup/down functions used above to reconcile # facilities with # sources (i.e., 196,229 sources / (2 sources/facility) must equal 98,115 facilities)
Liquid | <10 | 170648 | 164711 |  |  |  | Liquid | <10 | 85324 | 82355.5
| >= 10 to 100 | 10064 | 9577 |  |  |  |  | >= 10 to 100 | 5032 | 4788.5
| >100 | 139 | 139 |  |  |  |  | >100 | 69.5 | 69.5
Grand Total |  | 196229 | 189450 |  |  |  | Grand Total |  | 98114.5 | 94725
|  |  | 6779 | [6 empty] | 3389.5
Assume units with bag leak detection will have a bag leak detection monitor |  |  |  | Otherwise, all units will have an opacity monitor |  |  |  |  | 2015 Existing Facilities | End of Yr | Units | End of Yr
[9 empty] | 189450 | 191710 | 94725 | 95855
BLD Monitors |  |  |  | Opacity monitors | [5 empty] | 193970 |  | 96985
Size Category | Total |  |  | Size Category | Total |  |  |  |  | 196230 |  | 98115
Coal >10 | 80 |  |  | < 10 | 0
|  |  |  | >= 10 to 100 | 0
|  |  |  | >100 | 0
|  |  |  | Grand Total | 0
New Boiler Data
Number of Boilers Represented by Model (Over 3-Yr ICR Period) | [5 empty] | Number of Facility Represented by Model (Over 3-Yr ICR Period)
Fuel Category | Size Category | 3-Yr Total | Sources w/ Size Category >30 MMBtu/hr that will have PM costs covered by NSPS (Part 60, Subparts Db or Dc) | Source Classification | 3-Yr Total | Fuel Category | Size Category | 3-Yr Total | Source Classification | Facilities (3-Yr Total) | Facilities/Yr
Biomass | <10 | 140 | 0 | New Small Solid | 295 | Biomass | <10 | 70 | New Small Solid | 147.5 | 49.1667
| >= 10 to 100 | 11 | 0 | New Large Solid | 60 |  | >= 10 to 100 | 5.5 | New Large Solid | 30 | 10
| >100 | 49 | 49 | New Small Liquid | 5937 |  | >100 | 24.5 | New Small Liquid | 2968.5 | 989.5
Coal | <10 | 155 | 0 | New Large Liquid | 487 | Coal | <10 | 77.5 | New Large Liquid | 243.5 | 81.1667
| >= 10 to 100 | 0 | 0 | Grand Total | 6779 |  | >= 10 to 100 | 0 | Grand Total | 3389.5 | 1129.8333
| >100 | 0 | 0 | New units/yr | 2259.6667 |  | >100 | 0
Liquid | <10 | 5937 | 0 |  |  | Liquid | <10 | 2968.5
| >= 10 to 100 | 487 | 0 |  |  |  | >= 10 to 100 | 243.5
| >100 | 0 | 0 |  |  |  | >100 | 0
Grand Total |  | 6779 | 49 |  |  | Grand Total |  | 3389.5
BLD Monitors |  |  |  | Opacity monitors
Size Category | Total |  |  | Size Category | Total
new oil >10 | 45 |  |  | new biomass >10 | 60
|  |  |  | new oil >10 | 442
*All new coal and residual liquid units will have Fabric filter installed and will be assumed to use bag leak detection monitors.
*All new units >100 will install a CO monitor
*All biomass and distillate liquid units will install an opacity monitor since they are not expected to install a FF to meet PM limits.
Respondent Labor Rates |  |  |  | Agency Labor Rates & Per Diem Info
Category | Rate |  |  | Category | Rate
Technical | 117.92 |  |  | Managerial | 65.71
Clerical | 57.02 |  |  | Clerical | 26.38
Managerial | 147.4 |  |  | Technical | 48.75
General Contractor | 80 |  |  | Hotel | 110
Certfied Energy Audit Contractor | 56.78 |  |  | Meals | 58
|  |  |  | Airfare | 600
|  |  |  | Trip Length | 3
Other Data
Percent of Stack Tests Observed |  |  | 20%
Estimated Percent Retesting |  |  | 10%
Estimated Percent Emission Exceedences |  |  | 10%
Affirmative Defense
No. of units claiming affirmative defense |  | 0
Hours per unit |  | 30
Cost in labor |  | 0
Note on D6: Tracy Curtis: Updated the base data unit totals to reflect growth from 3 year period of prior ICR.

## LrgSolid
Table 1A: Annual Respondent Burden and Cost – Existing and New Large Solid Fuel Boilers, NESHAP for Industrial, Commercial, and Institutional Boilers Area Sources (40 CFR Part 63, Subpart JJJJJJ) (Renewal)
Burden Item | A |  |  |  | B | C | D | E | F | G | H
| Technical Person-Hours per Occurrence | Certified Energy Audit Cost per Occurrence | Stack Testing and Fuel Analysis Cost per Occurrence | Other Non-Labor Costs per Occurrence | Occurrences per Respondent per Year | Technical Person-Hours per Respondent per Year (C=AxB) | Respondents per Year a | Technical Hours per Year (E=CxD) | Clerical Hours per Year (F=Ex0.10) | Management Hours per Year (G=Ex0.05) | Total Cost per Year ($) b | Total Non-Labor Annual Costs | Total Number of Responses per Year
1. Applications | N/A
2. Surveys and Studies | N/A
3. Reporting Requirements
A. Read and Understand Rule Requirements (new sources)c | 40 | 0 | 0 | 0 | 1 | 40 | 10 | 400 | 40 | 20 | 52396.8 | 0 | 0
Familiarization with Rule Requirements (existing sources) | 1 | 0 | 0 | 0 | 1 | 1 | 2089.5 | 2089.5 | 208.95 | 104.48 | 273708.52 | 0 | 0
B. Required Activities
1) Conduct Energy Audit
a) Industriald, e | 20 | 18292 | 0 | 0 | 1 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b) Commerciald, e | 20 | 854 | 0 | 0 | 1 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2) Initial Stack Test (Hg)f, g | 12 | 0 | 5000 | 0 | 1 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3) Initial Stack Test (CO)f | 12 | 0 | 6000 | 0 | 1 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4) Initial Stack Test (PM)f, h | 12 | 0 | 8000 | 0 | 1 | 12 | 1.83 | 21.96 | 2.2 | 1.1 | 2877.11 | 14640 | 0
5) Triennial Stack Test (Hg)f | 12 | 0 | 5000 | 0 | 0.33 | 3.96 | 95.5 | 378.18 | 37.82 | 18.91 | 49538.82 | 157575 | 0
6) Triennial Stack Test (CO)f | 12 | 0 | 6000 | 0 | 0.33 | 3.96 | 95.5 | 378.18 | 37.82 | 18.91 | 49538.82 | 189090 | 0
7) Triennial Stack Test (PM)f, h | 12 | 0 | 8000 | 0 | 0.33 | 3.96 | 7.3267 | 29.01 | 2.9 | 1.45 | 3799.95 | 19342.4 | 0
8) Initial Fuel Analysis for Hg Contentg | 5 | 0 | 200 | 0 | 1 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9) Monthly Fuel Analysis for Hg Contentg | 5 | 0 | 200 | 0 | 12 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10) Continuous Parameter Monitoring
a) Establish Site-Specific Monitoring Plan (Hg, CO, and PM)f, i | 40 | 0 | 0 | 0 | 1 | 40 | 10 | 400 | 40 | 20 | 52396.8 | 0 | 0
b) Opacity (All Sources with ESPs)
i) Initialj | 10 | 0 | 0 | 43100 | 1 | 10 | 1.83 | 18.3 | 1.83 | 0.92 | 2397.89 | 78873 | 0
ii) Annualj | 10 | 0 | 0 | 14700 | 1 | 10 | 14.66 | 146.6 | 14.66 | 7.33 | 19203.43 | 215502 | 0
c) BLD System Operation (All Sources with Fabric Filters)
i) Initialk | 10 | 0 | 0 | 25500 | 1 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ii) Annualk | 10 | 0 | 0 | 9700 | 1 | 10 | 286.5 | 2865 | 286.5 | 143.25 | 375292.08 | 2779050 | 0
11) Biennial Tune-Upl | 12 | 0 | 2875 | 0 | 0.5 | 6 | 1813 | 10878 | 1087.8 | 543.9 | 1424930.98 | 2606187.5 | 0
C. Create Information | N/A
D. Gather Information | N/A
E. Report Preparation
1) Initial Notification that Source is Subject | 2 | 0 | 0 | 0 | 1 | 2 | 10 | 20 | 2 | 1 | 2619.84 | 0 | 10
2) Notification of Compliance Status | 8 | 0 | 0 | 0 | 1 | 8 | 10 | 80 | 8 | 4 | 10479.36 | 0 | 10
3) Initial Report on Results of Energy Auditd | 5 | 0 | 0 | 0 | 1 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4) Annual Compliance Report | 30 | 0 | 0 | 0 | 1 | 30 | 2099.5 | 62985 | 6298.5 | 3149.25 | 8250531.12 | 0 | 2099.5
5) Biennial Compliance Reportl | 5 | 0 | 0 | 0 | 0.5 | 2.5 | 1813 | 4532.5 | 453.25 | 226.63 | 593721.98 | 0 | 906.5
Subtotal for Reporting Requirements | [7 empty] | 98005.59 |  |  | 11163433.5 | 6060259.9 | 3026
4. Recordkeeping Requirements
A. Familiarization with Rule Requirements | See 3A
B. Implement Activities | N/A
C. Develop Record Systemm | N/A
D. Record Information
1) Records of Operating Parameter Valuesf | 20 | 0 | 0 | 0 | 1 | 20 | 295.67 | 5913.4 | 591.34 | 295.67 | 774608.09 | 0 | 0
2) Records of Deviationsf | 15 | 0 | 0 | 0 | 1 | 15 | 295.67 | 4435.05 | 443.51 | 221.75 | 580955.99 | 0 | 0
3) Records of Stack Testsf | 2 | 0 | 0 | 0 | 1 | 2 | 295.67 | 591.34 | 59.13 | 29.57 | 77461.02 | 0 | 0
4) Records of Monitoring Device Calibrationsf | 2 | 0 | 0 | 0 | 1 | 2 | 295.67 | 591.34 | 59.13 | 29.57 | 77461.02 | 0 | 0
5) Records of All Compliance Reports Submittedf | 2 | 0 | 0 | 0 | 2 | 4 | 2099.5 | 8398 | 839.8 | 419.9 | 1100070.82 | 0 | 0
6) Records of Monthly Fuel Usef | 0.5 | 0 | 0 | 0 | 12 | 6 | 295.67 | 1774.02 | 177.4 | 88.7 | 232382.17 | 0 | 0
7) Records of Biennial Tune-Up | 0.5 | 0 | 0 | 0 | 0.5 | 0.25 | 1813 | 453.25 | 45.33 | 22.66 | 59372.04 | 0 | 0
E. Personnel Training | N/A
F. Time for Audits | N/A
Subtotal for Recordkeeping Requirements | [7 empty] | 25479.86 |  |  | 2902311.15 | 0 | 0
TOTAL LABOR BURDEN AND COST | [10 empty] | 14065744.65
TOTAL CAPITAL AND O&M COST | [11 empty] | 6060259.9
GRAND TOTAL | [7 empty] | 123485.45 |  |  | 20126004.55 |  | 3026
N/A - Not Applicable | [13 empty] | Notes (Units vs. Respondents):
a. On average, over the 3-year period of this ICR, we estimate 4,179 existing large solid boilers (i.e., biomass- and coal-fired boilers >10 MMBtu/hr) at 2,089.5 facilities will be subject to the rule. We also estimate 20 new boilers at 10 facilities per year, all of which are biomass-fired, for a total of 4,199 boilers at 2,099.5 facilities. | [13 empty] | 4179 | 2089.5 | 4199 | 2099.5
b. This ICR uses the following labor rates: $117.92 for technical, $147.40 for managerial, and $57.02 for clerical labor. These rates are from the United States Department of Labor, Bureau of Labor Statistics, December 2018, “Table 2. Civilian workers, by occupational and industry group.” The rates are from column 1, “Total compensation.” The rates have been increased by 110 percent to account for the benefit packages available to those employed by private industry.
c. This burden applies to new sources only. The burden on existing sources to read and understand rule requirements and submit initial notifications was incurred during a previous ICR period. It is assumed that existing sources will take 1 hour to refamiliarize themselves with the rule requirements each year.
d. This burden applies to existing large solid fuel boilers only. All existing sources were required to complete the energy audit by the conclusion of the previous ICR period; therefore, no new or existing sources will incur this burden over the next three years.
e. Cost per occurrence for certified energy audit professionals includes a phone screening to discuss the facility prior to a visit, a 2- to 4-hour site visit, and an additional 2 to 4 hours to prepare a follow-up report on recommendations and findings. Cost depends on whether the source is industrial or commercial. It is assumed that 10% of sources will be industrial and 90% will be commercial.
f. Only existing and new large coal boilers are subject to numerical mercury (Hg) and carbon monoxide (CO) limits, while new large coal and biomass boilers are subject to particulate matter (PM) limits.
g. All projected large solid fuel boilers are expected to comply through stack testing instead of the fuel testing compliance option.
h. Only boilers <30 MMBtu/hr that are not subject to limits under the NSPS (40 CFR Part 60 Subparts Db, Dc) will incur additional testing, monitoring, recordkeeping and reporting costs under this rule. It is estimated that 11 boilers (5.5 facilities, assuming 2 boilers per facility) will be subject to additional testing.
i. Sources demonstrating compliance with any applicable emission limits through stack testing must develop a site-specific monitoring plan. All new large solid fuel units are expected to develop this plan.
j. All new biomass boilers >10 MMBtu/hr are expected to meet PM limits with an electrostatic precipitator (ESP); therefore, those sources will install opacity monitors.
k. All new coal boilers >10 MMBtu/hr are expected to install fabric filters equipped with bag leak detection (BLD) systems instead of opacity monitors. No new large coal boilers are projected over the three-year ICR period.
l. Only existing large biomass boilers are subject to biennial tune-ups.
m. It is assumed that facilities must already maintain records on boiler insurance and/or maintenance scheduling; therefore, no new record system would be required.
Note on H17: Tracy Curtis: includes 1/3 of existing coal boilers
Note on H19: ERG: =1.83 x 2 + 1/3*(5.5 x 2) (includes 2/3 new biomass facilities >10 + 1/3 of all new biomass facilities >10 from prior 2 ICRs assuming constant 5.5 growth rate
Note on H26: Tracy Curtis: 1.83x2 + 11 facilities (5.5 x 2) from last two ICRs that will continue annual activities
Note on H29: Tracy Curtis: All facilities w/ existing coal units (no new units)

## LrgLiquid
Table 1B: Annual Respondent Burden and Cost – Existing and New Large Liquid Fuel Boilers, NESHAP for Industrial, Commercial, and Institutional Boilers Area Sources (40 CFR Part 63, Subpart JJJJJJ) (Renewal)
Burden Item | A |  |  |  |  | B | C | D | E | F | G | H
| Technical Person-Hours per Occurrence | Certified Energy Audit Cost per Occurrence | Stack Testing and Fuel Analysis Cost per Occurrence | Tune-Up Cost per Occurrence | Other Non-Labor Costs per Occurrence | Occurrences per Respondent per Year | Technical Person-Hours per Respondent per Year (C=AxB) | Respondents per Year a | Technical Hours per Year (E=CxD) | Clerical Hours per Year (F=Ex0.10) | Management Hours per Year (G=Ex0.05) | Total Cost per Year ($) b | Total Non-Labor Annual Costs | Total Number of Responses per Year | Annualized Capital/start-up O&M
1. Applications | N/A
2. Surveys and Studies | N/A
3. Reporting Requirements
A. Read and Understand Rule Requirements (new sources)c | 40 | 0 | 0 | 0 | 0 | 1 | 40 | 81.17 | 3246.8 | 324.68 | 162.34 | 425304.83 | 0 | 0
Familiarization with Rule Requirements (existing sources) | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 5182.67 | 5182.67 | 518.27 | 259.13 | 678887.96 | 0 | 0
B. Required Activities
1) Conduct Energy Audit
a) Industriald, e | 20 | 18292 |  | 0 | 0 | 1 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
b) Commerciald, e | 20 | 854 |  | 0 | 0 | 1 | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2) Initial Stack Test and Report (PM)f | 12 | 0 | 8000 | 0 | 0 | 1 | 12 | 81.17 | 974.04 | 97.4 | 48.7 | 127590.92 | 649360 | 0
3) Triennial Stack Test and Report (PM)f | 12 | 0 | 8000 | 0 | 0 | 0.33 | 3.96 | 324.6733 | 1285.71 | 128.57 | 64.29 | 168418.33 | 857137.6 | 0
4) Continuous Parameter Monitoring
a) Establish Site-specific monitoring plang | 40 | 0 | 0 | 0 | 0 | 1 | 40 | 81.17 | 3246.8 | 324.68 | 162.34 | 425304.83 | 0 | 0
b) Opacity (All Sources with ESPs)
i) Initial | 10 | 0 | 0 | 0 | 43100 | 1 | 10 | 81.17 | 811.7 | 81.17 | 40.59 | 106326.94 | 3498427 | 0
ii) Annual | 10 | 0 | 0 | 0 | 14700 | 1 | 10 | 649.34 | 6493.4 | 649.34 | 324.67 | 850583.45 | 9545298 | 0
c) BLD System Operation (All Sources with Fabric Filters)
i) Initial | 10 | 0 | 0 | 0 | 25500 | 1 | 10 | 7.5 | 75 | 7.5 | 3.75 | 9824.4 | 191250 | 0
ii) Annual | 10 | 0 | 0 | 0 | 9700 | 1 | 10 | 15 | 150 | 15 | 7.5 | 19648.8 | 145500 | 0
5) Biennial Tune-Up | 12 | 0 | 0 | 2875 | 0 | 0.5 | 6 | 5263.83 | 31582.98 | 3158.3 | 1579.15 | 4137117.98 | 7566755.63 | 0
C. Create Information | N/A
D. Gather Information | N/A
E. Report Preparation
1) Initial Notification that Source is Subject | 2 | 0 | 0 | 0 | 0 | 1 | 2 | 81.17 | 162.34 | 16.23 | 8.12 | 21265.46 | 0 | 81.17
2) Notification of Compliance Status | 8 | 0 | 0 | 0 | 0 | 1 | 8 | 81.17 | 649.36 | 64.94 | 32.47 | 85061.49 | 0 | 81.17
3) Initial Report on Results of Energy Auditd | 5 | 0 | 0 | 0 | 0 | 1 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4) Annual Compliance Report | 30 | 0 | 0 | 0 | 0 | 1 | 30 | 324.6733 | 9740.2 | 974.02 | 487.01 | 1275888.28 | 0 | 324.6733
5) Biennial Compliance Report | 5 | 0 | 0 | 0 | 0 | 0.5 | 2.5 | 5263.83 | 13159.58 | 1315.96 | 657.98 | 1723799.96 | 0 | 2631.915
Subtotal for Reporting Requirements | [8 empty] | 88274.68 |  |  | 10055023.63 | 22453728.23 | 3118.9283 | #REF! | #REF!
4. Recordkeeping Requirements
A. Familiarization with Rule Requirements | See 3A
B. Implement Activities | N/A
C. Develop Record Systemh | N/A
D. Record Information
1) Records of Operating Parameter Values | 20 | 0 | 0 | 0 | 0 | 1 | 20 | 5263.83 | 105276.6 | 10527.66 | 5263.83 | 13790392.39 | 0 | 0
2) Records of Deviations | 15 | 0 | 0 | 0 | 0 | 1 | 15 | 5263.83 | 78957.45 | 7895.75 | 3947.87 | 10342794.21 | 0 | 0
3) Records of Stack Tests | 2 | 0 | 0 | 0 | 0 | 1 | 2 | 5263.83 | 10527.66 | 1052.77 | 526.38 | 1379039.02 | 0 | 0
4) Records of Monitoring Device Calibrations | 2 | 0 | 0 | 0 | 0 | 1 | 2 | 5263.83 | 10527.66 | 1052.77 | 526.38 | 1379039.02 | 0 | 0
5) Records of All Compliance Reports Submitted | 2 | 0 | 0 | 0 | 0 | 2 | 4 | 5263.83 | 21055.32 | 2105.53 | 1052.77 | 2758078.95 | 0 | 0
6) Records of Monthly Fuel Use | 0.5 | 0 | 0 | 0 | 0 | 12 | 6 | 5263.83 | 31582.98 | 3158.3 | 1579.15 | 4137117.98 | 0 | 0
7) Records of Biennial Tune-Up | 0.5 | 0 | 0 | 0 | 0 | 0.5 | 0.25 | 5263.83 | 1315.96 | 131.6 | 65.8 | 172380.76 | 0 | 0
E. Personnel Training | N/A | [6 empty] | .
F. Time for Audits | N/A
Subtotal for Recordkeeping Requirements | [8 empty] | 298130.19 |  |  | 33958842.33 | 0 | 0
TOTAL LABOR BURDEN AND COST | [11 empty] | 44013865.96
TOTAL CAPITAL AND O&M COST | [12 empty] | 22453728.23
GRAND TOTAL | [8 empty] | 386404.87 |  |  | 66467594.19 |  | 3118.9283
N/A - Not Applicable | [16 empty] | Notes
a. On average, over the 3-year period of this ICR, we estimate 10,365 existing large liquid boilers (i.e., units >10 MMBtu/hr) at 5,183 facilities will be subject to the rule. We also estimate 162 new boilers at 81 facilities per year, for a total of 10,528 boilers at 5,264 facilities. | [16 empty] | 10365.34 | 5182.67 | 10527.68 | 5263.84
b. This ICR uses the following labor rates: $117.92 for technical, $147.40 for managerial, and $57.02 for clerical labor. These rates are from the United States Department of Labor, Bureau of Labor Statistics, December 2018, “Table 2. Civilian workers, by occupational and industry group.” The rates are from column 1, “Total compensation.” The rates have been increased by 110 percent to account for the benefit packages available to those employed by private industry.
c. This burden applies to new sources only. The burden on existing sources to read and understand rule requirements and submit initial notifications was incurred during a previous ICR period. It is assumed that existing sources will take 1 hour to refamiliarize themselves with the rule requirements each year.
d. This burden applies to existing large liquid fuel boilers only. All existing sources were required to complete the energy audit by the conclusion of the previous ICR period; therefore, no new or existing sources will incur this burden over the next three years.
e. Cost per occurrence for certified energy audit professionals includes a phone screening to discuss the facility prior to a visit, a 2- to 4-hour site visit, and an additional 2 to 4 hours to prepare a follow-up report on recommendations and findings. Cost depends on whether the source is industrial or commercial. It is assumed that 10% of sources will be industrial and 90% will be commercial.
f. All projected large liquid fuel boilers are expected to comply through stack testing instead of the fuel testing compliance option. Only units <30 MMBtu/hr that are not subject to PM limits under the NSPS (40 CFR Part 60 Subparts Db, Dc) will incur additional testing, monitoring, recordkeeping and reporting costs under this rule. This is a conservatively high estimate for burden as we expect some of the units will comply with the PM standard by combusting ultra-low sulfur diesel (ULSD), but the number of units with ULSD is unknown.
g. Sources demonstrating compliance with any applicable emission limits through stack testing must develop a site-specific monitoring plan. All new large liquid fuel units are expected to develop this plan.
h. It is assumed that facilities must already maintain records on boiler insurance and/or maintenance scheduling; therefore, no new record system would be required.
Note on I15: ERG: 81.17 x 2 + 1/3*(243.5*2) (includes 2/3 of new facilities >10 + 1/3 of all new facilities from prior 2 ICRs assuming constant growth rate)
Note on I20: Tracy Curtis: 81.17 x 2 + 243.5 x 2 (includes 2/3 new facilities and all new facilities from last two ICRs that will continue annual activities

## SmlSolid
Table 1C: Annual Respondent Burden and Cost – Existing and New Small Solid Fuel Boilers, NESHAP for Industrial, Commercial, and Institutional Boilers Area Sources (40 CFR Part 63, Subpart JJJJJJ) (Renewal)
Burden Item | A |  |  | B | C | D | E | F | G | H
| Technical Person-Hours per Occurrence | Tune-Up Cost per Occurrence | Other Non-Labor Costs per Occurrence | Occurrences per Respondent per Year | Technical Person-Hours per Respondent per Year (C=AxB) | Respondents per Year a | Technical Hours per Year (E=CxD) | Clerical Hours per Year (F=Ex0.10) | Management Hours per Year (G=Ex0.05) | Total Cost per Year ($) b | Total Non-Labor Annual Costs | Total Number of Responses per Year
1. Applications | N/A
2. Surveys and Studies | N/A
3. Reporting Requirements
A. Read and Understand Rule Requirements (new sources)c | 40 | 0 | 0 | 1 | 40 | 49.17 | 1966.8 | 196.68 | 98.34 | 257635.07 | 0 | 0
Familiarization with Rule Requirements (existing sources) | 1 | 0 | 0 | 1 | 1 | 5658.67 | 5658.67 | 565.87 | 282.93 | 741240.16 | 0 | 0
B. Required Activities
Biennial Tune-Up | 12 | 2228 | 0 | 0.5 | 6 | 5707.83 | 34246.98 | 3424.7 | 1712.35 | 4486080.67 | 6358522.62 | 0
C. Create Information | N/A
D. Gather Information | N/A
E. Report Preparation
1) Initial Notification that Source is Subject | 2 | 0 | 0 | 1 | 2 | 49.17 | 98.34 | 9.83 | 4.92 | 12881.97 | 0 | 49.17
2) Notification of Compliance Status | 8 | 0 | 0 | 1 | 8 | 49.17 | 393.36 | 39.34 | 19.67 | 51527.54 | 0 | 49.17
3) Biennial Compliance Report | 5 | 0 | 0 | 0.5 | 2.5 | 5707.83 | 14269.58 | 1426.96 | 713.48 | 1869201.08 | 0 | 2853.915
Subtotal for Reporting Requirements | [6 empty] | 65128.8 |  |  | 7418566.49 | 6358522.62 | 2952.255
4. Recordkeeping Requirements
A. Familiarization with Rule Requirements | See 3A
B. Implement Activities | N/A
C. Develop Record Systemd | N/A
D. Record Information
1) Records of All Compliance Reports Submitted | 2 | 0 | 0 | 1 | 2 | 5707.83 | 11415.66 | 1141.57 | 570.78 | 1495359.92 | 0 | 0
2) Records of Biennial Tune-Up | 0.5 | 0 | 0 | 0.5 | 0.25 | 5707.83 | 1426.96 | 142.7 | 71.35 | 186920.87 | 0 | 0
E. Personnel Training | N/A
F. Time for Audits | N/A
Subtotal for Recordkeeping Requirements | [6 empty] | 14769.02 |  |  | 1682280.79 | 0 | 0
TOTAL LABOR BURDEN AND COST | [9 empty] | 9100847.28
TOTAL CAPITAL AND O&M COST | [10 empty] | 6358522.62
GRAND TOTAL | [6 empty] | 79897.82 |  |  | 15459369.9 |  | 2952.255
N/A - Not Applicable | [12 empty] | Notes
a. On average, over the 3-year period of this ICR, we estimate 11,317 existing small solid boilers (i.e., units <10 MMBtu/hr) at 5,659 facilities will be subject to the rule. We also estimate 98 new boilers at 49 facilities per year, for a total of 11,416 boilers at 5,708 facilities. | [12 empty] | 11317.34 | 5658.67 | 11415.68 | 5707.84
b. This ICR uses the following labor rates: $117.92 for technical, $147.40 for managerial, and $57.02 for clerical labor. These rates are from the United States Department of Labor, Bureau of Labor Statistics, December 2018, “Table 2. Civilian workers, by occupational and industry group.” The rates are from column 1, “Total compensation.” The rates have been increased by 110 percent to account for the benefit packages available to those employed by private industry.
c. This burden applies to new sources only. The burden on existing sources to read and understand rule requirements and submit initial notifications was incurred during a previous ICR period. It is assumed that existing sources will take 1 hour to refamiliarize themselves with the rule requirements each year.
d. It is assumed that facilities must already maintain records on boiler insurance and/or maintenance scheduling; therefore, no new record system would be required.

## SmlLiquid
Table 1D: Annual Respondent Burden and Cost – Existing and New Small Liquid Fuel Boilers, NESHAP for Industrial, Commercial, and Institutional Boilers Area Sources (40 CFR Part 63, Subpart JJJJJJ) (Renewal)
Burden Item | A |  |  | B | C | D | E | F | G | H
| Technical Person-Hours per Occurrence | Tune-Up Cost per Occurrence | Other Non-Labor Costs per Occurrence | Occurrences per Respondent per Year | Technical Person-Hours per Respondent per Year (C=AxB) | Respondents per Year a | Technical Hours per Year (E=CxD) | Clerical Hours per Year (F=Ex0.10) | Management Hours per Year (G=Ex0.05) | Total Cost per Year ($) b | Total Non-Labor Annual Costs | Total Number of Responses per Year
1. Applications | N/A
2. Surveys and Studies | N/A
3. Reporting Requirements
A. Read and Understand Rule Requirements (new sources)c | 40 | 0 | 0 | 1 | 40 | 989.5 | 39580 | 3958 | 1979 | 5184663.36 | 0 | 0
Familiarization with Rule Requirements (existing sources) | 1 | 0 | 0 | 1 | 1 | 86313.5 | 86313.5 | 8631.35 | 4315.68 | 11306378.729 | 0 | 0
B. Required Activities
Biennial Tune-Up | 12 | 2228 | 0 | 0.5 | 6 | 87303 | 523818 | 52381.8 | 26190.9 | 68615967.456 | 97255542 | 0
C. Create Information | N/A
D. Gather Information | N/A
E. Report Preparation
1) Initial Notification that Source is Subject | 2 | 0 | 0 | 1 | 2 | 989.5 | 1979 | 197.9 | 98.95 | 259233.168 | 0 | 989.5
2) Notification of Compliance Status | 8 | 0 | 0 | 1 | 8 | 989.5 | 7916 | 791.6 | 395.8 | 1036932.672 | 0 | 989.5
3) Biennial Compliance Report | 5 | 0 | 0 | 0.5 | 2.5 | 87303 | 218257.5 | 21825.75 | 10912.88 | 28589987.177 | 0 | 43651.5
Subtotal for Reporting Requirements | [6 empty] | 1009543.61 |  |  | 114993162.562 | 97255542 | 45630.5
4. Recordkeeping Requirements
A. Familiarization with Rule Requirements | See 3A
B. Implement Activities | N/A
C. Develop Record Systemd | N/A
D. Record Information
1) Records of All Compliance Reports Submitted | 2 | 0 | 0 | 1 | 2 | 87303 | 174606 | 17460.6 | 8730.3 | 22871989.152 | 0 | 0
2) Records of Biennial Tune-Up | 0.5 | 0 | 0 | 0.5 | 0.25 | 87303 | 21825.75 | 2182.58 | 1091.29 | 2858999.2976 | 0 | 0
E. Personnel Training | N/A
F. Time for Audits | N/A
Subtotal for Recordkeeping Requirements | [6 empty] | 225896.52 |  |  | 25730988.4496 | 0 | 0
TOTAL LABOR BURDEN AND COST | [9 empty] | 140724151.0116
TOTAL CAPITAL AND O&M COST | [10 empty] | 97255542
GRAND TOTAL | [6 empty] | 1235440.13 |  |  | 237979693.0116 |  | 45630.5
N/A - Not Applicable | [12 empty] | Notes
a. On average, over the 3-year period of this ICR, we estimate 172,627 existing small liquid boilers (i.e., units <10 MMBtu/hr) at 86,314 facilities will be subject to the rule. We also estimate 1,979 new boilers at 989.5 facilities per year, for a total of 174,606 boilers at 87,303 facilities. | [12 empty] | 172627 | 86313.5 | 174606 | 87303
b. This ICR uses the following labor rates: $117.92 for technical, $147.40 for managerial, and $57.02 for clerical labor. These rates are from the United States Department of Labor, Bureau of Labor Statistics, December 2018, “Table 2. Civilian workers, by occupational and industry group.” The rates are from column 1, “Total compensation.” The rates have been increased by 110 percent to account for the benefit packages available to those employed by private industry.
c. This burden applies to new sources only. The burden on existing sources to read and understand rule requirements and submit initial notifications was incurred during a previous ICR period. It is assumed that existing sources will take 1 hour to refamiliarize themselves with the rule requirements each year.
d. It is assumed that facilities must already maintain records on boiler insurance and/or maintenance scheduling; therefore, no new record system would be required.

## Respondents&Responses
Number of Respondents
| Respondents That Submit Reports |  | Respondents That Do Not Submit Any Reports
Year | (A) | (B) | (C) | (D) | (E)
| Number of New Respondents | Number of Existing Respondents | Number of Existing Respondents that keep records but do not submit reports | Number of Existing Respondents That Are Also New Respondents | Number of Respondents (E=A+B+C-D)
Large Solid Boilers
1 | 10 | 2079.5 | 0 | 0 | 2089.5 | Notes (Units vs. Respondents):
2 | 10 | 2089.5 | 0 | 0 | 2099.5 | 4179 | 2089.5 | 4199 | 2099.5
3 | 10 | 2099.5 | 0 | 0 | 2109.5
Average | 10 | 2089.5 | 0 | 0 | 2099.5
Large Liquid Boilers
1 | 81.17 | 5101.5 | 0 | 0 | 5182.67
2 | 81.17 | 5182.67 | 0 | 0 | 5263.84 | 10365.34 | 5182.67 | 10527.68 | 5263.84
3 | 81.17 | 5263.84 | 0 | 0 | 5345.01
Average | 81.17 | 5182.67 | 0 | 0 | 5263.84
Small Solid Boilers
1 | 49.17 | 5609.5 | 0 | 0 | 5658.67
2 | 49.17 | 5658.67 | 0 | 0 | 5707.84 | 11317.34 | 5658.67 | 11415.68 | 5707.84
3 | 49.17 | 5707.84 | 0 | 0 | 5757.01
Average | 49.17 | 5658.67 | 0 | 0 | 5707.84
Small Liquid Boilers
1 | 989.5 | 85324 | 0 | 0 | 86313.5
2 | 989.5 | 86313.5 | 0 | 0 | 87303 | 172627 | 86313.5 | 174606 | 87303
3 | 989.5 | 87303 | 0 | 0 | 88292.5
Average | 989.5 | 86313.5 | 0 | 0 | 87303
Total | 1129.84 | 99244.34 | 0 | 0 | 100374.18 | 198488.68
Total Annual Responses
(A) | (B) | (C) | (D) | (E)
Information Collection Activity | Number of Respondents | Number of Responses | Number of Existing Respondents That Keep Records But Do Not Submit Reports | Total Annual Responses E=(BxC)+D
Large Solid Boilers
Initial Notification | 10 | 1 | 0 | 10
Notification of Compliance Status | 10 | 1 | 0 | 10
Annual Compliance Report | 2099.5 | 1 | 0 | 2099.5
Biennial Compliance Report | 1813 | 0.5 | 0 | 906.5
Subtotal |  |  |  | 3026
Large Liquid Boilers
Initial Notification | 81.17 | 1 | 0 | 81.17
Notification of Compliance Status | 81.17 | 1 | 0 | 81.17
Annual Compliance Report | 324.6733 | 1 | 0 | 324.6733
Biennial Compliance Report | 5263.83 | 0.5 | 0 | 2631.915
Subtotal |  |  |  | 3118.9283
Small Solid Boilers
Initial Notification | 49.17 | 1 | 0 | 49.17
Notification of Compliance Status | 49.17 | 1 | 0 | 49.17
Biennial Compliance Report | 5707.83 | 0.5 | 0 | 2853.915
Subtotal |  |  |  | 2952.255
Small Liquid Boilers
Initial Notification | 989.5 | 1 | 0 | 989.5
Notification of Compliance Status | 989.5 | 1 | 0 | 989.5
Biennial Compliance Report | 87303 | 0.5 | 0 | 43651.5
Subtotal |  |  |  | 45630.5
Total (rounded) |  |  |  | 54700

## Capital vs. O&M
Capital/Startup vs. Operation and Maintenance (O&M) Costs
(A) | (B) | (C) | (D) | (E) | (F) | (G)
Continuous Monitoring Device | Capital/Startup Cost for One Respondent | Number of New Respondents | Total Capital/Startup Cost, (B X C) | Annual O&M Costs for One Respondent | Number of Respondents with O&M | Total O&M, (E X F)
Large Solid Boilers
Initial Stack Test and Report (Hg) | 5000 | 0 | 0 | 0 | 0 | 0
Triennial Stack Test and Report (Hg) | 0 | 0 | 0 | 1650 | 95.5 | 157575
Initial Stack Test and Report (CO) | 6000 | 0 | 0 | 0 | 0 | 0
Triennial Stack Test and Report (CO) | 0 | 0 | 0 | 1980 | 95.5 | 189090
Initial Stack Test and Report (PM) | 8000 | 1.83 | 14640 | 0 | 1.83 | 0
Triennial Stack Test and Report (PM) | 0 | 0 | 0 | 2640 | 7.3267 | 19342.4
Electrostatic Precipitator System | 43100 | 1.83 | 78873 | 14700 | 14.66 | 215502
Bag Leak Detection System | 25500 | 0 | 0 | 9700 | 286.5 | 2779050
Biennial Tune-Up | 0 | 0 | 0 | 1437.5 | 1813 | 2606187.5
Subtotal |  |  | 93513 |  |  | 5966746.9
Large Liquid Boilers
Initial Stack Test and Report (PM) | 8000 | 81.17 | 649360 | 0 | 81.17 | 0
Triennial Stack Test and Report (PM) | 0 | 0 | 0 | 2640 | 324.6733 | 857137.6
Electrostatic Precipitator System | 43100 | 81.17 | 3498427 | 14700 | 649.34 | 9545298
Bag Leak Detection System | 25500 | 7.5 | 191250 | 9700 | 15 | 145500
Biennial Tune-Up | 0 | 0 | 0 | 1437.5 | 5263.83 | 7566755.63
Subtotal |  |  | 4339037 |  |  | 18114691.23
Small Solid Boilers
Biennial Tune-Up | 0 | 0 | 0 | 1114 | 5707.83 | 6358522.62
Subtotal |  |  | 0 |  |  | 6358522.62
Small Liquid Boilers
Biennial Tune-Up | 0 | 0 | 0 | 1114 | 87303 | 97255542
Subtotal |  |  | 0 |  |  | 97255542
Total |  |  | 4430000 |  |  | 128000000