## Sheet 1
Table 1
Number | Question | Option A | Option B | Option C | Option D | Correct Answer | Description
1 | If a blower door test is performed, the air leakage value must be entered into the Scoring Tool as… | ACH50 | ACHnat | CFM50 | CFMnat | CFM50
2 | Which of the following is part of the data entry for a Home Energy Score assessment? | Number of lights | Thermostat settings | Roof color | Number of occupants | Roof color
3 | Which of the following appliances directly affects the Home Energy Score? | Computers & TVs | Lighting | Cooking | Hot water | Hot water
4 | Which of the following energy use types is assumed based solely on the size of the house? | Heating | Cooling | Hot water | Lighting | Lighting
5 | Which of the following is a baseload energy use? | Heating | Cooling | Hot water | Computers & TVs | Computers & TVs
6 | When is a blower door test result required to be entered in the Home Energy Score data entry? | When it is unknown whether the house has been professionally air sealed | Always | Never | Only in cold climates | Never
7 | When is combustion safety testing required as part of the Home Energy Score? | Always | Never | When there is a combustion water heater present | When there is a combustion furnace or boiler and combustion water heater present | Never
8 | When entering data into the Home Energy Scoring Tool, the area of the conditioned crawlspace should be included in the conditioned floor area. | True | False | N/A | N/A | False
9 | If a duct leakage test is performed, the leakage number must be entered as ... | CFM25 | CFM50 | CFMnat | The Home Energy Score does not accept duct leakage data | The Home Energy Score does not accept duct leakage data
10 | When entering HVAC equipment data to generate a Home Energy Score, which value will best represent the efficiency of the equipment? | Generic average efficiency for that type of equipment | Year installed date | "EnergyGuide" label efficiency, or default value from the Assessor Calculator | De-rated efficiency calculation | "EnergyGuide" label efficiency, or default value from the Assessor Calculator
11 | When doing a Home Energy Score assessment, the basement is considered conditioned when … | the basement is finished | the hvac equipment and ducts are in the basement | there are duct supply registers or radiators in the basement | there is insulation on the basement walls | there are duct supply registers or radiators in the basement
12 | Which of the following is not part of the Home Energy Score Report generated by the Tool? | Energy Saving Tips | Recommended Improvements | Home Facts | The Score | Energy Saving Tips
13 | The Home Energy Score is based on an estimate of the home's… | total source energy | total site energy | heating, cooling and hot water source energy | heating, cooling and hot water site energy | heating, cooling and hot water source energy
14 | If a house in Minneapolis, MN, has the same Score as a house in Houston, TX, ... | the energy bills will be similar | the estimated total energy use will be similar | the house characteristics are the same | the efficiency of the two houses is similar | the efficiency of the two houses is similar
15 | Which of the following house types can be assessed using the Home Energy Scoring Tool? | Mobile home | Floating home | Townhouse or Rowhouse | Apartment house | Townhouse or Rowhouse
16 | What installation cost is used to determine the payback of each improvement on the recommendations page in Home Energy Score? | State average | Assessor estimate | Local average | National average | National average
17 | The recommendations listed on the last page of the Home Energy Score are included if the payback is less than or equal to ... | 1 year | 5 years | 10 years | 12 years | 10 years
18 | The Home Energy Scoring Tool 10 point scale is adjusted for house size, so different size houses with the same components and in the same geographical location will have the same score. | True | False | N/A | N/A | False
19 | What type of rating does the Home Energy Score provide? | Operational | Asset | Functional | Expense | Asset
20 | If the building efficiency characteristics and components of a large house and a small house are the same … | the houses will score the same | the large house will use more energy | the large house will score better than the small house | the houses will use the same amount of energy | the large house will use more energy
21 | If all recommendations are implemented, the dollar savings displayed on the Home Energy Score front page (label) represents the amount a typical homeowner can expect to save in ____ (how long?) | 1 year | 2 years | 5 years | 10 years | 1 year
22 | What utility rate is used to calculate the dollar savings amounts in the Home Energy Score report? | National average | Local average | State average | Actual rate | State average
23 | If a house has multiple window types on one side, the data entered into the Home Energy Scoring Tool for that side of the house should represent the characteristics of… | the newest windows | the oldest windows | the windows with the largest combined area | the least efficient windows | the windows with the largest combined area
24 | Must the Assessor provide the recommendations generated by the Home Energy Scoring Tool? | Yes, the Scoring Tool recommendations must always be provided | No, it is not mandatory that recommendations be provided | No, as long as the Assessor provides customized recommendations that pertain to the home | No, as long as the Assessor provides generic recommendations similar to the Scoring Tool recommendations | No, as long as the Assessor provides customized recommendations that pertain to the home
25 | Which of the following will translate a Home Energy Score into a HERS index? | Multiplying the Home Energy Score by 10 | Adding 100 to the Home Energy Score and multiplying the sum by 0.75 | Dividing the calculated total energy by 125 | It cannot be translated | It cannot be translated
26 | How does the Home Energy Score account for the weather? | It doesn't account for weather differences | It uses meteorological data associated with the home's zip code | It uses different thermostat settings based on zip code | It uses state average weather conditions | It uses meteorological data associated with the home's zip code
27 | When performing a Home Energy Score assessment the Assessor should… | use a duct blaster to assess duct leakage | inspect the attic to assess the insulation | inspect the attic and foundation to locate thermal bypasses | inspect the attic and foundation to assess moisture issues | inspect the attic to assess the insulation
28 | When doing a Home Energy Score assessment the Assessor should make every effort to determine the… | conditioned floor area | efficiency of the heating system | average ceiling height | all of these choices | all of these choices
29 | When doing a Home Energy Score assessment the Assessor should… | close all windows and exterior doors | identify major thermal bypasses | calculate window sizes and floor areas | perform a blower door test | calculate window sizes and floor areas
30 | The Home Energy Score program is administered by… | the Environmental Protection Agency | the Building Performance Institute | the Residential Energy Services Network | the Department of Energy | the Department of Energy
31 | Which of the following factors will not affect a home's Score? | Height of the home | Home's zip code | Number of occupants in the home | Size of the windows | Number of occupants in the home
32 | An Assessor's status will be de-activated if he/she has not scored a home in ______ months. | 3 | 4 | 6 | 12 | 6
33 | What is the Home Energy Score range? | 1 to 10 | 0 to 10 | 0 to 100 | 1 to 100 | 1 to 10
34 | Why does the sum of the savings of the individual recommended improvements not equal the total savings on the Score page? | Due to round off error | Due to the interactive effects of multiple improvements | Because the "Do Now" recommendations are more heavily weighted than the "Replace Later" recommendations | Because the "Replace Later" recommendations are more heavily weighted than the "Do Now" recommendations | Due to the interactive effects of multiple improvements
35 | Does the Home Energy Score provide a comprehensive list of recommendations? | No, it provides asset related recommendations only | No, it provides operational recommendations only | Yes | No, it only provides recommendations that require contractor installation | No, it provides asset related recommendations only
36 | Is the Home Energy Score intended to be used as a replacment for a comprehensive energy audit? | No | Yes | No, with the exception of weatherization assistance programs | Yes, for low income neighborhood programs | No
37 | What is the Home Energy Score? | A comprehensive energy audit | A method for comparing the energy efficiency of houses | A replacement for a HERS rating | All of these choices | A method for comparing the energy efficiency of houses
38 | Which of the following should be included when calculating the house size? | An unfinished, conditioned basement | A conditioned crawlspace | A finished, unconditioned basement | A garage under a conditioned space | An unfinished, conditioned basement
39 | The home you are scoring is a 35' by 20' rectangle, one story over a full basement. The forced air heating system is located in the basement and the duct registers are all on the first floor. The conditioned floor area (sq.ft.) should be entered as... | 700 | 1050 | 1400 | 2100 | 700
40 | Which of the following are included in the "Home Facts" section of the Home Energy Score Report? | The source energy needed to heat, cool and provide hot water for the home | The source energy needed for all energy using systems in the home. | The site energy use for each fuel used in the home (e.g., kwh, therms, gallons of oil) | All of these choices | All of these choices
41 | Which of the following allows the Home Energy Score to provide an "apples to apples" comparison of homes? | It compares the energy use based on the current number of occupants | It applies standard assumptions of occupant behavior | It only compares homes that have received a Home Energy Score | It utilizes net metering utility data to compare energy use | It applies standard assumptions of occupant behavior
42 | If the homeowner can provide historical utility bill data for the home, the assessor… | can use it to create a more accurate home energy score | can calibrate the home energy score model | cannot input it into the home energy score | can provide more accurate energy savings estimates | cannot input it into the home energy score
43 | Of the following Scoring Tool data elements, which is the most important to input correctly (i.e. the most critical for determining the home's Score)? | Conditioned floor area | Ceiling height | HVAC system efficiency | Window type | Conditioned floor area
44 | Which of the following is/are acceptable source(s) for the Assessor to use to obtain the conditioned floor area of a home being scored? | Real estate listing | Tax assessment records | Zillow | None of these choices | None of these choices
45 | Which of the following will improve a home's Home Energy Score? | Replace an old natural draft furnace with a new condensing furnace | Replace an old refrigerator with a new ENERGY STAR refrigerator | Replace an old washer & dryer with a new ENERGY STAR washer & dryer | All of these choices | Replace an old natural draft furnace with a new condensing furnace
46 | Which of the following would cause a mismatch between the Home Energy Score energy use and the actual utility use? | The tool calculates lighting use based on house size | The tool assumes the number of people in the house | The thermostat settings in the tool are assumed | All of these choices | All of these choices
47 | When entering a home's roof/attic and foundation areas, the roof/attic area must be... | the same or smaller than the foundation area | the same or larger than the foundation area | the same as the foundation area | the areas are not related | the same or larger than the foundation area
48 | If the wall insulation R-value cannot be readily determined through on-site inspection, the Assessor should... | ask the homeowner what the R-value is | consult with a local contractor to determine the R-value | use the Assessor Calculator to determine the default R-value | use the Assessor Calculator to calculate the de-rated R-value based on a "Good" quality installation | use the Assessor Calculator to determine the default R-value
49 | When using the Assessor Calculator to determine the default R-value of wall insulation, it's important to know... | whether the wall cavity is 3.5 inches or 5.5 inches deep | what zip code the home is in | what region of the country the home is in | Both A and C | Both A and C
50 | The only difference between two identical homes being scored on the same street is that one is heavily shaded by large trees and the other isn't. The heavily shaded home will have... | lower cooling costs and therefore a higher Home Energy Score | less exposure to the elements and therefore a higher Home Energy Score | the same Score as the other home because shading does not affect a home's Score | Both A and B | the same Score as the other home because shading does not affect a home's Score
Note on G2: Stephen Quirk: Correct answer should be copied directly from the possible answer b/c the logic looks at the text exactly.