## Input Form
Vitamin A Laboratory - External Quality Assurance Program (VITAL-EQA)
Round 35 / Fat Solubles / Retinol
INSTRUCTIONS
• E-mail this completed worksheet to: vitaminalab@cdc.gov
| • Round deadline: |  | December 18, 2020
• All cells highlighted red are required or have invalid data that needs to be revised. Click on cell to see data requirements.
• Run these samples in the same way as you would routine patient samples.
• Run in singlicate over a period of two consecutive days (Day 1 and Day 2).
• Record all results with three significant figures (i.e., 105, 10.5, 1.05, 0.105).
• Retain the vials in your ultra-cold freezer for at least two weeks after data submission in case there is a question about the ID code or results.
Laboratory ID
Received Date (MM/DD/YY)
Assay Type
Instrument | [7 empty] | (Manufacturer/Model)
Kit Information (if used) | [7 empty] | (Name/Manufacturer)
|  | Low |  |  | High
Calibration Range |  |  |  | µg/dL |  |  | µg/dL
LOD |  |  |  | µg/dL
Run | Assay Date | Sample ID |  |  | Result (µg/dL) | < LOD | Note
1 |  |  |  | 1
1
1
2 |  |  |  | 1
1
1
Laboratory Notes
OFFICIAL USE ONLY
No, shipper did not arrive cold
Yes, shipper arrived cold
CDC estimates the average public reporting burden for this collection of information as 45 minutes per response, including the time for reviewing instructions, searching existing data/information sources, gathering and maintaining the data/information needed, and completing and reviewing the collection of information. An agency may not conduct or sponsor, and a person is not required to respond to a collection of information unless it displays a currently valid OMB Control Number. Send comments regarding this burden estimate or any other aspect of this collection of information, including suggestions for reducing this burden to CDC/ATSDR Information Collection Review Office, 1600 Clifton Road NE, MS D-74, Atlanta, Georgia 30333; ATTN: PRA (0920-xxxx).
Form Approved
OMB No. 0920-xxxx
Exp. Date xx/xx/20xx

## Business Logic (hidden)
Round # | 35 | Assay List Options | Data Label | Linked Value | IsInvalid?
Kit Name | Fat Solubles | HPLC-UV/visible detection | Laboratory ID |  | TRUE
Analyte | Retinol | HPLC-Fluorescence detection | Date Received |  | TRUE
Deadline Date | 2020-12-18 | ELISA | Assay |  | TRUE
Unit of Measure | µg/dL | Other | Other Assay |  | FALSE
|  |  | Calibration Range Low |  | TRUE
|  |  | Calibration Range High |  | TRUE
|  | Selected Assay | LOD |  | TRUE
|  |  | Assay Date 1 |  | TRUE | Assay Date 2 |  | TRUE | 1) blank
[5 empty] | FALSE |  |  | FALSE | 2) not blank and date is less than Received Date
[5 empty] | FALSE |  |  | FALSE | 3) not blank and is not a date
|  |  | Sample ID 1 |  | TRUE | Sample ID 4 |  | TRUE | 1) blank
[5 empty] | FALSE |  |  | FALSE | 2) not blank and not a 7 digit number
[5 empty] | FALSE |  |  | FALSE | 3) not unique among all Sample IDs
|  |  | Result 1 |  | TRUE | Result 7 |  | TRUE | 1) blank and LOD is not checked and Note is <3 characters
[5 empty] | FALSE |  |  | FALSE | 2) not blank and (is not number or number is less than 0)
|  |  | LOD 1 | FALSE | TRUE | LOD 7 | FALSE | TRUE | 1) result is blank and LOD is not checked and Note is <3 characters
[5 empty] | FALSE |  |  | FALSE | 2) checked and result is number greater than or equal to LOD
[5 empty] | FALSE |  |  | FALSE | 3) not checked and result is less than LOD
|  |  | Note 1 |  | TRUE | Note 7 |  | TRUE | result is blank and LOD is not checked and Note is <3 characters
|  |  | Sample ID 2 |  | TRUE | Sample ID 5 |  | TRUE
[5 empty] | FALSE |  |  | FALSE
[5 empty] | FALSE |  |  | FALSE
|  |  | Result 3 |  | TRUE | Result 9 |  | TRUE
[5 empty] | FALSE |  |  | FALSE
|  |  | LOD 3 | FALSE | TRUE | LOD 9 | FALSE | TRUE
[5 empty] | FALSE |  |  | FALSE
[5 empty] | FALSE |  |  | FALSE
|  |  | Note 3 |  | TRUE | Note 9 |  | TRUE
|  |  | Sample ID 3 |  | TRUE | Sample ID 6 |  | TRUE
[5 empty] | FALSE |  |  | FALSE
[5 empty] | FALSE |  |  | FALSE
|  |  | Result 5 |  | TRUE | Result 11 |  | TRUE
[5 empty] | FALSE |  |  | FALSE
|  |  | LOD 5 | FALSE | TRUE | LOD 11 | FALSE | TRUE
[5 empty] | FALSE |  |  | FALSE
[5 empty] | FALSE |  |  | FALSE
|  |  | Note 5 |  | TRUE | Note 11 |  | TRUE
Note on D1: Insert new Assay options above the "Other" cell so list control datasource is updated properly.
Note on H1: 0 - FALSE 1 - TRUE